## Table 1
TotalQuant - Summary Report Sample ID: Branco 5

## Table 2
Sample Date/Time: Monday, June 27, 2022 16:35:55 Sample Description: Solution Type: Sample Sample File: Method File: C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\Method\TotalQuant GEA.mth Dataset File: C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\DataSet\Default\Branco 5.087 Response File: C:\Users\Public\Documents\PerkinElmer Syngistix\ICPMS\System\totalquant.rsp Initial Sample Quantity (mg): Sample Prep Volume (mL): Aliquot Volume (mL): Diluted to Volume (mL): Torch Z Position (mm): 0.00

## Table 3
Analyte Intensities | Report Concentration Unit: ppb

## Table 4
Analyte H He | Concentration | Intensity | Intensity Comment Not Measured Not Measured
Li | 0 | 0
Be | 0 | 0
B | 0 | 0
C | 0 | 0
N | 0 | 0
O |  |  | Not Measured
F |  | 12295688
Ne |  | 756
Na | 0 | 0
Mg | 5.962 | 747254
Al | 8.046 | 670168
Si | 0 | 0
P | 0 | 0
S | 0 | 0
Cl | 0 | 0
Ar | 0 | 0
K | 0 | 0
Ca | 13.694 | 458324
Sc | 0 | 0
Ti | 0.654 | 59804
V | 0 | 0
Cr | 0 | 0
Mn | 0.151 | 16934
Fe | 9.827 | 787458
Co | 0.017 | 1501
Ni | 0 | 0
Cu | 0 | 0
Zn | 10.204 | 366741
Ga | 0 | 0
Ge | 0 | 0
As | 0 | 0
Se | 0.073 | 421
Br | 13.44 | 29663
Kr | 0 | 0
Rb | 0.012 | 1211
Sr | 0.158 | 18578
Y | 0.021 | 2527
Zr | 0.179 | 14832
Nb | 0.006 | 451
Mo | 0 | 0
Ru | 0 | 0
Rh | 0 | 0

## Table 5
Pd | 0 | 0
Ag | 0.153 | 14729
Cd | 0 | 0
In | 0 | 0
Sn | 0 | 0
Sb | 0 | 0
Te | 0 | 0
I | 0 | 0
Xe | 0 | 0
Cs | 0.002 | 261
Ba | 1.033 | 120854
La | 0.198 | 22747
Ce | 0.017 | 2041
Pr | 0.002 | 232
Nd | 0.005 | 672
Sm | 0.001 | 112
Eu | 0.002 | 255
Gd | 0 | 54
Tb | 0 | 41
Dy | 0.007 | 804
Ho | 0 | 14
Er | 0 | 44
Tm | 0 | 0
Yb | 0 | 6
Lu | 0 | 12
Hf | 0.006 | 498
Ta | 0.001 | 59
W | 0.091 | 5491
Re | 0 | 0
Os | 0 | 0
Ir | 0 | 0
Pt | 0 | 0
Au | 0 | 0
Hg | 0.547 | 8295
Tl | 0 | 0
Pb | 0.267 | 23745
Bi | 0.002 | 106
Th | 0.022 | 1179
U | 0.001 | 58

## Table 6
TotalQuant Equations Analyte Equation Ca 740.74*mass 43 Ti 13.44*mass 47 Se 11.455*mass 82 Fe 47.17*mass 57