## Intensities
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 (cps) | Bkgd 220 (cps) | Ce 140 (IS) (cps) | Ce++ 70 (cps) | CeO 156 (cps) | In 115 (cps) | Mg 24 (cps) | U 238 (cps)
1 | Daily Performance Check |  | 20/02/2024 10:34:23 |  | C:\NexIONData\Dataset 3\Daily Performance Check.860 | C:\NexIONData\Method\Daily Performance.mth | 1880.3237 | 1.1667 | 31477.309 | 378.3383 | 449.4071 | 30396.4374 | 61582.9219 | 29320.9934
2 | Daily Performance Check |  | 20/02/2024 10:47:12 |  | C:\NexIONData\Dataset 3\Daily Performance Check.864 | C:\NexIONData\Method\Daily Performance.mth | 6223.2219 | 0.56667 | 65694.6448 | 1099.309 | 1275.9237 | 67930.2614 | 184393.8796 | 68789.0251
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 (cps) | As-1 75 (cps) | Se 78 (cps) | Se 82 (cps) | Se-1 78 (cps) | Se-1 82 (cps) | Se-2 78 (cps) | Se-2 82 (cps) | Se-3 78 (cps) | Se-3 82 (cps) | Se-4 78 (cps) | Se-4 82 (cps) | Se-5 78 (cps) | Se-6 78 (cps)
3 | Blank | R | 19/02/2024 12:14:43 |  | C:\NexIONData\Dataset 3\Blank.791 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 776.5544 | 2 | 3904.0304 | -2.7583 | 16.71 | 2.4049 | 16.9333 | 18.9333 | 3.5025 | 2.0759 | 3.6 | 9.4667 | 1.422 | 1.4667
4 | Standard 1 | R | 19/02/2024 12:19:16 |  | C:\NexIONData\Dataset 3\Standard 1.792 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 2123.6245 | 30.9334 | 4337.2025 | 143.0065 | 46.0109 | 29.1788 | 46.2667 | 49.0668 | 11.0057 | 14.7342 | 11.0667 | 23.2 | 4.4724 | 4.5333
5 | Standard 2 | R | 19/02/2024 12:23:57 |  | C:\NexIONData\Dataset 3\Standard 2.793 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 2887.4918 | 53.4668 | 4601.3854 | 210.432 | 60.1767 | 38.5101 | 60.4001 | 58.6668 | 18.1733 | 18.6092 | 18.2667 | 26 | 5.8261 | 5.8667
6 | Standard 3 | R | 19/02/2024 12:28:19 |  | C:\NexIONData\Dataset 3\Standard 3.794 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 5247.8971 | 101.6004 | 5184.4522 | 483.6277 | 98.868 | 97.4616 | 99.067 | 115.3338 | 33.4985 | 37.4156 | 33.6 | 44.0001 | 11.7049 | 11.7333
7 | Standard 4 | R | 19/02/2024 12:32:25 |  | C:\NexIONData\Dataset 3\Standard 4.795 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 11714.1341 | 245.2021 | 6738.9672 | 1136.1701 | 224.3036 | 232.5258 | 224.5351 | 250.9355 | 81.3775 | 98.2075 | 81.4669 | 105.8671 | 22.8927 | 22.9334
8 | Standard 5 | R | 19/02/2024 12:37:34 |  | C:\NexIONData\Dataset 3\Standard 5.796 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 25053.2827 | 532.2766 | 10256.5501 | 2553.9397 | 457.3433 | 471.2893 | 457.6073 | 495.2086 | 162.1336 | 208.4671 | 162.2676 | 217.2017 | 56.0888 | 56.1334
9 | Standard 6 | R | 19/02/2024 12:42:30 |  | C:\NexIONData\Dataset 3\Standard 6.797 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 34335.8972 | 766.6872 | 12495.662 | 3399.1563 | 681.6677 | 665.8826 | 681.8829 | 683.083 | 226.3206 | 281.9476 | 226.4018 | 289.0696 | 68.3555 | 68.4002
10 | Standard 7 | R | 19/02/2024 12:46:46 |  | C:\NexIONData\Dataset 3\Standard 7.798 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 72070.2857 | 1614.3579 | 21799.1857 | 7228.7769 | 1416.8689 | 1407.1404 | 1417.137 | 1423.9377 | 503.9155 | 608.8778 | 504.0089 | 617.7467 | 159.9359 | 160.0009
11 | Standard 8 | R | 19/02/2024 12:52:02 |  | C:\NexIONData\Dataset 3\Standard 8.799 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 118607.8058 | 2627.575 | 33275.2339 | 11755.6128 | 2269.6659 | 2298.1689 | 2269.9137 | 2317.788 | 804.8707 | 1003.1721 | 804.956 | 1011.3691 | 239.6866 | 239.7353
12 | HNO3 1% |  | 20/02/2024 11:58:57 |  | C:\NexIONData\Dataset 3\HNO3 1%.869 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 1234.5867 | 14.4 | 4810.9827 | -7.5218 | 170.026 | 3.8054 | 170.6677 | 46.0001 | 39.5777 | 5.9683 | 40.0001 | 27.2 | 13.2798 | 13.4667
13 | HNO3 1% |  | 20/02/2024 12:02:17 |  | C:\NexIONData\Dataset 3\HNO3 1%.870 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 1130.7114 | 13.8667 | 4835.1568 | -6.7134 | 162.6472 | 3.1084 | 163.4676 | 49.2001 | 47.4403 | 0.32237 | 47.8667 | 27.4667 | 9.3604 | 9.6
14 | Branco |  | 20/02/2024 13:03:18 |  | C:\NexIONData\Dataset 3\Branco.871 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 4745.4548 | 398.8056 | 6002.4996 | 101.5386 | 239.7874 | 48.2805 | 240.6687 | 98.0003 | 74.4827 | 30.7068 | 74.9335 | 59.8668 | 22.2132 | 22.4
15 | Branco |  | 20/02/2024 13:07:30 |  | C:\NexIONData\Dataset 3\Branco.872 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 4452.9607 | 373.0715 | 5984.3742 | 87.7748 | 238.1427 | 33.5803 | 239.0687 | 87.6003 | 73.3396 | 23.6286 | 73.7335 | 54.2668 | 22.1969 | 22.4
16 | Branco |  | 20/02/2024 13:11:36 |  | C:\NexIONData\Dataset 3\Branco.873 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 43307.9468 | 4337.9923 | 8209.755 | 1053.4278 | 755.1468 | 418.5732 | 756.02 | 465.8743 | 320.4414 | 250.7115 | 320.9369 | 279.6027 | 136.3228 | 136.534
17 | Filé G3 (1) |  | 20/02/2024 13:15:49 |  | C:\NexIONData\Dataset 3\Filé G3 (1).874 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 15824.6266 | 1358.998 | 18404.9185 | 4231.3067 | 2199.0579 | 1514.1104 | 2199.9027 | 1562.3521 | 1028.5595 | 899.8129 | 1029.1037 | 927.7635 | 427.7871 | 428.0064
18 | Filé G3 (2) |  | 20/02/2024 13:20:16 |  | C:\NexIONData\Dataset 3\Filé G3 (2).875 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 16173.5509 | 1308.9933 | 18789.6703 | 4309.2265 | 2201.9396 | 1563.2613 | 2202.7032 | 1618.625 | 1017.3749 | 917.3014 | 1017.9029 | 942.5644 | 423.8073 | 424.0063
19 | Fígado G4 (1) |  | 20/02/2024 13:24:31 |  | C:\NexIONData\Dataset 3\Fígado G4 (1).876 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 184711.0393 | 15071.5469 | 51020.9289 | 16425.5927 | 7548.6848 | 5548.8798 | 7549.5946 | 5611.7687 | 3501.9785 | 3271.4808 | 3502.4293 | 3301.5815 | 1414.1417 | 1414.3367
20 | Fígado G4 (2) |  | 20/02/2024 13:28:45 |  | C:\NexIONData\Dataset 3\Fígado G4 (2).877 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 177695.478 | 13640.2432 | 46787.6605 | 15394.9212 | 6679.7918 | 5024.0387 | 6680.6285 | 5083.9713 | 3098.6374 | 2915.0213 | 3099.0029 | 2942.7031 | 1298.6275 | 1298.859
21 | Estômago G4 (1) |  | 20/02/2024 13:33:12 |  | C:\NexIONData\Dataset 3\Estômago G4 (1).878 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 197295.9946 | 15100.6438 | 53057.9449 | 15263.688 | 6381.9299 | 4881.6994 | 6382.8925 | 4944.7227 | 3039.2465 | 2805.1008 | 3039.6567 | 2836.9483 | 1266.1278 | 1266.3228
22 | Estômago G4 (2) |  | 20/02/2024 13:37:17 |  | C:\NexIONData\Dataset 3\Estômago G4 (2).879 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 196074.2755 | 15536.0435 | 56443.6898 | 15921.6594 | 6890.1095 | 5242.6713 | 6891.1289 | 5299.9164 | 3264.7907 | 2962.1853 | 3265.3065 | 2995.9141 | 1386.5634 | 1386.734
23 | Brânquias G4 (1) |  | 20/02/2024 13:41:41 |  | C:\NexIONData\Dataset 3\Brânquias G4 (1).880 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 91913.4374 | 7632.4385 | 37296.8521 | 12221.8181 | 5544.1622 | 4032.7678 | 5545.076 | 4095.2536 | 2640.3388 | 2422.6422 | 2640.7774 | 2452.8773 | 1124.9485 | 1125.111
24 | Brânquias G4 (2) |  | 20/02/2024 13:46:32 |  | C:\NexIONData\Dataset 3\Brânquias G4 (2).881 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 85972.4515 | 7289.4596 | 34185.8385 | 11223.2137 | 5124.5835 | 3880.0864 | 5125.4527 | 3938.8096 | 2499.4973 | 2226.8879 | 2499.9522 | 2255.6448 | 1051.8072 | 1052.0388
25 | Filé G4 (1) |  | 20/02/2024 13:50:43 |  | C:\NexIONData\Dataset 3\Filé G4 (1).882 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 57061.2044 | 4922.4479 | 18325.0366 | 4428.989 | 2135.1978 | 1440.2524 | 2136.0264 | 1486.344 | 985.3896 | 877.949 | 985.7674 | 905.362 | 431.0237 | 431.2065
26 | Filé G4 (2) |  | 20/02/2024 13:55:02 |  | C:\NexIONData\Dataset 3\Filé G4 (2).883 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 58357.2194 | 5096.1088 | 19027.477 | 4503.394 | 2207.9974 | 1522.6746 | 2208.7041 | 1567.0193 | 1024.855 | 903.9817 | 1025.2368 | 927.3634 | 438.515 | 438.6734

## Intensities RSDs
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 | Bkgd 220 | Ce 140 (IS) | Ce++ 70 | CeO 156 | In 115 | Mg 24 | U 238
1 | Daily Performance Check |  | 20/02/2024 10:34:23 |  | C:\NexIONData\Dataset 3\Daily Performance Check.860 | C:\NexIONData\Method\Daily Performance.mth | 1.001% | 17.5% | 0.7994% | 2.182% | 3.552% | 0.3889% | 0.6732% | 0.5245%
2 | Daily Performance Check |  | 20/02/2024 10:47:12 |  | C:\NexIONData\Dataset 3\Daily Performance Check.864 | C:\NexIONData\Method\Daily Performance.mth | 0.8074% | 39.46% | 0.6739% | 2.533% | 1.68% | 0.4763% | 0.2397% | 0.6389%
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 | As-1 75 | Se 78 | Se 82 | Se-1 78 | Se-1 82 | Se-2 78 | Se-2 82 | Se-3 78 | Se-3 82 | Se-4 78 | Se-4 82 | Se-5 78 | Se-6 78
3 | Blank | R | 19/02/2024 12:14:43 |  | C:\NexIONData\Dataset 3\Blank.791 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 0.343% | 69.28% | 0.6044% | 391.7% | 26.35% | 151.2% | 26.02% | 14.99% | 41.91% | 99.25% | 40.06% | 13.58% | 15.77% | 15.75%
4 | Standard 1 | R | 19/02/2024 12:19:16 |  | C:\NexIONData\Dataset 3\Standard 1.792 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 1.602% | 20.3% | 1.112% | 8.829% | 4.732% | 18.99% | 4.762% | 8.717% | 18.9% | 36.02% | 18.55% | 14.11% | 36.52% | 35.66%
5 | Standard 2 | R | 19/02/2024 12:23:57 |  | C:\NexIONData\Dataset 3\Standard 2.793 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 1.129% | 7.343% | 0.4005% | 4.128% | 4.926% | 6.331% | 4.776% | 4.54% | 11.86% | 24.98% | 12.06% | 15.15% | 10.26% | 10.41%
6 | Standard 3 | R | 19/02/2024 12:28:19 |  | C:\NexIONData\Dataset 3\Standard 3.794 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 0.6744% | 2.083% | 0.9465% | 4.213% | 5.467% | 12.53% | 5.497% | 10.01% | 6.641% | 26.91% | 6.628% | 20.49% | 4.007% | 3.936%
7 | Standard 4 | R | 19/02/2024 12:32:25 |  | C:\NexIONData\Dataset 3\Standard 4.795 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 0.3864% | 3.533% | 0.7873% | 1.748% | 2.85% | 4.155% | 2.858% | 4.703% | 3.957% | 7.019% | 3.969% | 7.021% | 11.13% | 11.08%
8 | Standard 5 | R | 19/02/2024 12:37:34 |  | C:\NexIONData\Dataset 3\Standard 5.796 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 0.4279% | 0.2845% | 0.293% | 2.732% | 4.938% | 5.579% | 4.939% | 5.321% | 4.383% | 3.687% | 4.384% | 3.628% | 17.53% | 17.49%
9 | Standard 6 | R | 19/02/2024 12:42:30 |  | C:\NexIONData\Dataset 3\Standard 6.797 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 2.467% | 2.599% | 1.21% | 0.5337% | 1.898% | 1.777% | 1.889% | 1.503% | 2.671% | 2.34% | 2.674% | 2.884% | 8.167% | 8.124%
10 | Standard 7 | R | 19/02/2024 12:46:46 |  | C:\NexIONData\Dataset 3\Standard 7.798 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 1.13% | 2.454% | 0.6511% | 0.7029% | 1.924% | 2.587% | 1.923% | 2.593% | 3.906% | 2.455% | 3.908% | 2.841% | 3.929% | 3.929%
11 | Standard 8 | R | 19/02/2024 12:52:02 |  | C:\NexIONData\Dataset 3\Standard 8.799 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 2.037% | 1.209% | 1.782% | 1.74% | 0.7013% | 0.849% | 0.6971% | 0.6328% | 1.792% | 1.245% | 1.795% | 1.174% | 1.204% | 1.207%
12 | HNO3 1% |  | 20/02/2024 11:58:57 |  | C:\NexIONData\Dataset 3\HNO3 1%.869 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 1.215% | 30.05% | 0.4296% | 113.3% | 4.759% | 122.2% | 4.736% | 3.985% | 4.268% | 46.05% | 4.359% | 8.824% | 14.1% | 13.72%
13 | HNO3 1% |  | 20/02/2024 12:02:17 |  | C:\NexIONData\Dataset 3\HNO3 1%.870 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 1.932% | 14.8% | 0.9938% | 31.62% | 10.6% | 38.76% | 10.53% | 6.946% | 12.49% | 475.6% | 12.32% | 3.665% | 9.213% | 8.333%
14 | Branco |  | 20/02/2024 13:03:18 |  | C:\NexIONData\Dataset 3\Branco.871 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 1.063% | 1.003% | 1.059% | 13.39% | 4.725% | 30.71% | 4.67% | 12.73% | 7.32% | 25.02% | 7.365% | 7.018% | 3.046% | 3.093%
15 | Branco |  | 20/02/2024 13:07:30 |  | C:\NexIONData\Dataset 3\Branco.872 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 1.736% | 4.439% | 0.6379% | 8.352% | 2.944% | 20.8% | 2.924% | 2.778% | 9.383% | 57% | 9.339% | 23.24% | 17.34% | 17.22%
16 | Branco |  | 20/02/2024 13:11:36 |  | C:\NexIONData\Dataset 3\Branco.873 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 0.4617% | 3.215% | 0.3536% | 2.646% | 1.103% | 3.412% | 1.115% | 4.595% | 2.034% | 9.986% | 2.026% | 7.824% | 4.611% | 4.598%
17 | Filé G3 (1) |  | 20/02/2024 13:15:49 |  | C:\NexIONData\Dataset 3\Filé G3 (1).874 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 0.5117% | 1.003% | 0.3935% | 2.149% | 0.6164% | 1.766% | 0.6119% | 1.917% | 2.539% | 3.656% | 2.533% | 3.893% | 1.784% | 1.776%
18 | Filé G3 (2) |  | 20/02/2024 13:20:16 |  | C:\NexIONData\Dataset 3\Filé G3 (2).875 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 1.028% | 1.397% | 0.7181% | 0.4313% | 1.972% | 0.9298% | 1.969% | 0.3584% | 1.03% | 1.53% | 1.026% | 1.167% | 6.132% | 6.128%
19 | Fígado G4 (1) |  | 20/02/2024 13:24:31 |  | C:\NexIONData\Dataset 3\Fígado G4 (1).876 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 0.7196% | 1.22% | 1.039% | 0.5687% | 1.324% | 0.4552% | 1.322% | 0.5431% | 0.364% | 0.4751% | 0.3629% | 0.3887% | 0.9493% | 0.9493%
20 | Fígado G4 (2) |  | 20/02/2024 13:28:45 |  | C:\NexIONData\Dataset 3\Fígado G4 (2).877 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 1.77% | 1.503% | 1.381% | 2.299% | 0.8593% | 1.527% | 0.8607% | 1.452% | 2.506% | 1.735% | 2.508% | 1.833% | 1.03% | 1.022%
21 | Estômago G4 (1) |  | 20/02/2024 13:33:12 |  | C:\NexIONData\Dataset 3\Estômago G4 (1).878 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 0.2318% | 0.7227% | 0.3869% | 0.7666% | 1.503% | 2.902% | 1.503% | 2.707% | 1.416% | 0.9889% | 1.417% | 0.9059% | 1.198% | 1.193%
22 | Estômago G4 (2) |  | 20/02/2024 13:37:17 |  | C:\NexIONData\Dataset 3\Estômago G4 (2).879 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 0.09769% | 0.641% | 0.5503% | 1.053% | 2.238% | 1.175% | 2.237% | 1.161% | 0.8272% | 1.167% | 0.8261% | 1.18% | 1.237% | 1.236%
23 | Brânquias G4 (1) |  | 20/02/2024 13:41:41 |  | C:\NexIONData\Dataset 3\Brânquias G4 (1).880 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 1.359% | 0.9938% | 0.9868% | 1.115% | 0.6972% | 0.5541% | 0.6969% | 0.45% | 1.887% | 1.352% | 1.886% | 1.39% | 3.362% | 3.364%
24 | Brânquias G4 (2) |  | 20/02/2024 13:46:32 |  | C:\NexIONData\Dataset 3\Brânquias G4 (2).881 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 0.05794% | 1.534% | 0.3906% | 0.583% | 0.6676% | 0.3888% | 0.6675% | 0.4267% | 3.489% | 1.521% | 3.484% | 1.451% | 2.363% | 2.366%
25 | Filé G4 (1) |  | 20/02/2024 13:50:43 |  | C:\NexIONData\Dataset 3\Filé G4 (1).882 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 0.853% | 0.3336% | 0.487% | 0.8905% | 2.017% | 2.217% | 2.018% | 2.445% | 2.211% | 3.546% | 2.204% | 3.307% | 0.647% | 0.6494%
26 | Filé G4 (2) |  | 20/02/2024 13:55:02 |  | C:\NexIONData\Dataset 3\Filé G4 (2).883 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 0.3476% | 0.4828% | 0.3192% | 1.093% | 0.4224% | 0.8011% | 0.423% | 0.5989% | 1.38% | 2.792% | 1.38% | 2.577% | 1.815% | 1.811%

## Concentrations
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 (ug/L) | Bkgd 220 (mg/L) | Ce 140 (IS) | Ce++ 70 (mg/L) | CeO 156 (mg/L) | In 115 (mg/L) | Mg 24 (ug/L) | U 238 (mg/L)
1 | Daily Performance Check |  | 20/02/2024 10:34:23 |  | C:\NexIONData\Dataset 3\Daily Performance Check.860 | C:\NexIONData\Method\Daily Performance.mth
2 | Daily Performance Check |  | 20/02/2024 10:47:12 |  | C:\NexIONData\Dataset 3\Daily Performance Check.864 | C:\NexIONData\Method\Daily Performance.mth
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 (ug/L) | As-1 75 (ug/L) | Se 78 (ug/L) | Se 82 (ug/L) | Se-1 78 (ug/L) | Se-1 82 (ug/L) | Se-2 78 (ug/L) | Se-2 82 (ug/L) | Se-3 78 (ug/L) | Se-3 82 (ug/L) | Se-4 78 (ug/L) | Se-4 82 (ug/L) | Se-5 78 (ug/L) | Se-6 78 (ug/L)
3 | Blank | R | 19/02/2024 12:14:43 |  | C:\NexIONData\Dataset 3\Blank.791 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth
4 | Standard 1 | R | 19/02/2024 12:19:16 |  | C:\NexIONData\Dataset 3\Standard 1.792 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
5 | Standard 2 | R | 19/02/2024 12:23:57 |  | C:\NexIONData\Dataset 3\Standard 2.793 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 0.94764 | 0.97573 | 0.95377 | 0.93154 | 0.93489 | 0.91189 | 0.93463 | 0.90633 | 0.99544 | 0.90396 | 0.99638 | 0.88319 | 0.92846 | 0.92697
6 | Standard 3 | R | 19/02/2024 12:28:19 |  | C:\NexIONData\Dataset 3\Standard 3.794 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 2.0017 | 1.9722 | 1.9346 | 2.0285 | 1.9391 | 2.0828 | 1.9388 | 2.044 | 2.0083 | 1.9834 | 2.0089 | 1.9607 | 2.0376 | 2.0365
7 | Standard 4 | R | 19/02/2024 12:32:25 |  | C:\NexIONData\Dataset 3\Standard 4.795 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 4.9817 | 4.967 | 4.8589 | 4.9547 | 4.9823 | 5.0073 | 4.9825 | 4.9858 | 5.0359 | 5.0644 | 5.0359 | 5.0762 | 4.8524 | 4.8533
8 | Standard 5 | R | 19/02/2024 12:37:34 |  | C:\NexIONData\Dataset 3\Standard 5.796 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 10.2271 | 10.1812 | 10.193 | 10.24 | 10.128 | 10.0463 | 10.1282 | 10.0537 | 10.0588 | 10.19 | 10.0596 | 10.2034 | 10.4632 | 10.4639
9 | Standard 6 | R | 19/02/2024 12:42:30 |  | C:\NexIONData\Dataset 3\Standard 6.797 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 14.6719 | 14.8818 | 14.5308 | 14.4649 | 15.1029 | 14.7026 | 15.1024 | 14.625 | 14.6684 | 14.5438 | 14.6671 | 14.5093 | 14.1157 | 14.1161
10 | Standard 7 | R | 19/02/2024 12:46:46 |  | C:\NexIONData\Dataset 3\Standard 7.798 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 30.3219 | 30.3777 | 30.0747 | 30.2081 | 30.4887 | 30.3111 | 30.4888 | 30.2599 | 30.7781 | 30.4186 | 30.778 | 30.427 | 30.897 | 30.8982
11 | Standard 8 | R | 19/02/2024 12:52:02 |  | C:\NexIONData\Dataset 3\Standard 8.799 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 50.0383 | 49.8206 | 49.7847 | 49.7016 | 49.6813 | 49.8444 | 49.681 | 49.8355 | 49.7599 | 50.0614 | 49.7597 | 50.0389 | 48.7514 | 48.7502
12 | HNO3 1% |  | 20/02/2024 11:58:57 |  | C:\NexIONData\Dataset 3\HNO3 1%.869 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 0.19451 | 0.23529 | 1.5373 | -0.020135 | 3.3809 | 0.030408 | 3.39 | 0.58676 | 2.24 | 0.19465 | 2.2602 | 0.88567 | 2.4262 | 2.4552
13 | HNO3 1% |  | 20/02/2024 12:02:17 |  | C:\NexIONData\Dataset 3\HNO3 1%.870 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 0.1504 | 0.22517 | 1.5783 | -0.016718 | 3.2182 | 0.015276 | 3.2313 | 0.65613 | 2.7283 | -0.087688 | 2.7487 | 0.89899 | 1.6243 | 1.6641
14 | Branco |  | 20/02/2024 13:03:18 |  | C:\NexIONData\Dataset 3\Branco.871 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 1.6854 | 7.5294 | 3.5569 | 0.44085 | 4.9192 | 0.99603 | 4.9336 | 1.714 | 4.4074 | 1.4317 | 4.4294 | 2.5172 | 4.2541 | 4.283
15 | Branco |  | 20/02/2024 13:07:30 |  | C:\NexIONData\Dataset 3\Branco.872 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 1.5612 | 7.0411 | 3.5262 | 0.38268 | 4.8829 | 0.67687 | 4.8984 | 1.4886 | 4.3364 | 1.0778 | 4.3549 | 2.2375 | 4.2508 | 4.283
16 | Branco |  | 20/02/2024 13:11:36 |  | C:\NexIONData\Dataset 3\Branco.873 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 18.0614 | 82.276 | 7.2983 | 4.4644 | 16.2837 | 9.0356 | 16.2978 | 9.689 | 19.6799 | 12.4334 | 19.7048 | 13.4916 | 27.6021 | 27.635
17 | Filé G3 (1) |  | 20/02/2024 13:15:49 |  | C:\NexIONData\Dataset 3\Filé G3 (1).874 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 6.3903 | 25.7492 | 24.5793 | 17.897 | 48.1243 | 32.8214 | 48.1372 | 33.4588 | 63.6496 | 44.8928 | 63.678 | 45.8633 | 87.2388 | 87.2709
18 | Filé G3 (2) |  | 20/02/2024 13:20:16 |  | C:\NexIONData\Dataset 3\Filé G3 (2).875 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 6.5385 | 24.8004 | 25.2314 | 18.2264 | 48.1878 | 33.8885 | 48.1989 | 34.6787 | 62.9551 | 45.7673 | 62.9825 | 46.6025 | 86.4245 | 86.4524
19 | Fígado G4 (1) |  | 20/02/2024 13:24:31 |  | C:\NexIONData\Dataset 3\Fígado G4 (1).876 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 78.1097 | 285.9467 | 79.864 | 69.4413 | 166.0922 | 120.4222 | 166.1045 | 121.2437 | 217.2332 | 163.4919 | 217.2576 | 164.421 | 289.0572 | 289.076
20 | Fígado G4 (2) |  | 20/02/2024 13:28:45 |  | C:\NexIONData\Dataset 3\Fígado G4 (2).877 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 75.1305 | 258.7875 | 72.6885 | 65.0847 | 146.9317 | 109.0271 | 146.9428 | 109.8019 | 192.1883 | 145.6666 | 192.2071 | 146.4972 | 265.4218 | 265.449
21 | Estômago G4 (1) |  | 20/02/2024 13:33:12 |  | C:\NexIONData\Dataset 3\Estômago G4 (1).878 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 83.454 | 286.4988 | 83.3167 | 64.53 | 140.3634 | 105.9367 | 140.3773 | 106.7832 | 188.5005 | 140.1698 | 188.522 | 141.2154 | 258.772 | 258.792
22 | Estômago G4 (2) |  | 20/02/2024 13:37:17 |  | C:\NexIONData\Dataset 3\Estômago G4 (2).879 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 82.9352 | 294.7606 | 89.0556 | 67.3112 | 151.5695 | 113.7739 | 151.5846 | 114.4832 | 202.5054 | 148.0251 | 202.5336 | 149.1548 | 283.4144 | 283.4284
23 | Brânquias G4 (1) |  | 20/02/2024 13:41:41 |  | C:\NexIONData\Dataset 3\Brânquias G4 (1).880 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 38.7022 | 144.7886 | 56.6014 | 51.6723 | 121.8892 | 87.5051 | 121.9024 | 88.3681 | 163.7309 | 121.0443 | 163.7539 | 122.0334 | 229.8853 | 229.8998
24 | Brânquias G4 (2) |  | 20/02/2024 13:46:32 |  | C:\NexIONData\Dataset 3\Brânquias G4 (2).881 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 36.1793 | 138.2805 | 51.3282 | 47.4512 | 112.6368 | 84.1902 | 112.6492 | 84.9766 | 154.9855 | 111.2553 | 155.0094 | 112.1829 | 214.9198 | 214.9491
25 | Filé G4 (1) |  | 20/02/2024 13:50:43 |  | C:\NexIONData\Dataset 3\Filé G4 (1).882 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 23.9019 | 93.3662 | 24.4439 | 18.7326 | 46.7161 | 31.2178 | 46.7286 | 31.8111 | 60.969 | 43.7995 | 60.9871 | 44.7445 | 87.901 | 87.9256
26 | Filé G4 (2) |  | 20/02/2024 13:55:02 |  | C:\NexIONData\Dataset 3\Filé G4 (2).883 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 24.4522 | 96.6614 | 25.6345 | 19.0471 | 48.3214 | 33.0073 | 48.3313 | 33.56 | 63.4195 | 45.1013 | 63.4379 | 45.8433 | 89.4338 | 89.4533

## Concentrations RSDs
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 | Bkgd 220 | Ce 140 (IS) | Ce++ 70 | CeO 156 | In 115 | Mg 24 | U 238
1 | Daily Performance Check |  | 20/02/2024 10:34:23 |  | C:\NexIONData\Dataset 3\Daily Performance Check.860 | C:\NexIONData\Method\Daily Performance.mth
2 | Daily Performance Check |  | 20/02/2024 10:47:12 |  | C:\NexIONData\Dataset 3\Daily Performance Check.864 | C:\NexIONData\Method\Daily Performance.mth
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 | As-1 75 | Se 78 | Se 82 | Se-1 78 | Se-1 82 | Se-2 78 | Se-2 82 | Se-3 78 | Se-3 82 | Se-4 78 | Se-4 82 | Se-5 78 | Se-6 78
3 | Blank | R | 19/02/2024 12:14:43 |  | C:\NexIONData\Dataset 3\Blank.791 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth
4 | Standard 1 | R | 19/02/2024 12:19:16 |  | C:\NexIONData\Dataset 3\Standard 1.792 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 2.526% | 21.7% | 11.13% | 8.661% | 7.431% | 20.69% | 7.51% | 14.19% | 27.72% | 41.93% | 27.49% | 23.84% | 53.54% | 52.71%
5 | Standard 2 | R | 19/02/2024 12:23:57 |  | C:\NexIONData\Dataset 3\Standard 2.793 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 1.545% | 7.628% | 2.643% | 4.074% | 6.819% | 6.753% | 6.636% | 6.703% | 14.69% | 28.11% | 15.02% | 23.83% | 13.57% | 13.89%
6 | Standard 3 | R | 19/02/2024 12:28:19 |  | C:\NexIONData\Dataset 3\Standard 3.794 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 0.7915% | 2.125% | 3.832% | 4.19% | 6.579% | 12.85% | 6.63% | 11.98% | 7.416% | 28.49% | 7.424% | 26.11% | 4.562% | 4.499%
7 | Standard 4 | R | 19/02/2024 12:32:25 |  | C:\NexIONData\Dataset 3\Standard 4.795 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 0.4138% | 3.562% | 1.872% | 1.744% | 3.079% | 4.198% | 3.091% | 5.086% | 4.135% | 7.171% | 4.152% | 7.711% | 11.86% | 11.83%
8 | Standard 5 | R | 19/02/2024 12:37:34 |  | C:\NexIONData\Dataset 3\Standard 5.796 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 0.4416% | 0.2856% | 0.4731% | 2.729% | 5.126% | 5.608% | 5.129% | 5.532% | 4.48% | 3.724% | 4.484% | 3.793% | 17.99% | 17.96%
9 | Standard 6 | R | 19/02/2024 12:42:30 |  | C:\NexIONData\Dataset 3\Standard 6.797 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 2.524% | 2.606% | 1.759% | 0.5332% | 1.945% | 1.783% | 1.937% | 1.545% | 2.713% | 2.357% | 2.717% | 2.982% | 8.341% | 8.302%
10 | Standard 7 | R | 19/02/2024 12:46:46 |  | C:\NexIONData\Dataset 3\Standard 7.798 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 1.143% | 2.457% | 0.7932% | 0.7026% | 1.947% | 2.591% | 1.947% | 2.628% | 3.933% | 2.464% | 3.936% | 2.886% | 3.964% | 3.965%
11 | Standard 8 | R | 19/02/2024 12:52:02 |  | C:\NexIONData\Dataset 3\Standard 8.799 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 2.051% | 1.21% | 2.019% | 1.739% | 0.7065% | 0.8498% | 0.7023% | 0.638% | 1.8% | 1.247% | 1.803% | 1.185% | 1.211% | 1.214%
12 | HNO3 1% |  | 20/02/2024 11:58:57 |  | C:\NexIONData\Dataset 3\HNO3 1%.869 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 3.275% | 34.89% | 2.279% | 178.9% | 5.277% | 332.1% | 5.258% | 6.772% | 4.682% | 70.61% | 4.79% | 13.53% | 15.79% | 15.4%
13 | HNO3 1% |  | 20/02/2024 12:02:17 |  | C:\NexIONData\Dataset 3\HNO3 1%.870 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 6.167% | 17.3% | 5.161% | 53.67% | 11.81% | 171.3% | 11.74% | 11.29% | 13.49% | 87.43% | 13.32% | 5.592% | 10.86% | 9.836%
14 | Branco |  | 20/02/2024 13:03:18 |  | C:\NexIONData\Dataset 3\Branco.871 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 1.271% | 1.008% | 3.03% | 13.03% | 5.079% | 32.32% | 5.023% | 15.78% | 7.681% | 26.84% | 7.736% | 8.336% | 3.254% | 3.31%
15 | Branco |  | 20/02/2024 13:07:30 |  | C:\NexIONData\Dataset 3\Branco.872 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 2.103% | 4.463% | 1.835% | 8.097% | 3.166% | 22.4% | 3.147% | 3.543% | 9.854% | 62.48% | 9.818% | 28.15% | 18.52% | 18.43%
16 | Branco |  | 20/02/2024 13:11:36 |  | C:\NexIONData\Dataset 3\Branco.873 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 0.4701% | 3.217% | 0.6742% | 2.639% | 1.128% | 3.432% | 1.14% | 4.79% | 2.056% | 10.07% | 2.049% | 8.098% | 4.659% | 4.648%
17 | Filé G3 (1) |  | 20/02/2024 13:15:49 |  | C:\NexIONData\Dataset 3\Filé G3 (1).874 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 0.5381% | 1.005% | 0.4995% | 2.148% | 0.6211% | 1.769% | 0.6167% | 1.94% | 2.548% | 3.664% | 2.542% | 3.933% | 1.79% | 1.782%
18 | Filé G3 (2) |  | 20/02/2024 13:20:16 |  | C:\NexIONData\Dataset 3\Filé G3 (2).875 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 1.08% | 1.399% | 0.9064% | 0.431% | 1.987% | 0.9312% | 1.984% | 0.3627% | 1.033% | 1.533% | 1.029% | 1.179% | 6.153% | 6.149%
19 | Fígado G4 (1) |  | 20/02/2024 13:24:31 |  | C:\NexIONData\Dataset 3\Fígado G4 (1).876 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 0.7226% | 1.22% | 1.125% | 0.5686% | 1.327% | 0.4554% | 1.325% | 0.5449% | 0.3644% | 0.4754% | 0.3632% | 0.3898% | 0.9503% | 0.9502%
20 | Fígado G4 (2) |  | 20/02/2024 13:28:45 |  | C:\NexIONData\Dataset 3\Fígado G4 (2).877 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 1.778% | 1.503% | 1.507% | 2.299% | 0.8614% | 1.527% | 0.8629% | 1.457% | 2.509% | 1.737% | 2.511% | 1.839% | 1.031% | 1.023%
21 | Estômago G4 (1) |  | 20/02/2024 13:33:12 |  | C:\NexIONData\Dataset 3\Estômago G4 (1).878 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 0.2327% | 0.7228% | 0.4176% | 0.7665% | 1.507% | 2.903% | 1.507% | 2.717% | 1.418% | 0.9897% | 1.418% | 0.9089% | 1.2% | 1.194%
22 | Estômago G4 (2) |  | 20/02/2024 13:37:17 |  | C:\NexIONData\Dataset 3\Estômago G4 (2).879 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 0.09808% | 0.6411% | 0.5912% | 1.053% | 2.243% | 1.175% | 2.243% | 1.165% | 0.8281% | 1.168% | 0.827% | 1.184% | 1.239% | 1.237%
23 | Brânquias G4 (1) |  | 20/02/2024 13:41:41 |  | C:\NexIONData\Dataset 3\Brânquias G4 (1).880 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 1.371% | 0.994% | 1.102% | 1.115% | 0.6993% | 0.5544% | 0.699% | 0.4521% | 1.889% | 1.353% | 1.889% | 1.396% | 3.366% | 3.369%
24 | Brânquias G4 (2) |  | 20/02/2024 13:46:32 |  | C:\NexIONData\Dataset 3\Brânquias G4 (2).881 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 0.05847% | 1.534% | 0.441% | 0.5828% | 0.6698% | 0.389% | 0.6697% | 0.4287% | 3.494% | 1.523% | 3.489% | 1.457% | 2.366% | 2.369%
25 | Filé G4 (1) |  | 20/02/2024 13:50:43 |  | C:\NexIONData\Dataset 3\Filé G4 (1).882 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 0.8648% | 0.3337% | 0.6188% | 0.89% | 2.033% | 2.22% | 2.034% | 2.477% | 2.219% | 3.554% | 2.212% | 3.342% | 0.6492% | 0.6516%
26 | Filé G4 (2) |  | 20/02/2024 13:55:02 |  | C:\NexIONData\Dataset 3\Filé G4 (2).883 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 0.3523% | 0.483% | 0.4016% | 1.092% | 0.4257% | 0.8024% | 0.4262% | 0.6062% | 1.384% | 2.798% | 1.385% | 2.604% | 1.821% | 1.817%

## Unfactored Concentrations
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 (ug/L) | Bkgd 220 (mg/L) | Ce 140 (IS) | Ce++ 70 (mg/L) | CeO 156 (mg/L) | In 115 (mg/L) | Mg 24 (ug/L) | U 238 (mg/L)
1 | Daily Performance Check |  | 20/02/2024 10:34:23 |  | C:\NexIONData\Dataset 3\Daily Performance Check.860 | C:\NexIONData\Method\Daily Performance.mth
2 | Daily Performance Check |  | 20/02/2024 10:47:12 |  | C:\NexIONData\Dataset 3\Daily Performance Check.864 | C:\NexIONData\Method\Daily Performance.mth
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 (ug/L) | As-1 75 (ug/L) | Se 78 (ug/L) | Se 82 (ug/L) | Se-1 78 (ug/L) | Se-1 82 (ug/L) | Se-2 78 (ug/L) | Se-2 82 (ug/L) | Se-3 78 (ug/L) | Se-3 82 (ug/L) | Se-4 78 (ug/L) | Se-4 82 (ug/L) | Se-5 78 (ug/L) | Se-6 78 (ug/L)
3 | Blank | R | 19/02/2024 12:14:43 |  | C:\NexIONData\Dataset 3\Blank.791 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth
4 | Standard 1 | R | 19/02/2024 12:19:16 |  | C:\NexIONData\Dataset 3\Standard 1.792 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
5 | Standard 2 | R | 19/02/2024 12:23:57 |  | C:\NexIONData\Dataset 3\Standard 2.793 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 0.94764 | 0.97573 | 0.95377 | 0.93154 | 0.93489 | 0.91189 | 0.93463 | 0.90633 | 0.99544 | 0.90396 | 0.99638 | 0.88319 | 0.92846 | 0.92697
6 | Standard 3 | R | 19/02/2024 12:28:19 |  | C:\NexIONData\Dataset 3\Standard 3.794 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 2.0017 | 1.9722 | 1.9346 | 2.0285 | 1.9391 | 2.0828 | 1.9388 | 2.044 | 2.0083 | 1.9834 | 2.0089 | 1.9607 | 2.0376 | 2.0365
7 | Standard 4 | R | 19/02/2024 12:32:25 |  | C:\NexIONData\Dataset 3\Standard 4.795 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 4.9817 | 4.967 | 4.8589 | 4.9547 | 4.9823 | 5.0073 | 4.9825 | 4.9858 | 5.0359 | 5.0644 | 5.0359 | 5.0762 | 4.8524 | 4.8533
8 | Standard 5 | R | 19/02/2024 12:37:34 |  | C:\NexIONData\Dataset 3\Standard 5.796 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 10.2271 | 10.1812 | 10.193 | 10.24 | 10.128 | 10.0463 | 10.1282 | 10.0537 | 10.0588 | 10.19 | 10.0596 | 10.2034 | 10.4632 | 10.4639
9 | Standard 6 | R | 19/02/2024 12:42:30 |  | C:\NexIONData\Dataset 3\Standard 6.797 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 14.6719 | 14.8818 | 14.5308 | 14.4649 | 15.1029 | 14.7026 | 15.1024 | 14.625 | 14.6684 | 14.5438 | 14.6671 | 14.5093 | 14.1157 | 14.1161
10 | Standard 7 | R | 19/02/2024 12:46:46 |  | C:\NexIONData\Dataset 3\Standard 7.798 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 30.3219 | 30.3777 | 30.0747 | 30.2081 | 30.4887 | 30.3111 | 30.4888 | 30.2599 | 30.7781 | 30.4186 | 30.778 | 30.427 | 30.897 | 30.8982
11 | Standard 8 | R | 19/02/2024 12:52:02 |  | C:\NexIONData\Dataset 3\Standard 8.799 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 50.0383 | 49.8206 | 49.7847 | 49.7016 | 49.6813 | 49.8444 | 49.681 | 49.8355 | 49.7599 | 50.0614 | 49.7597 | 50.0389 | 48.7514 | 48.7502
12 | HNO3 1% |  | 20/02/2024 11:58:57 |  | C:\NexIONData\Dataset 3\HNO3 1%.869 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 0.19451 | 0.23529 | 1.5373 | -0.020135 | 3.3809 | 0.030408 | 3.39 | 0.58676 | 2.24 | 0.19465 | 2.2602 | 0.88567 | 2.4262 | 2.4552
13 | HNO3 1% |  | 20/02/2024 12:02:17 |  | C:\NexIONData\Dataset 3\HNO3 1%.870 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 0.1504 | 0.22517 | 1.5783 | -0.016718 | 3.2182 | 0.015276 | 3.2313 | 0.65613 | 2.7283 | -0.087688 | 2.7487 | 0.89899 | 1.6243 | 1.6641
14 | Branco |  | 20/02/2024 13:03:18 |  | C:\NexIONData\Dataset 3\Branco.871 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 1.6854 | 7.5294 | 3.5569 | 0.44085 | 4.9192 | 0.99603 | 4.9336 | 1.714 | 4.4074 | 1.4317 | 4.4294 | 2.5172 | 4.2541 | 4.283
15 | Branco |  | 20/02/2024 13:07:30 |  | C:\NexIONData\Dataset 3\Branco.872 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 1.5612 | 7.0411 | 3.5262 | 0.38268 | 4.8829 | 0.67687 | 4.8984 | 1.4886 | 4.3364 | 1.0778 | 4.3549 | 2.2375 | 4.2508 | 4.283
16 | Branco |  | 20/02/2024 13:11:36 |  | C:\NexIONData\Dataset 3\Branco.873 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 18.0614 | 82.276 | 7.2983 | 4.4644 | 16.2837 | 9.0356 | 16.2978 | 9.689 | 19.6799 | 12.4334 | 19.7048 | 13.4916 | 27.6021 | 27.635
17 | Filé G3 (1) |  | 20/02/2024 13:15:49 |  | C:\NexIONData\Dataset 3\Filé G3 (1).874 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 6.3903 | 25.7492 | 24.5793 | 17.897 | 48.1243 | 32.8214 | 48.1372 | 33.4588 | 63.6496 | 44.8928 | 63.678 | 45.8633 | 87.2388 | 87.2709
18 | Filé G3 (2) |  | 20/02/2024 13:20:16 |  | C:\NexIONData\Dataset 3\Filé G3 (2).875 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 6.5385 | 24.8004 | 25.2314 | 18.2264 | 48.1878 | 33.8885 | 48.1989 | 34.6787 | 62.9551 | 45.7673 | 62.9825 | 46.6025 | 86.4245 | 86.4524
19 | Fígado G4 (1) |  | 20/02/2024 13:24:31 |  | C:\NexIONData\Dataset 3\Fígado G4 (1).876 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 78.1097 | 285.9467 | 79.864 | 69.4413 | 166.0922 | 120.4222 | 166.1045 | 121.2437 | 217.2332 | 163.4919 | 217.2576 | 164.421 | 289.0572 | 289.076
20 | Fígado G4 (2) |  | 20/02/2024 13:28:45 |  | C:\NexIONData\Dataset 3\Fígado G4 (2).877 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 75.1305 | 258.7875 | 72.6885 | 65.0847 | 146.9317 | 109.0271 | 146.9428 | 109.8019 | 192.1883 | 145.6666 | 192.2071 | 146.4972 | 265.4218 | 265.449
21 | Estômago G4 (1) |  | 20/02/2024 13:33:12 |  | C:\NexIONData\Dataset 3\Estômago G4 (1).878 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 83.454 | 286.4988 | 83.3167 | 64.53 | 140.3634 | 105.9367 | 140.3773 | 106.7832 | 188.5005 | 140.1698 | 188.522 | 141.2154 | 258.772 | 258.792
22 | Estômago G4 (2) |  | 20/02/2024 13:37:17 |  | C:\NexIONData\Dataset 3\Estômago G4 (2).879 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 82.9352 | 294.7606 | 89.0556 | 67.3112 | 151.5695 | 113.7739 | 151.5846 | 114.4832 | 202.5054 | 148.0251 | 202.5336 | 149.1548 | 283.4144 | 283.4284
23 | Brânquias G4 (1) |  | 20/02/2024 13:41:41 |  | C:\NexIONData\Dataset 3\Brânquias G4 (1).880 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 38.7022 | 144.7886 | 56.6014 | 51.6723 | 121.8892 | 87.5051 | 121.9024 | 88.3681 | 163.7309 | 121.0443 | 163.7539 | 122.0334 | 229.8853 | 229.8998
24 | Brânquias G4 (2) |  | 20/02/2024 13:46:32 |  | C:\NexIONData\Dataset 3\Brânquias G4 (2).881 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 36.1793 | 138.2805 | 51.3282 | 47.4512 | 112.6368 | 84.1902 | 112.6492 | 84.9766 | 154.9855 | 111.2553 | 155.0094 | 112.1829 | 214.9198 | 214.9491
25 | Filé G4 (1) |  | 20/02/2024 13:50:43 |  | C:\NexIONData\Dataset 3\Filé G4 (1).882 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 23.9019 | 93.3662 | 24.4439 | 18.7326 | 46.7161 | 31.2178 | 46.7286 | 31.8111 | 60.969 | 43.7995 | 60.9871 | 44.7445 | 87.901 | 87.9256
26 | Filé G4 (2) |  | 20/02/2024 13:55:02 |  | C:\NexIONData\Dataset 3\Filé G4 (2).883 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As Se antagonismo 20-04-23.mth | 24.4522 | 96.6614 | 25.6345 | 19.0471 | 48.3214 | 33.0073 | 48.3313 | 33.56 | 63.4195 | 45.1013 | 63.4379 | 45.8433 | 89.4338 | 89.4533

## Internal Standards
Row Index Number
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26