## Intensities
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 (cps) | Bkgd 220 (cps) | Ce 140 (IS) (cps) | Ce++ 70 (cps) | CeO 156 (cps) | In 115 (cps) | Mg 24 (cps) | U 238 (cps)
1 | Daily Performance Check |  | 11/04/2024 09:26:26 |  | C:\NexIONData\Dataset 3\Daily Performance Check.1091 | C:\NexIONData\Method\Daily Performance.mth | 1976.4701 | 1 | 29589.0257 | 234.2019 | 459.9408 | 29727.3689 | 11688.0468 | 32905.2561
2 | Daily Performance Check |  | 11/04/2024 09:39:25 |  | C:\NexIONData\Dataset 3\Daily Performance Check.1095 | C:\NexIONData\Method\Daily Performance.mth | 7162.862 | 0.5 | 77192.6025 | 963.2992 | 1591.0886 | 83163.0491 | 39553.2881 | 78663.4537
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 (cps) | As-1 75 (cps) | Se 82 (cps) | Se-1 82 (cps)
3 | Branco |  | 11/04/2024 11:51:20 |  | C:\NexIONData\Dataset 3\Branco.1100 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 1482.7436 | 29.2 | 40.5446 | 11.09
4 | 0.5 |  | 11/04/2024 11:53:48 |  | C:\NexIONData\Dataset 3\0.5.1101 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 2525.5566 | 210.8016 | 143.9046 | 39.315
5 | 1 |  | 11/04/2024 11:56:16 |  | C:\NexIONData\Dataset 3\1.1102 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 3609.6562 | 395.4721 | 244.9558 | 82.4154
6 | 2 |  | 11/04/2024 11:59:33 |  | C:\NexIONData\Dataset 3\2.1103 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 5860.2685 | 799.4891 | 527.9608 | 161.0944
7 | 5 |  | 11/04/2024 12:02:37 |  | C:\NexIONData\Dataset 3\5.1104 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 13075.0476 | 1944.7991 | 1264.8085 | 397.3464
8 | 10 |  | 11/04/2024 12:05:05 |  | C:\NexIONData\Dataset 3\10.1105 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 25237.2064 | 3950.2795 | 2503.6414 | 785.2187
9 | 15 |  | 11/04/2024 12:08:53 |  | C:\NexIONData\Dataset 3\15.1106 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 35312.794 | 5674.0602 | 3629.8822 | 1105.4081
10 | 30 |  | 11/04/2024 12:11:48 |  | C:\NexIONData\Dataset 3\30.1107 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 70159.6064 | 11236.0172 | 7280.216 | 2166.8612
11 | 50 |  | 11/04/2024 12:14:59 |  | C:\NexIONData\Dataset 3\50.1108 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 114846.469 | 18730.0049 | 11883.0858 | 3629.5429
12 | Pool Fígado controle (1) |  | 11/04/2024 12:18:16 |  | C:\NexIONData\Dataset 3\Pool Fígado controle (1).1109 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 6383.5596 | 736.6857 | 12806.6268 | 3402.4575
13 | Pool Fígado controle (2) |  | 11/04/2024 12:20:33 |  | C:\NexIONData\Dataset 3\Pool Fígado controle (2).1110 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 5675.7943 | 625.2137 | 12476.9659 | 3279.2419
14 | Pool Estômago controle (1) |  | 11/04/2024 12:23:04 |  | C:\NexIONData\Dataset 3\Pool Estômago controle (1).1111 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 7106.9683 | 416.8061 | 9740.0369 | 2536.1662
15 | Pool Estômago controle (2) |  | 11/04/2024 12:25:50 |  | C:\NexIONData\Dataset 3\Pool Estômago controle (2).1112 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 7233.5647 | 387.0719 | 10025.8233 | 2526.0505
16 | Pool Brânquias controle (1) |  | 11/04/2024 12:28:34 |  | C:\NexIONData\Dataset 3\Pool Brânquias controle (1).1113 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 8056.0042 | 542.677 | 8801.1997 | 2305.0158
17 | Pool Brânquias controle (2) |  | 11/04/2024 12:30:54 |  | C:\NexIONData\Dataset 3\Pool Brânquias controle (2).1114 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 6529.7588 | 488.675 | 8326.6029 | 2233.3097
18 | Pool Filé controle (1) |  | 11/04/2024 12:33:33 |  | C:\NexIONData\Dataset 3\Pool Filé controle (1).1115 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 2931.9009 | 212.9349 | 7336.2419 | 1800.6823
19 | Pool Filé controle (2) |  | 11/04/2024 12:37:30 |  | C:\NexIONData\Dataset 3\Pool Filé controle (2).1116 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 2709.857 | 199.2014 | 6853.8956 | 1729.0673
20 | Pool Fígado G4 (1) |  | 11/04/2024 12:40:00 |  | C:\NexIONData\Dataset 3\Pool Fígado G4 (1).1117 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 191177.5166 | 26802.9933 | 22721.4235 | 5805.6985
21 | Pool Fígado G4 (2) |  | 11/04/2024 12:43:12 |  | C:\NexIONData\Dataset 3\Pool Fígado G4 (2).1118 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 176862.8184 | 23495.8438 | 21474.5823 | 5340.8502
22 | Branco |  | 11/04/2024 12:46:12 |  | C:\NexIONData\Dataset 3\Branco.1119 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 900.8284 | 72.8002 | 4832.453 | 1230.4687
23 | Branco |  | 11/04/2024 12:47:28 |  | C:\NexIONData\Dataset 3\Branco.1120 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 980.967 | 56.8001 | 4919.8877 | 1232.0771
24 | Branco |  | 11/04/2024 12:50:10 |  | C:\NexIONData\Dataset 3\Branco.1121 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 925.3633 | 55.7334 | 4621.395 | 1178.6358
25 | Branco |  | 11/04/2024 12:51:30 |  | C:\NexIONData\Dataset 3\Branco.1122 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 920.8297 | 52.9334 | 4654.5256 | 1186.101
26 | Pool Brânquias G4 (1) |  | 11/04/2024 12:53:56 |  | C:\NexIONData\Dataset 3\Pool Brânquias G4 (1).1123 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 79033.0827 | 10775.7961 | 18216.0614 | 4454.3884
27 | Pool Brânquias G4 (2) |  | 11/04/2024 12:56:56 |  | C:\NexIONData\Dataset 3\Pool Brânquias G4 (2).1125 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 71600.0575 | 9749.8593 | 17037.8105 | 4344.6392
28 | Pool Filé G4 (1) |  | 11/04/2024 12:59:50 |  | C:\NexIONData\Dataset 3\Pool Filé G4 (1).1126 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 48634.9185 | 6813.3579 | 9528.7554 | 2278.073
29 | Pool Filé G4 (2) |  | 11/04/2024 13:02:53 |  | C:\NexIONData\Dataset 3\Pool Filé G4 (2).1127 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 48459.4086 | 6562.5738 | 9691.3143 | 2240.7262
30 | Branco |  | 11/04/2024 13:06:48 |  | C:\NexIONData\Dataset 3\Branco.1128 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 798.8223 | 45.7334 | 3966.8457 | 1055.951
31 | Branco |  | 11/04/2024 13:08:02 |  | C:\NexIONData\Dataset 3\Branco.1129 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 784.0215 | 51.0668 | 3902.3747 | 995.8205
32 | HNO3 1% |  | 11/04/2024 13:10:04 |  | C:\NexIONData\Dataset 3\HNO3 1%.1130 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 742.8193 | 48.2667 | 34.2071 | 26.0422
33 | HNO3 1% |  | 11/04/2024 13:12:08 |  | C:\NexIONData\Dataset 3\HNO3 1%.1131 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 676.416 | 51.2001 | 19.0237 | 7.1036

## Intensities RSDs
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 | Bkgd 220 | Ce 140 (IS) | Ce++ 70 | CeO 156 | In 115 | Mg 24 | U 238
1 | Daily Performance Check |  | 11/04/2024 09:26:26 |  | C:\NexIONData\Dataset 3\Daily Performance Check.1091 | C:\NexIONData\Method\Daily Performance.mth | 1.981% | 47.14% | 2.441% | 10.05% | 5.943% | 1.316% | 1.42% | 1.03%
2 | Daily Performance Check |  | 11/04/2024 09:39:25 |  | C:\NexIONData\Dataset 3\Daily Performance Check.1095 | C:\NexIONData\Method\Daily Performance.mth | 0.8326% | 81.65% | 0.7795% | 2.062% | 1.895% | 1.065% | 1.324% | 0.4693%
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 | As-1 75 | Se 82 | Se-1 82
3 | Branco |  | 11/04/2024 11:51:20 |  | C:\NexIONData\Dataset 3\Branco.1100 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 1.685% | 18.98% | 46.03% | 53.74%
4 | 0.5 |  | 11/04/2024 11:53:48 |  | C:\NexIONData\Dataset 3\0.5.1101 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 0.5989% | 5.607% | 3.766% | 19.14%
5 | 1 |  | 11/04/2024 11:56:16 |  | C:\NexIONData\Dataset 3\1.1102 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 2.571% | 4.304% | 2.501% | 21.19%
6 | 2 |  | 11/04/2024 11:59:33 |  | C:\NexIONData\Dataset 3\2.1103 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 0.8687% | 3.593% | 3.504% | 10.02%
7 | 5 |  | 11/04/2024 12:02:37 |  | C:\NexIONData\Dataset 3\5.1104 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 0.7462% | 1.837% | 1.169% | 5.833%
8 | 10 |  | 11/04/2024 12:05:05 |  | C:\NexIONData\Dataset 3\10.1105 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 0.6596% | 1.608% | 2.246% | 4.581%
9 | 15 |  | 11/04/2024 12:08:53 |  | C:\NexIONData\Dataset 3\15.1106 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 1.03% | 2.022% | 0.7081% | 3.169%
10 | 30 |  | 11/04/2024 12:11:48 |  | C:\NexIONData\Dataset 3\30.1107 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 1.032% | 0.9411% | 0.806% | 2.163%
11 | 50 |  | 11/04/2024 12:14:59 |  | C:\NexIONData\Dataset 3\50.1108 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 0.5897% | 1.182% | 1.088% | 1.931%
12 | Pool Fígado controle (1) |  | 11/04/2024 12:18:16 |  | C:\NexIONData\Dataset 3\Pool Fígado controle (1).1109 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 1.943% | 2.665% | 1.267% | 5.022%
13 | Pool Fígado controle (2) |  | 11/04/2024 12:20:33 |  | C:\NexIONData\Dataset 3\Pool Fígado controle (2).1110 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 2.024% | 3.277% | 1.441% | 1.334%
14 | Pool Estômago controle (1) |  | 11/04/2024 12:23:04 |  | C:\NexIONData\Dataset 3\Pool Estômago controle (1).1111 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 2.793% | 7.598% | 0.4286% | 1.499%
15 | Pool Estômago controle (2) |  | 11/04/2024 12:25:50 |  | C:\NexIONData\Dataset 3\Pool Estômago controle (2).1112 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 1.968% | 2.526% | 1.945% | 0.9132%
16 | Pool Brânquias controle (1) |  | 11/04/2024 12:28:34 |  | C:\NexIONData\Dataset 3\Pool Brânquias controle (1).1113 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 0.6728% | 2.768% | 0.4937% | 2.8%
17 | Pool Brânquias controle (2) |  | 11/04/2024 12:30:54 |  | C:\NexIONData\Dataset 3\Pool Brânquias controle (2).1114 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 1.205% | 1.658% | 0.5075% | 1.588%
18 | Pool Filé controle (1) |  | 11/04/2024 12:33:33 |  | C:\NexIONData\Dataset 3\Pool Filé controle (1).1115 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 1.016% | 4.463% | 0.909% | 2.072%
19 | Pool Filé controle (2) |  | 11/04/2024 12:37:30 |  | C:\NexIONData\Dataset 3\Pool Filé controle (2).1116 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 1.702% | 8.032% | 1.76% | 4.209%
20 | Pool Fígado G4 (1) |  | 11/04/2024 12:40:00 |  | C:\NexIONData\Dataset 3\Pool Fígado G4 (1).1117 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 1.818% | 1.921% | 2.121% | 1.47%
21 | Pool Fígado G4 (2) |  | 11/04/2024 12:43:12 |  | C:\NexIONData\Dataset 3\Pool Fígado G4 (2).1118 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 2.172% | 1.847% | 2.516% | 0.8633%
22 | Branco |  | 11/04/2024 12:46:12 |  | C:\NexIONData\Dataset 3\Branco.1119 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 1.269% | 2.907% | 0.6629% | 1.223%
23 | Branco |  | 11/04/2024 12:47:28 |  | C:\NexIONData\Dataset 3\Branco.1120 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 2.191% | 11.64% | 2.393% | 0.5289%
24 | Branco |  | 11/04/2024 12:50:10 |  | C:\NexIONData\Dataset 3\Branco.1121 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 3.995% | 6.271% | 2.529% | 1.95%
25 | Branco |  | 11/04/2024 12:51:30 |  | C:\NexIONData\Dataset 3\Branco.1122 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 1.994% | 7.182% | 1.184% | 0.1545%
26 | Pool Brânquias G4 (1) |  | 11/04/2024 12:53:56 |  | C:\NexIONData\Dataset 3\Pool Brânquias G4 (1).1123 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 0.2813% | 0.823% | 0.6886% | 4.405%
27 | Pool Brânquias G4 (2) |  | 11/04/2024 12:56:56 |  | C:\NexIONData\Dataset 3\Pool Brânquias G4 (2).1125 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 0.8937% | 0.4028% | 1.451% | 0.6505%
28 | Pool Filé G4 (1) |  | 11/04/2024 12:59:50 |  | C:\NexIONData\Dataset 3\Pool Filé G4 (1).1126 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 0.9653% | 1.245% | 0.6714% | 6.115%
29 | Pool Filé G4 (2) |  | 11/04/2024 13:02:53 |  | C:\NexIONData\Dataset 3\Pool Filé G4 (2).1127 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 2.073% | 0.9471% | 1.705% | 3.867%
30 | Branco |  | 11/04/2024 13:06:48 |  | C:\NexIONData\Dataset 3\Branco.1128 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 1.147% | 5.05% | 0.9207% | 2.825%
31 | Branco |  | 11/04/2024 13:08:02 |  | C:\NexIONData\Dataset 3\Branco.1129 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 4.715% | 15.77% | 1.384% | 1.881%
32 | HNO3 1% |  | 11/04/2024 13:10:04 |  | C:\NexIONData\Dataset 3\HNO3 1%.1130 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 2.868% | 7.52% | 25.14% | 23.13%
33 | HNO3 1% |  | 11/04/2024 13:12:08 |  | C:\NexIONData\Dataset 3\HNO3 1%.1131 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 1.423% | 7.453% | 59.43% | 37.7%

## Concentrations
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 (ug/L) | Bkgd 220 (mg/L) | Ce 140 (IS) | Ce++ 70 (mg/L) | CeO 156 (mg/L) | In 115 (mg/L) | Mg 24 (ug/L) | U 238 (mg/L)
1 | Daily Performance Check |  | 11/04/2024 09:26:26 |  | C:\NexIONData\Dataset 3\Daily Performance Check.1091 | C:\NexIONData\Method\Daily Performance.mth
2 | Daily Performance Check |  | 11/04/2024 09:39:25 |  | C:\NexIONData\Dataset 3\Daily Performance Check.1095 | C:\NexIONData\Method\Daily Performance.mth
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 (ug/L) | As-1 75 (ug/L) | Se 82 (ug/L) | Se-1 82 (ug/L)
3 | Branco |  | 11/04/2024 11:51:20 |  | C:\NexIONData\Dataset 3\Branco.1100 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth
4 | 0.5 |  | 11/04/2024 11:53:48 |  | C:\NexIONData\Dataset 3\0.5.1101 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 0.5 | 0.5 | 0.5 | 0.5
5 | 1 |  | 11/04/2024 11:56:16 |  | C:\NexIONData\Dataset 3\1.1102 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 1.0039 | 1.0017 | 0.99775 | 1.0435
6 | 2 |  | 11/04/2024 11:59:33 |  | C:\NexIONData\Dataset 3\2.1103 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 2.0154 | 2.0244 | 2.0789 | 2.0431
7 | 5 |  | 11/04/2024 12:02:37 |  | C:\NexIONData\Dataset 3\5.1104 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 5.0554 | 5.0059 | 5.0371 | 5.0434
8 | 10 |  | 11/04/2024 12:05:05 |  | C:\NexIONData\Dataset 3\10.1105 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 10.0812 | 10.0562 | 10.0308 | 10.0249
9 | 15 |  | 11/04/2024 12:08:53 |  | C:\NexIONData\Dataset 3\15.1106 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 14.7578 | 14.804 | 14.8574 | 14.6851
10 | 30 |  | 11/04/2024 12:11:48 |  | C:\NexIONData\Dataset 3\30.1107 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 29.9884 | 29.825 | 29.9907 | 29.689
11 | 50 |  | 11/04/2024 12:14:59 |  | C:\NexIONData\Dataset 3\50.1108 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 49.8322 | 49.9225 | 49.6813 | 49.944
12 | Pool Fígado controle (1) |  | 11/04/2024 12:18:16 |  | C:\NexIONData\Dataset 3\Pool Fígado controle (1).1109 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 2.1543 | 1.8887 | 53.5556 | 46.8096
13 | Pool Fígado controle (2) |  | 11/04/2024 12:20:33 |  | C:\NexIONData\Dataset 3\Pool Fígado controle (2).1110 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 1.8432 | 1.5911 | 52.1727 | 45.109
14 | Pool Estômago controle (1) |  | 11/04/2024 12:23:04 |  | C:\NexIONData\Dataset 3\Pool Estômago controle (1).1111 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 2.4723 | 1.0347 | 40.6908 | 34.8526
15 | Pool Estômago controle (2) |  | 11/04/2024 12:25:50 |  | C:\NexIONData\Dataset 3\Pool Estômago controle (2).1112 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 2.5279 | 0.95535 | 41.8898 | 34.713
16 | Pool Brânquias controle (1) |  | 11/04/2024 12:28:34 |  | C:\NexIONData\Dataset 3\Pool Brânquias controle (1).1113 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 2.8895 | 1.3707 | 36.7523 | 31.6621
17 | Pool Brânquias controle (2) |  | 11/04/2024 12:30:54 |  | C:\NexIONData\Dataset 3\Pool Brânquias controle (2).1114 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 2.2186 | 1.2266 | 34.7613 | 30.6724
18 | Pool Filé controle (1) |  | 11/04/2024 12:33:33 |  | C:\NexIONData\Dataset 3\Pool Filé controle (1).1115 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 0.63702 | 0.49049 | 30.6066 | 24.701
19 | Pool Filé controle (2) |  | 11/04/2024 12:37:30 |  | C:\NexIONData\Dataset 3\Pool Filé controle (2).1116 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 0.53941 | 0.45383 | 28.583 | 23.7125
20 | Pool Fígado G4 (1) |  | 11/04/2024 12:40:00 |  | C:\NexIONData\Dataset 3\Pool Fígado G4 (1).1117 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 83.3856 | 71.4737 | 95.1497 | 79.9806
21 | Pool Fígado G4 (2) |  | 11/04/2024 12:43:12 |  | C:\NexIONData\Dataset 3\Pool Fígado G4 (2).1118 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 77.0932 | 62.6451 | 89.919 | 73.5645
22 | Branco |  | 11/04/2024 12:46:12 |  | C:\NexIONData\Dataset 3\Branco.1119 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | -0.2558 | 0.11639 | 20.1028 | 16.8306
23 | Branco |  | 11/04/2024 12:47:28 |  | C:\NexIONData\Dataset 3\Branco.1120 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | -0.22057 | 0.073679 | 20.4696 | 16.8528
24 | Branco |  | 11/04/2024 12:50:10 |  | C:\NexIONData\Dataset 3\Branco.1121 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | -0.24501 | 0.070832 | 19.2174 | 16.1152
25 | Branco |  | 11/04/2024 12:51:30 |  | C:\NexIONData\Dataset 3\Branco.1122 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | -0.24701 | 0.063357 | 19.3563 | 16.2182
26 | Pool Brânquias G4 (1) |  | 11/04/2024 12:53:56 |  | C:\NexIONData\Dataset 3\Pool Brânquias G4 (1).1123 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 34.0894 | 28.6884 | 76.249 | 61.329
27 | Pool Brânquias G4 (2) |  | 11/04/2024 12:56:56 |  | C:\NexIONData\Dataset 3\Pool Brânquias G4 (2).1125 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 30.822 | 25.9497 | 71.3061 | 59.8142
28 | Pool Filé G4 (1) |  | 11/04/2024 12:59:50 |  | C:\NexIONData\Dataset 3\Pool Filé G4 (1).1126 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 20.7271 | 18.1106 | 39.8045 | 31.2902
29 | Pool Filé G4 (2) |  | 11/04/2024 13:02:53 |  | C:\NexIONData\Dataset 3\Pool Filé G4 (2).1127 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 20.6499 | 17.4411 | 40.4864 | 30.7747
30 | Branco |  | 11/04/2024 13:06:48 |  | C:\NexIONData\Dataset 3\Branco.1128 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | -0.30064 | 0.044136 | 16.4714 | 14.4218
31 | Branco |  | 11/04/2024 13:08:02 |  | C:\NexIONData\Dataset 3\Branco.1129 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | -0.30714 | 0.058374 | 16.201 | 13.5918
32 | HNO3 1% |  | 11/04/2024 13:10:04 |  | C:\NexIONData\Dataset 3\HNO3 1%.1130 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | -0.32525 | 0.050899 | -0.026587 | 0.20638
33 | HNO3 1% |  | 11/04/2024 13:12:08 |  | C:\NexIONData\Dataset 3\HNO3 1%.1131 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | -0.35444 | 0.05873 | -0.090283 | -0.055023

## Concentrations RSDs
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 | Bkgd 220 | Ce 140 (IS) | Ce++ 70 | CeO 156 | In 115 | Mg 24 | U 238
1 | Daily Performance Check |  | 11/04/2024 09:26:26 |  | C:\NexIONData\Dataset 3\Daily Performance Check.1091 | C:\NexIONData\Method\Daily Performance.mth
2 | Daily Performance Check |  | 11/04/2024 09:39:25 |  | C:\NexIONData\Dataset 3\Daily Performance Check.1095 | C:\NexIONData\Method\Daily Performance.mth
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 | As-1 75 | Se 82 | Se-1 82
3 | Branco |  | 11/04/2024 11:51:20 |  | C:\NexIONData\Dataset 3\Branco.1100 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth
4 | 0.5 |  | 11/04/2024 11:53:48 |  | C:\NexIONData\Dataset 3\0.5.1101 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 1.45% | 6.508% | 5.243% | 26.66%
5 | 1 |  | 11/04/2024 11:56:16 |  | C:\NexIONData\Dataset 3\1.1102 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 4.363% | 4.647% | 2.997% | 24.49%
6 | 2 |  | 11/04/2024 11:59:33 |  | C:\NexIONData\Dataset 3\2.1103 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 1.163% | 3.729% | 3.795% | 10.76%
7 | 5 |  | 11/04/2024 12:02:37 |  | C:\NexIONData\Dataset 3\5.1104 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 0.8417% | 1.865% | 1.208% | 6.001%
8 | 10 |  | 11/04/2024 12:05:05 |  | C:\NexIONData\Dataset 3\10.1105 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 0.7008% | 1.62% | 2.283% | 4.646%
9 | 15 |  | 11/04/2024 12:08:53 |  | C:\NexIONData\Dataset 3\15.1106 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 1.075% | 2.032% | 0.7161% | 3.201%
10 | 30 |  | 11/04/2024 12:11:48 |  | C:\NexIONData\Dataset 3\30.1107 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 1.055% | 0.9435% | 0.8105% | 2.174%
11 | 50 |  | 11/04/2024 12:14:59 |  | C:\NexIONData\Dataset 3\50.1108 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 0.5975% | 1.184% | 1.092% | 1.937%
12 | Pool Fígado controle (1) |  | 11/04/2024 12:18:16 |  | C:\NexIONData\Dataset 3\Pool Fígado controle (1).1109 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 2.531% | 2.775% | 1.271% | 5.039%
13 | Pool Fígado controle (2) |  | 11/04/2024 12:20:33 |  | C:\NexIONData\Dataset 3\Pool Fígado controle (2).1110 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 2.739% | 3.437% | 1.446% | 1.338%
14 | Pool Estômago controle (1) |  | 11/04/2024 12:23:04 |  | C:\NexIONData\Dataset 3\Pool Estômago controle (1).1111 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 3.529% | 8.17% | 0.4304% | 1.506%
15 | Pool Estômago controle (2) |  | 11/04/2024 12:25:50 |  | C:\NexIONData\Dataset 3\Pool Estômago controle (2).1112 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 2.475% | 2.732% | 1.953% | 0.9172%
16 | Pool Brânquias controle (1) |  | 11/04/2024 12:28:34 |  | C:\NexIONData\Dataset 3\Pool Brânquias controle (1).1113 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 0.8246% | 2.926% | 0.496% | 2.814%
17 | Pool Brânquias controle (2) |  | 11/04/2024 12:30:54 |  | C:\NexIONData\Dataset 3\Pool Brânquias controle (2).1114 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 1.558% | 1.764% | 0.5099% | 1.596%
18 | Pool Filé controle (1) |  | 11/04/2024 12:33:33 |  | C:\NexIONData\Dataset 3\Pool Filé controle (1).1115 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 2.056% | 5.172% | 0.9141% | 2.085%
19 | Pool Filé controle (2) |  | 11/04/2024 12:37:30 |  | C:\NexIONData\Dataset 3\Pool Filé controle (2).1116 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 3.759% | 9.412% | 1.771% | 4.236%
20 | Pool Fígado G4 (1) |  | 11/04/2024 12:40:00 |  | C:\NexIONData\Dataset 3\Pool Fígado G4 (1).1117 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 1.832% | 1.923% | 2.125% | 1.473%
21 | Pool Fígado G4 (2) |  | 11/04/2024 12:43:12 |  | C:\NexIONData\Dataset 3\Pool Fígado G4 (2).1118 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 2.19% | 1.85% | 2.521% | 0.8651%
22 | Branco |  | 11/04/2024 12:46:12 |  | C:\NexIONData\Dataset 3\Branco.1119 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 1.965% | 4.855% | 0.6685% | 1.234%
23 | Branco |  | 11/04/2024 12:47:28 |  | C:\NexIONData\Dataset 3\Branco.1120 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 4.283% | 23.95% | 2.413% | 0.5337%
24 | Branco |  | 11/04/2024 12:50:10 |  | C:\NexIONData\Dataset 3\Branco.1121 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 6.633% | 13.17% | 2.551% | 1.969%
25 | Branco |  | 11/04/2024 12:51:30 |  | C:\NexIONData\Dataset 3\Branco.1122 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 3.268% | 16.02% | 1.194% | 0.156%
26 | Pool Brânquias G4 (1) |  | 11/04/2024 12:53:56 |  | C:\NexIONData\Dataset 3\Pool Brânquias G4 (1).1123 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 0.2867% | 0.8252% | 0.6901% | 4.416%
27 | Pool Brânquias G4 (2) |  | 11/04/2024 12:56:56 |  | C:\NexIONData\Dataset 3\Pool Brânquias G4 (2).1125 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 0.9126% | 0.404% | 1.454% | 0.6522%
28 | Pool Filé G4 (1) |  | 11/04/2024 12:59:50 |  | C:\NexIONData\Dataset 3\Pool Filé G4 (1).1126 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 0.9957% | 1.251% | 0.6742% | 6.145%
29 | Pool Filé G4 (2) |  | 11/04/2024 13:02:53 |  | C:\NexIONData\Dataset 3\Pool Filé G4 (2).1127 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 2.138% | 0.9513% | 1.713% | 3.887%
30 | Branco |  | 11/04/2024 13:06:48 |  | C:\NexIONData\Dataset 3\Branco.1128 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 1.34% | 13.97% | 0.9302% | 2.855%
31 | Branco |  | 11/04/2024 13:08:02 |  | C:\NexIONData\Dataset 3\Branco.1129 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 5.291% | 36.83% | 1.399% | 1.902%
32 | HNO3 1% |  | 11/04/2024 13:10:04 |  | C:\NexIONData\Dataset 3\HNO3 1%.1130 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 2.879% | 19.04% | 135.7% | 40.28%
33 | HNO3 1% |  | 11/04/2024 13:12:08 |  | C:\NexIONData\Dataset 3\HNO3 1%.1131 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 1.194% | 17.34% | 52.54% | 67.18%

## Unfactored Concentrations
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 (ug/L) | Bkgd 220 (mg/L) | Ce 140 (IS) | Ce++ 70 (mg/L) | CeO 156 (mg/L) | In 115 (mg/L) | Mg 24 (ug/L) | U 238 (mg/L)
1 | Daily Performance Check |  | 11/04/2024 09:26:26 |  | C:\NexIONData\Dataset 3\Daily Performance Check.1091 | C:\NexIONData\Method\Daily Performance.mth
2 | Daily Performance Check |  | 11/04/2024 09:39:25 |  | C:\NexIONData\Dataset 3\Daily Performance Check.1095 | C:\NexIONData\Method\Daily Performance.mth
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 (ug/L) | As-1 75 (ug/L) | Se 82 (ug/L) | Se-1 82 (ug/L)
3 | Branco |  | 11/04/2024 11:51:20 |  | C:\NexIONData\Dataset 3\Branco.1100 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth
4 | 0.5 |  | 11/04/2024 11:53:48 |  | C:\NexIONData\Dataset 3\0.5.1101 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 0.5 | 0.5 | 0.5 | 0.5
5 | 1 |  | 11/04/2024 11:56:16 |  | C:\NexIONData\Dataset 3\1.1102 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 1.0039 | 1.0017 | 0.99775 | 1.0435
6 | 2 |  | 11/04/2024 11:59:33 |  | C:\NexIONData\Dataset 3\2.1103 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 2.0154 | 2.0244 | 2.0789 | 2.0431
7 | 5 |  | 11/04/2024 12:02:37 |  | C:\NexIONData\Dataset 3\5.1104 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 5.0554 | 5.0059 | 5.0371 | 5.0434
8 | 10 |  | 11/04/2024 12:05:05 |  | C:\NexIONData\Dataset 3\10.1105 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 10.0812 | 10.0562 | 10.0308 | 10.0249
9 | 15 |  | 11/04/2024 12:08:53 |  | C:\NexIONData\Dataset 3\15.1106 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 14.7578 | 14.804 | 14.8574 | 14.6851
10 | 30 |  | 11/04/2024 12:11:48 |  | C:\NexIONData\Dataset 3\30.1107 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 29.9884 | 29.825 | 29.9907 | 29.689
11 | 50 |  | 11/04/2024 12:14:59 |  | C:\NexIONData\Dataset 3\50.1108 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 49.8322 | 49.9225 | 49.6813 | 49.944
12 | Pool Fígado controle (1) |  | 11/04/2024 12:18:16 |  | C:\NexIONData\Dataset 3\Pool Fígado controle (1).1109 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 2.1543 | 1.8887 | 53.5556 | 46.8096
13 | Pool Fígado controle (2) |  | 11/04/2024 12:20:33 |  | C:\NexIONData\Dataset 3\Pool Fígado controle (2).1110 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 1.8432 | 1.5911 | 52.1727 | 45.109
14 | Pool Estômago controle (1) |  | 11/04/2024 12:23:04 |  | C:\NexIONData\Dataset 3\Pool Estômago controle (1).1111 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 2.4723 | 1.0347 | 40.6908 | 34.8526
15 | Pool Estômago controle (2) |  | 11/04/2024 12:25:50 |  | C:\NexIONData\Dataset 3\Pool Estômago controle (2).1112 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 2.5279 | 0.95535 | 41.8898 | 34.713
16 | Pool Brânquias controle (1) |  | 11/04/2024 12:28:34 |  | C:\NexIONData\Dataset 3\Pool Brânquias controle (1).1113 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 2.8895 | 1.3707 | 36.7523 | 31.6621
17 | Pool Brânquias controle (2) |  | 11/04/2024 12:30:54 |  | C:\NexIONData\Dataset 3\Pool Brânquias controle (2).1114 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 2.2186 | 1.2266 | 34.7613 | 30.6724
18 | Pool Filé controle (1) |  | 11/04/2024 12:33:33 |  | C:\NexIONData\Dataset 3\Pool Filé controle (1).1115 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 0.63702 | 0.49049 | 30.6066 | 24.701
19 | Pool Filé controle (2) |  | 11/04/2024 12:37:30 |  | C:\NexIONData\Dataset 3\Pool Filé controle (2).1116 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 0.53941 | 0.45383 | 28.583 | 23.7125
20 | Pool Fígado G4 (1) |  | 11/04/2024 12:40:00 |  | C:\NexIONData\Dataset 3\Pool Fígado G4 (1).1117 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 83.3856 | 71.4737 | 95.1497 | 79.9806
21 | Pool Fígado G4 (2) |  | 11/04/2024 12:43:12 |  | C:\NexIONData\Dataset 3\Pool Fígado G4 (2).1118 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 77.0932 | 62.6451 | 89.919 | 73.5645
22 | Branco |  | 11/04/2024 12:46:12 |  | C:\NexIONData\Dataset 3\Branco.1119 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | -0.2558 | 0.11639 | 20.1028 | 16.8306
23 | Branco |  | 11/04/2024 12:47:28 |  | C:\NexIONData\Dataset 3\Branco.1120 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | -0.22057 | 0.073679 | 20.4696 | 16.8528
24 | Branco |  | 11/04/2024 12:50:10 |  | C:\NexIONData\Dataset 3\Branco.1121 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | -0.24501 | 0.070832 | 19.2174 | 16.1152
25 | Branco |  | 11/04/2024 12:51:30 |  | C:\NexIONData\Dataset 3\Branco.1122 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | -0.24701 | 0.063357 | 19.3563 | 16.2182
26 | Pool Brânquias G4 (1) |  | 11/04/2024 12:53:56 |  | C:\NexIONData\Dataset 3\Pool Brânquias G4 (1).1123 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 34.0894 | 28.6884 | 76.249 | 61.329
27 | Pool Brânquias G4 (2) |  | 11/04/2024 12:56:56 |  | C:\NexIONData\Dataset 3\Pool Brânquias G4 (2).1125 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 30.822 | 25.9497 | 71.3061 | 59.8142
28 | Pool Filé G4 (1) |  | 11/04/2024 12:59:50 |  | C:\NexIONData\Dataset 3\Pool Filé G4 (1).1126 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 20.7271 | 18.1106 | 39.8045 | 31.2902
29 | Pool Filé G4 (2) |  | 11/04/2024 13:02:53 |  | C:\NexIONData\Dataset 3\Pool Filé G4 (2).1127 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | 20.6499 | 17.4411 | 40.4864 | 30.7747
30 | Branco |  | 11/04/2024 13:06:48 |  | C:\NexIONData\Dataset 3\Branco.1128 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | -0.30064 | 0.044136 | 16.4714 | 14.4218
31 | Branco |  | 11/04/2024 13:08:02 |  | C:\NexIONData\Dataset 3\Branco.1129 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | -0.30714 | 0.058374 | 16.201 | 13.5918
32 | HNO3 1% |  | 11/04/2024 13:10:04 |  | C:\NexIONData\Dataset 3\HNO3 1%.1130 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | -0.32525 | 0.050899 | -0.026587 | 0.20638
33 | HNO3 1% |  | 11/04/2024 13:12:08 |  | C:\NexIONData\Dataset 3\HNO3 1%.1131 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Análise As e Se82 antagonismo 11-04-24.mth | -0.35444 | 0.05873 | -0.090283 | -0.055023

## Internal Standards
Row Index Number
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33