## Intensities
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 (cps) | Bkgd 220 (cps) | Ce 140 (IS) (cps) | Ce++ 70 (cps) | CeO 156 (cps) | In 115 (cps) | Mg 24 (cps) | U 238 (cps)
1 | Daily Performance Check |  | 17/01/2023 09:50:37 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.785 | C:\NexIONData\Method\Daily Performance.mth | 6930.4146 | 0.36667 | 84258.0201 | 1559.8852 | 1907.9941 | 94444.2487 | 62971.1627 | 61219.5122
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 (cps) | As-1 75 (cps)
2 | Branco |  | 17/01/2023 11:09:08 |  | C:\NexIONData\DataSet\Default\Branco.788 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 1488.8776 | 12.1333
3 | 0.1 |  | 17/01/2023 11:13:59 |  | C:\NexIONData\DataSet\Default\0.1.789 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 2824.946 | 55.3334
4 | 0.5 |  | 17/01/2023 11:17:34 |  | C:\NexIONData\DataSet\Default\0.5.790 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 4955.1259 | 133.2006
5 | 1 |  | 17/01/2023 11:20:01 |  | C:\NexIONData\DataSet\Default\1.791 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 7945.1421 | 228.0018
6 | 2 |  | 17/01/2023 11:22:03 |  | C:\NexIONData\DataSet\Default\2.792 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 16298.0919 | 506.1423
7 | 5 |  | 17/01/2023 11:27:14 |  | C:\NexIONData\DataSet\Default\5.793 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 33839.0972 | 1084.7079
8 | 10 |  | 17/01/2023 11:30:36 |  | C:\NexIONData\DataSet\Default\10.795 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 60234.1897 | 1889.1916
9 | 15 |  | 17/01/2023 11:33:12 |  | C:\NexIONData\DataSet\Default\15.796 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 88076.8305 | 2793.4731
10 | 30 |  | 17/01/2023 11:37:07 |  | C:\NexIONData\DataSet\Default\30.797 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 177294.0457 | 5811.4486
11 | Peixe IPEN (1) |  | 17/01/2023 11:39:50 |  | C:\NexIONData\DataSet\Default\Peixe IPEN (1).798 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 112342.1321 | 3551.7748
12 | Peixe IPEN (2) |  | 17/01/2023 11:43:15 |  | C:\NexIONData\DataSet\Default\Peixe IPEN (2).799 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 114740.8347 | 3691.0102
13 | Peixe IPEN (3) |  | 17/01/2023 11:46:16 |  | C:\NexIONData\DataSet\Default\Peixe IPEN (3).800 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 111496.214 | 3537.9047
14 | Mussel tissue (1) |  | 17/01/2023 11:49:06 |  | C:\NexIONData\DataSet\Default\Mussel tissue (1).801 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 261968.0576 | 8150.5911
15 | Mussel tissue (2) |  | 17/01/2023 11:51:07 |  | C:\NexIONData\DataSet\Default\Mussel tissue (2).802 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 277800.9701 | 8301.8783
16 | Mussel tissue (3) |  | 17/01/2023 11:53:38 |  | C:\NexIONData\DataSet\Default\Mussel tissue (3).803 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 271623.0675 | 8770.825
17 | Mussel tissue (1) diluido 10x |  | 17/01/2023 11:56:28 |  | C:\NexIONData\DataSet\Default\Mussel tissue (1) diluido 10x.804 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 38549.5432 | 1184.3158
18 | Mussel tissue (2) diluido 10x |  | 17/01/2023 11:59:01 |  | C:\NexIONData\DataSet\Default\Mussel tissue (2) diluido 10x.805 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 43238.9374 | 1378.1999
19 | Mussel tissue (3) diluido 10x |  | 17/01/2023 12:01:28 |  | C:\NexIONData\DataSet\Default\Mussel tissue (3) diluido 10x.806 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 34760.5059 | 1070.8401
20 | DOLT-5 (1) |  | 17/01/2023 12:03:44 |  | C:\NexIONData\DataSet\Default\DOLT-5 (1).807 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 666944.525 | 21247.9233
21 | DOLT-5 (2) |  | 17/01/2023 12:06:14 |  | C:\NexIONData\DataSet\Default\DOLT-5 (2).808 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 593809.8345 | 19037.8773
22 | DOLT-5 (3) |  | 17/01/2023 12:09:08 |  | C:\NexIONData\DataSet\Default\DOLT-5 (3).809 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 655527.8959 | 20841.7301
23 | DOLT-5 (1) diluido 10x |  | 17/01/2023 12:59:25 |  | C:\NexIONData\DataSet\Default\DOLT-5 (1) diluido 10x.810 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 61696.8086 | 2201.503
24 | DOLT-5 (2) diluido 10x |  | 17/01/2023 13:02:48 |  | C:\NexIONData\DataSet\Default\DOLT-5 (2) diluido 10x.811 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 60365.6797 | 2131.2257
25 | DOLT-5 (3) diluido 10x |  | 17/01/2023 13:05:36 |  | C:\NexIONData\DataSet\Default\DOLT-5 (3) diluido 10x.812 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 60922.5731 | 2136.6931
26 | Branco |  | 17/01/2023 13:10:16 |  | C:\NexIONData\DataSet\Default\Branco.813 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 714.6846 | 18.2667
27 | Branco |  | 17/01/2023 13:10:56 |  | C:\NexIONData\DataSet\Default\Branco.814 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 724.8184 | 21.0667
28 | Branco |  | 17/01/2023 13:12:12 |  | C:\NexIONData\DataSet\Default\Branco.815 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 743.486 | 19.0667
29 | Branco |  | 17/01/2023 13:13:07 |  | C:\NexIONData\DataSet\Default\Branco.816 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 774.5543 | 18.1333
30 | Branco |  | 17/01/2023 13:15:56 |  | C:\NexIONData\DataSet\Default\Branco.817 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 610.413 | 13.6
31 | Branco |  | 17/01/2023 13:16:36 |  | C:\NexIONData\DataSet\Default\Branco.818 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 630.5473 | 15.2
32 | Branco |  | 17/01/2023 13:17:26 |  | C:\NexIONData\DataSet\Default\Branco.819 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 675.7493 | 14.8
33 | Branco |  | 17/01/2023 13:18:46 |  | C:\NexIONData\DataSet\Default\Branco.820 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 717.0847 | 16.5333
34 | Branco |  | 17/01/2023 13:19:20 |  | C:\NexIONData\DataSet\Default\Branco.821 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 701.0839 | 14.6667
35 | Branco |  | 17/01/2023 13:21:25 |  | C:\NexIONData\DataSet\Default\Branco.822 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 625.747 | 12
36 | Branco |  | 17/01/2023 13:22:06 |  | C:\NexIONData\DataSet\Default\Branco.823 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 648.8147 | 15.4667
37 | Ponto 2 ppb |  | 17/01/2023 13:24:52 |  | C:\NexIONData\DataSet\Default\Ponto 2 ppb.824 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 11451.3879 | 446.1403
38 | Ponto 10 ppb |  | 17/01/2023 13:27:14 |  | C:\NexIONData\DataSet\Default\Ponto 10 ppb.825 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 42781.0336 | 1553.6845
39 | Ponto 30 ppb |  | 17/01/2023 13:29:53 |  | C:\NexIONData\DataSet\Default\Ponto 30 ppb.826 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 130219.3533 | 4985.4031

## Intensities RSDs
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 | Bkgd 220 | Ce 140 (IS) | Ce++ 70 | CeO 156 | In 115 | Mg 24 | U 238
1 | Daily Performance Check |  | 17/01/2023 09:50:37 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.785 | C:\NexIONData\Method\Daily Performance.mth | 2.071% | 87.43% | 0.48% | 1.716% | 1.128% | 0.9104% | 6.123% | 1.34%
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 | As-1 75
2 | Branco |  | 17/01/2023 11:09:08 |  | C:\NexIONData\DataSet\Default\Branco.788 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 1.409% | 18.16%
3 | 0.1 |  | 17/01/2023 11:13:59 |  | C:\NexIONData\DataSet\Default\0.1.789 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.9924% | 10.03%
4 | 0.5 |  | 17/01/2023 11:17:34 |  | C:\NexIONData\DataSet\Default\0.5.790 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.7391% | 8.457%
5 | 1 |  | 17/01/2023 11:20:01 |  | C:\NexIONData\DataSet\Default\1.791 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.4628% | 4.598%
6 | 2 |  | 17/01/2023 11:22:03 |  | C:\NexIONData\DataSet\Default\2.792 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.6301% | 3.8%
7 | 5 |  | 17/01/2023 11:27:14 |  | C:\NexIONData\DataSet\Default\5.793 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.07362% | 2.472%
8 | 10 |  | 17/01/2023 11:30:36 |  | C:\NexIONData\DataSet\Default\10.795 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.7437% | 1.025%
9 | 15 |  | 17/01/2023 11:33:12 |  | C:\NexIONData\DataSet\Default\15.796 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 1.006% | 1.349%
10 | 30 |  | 17/01/2023 11:37:07 |  | C:\NexIONData\DataSet\Default\30.797 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.1872% | 1.183%
11 | Peixe IPEN (1) |  | 17/01/2023 11:39:50 |  | C:\NexIONData\DataSet\Default\Peixe IPEN (1).798 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.2893% | 1.096%
12 | Peixe IPEN (2) |  | 17/01/2023 11:43:15 |  | C:\NexIONData\DataSet\Default\Peixe IPEN (2).799 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.8129% | 1.469%
13 | Peixe IPEN (3) |  | 17/01/2023 11:46:16 |  | C:\NexIONData\DataSet\Default\Peixe IPEN (3).800 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.4621% | 0.7679%
14 | Mussel tissue (1) |  | 17/01/2023 11:49:06 |  | C:\NexIONData\DataSet\Default\Mussel tissue (1).801 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.6197% | 0.307%
15 | Mussel tissue (2) |  | 17/01/2023 11:51:07 |  | C:\NexIONData\DataSet\Default\Mussel tissue (2).802 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.5064% | 0.6219%
16 | Mussel tissue (3) |  | 17/01/2023 11:53:38 |  | C:\NexIONData\DataSet\Default\Mussel tissue (3).803 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.5498% | 0.6011%
17 | Mussel tissue (1) diluido 10x |  | 17/01/2023 11:56:28 |  | C:\NexIONData\DataSet\Default\Mussel tissue (1) diluido 10x.804 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.5055% | 0.7104%
18 | Mussel tissue (2) diluido 10x |  | 17/01/2023 11:59:01 |  | C:\NexIONData\DataSet\Default\Mussel tissue (2) diluido 10x.805 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.11% | 3.72%
19 | Mussel tissue (3) diluido 10x |  | 17/01/2023 12:01:28 |  | C:\NexIONData\DataSet\Default\Mussel tissue (3) diluido 10x.806 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.3643% | 1.406%
20 | DOLT-5 (1) |  | 17/01/2023 12:03:44 |  | C:\NexIONData\DataSet\Default\DOLT-5 (1).807 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.2502% | 0.2803%
21 | DOLT-5 (2) |  | 17/01/2023 12:06:14 |  | C:\NexIONData\DataSet\Default\DOLT-5 (2).808 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.1582% | 0.6273%
22 | DOLT-5 (3) |  | 17/01/2023 12:09:08 |  | C:\NexIONData\DataSet\Default\DOLT-5 (3).809 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.602% | 2.142%
23 | DOLT-5 (1) diluido 10x |  | 17/01/2023 12:59:25 |  | C:\NexIONData\DataSet\Default\DOLT-5 (1) diluido 10x.810 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.4306% | 1.3%
24 | DOLT-5 (2) diluido 10x |  | 17/01/2023 13:02:48 |  | C:\NexIONData\DataSet\Default\DOLT-5 (2) diluido 10x.811 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.9783% | 2.287%
25 | DOLT-5 (3) diluido 10x |  | 17/01/2023 13:05:36 |  | C:\NexIONData\DataSet\Default\DOLT-5 (3) diluido 10x.812 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 1.162% | 1.429%
26 | Branco |  | 17/01/2023 13:10:16 |  | C:\NexIONData\DataSet\Default\Branco.813 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 3.475% | 14.58%
27 | Branco |  | 17/01/2023 13:10:56 |  | C:\NexIONData\DataSet\Default\Branco.814 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 5.204% | 6.104%
28 | Branco |  | 17/01/2023 13:12:12 |  | C:\NexIONData\DataSet\Default\Branco.815 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 3.417% | 22.43%
29 | Branco |  | 17/01/2023 13:13:07 |  | C:\NexIONData\DataSet\Default\Branco.816 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 2.645% | 7.091%
30 | Branco |  | 17/01/2023 13:15:56 |  | C:\NexIONData\DataSet\Default\Branco.817 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 1.601% | 20.59%
31 | Branco |  | 17/01/2023 13:16:36 |  | C:\NexIONData\DataSet\Default\Branco.818 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 3.129% | 5.263%
32 | Branco |  | 17/01/2023 13:17:26 |  | C:\NexIONData\DataSet\Default\Branco.819 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 4.133% | 23.09%
33 | Branco |  | 17/01/2023 13:18:46 |  | C:\NexIONData\DataSet\Default\Branco.820 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 3.445% | 24.23%
34 | Branco |  | 17/01/2023 13:19:20 |  | C:\NexIONData\DataSet\Default\Branco.821 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 1.993% | 12.89%
35 | Branco |  | 17/01/2023 13:21:25 |  | C:\NexIONData\DataSet\Default\Branco.822 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 3.132% | 8.819%
36 | Branco |  | 17/01/2023 13:22:06 |  | C:\NexIONData\DataSet\Default\Branco.823 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 1.484% | 37.86%
37 | Ponto 2 ppb |  | 17/01/2023 13:24:52 |  | C:\NexIONData\DataSet\Default\Ponto 2 ppb.824 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.4854% | 1.567%
38 | Ponto 10 ppb |  | 17/01/2023 13:27:14 |  | C:\NexIONData\DataSet\Default\Ponto 10 ppb.825 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 1.096% | 2.128%
39 | Ponto 30 ppb |  | 17/01/2023 13:29:53 |  | C:\NexIONData\DataSet\Default\Ponto 30 ppb.826 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.6166% | 1.054%

## Concentrations
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 (ug/L) | Bkgd 220 (mg/L) | Ce 140 (IS) | Ce++ 70 (mg/L) | CeO 156 (mg/L) | In 115 (mg/L) | Mg 24 (ug/L) | U 238 (mg/L)
1 | Daily Performance Check |  | 17/01/2023 09:50:37 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.785 | C:\NexIONData\Method\Daily Performance.mth
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 (ug/L) | As-1 75 (ug/L)
2 | Branco |  | 17/01/2023 11:09:08 |  | C:\NexIONData\DataSet\Default\Branco.788 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth
3 | 0.1 |  | 17/01/2023 11:13:59 |  | C:\NexIONData\DataSet\Default\0.1.789 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.1 | 0.1
4 | 0.5 |  | 17/01/2023 11:17:34 |  | C:\NexIONData\DataSet\Default\0.5.790 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.48278 | 0.48536
5 | 1 |  | 17/01/2023 11:20:01 |  | C:\NexIONData\DataSet\Default\1.791 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.9774 | 0.96891
6 | 2 |  | 17/01/2023 11:22:03 |  | C:\NexIONData\DataSet\Default\2.792 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 2.0531 | 2.0481
7 | 5 |  | 17/01/2023 11:27:14 |  | C:\NexIONData\DataSet\Default\5.793 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 4.9021 | 4.8941
8 | 10 |  | 17/01/2023 11:30:36 |  | C:\NexIONData\DataSet\Default\10.795 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 9.7214 | 9.6254
9 | 15 |  | 17/01/2023 11:33:12 |  | C:\NexIONData\DataSet\Default\15.796 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 14.7468 | 14.7209
10 | 30 |  | 17/01/2023 11:37:07 |  | C:\NexIONData\DataSet\Default\30.797 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 29.9834 | 30.1933
11 | Peixe IPEN (1) |  | 17/01/2023 11:39:50 |  | C:\NexIONData\DataSet\Default\Peixe IPEN (1).798 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 18.9059 | 18.4286
12 | Peixe IPEN (2) |  | 17/01/2023 11:43:15 |  | C:\NexIONData\DataSet\Default\Peixe IPEN (2).799 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 19.315 | 19.1535
13 | Peixe IPEN (3) |  | 17/01/2023 11:46:16 |  | C:\NexIONData\DataSet\Default\Peixe IPEN (3).800 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 18.7616 | 18.3564
14 | Mussel tissue (1) |  | 17/01/2023 11:49:06 |  | C:\NexIONData\DataSet\Default\Mussel tissue (1).801 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 44.4244 | 42.3717
15 | Mussel tissue (2) |  | 17/01/2023 11:51:07 |  | C:\NexIONData\DataSet\Default\Mussel tissue (2).802 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 47.1247 | 43.1593
16 | Mussel tissue (3) |  | 17/01/2023 11:53:38 |  | C:\NexIONData\DataSet\Default\Mussel tissue (3).803 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 46.0711 | 45.6008
17 | Mussel tissue (1) diluido 10x |  | 17/01/2023 11:56:28 |  | C:\NexIONData\DataSet\Default\Mussel tissue (1) diluido 10x.804 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 6.3207 | 6.1028
18 | Mussel tissue (2) diluido 10x |  | 17/01/2023 11:59:01 |  | C:\NexIONData\DataSet\Default\Mussel tissue (2) diluido 10x.805 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 7.1204 | 7.1122
19 | Mussel tissue (3) diluido 10x |  | 17/01/2023 12:01:28 |  | C:\NexIONData\DataSet\Default\Mussel tissue (3) diluido 10x.806 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 5.6744 | 5.512
20 | DOLT-5 (1) |  | 17/01/2023 12:03:44 |  | C:\NexIONData\DataSet\Default\DOLT-5 (1).807 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 113.4927 | 110.5609
21 | DOLT-5 (2) |  | 17/01/2023 12:06:14 |  | C:\NexIONData\DataSet\Default\DOLT-5 (2).808 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 101.0197 | 99.0547
22 | DOLT-5 (3) |  | 17/01/2023 12:09:08 |  | C:\NexIONData\DataSet\Default\DOLT-5 (3).809 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 111.5456 | 108.4462
23 | DOLT-5 (1) diluido 10x |  | 17/01/2023 12:59:25 |  | C:\NexIONData\DataSet\Default\DOLT-5 (1) diluido 10x.810 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 10.2684 | 11.3986
24 | DOLT-5 (2) diluido 10x |  | 17/01/2023 13:02:48 |  | C:\NexIONData\DataSet\Default\DOLT-5 (2) diluido 10x.811 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 10.0414 | 11.0327
25 | DOLT-5 (3) diluido 10x |  | 17/01/2023 13:05:36 |  | C:\NexIONData\DataSet\Default\DOLT-5 (3) diluido 10x.812 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 10.1363 | 11.0612
26 | Branco |  | 17/01/2023 13:10:16 |  | C:\NexIONData\DataSet\Default\Branco.813 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | -0.13204 | 0.031932
27 | Branco |  | 17/01/2023 13:10:56 |  | C:\NexIONData\DataSet\Default\Branco.814 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | -0.13031 | 0.04651
28 | Branco |  | 17/01/2023 13:12:12 |  | C:\NexIONData\DataSet\Default\Branco.815 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | -0.12713 | 0.036097
29 | Branco |  | 17/01/2023 13:13:07 |  | C:\NexIONData\DataSet\Default\Branco.816 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | -0.12183 | 0.031238
30 | Branco |  | 17/01/2023 13:15:56 |  | C:\NexIONData\DataSet\Default\Branco.817 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | -0.14982 | 0.007636
31 | Branco |  | 17/01/2023 13:16:36 |  | C:\NexIONData\DataSet\Default\Branco.818 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | -0.14639 | 0.015966
32 | Branco |  | 17/01/2023 13:17:26 |  | C:\NexIONData\DataSet\Default\Branco.819 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | -0.13868 | 0.013884
33 | Branco |  | 17/01/2023 13:18:46 |  | C:\NexIONData\DataSet\Default\Branco.820 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | -0.13163 | 0.022908
34 | Branco |  | 17/01/2023 13:19:20 |  | C:\NexIONData\DataSet\Default\Branco.821 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | -0.13436 | 0.013189
35 | Branco |  | 17/01/2023 13:21:25 |  | C:\NexIONData\DataSet\Default\Branco.822 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | -0.14721 | -0.00069418
36 | Branco |  | 17/01/2023 13:22:06 |  | C:\NexIONData\DataSet\Default\Branco.823 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | -0.14327 | 0.017355
37 | Ponto 2 ppb |  | 17/01/2023 13:24:52 |  | C:\NexIONData\DataSet\Default\Ponto 2 ppb.824 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 1.6991 | 2.2596
38 | Ponto 10 ppb |  | 17/01/2023 13:27:14 |  | C:\NexIONData\DataSet\Default\Ponto 10 ppb.825 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 7.0423 | 8.0259
39 | Ponto 30 ppb |  | 17/01/2023 13:29:53 |  | C:\NexIONData\DataSet\Default\Ponto 30 ppb.826 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 21.9548 | 25.8926

## Concentrations RSDs
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 | Bkgd 220 | Ce 140 (IS) | Ce++ 70 | CeO 156 | In 115 | Mg 24 | U 238
1 | Daily Performance Check |  | 17/01/2023 09:50:37 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.785 | C:\NexIONData\Method\Daily Performance.mth
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 | As-1 75
2 | Branco |  | 17/01/2023 11:09:08 |  | C:\NexIONData\DataSet\Default\Branco.788 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth
3 | 0.1 |  | 17/01/2023 11:13:59 |  | C:\NexIONData\DataSet\Default\0.1.789 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 2.098% | 12.84%
4 | 0.5 |  | 17/01/2023 11:17:34 |  | C:\NexIONData\DataSet\Default\0.5.790 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 1.057% | 9.304%
5 | 1 |  | 17/01/2023 11:20:01 |  | C:\NexIONData\DataSet\Default\1.791 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.5695% | 4.857%
6 | 2 |  | 17/01/2023 11:22:03 |  | C:\NexIONData\DataSet\Default\2.792 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.6935% | 3.894%
7 | 5 |  | 17/01/2023 11:27:14 |  | C:\NexIONData\DataSet\Default\5.793 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.07701% | 2.5%
8 | 10 |  | 17/01/2023 11:30:36 |  | C:\NexIONData\DataSet\Default\10.795 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.7625% | 1.032%
9 | 15 |  | 17/01/2023 11:33:12 |  | C:\NexIONData\DataSet\Default\15.796 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 1.023% | 1.355%
10 | 30 |  | 17/01/2023 11:37:07 |  | C:\NexIONData\DataSet\Default\30.797 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.1888% | 1.185%
11 | Peixe IPEN (1) |  | 17/01/2023 11:39:50 |  | C:\NexIONData\DataSet\Default\Peixe IPEN (1).798 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.2932% | 1.1%
12 | Peixe IPEN (2) |  | 17/01/2023 11:43:15 |  | C:\NexIONData\DataSet\Default\Peixe IPEN (2).799 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.8236% | 1.474%
13 | Peixe IPEN (3) |  | 17/01/2023 11:46:16 |  | C:\NexIONData\DataSet\Default\Peixe IPEN (3).800 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.4683% | 0.7705%
14 | Mussel tissue (1) |  | 17/01/2023 11:49:06 |  | C:\NexIONData\DataSet\Default\Mussel tissue (1).801 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.6233% | 0.3074%
15 | Mussel tissue (2) |  | 17/01/2023 11:51:07 |  | C:\NexIONData\DataSet\Default\Mussel tissue (2).802 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.5091% | 0.6228%
16 | Mussel tissue (3) |  | 17/01/2023 11:53:38 |  | C:\NexIONData\DataSet\Default\Mussel tissue (3).803 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.5528% | 0.602%
17 | Mussel tissue (1) diluido 10x |  | 17/01/2023 11:56:28 |  | C:\NexIONData\DataSet\Default\Mussel tissue (1) diluido 10x.804 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.5258% | 0.7178%
18 | Mussel tissue (2) diluido 10x |  | 17/01/2023 11:59:01 |  | C:\NexIONData\DataSet\Default\Mussel tissue (2) diluido 10x.805 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.1139% | 3.753%
19 | Mussel tissue (3) diluido 10x |  | 17/01/2023 12:01:28 |  | C:\NexIONData\DataSet\Default\Mussel tissue (3) diluido 10x.806 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.3806% | 1.422%
20 | DOLT-5 (1) |  | 17/01/2023 12:03:44 |  | C:\NexIONData\DataSet\Default\DOLT-5 (1).807 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.2508% | 0.2805%
21 | DOLT-5 (2) |  | 17/01/2023 12:06:14 |  | C:\NexIONData\DataSet\Default\DOLT-5 (2).808 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.1586% | 0.6277%
22 | DOLT-5 (3) |  | 17/01/2023 12:09:08 |  | C:\NexIONData\DataSet\Default\DOLT-5 (3).809 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.6034% | 2.143%
23 | DOLT-5 (1) diluido 10x |  | 17/01/2023 12:59:25 |  | C:\NexIONData\DataSet\Default\DOLT-5 (1) diluido 10x.810 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.4412% | 1.307%
24 | DOLT-5 (2) diluido 10x |  | 17/01/2023 13:02:48 |  | C:\NexIONData\DataSet\Default\DOLT-5 (2) diluido 10x.811 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 1.003% | 2.301%
25 | DOLT-5 (3) diluido 10x |  | 17/01/2023 13:05:36 |  | C:\NexIONData\DataSet\Default\DOLT-5 (3) diluido 10x.812 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 1.191% | 1.437%
26 | Branco |  | 17/01/2023 13:10:16 |  | C:\NexIONData\DataSet\Default\Branco.813 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 3.208% | 43.42%
27 | Branco |  | 17/01/2023 13:10:56 |  | C:\NexIONData\DataSet\Default\Branco.814 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 4.937% | 14.39%
28 | Branco |  | 17/01/2023 13:12:12 |  | C:\NexIONData\DataSet\Default\Branco.815 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 3.409% | 61.69%
29 | Branco |  | 17/01/2023 13:13:07 |  | C:\NexIONData\DataSet\Default\Branco.816 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 2.868% | 21.43%
30 | Branco |  | 17/01/2023 13:15:56 |  | C:\NexIONData\DataSet\Default\Branco.817 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 1.113% | 190.9%
31 | Branco |  | 17/01/2023 13:16:36 |  | C:\NexIONData\DataSet\Default\Branco.818 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 2.299% | 26.09%
32 | Branco |  | 17/01/2023 13:17:26 |  | C:\NexIONData\DataSet\Default\Branco.819 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 3.435% | 128.2%
33 | Branco |  | 17/01/2023 13:18:46 |  | C:\NexIONData\DataSet\Default\Branco.820 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 3.201% | 91.06%
34 | Branco |  | 17/01/2023 13:19:20 |  | C:\NexIONData\DataSet\Default\Branco.821 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 1.774% | 74.62%
35 | Branco |  | 17/01/2023 13:21:25 |  | C:\NexIONData\DataSet\Default\Branco.822 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 2.271% | 793.7%
36 | Branco |  | 17/01/2023 13:22:06 |  | C:\NexIONData\DataSet\Default\Branco.823 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 1.146% | 175.7%
37 | Ponto 2 ppb |  | 17/01/2023 13:24:52 |  | C:\NexIONData\DataSet\Default\Ponto 2 ppb.824 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.5579% | 1.611%
38 | Ponto 10 ppb |  | 17/01/2023 13:27:14 |  | C:\NexIONData\DataSet\Default\Ponto 10 ppb.825 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 1.136% | 2.145%
39 | Ponto 30 ppb |  | 17/01/2023 13:29:53 |  | C:\NexIONData\DataSet\Default\Ponto 30 ppb.826 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.6238% | 1.057%

## Unfactored Concentrations
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 (ug/L) | Bkgd 220 (mg/L) | Ce 140 (IS) | Ce++ 70 (mg/L) | CeO 156 (mg/L) | In 115 (mg/L) | Mg 24 (ug/L) | U 238 (mg/L)
1 | Daily Performance Check |  | 17/01/2023 09:50:37 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.785 | C:\NexIONData\Method\Daily Performance.mth
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 (ug/L) | As-1 75 (ug/L)
2 | Branco |  | 17/01/2023 11:09:08 |  | C:\NexIONData\DataSet\Default\Branco.788 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth
3 | 0.1 |  | 17/01/2023 11:13:59 |  | C:\NexIONData\DataSet\Default\0.1.789 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.1 | 0.1
4 | 0.5 |  | 17/01/2023 11:17:34 |  | C:\NexIONData\DataSet\Default\0.5.790 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.48278 | 0.48536
5 | 1 |  | 17/01/2023 11:20:01 |  | C:\NexIONData\DataSet\Default\1.791 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 0.9774 | 0.96891
6 | 2 |  | 17/01/2023 11:22:03 |  | C:\NexIONData\DataSet\Default\2.792 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 2.0531 | 2.0481
7 | 5 |  | 17/01/2023 11:27:14 |  | C:\NexIONData\DataSet\Default\5.793 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 4.9021 | 4.8941
8 | 10 |  | 17/01/2023 11:30:36 |  | C:\NexIONData\DataSet\Default\10.795 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 9.7214 | 9.6254
9 | 15 |  | 17/01/2023 11:33:12 |  | C:\NexIONData\DataSet\Default\15.796 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 14.7468 | 14.7209
10 | 30 |  | 17/01/2023 11:37:07 |  | C:\NexIONData\DataSet\Default\30.797 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 29.9834 | 30.1933
11 | Peixe IPEN (1) |  | 17/01/2023 11:39:50 |  | C:\NexIONData\DataSet\Default\Peixe IPEN (1).798 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 18.9059 | 18.4286
12 | Peixe IPEN (2) |  | 17/01/2023 11:43:15 |  | C:\NexIONData\DataSet\Default\Peixe IPEN (2).799 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 19.315 | 19.1535
13 | Peixe IPEN (3) |  | 17/01/2023 11:46:16 |  | C:\NexIONData\DataSet\Default\Peixe IPEN (3).800 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 18.7616 | 18.3564
14 | Mussel tissue (1) |  | 17/01/2023 11:49:06 |  | C:\NexIONData\DataSet\Default\Mussel tissue (1).801 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 44.4244 | 42.3717
15 | Mussel tissue (2) |  | 17/01/2023 11:51:07 |  | C:\NexIONData\DataSet\Default\Mussel tissue (2).802 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 47.1247 | 43.1593
16 | Mussel tissue (3) |  | 17/01/2023 11:53:38 |  | C:\NexIONData\DataSet\Default\Mussel tissue (3).803 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 46.0711 | 45.6008
17 | Mussel tissue (1) diluido 10x |  | 17/01/2023 11:56:28 |  | C:\NexIONData\DataSet\Default\Mussel tissue (1) diluido 10x.804 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 6.3207 | 6.1028
18 | Mussel tissue (2) diluido 10x |  | 17/01/2023 11:59:01 |  | C:\NexIONData\DataSet\Default\Mussel tissue (2) diluido 10x.805 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 7.1204 | 7.1122
19 | Mussel tissue (3) diluido 10x |  | 17/01/2023 12:01:28 |  | C:\NexIONData\DataSet\Default\Mussel tissue (3) diluido 10x.806 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 5.6744 | 5.512
20 | DOLT-5 (1) |  | 17/01/2023 12:03:44 |  | C:\NexIONData\DataSet\Default\DOLT-5 (1).807 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 113.4927 | 110.5609
21 | DOLT-5 (2) |  | 17/01/2023 12:06:14 |  | C:\NexIONData\DataSet\Default\DOLT-5 (2).808 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 101.0197 | 99.0547
22 | DOLT-5 (3) |  | 17/01/2023 12:09:08 |  | C:\NexIONData\DataSet\Default\DOLT-5 (3).809 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 111.5456 | 108.4462
23 | DOLT-5 (1) diluido 10x |  | 17/01/2023 12:59:25 |  | C:\NexIONData\DataSet\Default\DOLT-5 (1) diluido 10x.810 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 10.2684 | 11.3986
24 | DOLT-5 (2) diluido 10x |  | 17/01/2023 13:02:48 |  | C:\NexIONData\DataSet\Default\DOLT-5 (2) diluido 10x.811 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 10.0414 | 11.0327
25 | DOLT-5 (3) diluido 10x |  | 17/01/2023 13:05:36 |  | C:\NexIONData\DataSet\Default\DOLT-5 (3) diluido 10x.812 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 10.1363 | 11.0612
26 | Branco |  | 17/01/2023 13:10:16 |  | C:\NexIONData\DataSet\Default\Branco.813 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | -0.13204 | 0.031932
27 | Branco |  | 17/01/2023 13:10:56 |  | C:\NexIONData\DataSet\Default\Branco.814 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | -0.13031 | 0.04651
28 | Branco |  | 17/01/2023 13:12:12 |  | C:\NexIONData\DataSet\Default\Branco.815 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | -0.12713 | 0.036097
29 | Branco |  | 17/01/2023 13:13:07 |  | C:\NexIONData\DataSet\Default\Branco.816 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | -0.12183 | 0.031238
30 | Branco |  | 17/01/2023 13:15:56 |  | C:\NexIONData\DataSet\Default\Branco.817 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | -0.14982 | 0.007636
31 | Branco |  | 17/01/2023 13:16:36 |  | C:\NexIONData\DataSet\Default\Branco.818 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | -0.14639 | 0.015966
32 | Branco |  | 17/01/2023 13:17:26 |  | C:\NexIONData\DataSet\Default\Branco.819 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | -0.13868 | 0.013884
33 | Branco |  | 17/01/2023 13:18:46 |  | C:\NexIONData\DataSet\Default\Branco.820 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | -0.13163 | 0.022908
34 | Branco |  | 17/01/2023 13:19:20 |  | C:\NexIONData\DataSet\Default\Branco.821 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | -0.13436 | 0.013189
35 | Branco |  | 17/01/2023 13:21:25 |  | C:\NexIONData\DataSet\Default\Branco.822 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | -0.14721 | -0.00069418
36 | Branco |  | 17/01/2023 13:22:06 |  | C:\NexIONData\DataSet\Default\Branco.823 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | -0.14327 | 0.017355
37 | Ponto 2 ppb |  | 17/01/2023 13:24:52 |  | C:\NexIONData\DataSet\Default\Ponto 2 ppb.824 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 1.6991 | 2.2596
38 | Ponto 10 ppb |  | 17/01/2023 13:27:14 |  | C:\NexIONData\DataSet\Default\Ponto 10 ppb.825 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 7.0423 | 8.0259
39 | Ponto 30 ppb |  | 17/01/2023 13:29:53 |  | C:\NexIONData\DataSet\Default\Ponto 30 ppb.826 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As padrão e KED 11-01-23.mth | 21.9548 | 25.8926

## Internal Standards
Row Index Number
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39