## Intensities
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 (cps) | Bkgd 220 (cps) | Ce 140 (IS) (cps) | Ce++ 70 (cps) | CeO 156 (cps) | In 115 (cps) | Mg 24 (cps) | U 238 (cps)
1 | Daily Performance Check |  | 25/01/2023 11:12:09 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.1051 | C:\NexIONData\Method\Daily Performance.mth | 7142.4528 | 0.33333 | 84306.4104 | 1521.6144 | 1774.5102 | 92685.1067 | 66017.8037 | 63163.4491
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 (cps)
2 | Blank |  | 25/01/2023 11:16:07 |  | C:\NexIONData\DataSet\Default\Blank.1052 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 372.0048
3 | Standard 1 |  | 25/01/2023 11:16:59 |  | C:\NexIONData\DataSet\Default\Standard 1.1053 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 5066.4984
4 | Standard 2 |  | 25/01/2023 11:18:58 |  | C:\NexIONData\DataSet\Default\Standard 2.1054 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 8370.4517
5 | Standard 3 |  | 25/01/2023 11:20:20 |  | C:\NexIONData\DataSet\Default\Standard 3.1055 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 16751.5493
6 | Standard 4 |  | 25/01/2023 11:21:54 |  | C:\NexIONData\DataSet\Default\Standard 4.1056 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 37804.9091
7 | Standard 5 |  | 25/01/2023 11:23:31 |  | C:\NexIONData\DataSet\Default\Standard 5.1057 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 74287.2015
8 | Standard 6 |  | 25/01/2023 11:25:31 |  | C:\NexIONData\DataSet\Default\Standard 6.1058 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 104013.1685
9 | Standard 7 |  | 25/01/2023 11:27:24 |  | C:\NexIONData\DataSet\Default\Standard 7.1059 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 209688.2189
10 | Standard 8 |  | 25/01/2023 11:28:46 |  | C:\NexIONData\DataSet\Default\Standard 8.1060 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 348552.6838
11 | HNO3 1% |  | 25/01/2023 11:30:25 |  | C:\NexIONData\DataSet\Default\HNO3 1%.1061 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 517.2094
12 | Pool controle As(III) t=0 |  | 25/01/2023 11:31:35 |  | C:\NexIONData\DataSet\Default\Pool controle As(III) t=0.1062 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 405.7391
13 | Pool G1 (5ppm) As(III) t=0 diluido 1000x |  | 25/01/2023 11:33:20 |  | C:\NexIONData\DataSet\Default\Pool G1 (5ppm) As(III) t=0 diluido 1000x.1063 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 38575.8835
14 | Pool G2 (10ppm) As(III) t=0 diluido 1000x |  | 25/01/2023 11:35:06 |  | C:\NexIONData\DataSet\Default\Pool G2 (10ppm) As(III) t=0 diluido 1000x.1064 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 65918.6683
15 | Pool G3 (5ppm) As(III) t=0 diluido 1000x |  | 25/01/2023 11:36:34 |  | C:\NexIONData\DataSet\Default\Pool G3 (5ppm) As(III) t=0 diluido 1000x.1065 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 50195.4977
16 | Pool G4 (10ppm) As(III) t=0 diluido 1000x |  | 25/01/2023 11:38:51 |  | C:\NexIONData\DataSet\Default\Pool G4 (10ppm) As(III) t=0 diluido 1000x.1066 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 69729.128
17 | Água (1) G1 (5ppm) t=1 diluido 1000x |  | 25/01/2023 11:41:05 |  | C:\NexIONData\DataSet\Default\Água (1) G1 (5ppm) t=1 diluido 1000x.1067 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 36957.4786
18 | Água (2) G1 (5ppm) t=1 diluido 1000x |  | 25/01/2023 11:42:37 |  | C:\NexIONData\DataSet\Default\Água (2) G1 (5ppm) t=1 diluido 1000x.1068 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 36393.9025
19 | Água (3) G1 (5ppm) t=1 diluido 1000x |  | 25/01/2023 11:44:24 |  | C:\NexIONData\DataSet\Default\Água (3) G1 (5ppm) t=1 diluido 1000x.1069 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 39394.251
20 | Água (4) G1 (5ppm) t=1 diluido 1000x |  | 25/01/2023 11:46:35 |  | C:\NexIONData\DataSet\Default\Água (4) G1 (5ppm) t=1 diluido 1000x.1070 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 42422.7952
21 | Água (5) G1 (5ppm) t=1 diluido 1000x |  | 25/01/2023 11:49:43 |  | C:\NexIONData\DataSet\Default\Água (5) G1 (5ppm) t=1 diluido 1000x.1071 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 40955.9599
22 | Água (1) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 11:51:45 |  | C:\NexIONData\DataSet\Default\Água (1) G2 (10ppm) t=1 diluido 1000x.1072 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 39187.9462
23 | Água (2) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 11:53:48 |  | C:\NexIONData\DataSet\Default\Água (2) G2 (10ppm) t=1 diluido 1000x.1073 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 345.8709
24 | Água (2) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 11:55:15 |  | C:\NexIONData\DataSet\Default\Água (2) G2 (10ppm) t=1 diluido 1000x.1074 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 342.6708
25 | Água (3) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 11:57:11 |  | C:\NexIONData\DataSet\Default\Água (3) G2 (10ppm) t=1 diluido 1000x.1075 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 80547.7859
26 | Água (4) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 11:59:22 |  | C:\NexIONData\DataSet\Default\Água (4) G2 (10ppm) t=1 diluido 1000x.1076 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 71924.7482
27 | Água (5) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 12:01:12 |  | C:\NexIONData\DataSet\Default\Água (5) G2 (10ppm) t=1 diluido 1000x.1077 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 121325.1723
28 | Água (1) G3 (15ppm) t=7 diluido 1000x |  | 25/01/2023 12:04:42 |  | C:\NexIONData\DataSet\Default\Água (1) G3 (15ppm) t=7 diluido 1000x.1078 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 140203.1833
29 | Água (2) G3 (5ppm) t=7 diluido 1000x |  | 25/01/2023 12:09:17 |  | C:\NexIONData\DataSet\Default\Água (2) G3 (5ppm) t=7 diluido 1000x.1079 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 44407.715
30 | Água (3) G3 (5ppm) t=7 diluido 1000x |  | 25/01/2023 12:12:17 |  | C:\NexIONData\DataSet\Default\Água (3) G3 (5ppm) t=7 diluido 1000x.1080 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 51199.8535
31 | Água (4) G3 (5ppm) t=7 diluido 1000x |  | 25/01/2023 12:15:12 |  | C:\NexIONData\DataSet\Default\Água (4) G3 (5ppm) t=7 diluido 1000x.1081 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 38308.6322
32 | Água (5) G3 (5ppm) t=7 diluido 1000x |  | 25/01/2023 12:16:57 |  | C:\NexIONData\DataSet\Default\Água (5) G3 (5ppm) t=7 diluido 1000x.1082 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 42693.568
33 | Água (1) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 12:19:33 |  | C:\NexIONData\DataSet\Default\Água (1) G4 (10ppm) t=7 diluido 1000x.1083 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 68759.2169
34 | Água (2) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 12:22:34 |  | C:\NexIONData\DataSet\Default\Água (2) G4 (10ppm) t=7 diluido 1000x.1084 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 76685.0067
35 | Água (3) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 12:25:55 |  | C:\NexIONData\DataSet\Default\Água (3) G4 (10ppm) t=7 diluido 1000x.1085 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 76467.0732
36 | Água (5) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 12:31:11 |  | C:\NexIONData\DataSet\Default\Água (5) G4 (10ppm) t=7 diluido 1000x.1086 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 115874.9029
37 | Água (4) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 12:33:36 |  | C:\NexIONData\DataSet\Default\Água (4) G4 (10ppm) t=7 diluido 1000x.1087 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 71687.6997
38 | Água (5) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 12:35:23 |  | C:\NexIONData\DataSet\Default\Água (5) G4 (10ppm) t=7 diluido 1000x.1088 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 120065.8232
39 | HNO3 1% |  | 25/01/2023 12:36:28 |  | C:\NexIONData\DataSet\Default\HNO3 1%.1089 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 432.8066
40 | Pool controle As(V) t=0 |  | 25/01/2023 14:47:14 |  | C:\NexIONData\DataSet\Default\Pool controle As(V) t=0.1090 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 368.9381
41 | Pool G1(5ppm) As(V) t=0 |  | 25/01/2023 14:48:55 |  | C:\NexIONData\DataSet\Default\Pool G1(5ppm) As(V) t=0.1091 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 29756.4251
42 | Pool G2(10ppm) As(V) t=0 |  | 25/01/2023 14:51:07 |  | C:\NexIONData\DataSet\Default\Pool G2(10ppm) As(V) t=0.1092 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 81734.0886
43 | Pool G3 (5ppm) As(V) t=0 |  | 25/01/2023 14:52:51 |  | C:\NexIONData\DataSet\Default\Pool G3 (5ppm) As(V) t=0.1093 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 62647.3349
44 | Pool G4 (10ppm) As(V) t=0 |  | 25/01/2023 14:54:54 |  | C:\NexIONData\DataSet\Default\Pool G4 (10ppm) As(V) t=0.1094 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 62945.0349
45 | Água (1) G1(5ppm) t=1 diluido 1000x |  | 25/01/2023 14:57:23 |  | C:\NexIONData\DataSet\Default\Água (1) G1(5ppm) t=1 diluido 1000x.1095 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 30094.4661
46 | Água (2) G1(5ppm) t=1 diluido 1000x |  | 25/01/2023 14:59:06 |  | C:\NexIONData\DataSet\Default\Água (2) G1(5ppm) t=1 diluido 1000x.1096 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 30811.3257
47 | Água (2) G1(5ppm) t=1 diluido 1000x |  | 25/01/2023 15:01:14 |  | C:\NexIONData\DataSet\Default\Água (2) G1(5ppm) t=1 diluido 1000x.1097 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 30954.8348
48 | Água (4) G1(5ppm) t=1 diluido 1000x |  | 25/01/2023 15:03:17 |  | C:\NexIONData\DataSet\Default\Água (4) G1(5ppm) t=1 diluido 1000x.1098 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 40906.4898
49 | Água (5) G1(5ppm) t=1 diluido 1000x |  | 25/01/2023 15:05:11 |  | C:\NexIONData\DataSet\Default\Água (5) G1(5ppm) t=1 diluido 1000x.1099 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 30550.1006
50 | Água (1) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 15:06:58 |  | C:\NexIONData\DataSet\Default\Água (1) G2 (10ppm) t=1 diluido 1000x.1100 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 59382.9082
51 | Água (2) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 15:08:52 |  | C:\NexIONData\DataSet\Default\Água (2) G2 (10ppm) t=1 diluido 1000x.1101 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 97048.2666
52 | Água (3) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 15:11:29 |  | C:\NexIONData\DataSet\Default\Água (3) G2 (10ppm) t=1 diluido 1000x.1102 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 56202.6068
53 | Água (4) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 15:13:24 |  | C:\NexIONData\DataSet\Default\Água (4) G2 (10ppm) t=1 diluido 1000x.1103 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 60637.6353
54 | Água (5) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 15:17:53 |  | C:\NexIONData\DataSet\Default\Água (5) G2 (10ppm) t=1 diluido 1000x.1104 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 61335.3928
55 | Água (1) G3 (5ppm) t=1 diluido 1000x |  | 25/01/2023 15:19:56 |  | C:\NexIONData\DataSet\Default\Água (1) G3 (5ppm) t=1 diluido 1000x.1105 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 29348.9204
56 | Água (2) G3 (5ppm) t=1 diluido 1000x |  | 25/01/2023 15:21:43 |  | C:\NexIONData\DataSet\Default\Água (2) G3 (5ppm) t=1 diluido 1000x.1106 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 29926.2467
57 | Água (3) G3 (5ppm) t=1 diluido 1000x |  | 25/01/2023 15:23:37 |  | C:\NexIONData\DataSet\Default\Água (3) G3 (5ppm) t=1 diluido 1000x.1107 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 40533.5567
58 | Água (4) G3 (5ppm) t=1 diluido 1000x |  | 25/01/2023 15:25:46 |  | C:\NexIONData\DataSet\Default\Água (4) G3 (5ppm) t=1 diluido 1000x.1108 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 31271.9236
59 | Água (5) G3 (5ppm) t=1 diluido 1000x |  | 25/01/2023 15:28:13 |  | C:\NexIONData\DataSet\Default\Água (5) G3 (5ppm) t=1 diluido 1000x.1109 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 28280.7667
60 | Água (1) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 15:31:43 |  | C:\NexIONData\DataSet\Default\Água (1) G4 (10ppm) t=7 diluido 1000x.1110 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 60467.9771
61 | Água (1) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 15:33:18 |  | C:\NexIONData\DataSet\Default\Água (1) G4 (10ppm) t=7 diluido 1000x.1111 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 61501.5754
62 | Água (3) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 15:35:04 |  | C:\NexIONData\DataSet\Default\Água (3) G4 (10ppm) t=7 diluido 1000x.1112 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 59304.6274
63 | Água (4) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 15:37:55 |  | C:\NexIONData\DataSet\Default\Água (4) G4 (10ppm) t=7 diluido 1000x.1113 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 58621.7746
64 | Água (4) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 15:40:24 |  | C:\NexIONData\DataSet\Default\Água (4) G4 (10ppm) t=7 diluido 1000x.1114 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 59803.5829
65 | HNO3 1% |  | 25/01/2023 15:43:01 |  | C:\NexIONData\DataSet\Default\HNO3 1%.1115 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 236.5353
66 | HNO3 1% |  | 25/01/2023 15:45:04 |  | C:\NexIONData\DataSet\Default\HNO3 1%.1116 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 210.2682

## Intensities RSDs
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 | Bkgd 220 | Ce 140 (IS) | Ce++ 70 | CeO 156 | In 115 | Mg 24 | U 238
1 | Daily Performance Check |  | 25/01/2023 11:12:09 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.1051 | C:\NexIONData\Method\Daily Performance.mth | 2.69% | 61.24% | 1.493% | 1.654% | 1.618% | 1.798% | 1.039% | 2.2%
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75
2 | Blank |  | 25/01/2023 11:16:07 |  | C:\NexIONData\DataSet\Default\Blank.1052 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 4.34%
3 | Standard 1 |  | 25/01/2023 11:16:59 |  | C:\NexIONData\DataSet\Default\Standard 1.1053 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.662%
4 | Standard 2 |  | 25/01/2023 11:18:58 |  | C:\NexIONData\DataSet\Default\Standard 2.1054 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.103%
5 | Standard 3 |  | 25/01/2023 11:20:20 |  | C:\NexIONData\DataSet\Default\Standard 3.1055 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.5233%
6 | Standard 4 |  | 25/01/2023 11:21:54 |  | C:\NexIONData\DataSet\Default\Standard 4.1056 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 2.422%
7 | Standard 5 |  | 25/01/2023 11:23:31 |  | C:\NexIONData\DataSet\Default\Standard 5.1057 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.202%
8 | Standard 6 |  | 25/01/2023 11:25:31 |  | C:\NexIONData\DataSet\Default\Standard 6.1058 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.8829%
9 | Standard 7 |  | 25/01/2023 11:27:24 |  | C:\NexIONData\DataSet\Default\Standard 7.1059 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.05%
10 | Standard 8 |  | 25/01/2023 11:28:46 |  | C:\NexIONData\DataSet\Default\Standard 8.1060 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.555%
11 | HNO3 1% |  | 25/01/2023 11:30:25 |  | C:\NexIONData\DataSet\Default\HNO3 1%.1061 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 3.097%
12 | Pool controle As(III) t=0 |  | 25/01/2023 11:31:35 |  | C:\NexIONData\DataSet\Default\Pool controle As(III) t=0.1062 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 3.189%
13 | Pool G1 (5ppm) As(III) t=0 diluido 1000x |  | 25/01/2023 11:33:20 |  | C:\NexIONData\DataSet\Default\Pool G1 (5ppm) As(III) t=0 diluido 1000x.1063 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.016%
14 | Pool G2 (10ppm) As(III) t=0 diluido 1000x |  | 25/01/2023 11:35:06 |  | C:\NexIONData\DataSet\Default\Pool G2 (10ppm) As(III) t=0 diluido 1000x.1064 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.2326%
15 | Pool G3 (5ppm) As(III) t=0 diluido 1000x |  | 25/01/2023 11:36:34 |  | C:\NexIONData\DataSet\Default\Pool G3 (5ppm) As(III) t=0 diluido 1000x.1065 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.1599%
16 | Pool G4 (10ppm) As(III) t=0 diluido 1000x |  | 25/01/2023 11:38:51 |  | C:\NexIONData\DataSet\Default\Pool G4 (10ppm) As(III) t=0 diluido 1000x.1066 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.73%
17 | Água (1) G1 (5ppm) t=1 diluido 1000x |  | 25/01/2023 11:41:05 |  | C:\NexIONData\DataSet\Default\Água (1) G1 (5ppm) t=1 diluido 1000x.1067 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.8061%
18 | Água (2) G1 (5ppm) t=1 diluido 1000x |  | 25/01/2023 11:42:37 |  | C:\NexIONData\DataSet\Default\Água (2) G1 (5ppm) t=1 diluido 1000x.1068 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.054%
19 | Água (3) G1 (5ppm) t=1 diluido 1000x |  | 25/01/2023 11:44:24 |  | C:\NexIONData\DataSet\Default\Água (3) G1 (5ppm) t=1 diluido 1000x.1069 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.583%
20 | Água (4) G1 (5ppm) t=1 diluido 1000x |  | 25/01/2023 11:46:35 |  | C:\NexIONData\DataSet\Default\Água (4) G1 (5ppm) t=1 diluido 1000x.1070 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 2.794%
21 | Água (5) G1 (5ppm) t=1 diluido 1000x |  | 25/01/2023 11:49:43 |  | C:\NexIONData\DataSet\Default\Água (5) G1 (5ppm) t=1 diluido 1000x.1071 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.7082%
22 | Água (1) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 11:51:45 |  | C:\NexIONData\DataSet\Default\Água (1) G2 (10ppm) t=1 diluido 1000x.1072 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.035%
23 | Água (2) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 11:53:48 |  | C:\NexIONData\DataSet\Default\Água (2) G2 (10ppm) t=1 diluido 1000x.1073 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 5.027%
24 | Água (2) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 11:55:15 |  | C:\NexIONData\DataSet\Default\Água (2) G2 (10ppm) t=1 diluido 1000x.1074 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 4.28%
25 | Água (3) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 11:57:11 |  | C:\NexIONData\DataSet\Default\Água (3) G2 (10ppm) t=1 diluido 1000x.1075 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.9231%
26 | Água (4) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 11:59:22 |  | C:\NexIONData\DataSet\Default\Água (4) G2 (10ppm) t=1 diluido 1000x.1076 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.8451%
27 | Água (5) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 12:01:12 |  | C:\NexIONData\DataSet\Default\Água (5) G2 (10ppm) t=1 diluido 1000x.1077 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.85%
28 | Água (1) G3 (15ppm) t=7 diluido 1000x |  | 25/01/2023 12:04:42 |  | C:\NexIONData\DataSet\Default\Água (1) G3 (15ppm) t=7 diluido 1000x.1078 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.6107%
29 | Água (2) G3 (5ppm) t=7 diluido 1000x |  | 25/01/2023 12:09:17 |  | C:\NexIONData\DataSet\Default\Água (2) G3 (5ppm) t=7 diluido 1000x.1079 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.3294%
30 | Água (3) G3 (5ppm) t=7 diluido 1000x |  | 25/01/2023 12:12:17 |  | C:\NexIONData\DataSet\Default\Água (3) G3 (5ppm) t=7 diluido 1000x.1080 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.4181%
31 | Água (4) G3 (5ppm) t=7 diluido 1000x |  | 25/01/2023 12:15:12 |  | C:\NexIONData\DataSet\Default\Água (4) G3 (5ppm) t=7 diluido 1000x.1081 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.988%
32 | Água (5) G3 (5ppm) t=7 diluido 1000x |  | 25/01/2023 12:16:57 |  | C:\NexIONData\DataSet\Default\Água (5) G3 (5ppm) t=7 diluido 1000x.1082 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.3748%
33 | Água (1) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 12:19:33 |  | C:\NexIONData\DataSet\Default\Água (1) G4 (10ppm) t=7 diluido 1000x.1083 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.7894%
34 | Água (2) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 12:22:34 |  | C:\NexIONData\DataSet\Default\Água (2) G4 (10ppm) t=7 diluido 1000x.1084 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.5202%
35 | Água (3) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 12:25:55 |  | C:\NexIONData\DataSet\Default\Água (3) G4 (10ppm) t=7 diluido 1000x.1085 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.577%
36 | Água (5) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 12:31:11 |  | C:\NexIONData\DataSet\Default\Água (5) G4 (10ppm) t=7 diluido 1000x.1086 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.35%
37 | Água (4) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 12:33:36 |  | C:\NexIONData\DataSet\Default\Água (4) G4 (10ppm) t=7 diluido 1000x.1087 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.075%
38 | Água (5) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 12:35:23 |  | C:\NexIONData\DataSet\Default\Água (5) G4 (10ppm) t=7 diluido 1000x.1088 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.204%
39 | HNO3 1% |  | 25/01/2023 12:36:28 |  | C:\NexIONData\DataSet\Default\HNO3 1%.1089 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.799%
40 | Pool controle As(V) t=0 |  | 25/01/2023 14:47:14 |  | C:\NexIONData\DataSet\Default\Pool controle As(V) t=0.1090 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.139%
41 | Pool G1(5ppm) As(V) t=0 |  | 25/01/2023 14:48:55 |  | C:\NexIONData\DataSet\Default\Pool G1(5ppm) As(V) t=0.1091 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.215%
42 | Pool G2(10ppm) As(V) t=0 |  | 25/01/2023 14:51:07 |  | C:\NexIONData\DataSet\Default\Pool G2(10ppm) As(V) t=0.1092 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.6263%
43 | Pool G3 (5ppm) As(V) t=0 |  | 25/01/2023 14:52:51 |  | C:\NexIONData\DataSet\Default\Pool G3 (5ppm) As(V) t=0.1093 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.7134%
44 | Pool G4 (10ppm) As(V) t=0 |  | 25/01/2023 14:54:54 |  | C:\NexIONData\DataSet\Default\Pool G4 (10ppm) As(V) t=0.1094 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.2025%
45 | Água (1) G1(5ppm) t=1 diluido 1000x |  | 25/01/2023 14:57:23 |  | C:\NexIONData\DataSet\Default\Água (1) G1(5ppm) t=1 diluido 1000x.1095 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.6039%
46 | Água (2) G1(5ppm) t=1 diluido 1000x |  | 25/01/2023 14:59:06 |  | C:\NexIONData\DataSet\Default\Água (2) G1(5ppm) t=1 diluido 1000x.1096 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.7793%
47 | Água (2) G1(5ppm) t=1 diluido 1000x |  | 25/01/2023 15:01:14 |  | C:\NexIONData\DataSet\Default\Água (2) G1(5ppm) t=1 diluido 1000x.1097 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.5708%
48 | Água (4) G1(5ppm) t=1 diluido 1000x |  | 25/01/2023 15:03:17 |  | C:\NexIONData\DataSet\Default\Água (4) G1(5ppm) t=1 diluido 1000x.1098 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.302%
49 | Água (5) G1(5ppm) t=1 diluido 1000x |  | 25/01/2023 15:05:11 |  | C:\NexIONData\DataSet\Default\Água (5) G1(5ppm) t=1 diluido 1000x.1099 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.186%
50 | Água (1) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 15:06:58 |  | C:\NexIONData\DataSet\Default\Água (1) G2 (10ppm) t=1 diluido 1000x.1100 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.066%
51 | Água (2) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 15:08:52 |  | C:\NexIONData\DataSet\Default\Água (2) G2 (10ppm) t=1 diluido 1000x.1101 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.5398%
52 | Água (3) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 15:11:29 |  | C:\NexIONData\DataSet\Default\Água (3) G2 (10ppm) t=1 diluido 1000x.1102 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.4535%
53 | Água (4) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 15:13:24 |  | C:\NexIONData\DataSet\Default\Água (4) G2 (10ppm) t=1 diluido 1000x.1103 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.351%
54 | Água (5) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 15:17:53 |  | C:\NexIONData\DataSet\Default\Água (5) G2 (10ppm) t=1 diluido 1000x.1104 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.6553%
55 | Água (1) G3 (5ppm) t=1 diluido 1000x |  | 25/01/2023 15:19:56 |  | C:\NexIONData\DataSet\Default\Água (1) G3 (5ppm) t=1 diluido 1000x.1105 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.379%
56 | Água (2) G3 (5ppm) t=1 diluido 1000x |  | 25/01/2023 15:21:43 |  | C:\NexIONData\DataSet\Default\Água (2) G3 (5ppm) t=1 diluido 1000x.1106 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.6404%
57 | Água (3) G3 (5ppm) t=1 diluido 1000x |  | 25/01/2023 15:23:37 |  | C:\NexIONData\DataSet\Default\Água (3) G3 (5ppm) t=1 diluido 1000x.1107 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.4793%
58 | Água (4) G3 (5ppm) t=1 diluido 1000x |  | 25/01/2023 15:25:46 |  | C:\NexIONData\DataSet\Default\Água (4) G3 (5ppm) t=1 diluido 1000x.1108 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.1218%
59 | Água (5) G3 (5ppm) t=1 diluido 1000x |  | 25/01/2023 15:28:13 |  | C:\NexIONData\DataSet\Default\Água (5) G3 (5ppm) t=1 diluido 1000x.1109 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.8412%
60 | Água (1) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 15:31:43 |  | C:\NexIONData\DataSet\Default\Água (1) G4 (10ppm) t=7 diluido 1000x.1110 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.9395%
61 | Água (1) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 15:33:18 |  | C:\NexIONData\DataSet\Default\Água (1) G4 (10ppm) t=7 diluido 1000x.1111 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.9312%
62 | Água (3) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 15:35:04 |  | C:\NexIONData\DataSet\Default\Água (3) G4 (10ppm) t=7 diluido 1000x.1112 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 2.542%
63 | Água (4) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 15:37:55 |  | C:\NexIONData\DataSet\Default\Água (4) G4 (10ppm) t=7 diluido 1000x.1113 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.098%
64 | Água (4) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 15:40:24 |  | C:\NexIONData\DataSet\Default\Água (4) G4 (10ppm) t=7 diluido 1000x.1114 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.4017%
65 | HNO3 1% |  | 25/01/2023 15:43:01 |  | C:\NexIONData\DataSet\Default\HNO3 1%.1115 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.9314%
66 | HNO3 1% |  | 25/01/2023 15:45:04 |  | C:\NexIONData\DataSet\Default\HNO3 1%.1116 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 4.082%

## Concentrations
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 (ug/L) | Bkgd 220 (mg/L) | Ce 140 (IS) | Ce++ 70 (mg/L) | CeO 156 (mg/L) | In 115 (mg/L) | Mg 24 (ug/L) | U 238 (mg/L)
1 | Daily Performance Check |  | 25/01/2023 11:12:09 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.1051 | C:\NexIONData\Method\Daily Performance.mth
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 (ug/L)
2 | Blank |  | 25/01/2023 11:16:07 |  | C:\NexIONData\DataSet\Default\Blank.1052 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth
3 | Standard 1 |  | 25/01/2023 11:16:59 |  | C:\NexIONData\DataSet\Default\Standard 1.1053 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.5
4 | Standard 2 |  | 25/01/2023 11:18:58 |  | C:\NexIONData\DataSet\Default\Standard 2.1054 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.9664
5 | Standard 3 |  | 25/01/2023 11:20:20 |  | C:\NexIONData\DataSet\Default\Standard 3.1055 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.995
6 | Standard 4 |  | 25/01/2023 11:21:54 |  | C:\NexIONData\DataSet\Default\Standard 4.1056 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 4.9175
7 | Standard 5 |  | 25/01/2023 11:23:31 |  | C:\NexIONData\DataSet\Default\Standard 5.1057 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 9.9311
8 | Standard 6 |  | 25/01/2023 11:25:31 |  | C:\NexIONData\DataSet\Default\Standard 6.1058 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 14.5871
9 | Standard 7 |  | 25/01/2023 11:27:24 |  | C:\NexIONData\DataSet\Default\Standard 7.1059 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 29.8453
10 | Standard 8 |  | 25/01/2023 11:28:46 |  | C:\NexIONData\DataSet\Default\Standard 8.1060 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 49.8809
11 | HNO3 1% |  | 25/01/2023 11:30:25 |  | C:\NexIONData\DataSet\Default\HNO3 1%.1061 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.020802
12 | Pool controle As(III) t=0 |  | 25/01/2023 11:31:35 |  | C:\NexIONData\DataSet\Default\Pool controle As(III) t=0.1062 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.0048328
13 | Pool G1 (5ppm) As(III) t=0 diluido 1000x |  | 25/01/2023 11:33:20 |  | C:\NexIONData\DataSet\Default\Pool G1 (5ppm) As(III) t=0 diluido 1000x.1063 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 5.4731
14 | Pool G2 (10ppm) As(III) t=0 diluido 1000x |  | 25/01/2023 11:35:06 |  | C:\NexIONData\DataSet\Default\Pool G2 (10ppm) As(III) t=0 diluido 1000x.1064 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 9.3903
15 | Pool G3 (5ppm) As(III) t=0 diluido 1000x |  | 25/01/2023 11:36:34 |  | C:\NexIONData\DataSet\Default\Pool G3 (5ppm) As(III) t=0 diluido 1000x.1065 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 7.1378
16 | Pool G4 (10ppm) As(III) t=0 diluido 1000x |  | 25/01/2023 11:38:51 |  | C:\NexIONData\DataSet\Default\Pool G4 (10ppm) As(III) t=0 diluido 1000x.1066 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 9.9362
17 | Água (1) G1 (5ppm) t=1 diluido 1000x |  | 25/01/2023 11:41:05 |  | C:\NexIONData\DataSet\Default\Água (1) G1 (5ppm) t=1 diluido 1000x.1067 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 5.2413
18 | Água (2) G1 (5ppm) t=1 diluido 1000x |  | 25/01/2023 11:42:37 |  | C:\NexIONData\DataSet\Default\Água (2) G1 (5ppm) t=1 diluido 1000x.1068 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 5.1606
19 | Água (3) G1 (5ppm) t=1 diluido 1000x |  | 25/01/2023 11:44:24 |  | C:\NexIONData\DataSet\Default\Água (3) G1 (5ppm) t=1 diluido 1000x.1069 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 5.5904
20 | Água (4) G1 (5ppm) t=1 diluido 1000x |  | 25/01/2023 11:46:35 |  | C:\NexIONData\DataSet\Default\Água (4) G1 (5ppm) t=1 diluido 1000x.1070 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 6.0243
21 | Água (5) G1 (5ppm) t=1 diluido 1000x |  | 25/01/2023 11:49:43 |  | C:\NexIONData\DataSet\Default\Água (5) G1 (5ppm) t=1 diluido 1000x.1071 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 5.8141
22 | Água (1) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 11:51:45 |  | C:\NexIONData\DataSet\Default\Água (1) G2 (10ppm) t=1 diluido 1000x.1072 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 5.5608
23 | Água (2) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 11:53:48 |  | C:\NexIONData\DataSet\Default\Água (2) G2 (10ppm) t=1 diluido 1000x.1073 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | -0.003744
24 | Água (2) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 11:55:15 |  | C:\NexIONData\DataSet\Default\Água (2) G2 (10ppm) t=1 diluido 1000x.1074 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | -0.0042024
25 | Água (3) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 11:57:11 |  | C:\NexIONData\DataSet\Default\Água (3) G2 (10ppm) t=1 diluido 1000x.1075 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 11.4861
26 | Água (4) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 11:59:22 |  | C:\NexIONData\DataSet\Default\Água (4) G2 (10ppm) t=1 diluido 1000x.1076 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 10.2508
27 | Água (5) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 12:01:12 |  | C:\NexIONData\DataSet\Default\Água (5) G2 (10ppm) t=1 diluido 1000x.1077 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 17.3279
28 | Água (1) G3 (15ppm) t=7 diluido 1000x |  | 25/01/2023 12:04:42 |  | C:\NexIONData\DataSet\Default\Água (1) G3 (15ppm) t=7 diluido 1000x.1078 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 20.0324
29 | Água (2) G3 (5ppm) t=7 diluido 1000x |  | 25/01/2023 12:09:17 |  | C:\NexIONData\DataSet\Default\Água (2) G3 (5ppm) t=7 diluido 1000x.1079 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 6.3086
30 | Água (3) G3 (5ppm) t=7 diluido 1000x |  | 25/01/2023 12:12:17 |  | C:\NexIONData\DataSet\Default\Água (3) G3 (5ppm) t=7 diluido 1000x.1080 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 7.2817
31 | Água (4) G3 (5ppm) t=7 diluido 1000x |  | 25/01/2023 12:15:12 |  | C:\NexIONData\DataSet\Default\Água (4) G3 (5ppm) t=7 diluido 1000x.1081 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 5.4349
32 | Água (5) G3 (5ppm) t=7 diluido 1000x |  | 25/01/2023 12:16:57 |  | C:\NexIONData\DataSet\Default\Água (5) G3 (5ppm) t=7 diluido 1000x.1082 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 6.063
33 | Água (1) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 12:19:33 |  | C:\NexIONData\DataSet\Default\Água (1) G4 (10ppm) t=7 diluido 1000x.1083 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 9.7973
34 | Água (2) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 12:22:34 |  | C:\NexIONData\DataSet\Default\Água (2) G4 (10ppm) t=7 diluido 1000x.1084 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 10.9327
35 | Água (3) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 12:25:55 |  | C:\NexIONData\DataSet\Default\Água (3) G4 (10ppm) t=7 diluido 1000x.1085 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 10.9015
36 | Água (5) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 12:31:11 |  | C:\NexIONData\DataSet\Default\Água (5) G4 (10ppm) t=7 diluido 1000x.1086 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 16.5471
37 | Água (4) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 12:33:36 |  | C:\NexIONData\DataSet\Default\Água (4) G4 (10ppm) t=7 diluido 1000x.1087 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 10.2168
38 | Água (5) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 12:35:23 |  | C:\NexIONData\DataSet\Default\Água (5) G4 (10ppm) t=7 diluido 1000x.1088 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 17.1475
39 | HNO3 1% |  | 25/01/2023 12:36:28 |  | C:\NexIONData\DataSet\Default\HNO3 1%.1089 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.0087105
40 | Pool controle As(V) t=0 |  | 25/01/2023 14:47:14 |  | C:\NexIONData\DataSet\Default\Pool controle As(V) t=0.1090 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | -0.00043935
41 | Pool G1(5ppm) As(V) t=0 |  | 25/01/2023 14:48:55 |  | C:\NexIONData\DataSet\Default\Pool G1(5ppm) As(V) t=0.1091 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 4.2097
42 | Pool G2(10ppm) As(V) t=0 |  | 25/01/2023 14:51:07 |  | C:\NexIONData\DataSet\Default\Pool G2(10ppm) As(V) t=0.1092 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 11.6561
43 | Pool G3 (5ppm) As(V) t=0 |  | 25/01/2023 14:52:51 |  | C:\NexIONData\DataSet\Default\Pool G3 (5ppm) As(V) t=0.1093 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 8.9217
44 | Pool G4 (10ppm) As(V) t=0 |  | 25/01/2023 14:54:54 |  | C:\NexIONData\DataSet\Default\Pool G4 (10ppm) As(V) t=0.1094 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 8.9643
45 | Água (1) G1(5ppm) t=1 diluido 1000x |  | 25/01/2023 14:57:23 |  | C:\NexIONData\DataSet\Default\Água (1) G1(5ppm) t=1 diluido 1000x.1095 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 4.2581
46 | Água (2) G1(5ppm) t=1 diluido 1000x |  | 25/01/2023 14:59:06 |  | C:\NexIONData\DataSet\Default\Água (2) G1(5ppm) t=1 diluido 1000x.1096 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 4.3608
47 | Água (2) G1(5ppm) t=1 diluido 1000x |  | 25/01/2023 15:01:14 |  | C:\NexIONData\DataSet\Default\Água (2) G1(5ppm) t=1 diluido 1000x.1097 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 4.3813
48 | Água (4) G1(5ppm) t=1 diluido 1000x |  | 25/01/2023 15:03:17 |  | C:\NexIONData\DataSet\Default\Água (4) G1(5ppm) t=1 diluido 1000x.1098 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 5.807
49 | Água (5) G1(5ppm) t=1 diluido 1000x |  | 25/01/2023 15:05:11 |  | C:\NexIONData\DataSet\Default\Água (5) G1(5ppm) t=1 diluido 1000x.1099 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 4.3234
50 | Água (1) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 15:06:58 |  | C:\NexIONData\DataSet\Default\Água (1) G2 (10ppm) t=1 diluido 1000x.1100 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 8.454
51 | Água (2) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 15:08:52 |  | C:\NexIONData\DataSet\Default\Água (2) G2 (10ppm) t=1 diluido 1000x.1101 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 13.85
52 | Água (3) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 15:11:29 |  | C:\NexIONData\DataSet\Default\Água (3) G2 (10ppm) t=1 diluido 1000x.1102 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 7.9984
53 | Água (4) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 15:13:24 |  | C:\NexIONData\DataSet\Default\Água (4) G2 (10ppm) t=1 diluido 1000x.1103 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 8.6337
54 | Água (5) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 15:17:53 |  | C:\NexIONData\DataSet\Default\Água (5) G2 (10ppm) t=1 diluido 1000x.1104 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 8.7337
55 | Água (1) G3 (5ppm) t=1 diluido 1000x |  | 25/01/2023 15:19:56 |  | C:\NexIONData\DataSet\Default\Água (1) G3 (5ppm) t=1 diluido 1000x.1105 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 4.1513
56 | Água (2) G3 (5ppm) t=1 diluido 1000x |  | 25/01/2023 15:21:43 |  | C:\NexIONData\DataSet\Default\Água (2) G3 (5ppm) t=1 diluido 1000x.1106 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 4.234
57 | Água (3) G3 (5ppm) t=1 diluido 1000x |  | 25/01/2023 15:23:37 |  | C:\NexIONData\DataSet\Default\Água (3) G3 (5ppm) t=1 diluido 1000x.1107 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 5.7536
58 | Água (4) G3 (5ppm) t=1 diluido 1000x |  | 25/01/2023 15:25:46 |  | C:\NexIONData\DataSet\Default\Água (4) G3 (5ppm) t=1 diluido 1000x.1108 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 4.4268
59 | Água (5) G3 (5ppm) t=1 diluido 1000x |  | 25/01/2023 15:28:13 |  | C:\NexIONData\DataSet\Default\Água (5) G3 (5ppm) t=1 diluido 1000x.1109 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 3.9983
60 | Água (1) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 15:31:43 |  | C:\NexIONData\DataSet\Default\Água (1) G4 (10ppm) t=7 diluido 1000x.1110 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 8.6094
61 | Água (1) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 15:33:18 |  | C:\NexIONData\DataSet\Default\Água (1) G4 (10ppm) t=7 diluido 1000x.1111 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 8.7575
62 | Água (3) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 15:35:04 |  | C:\NexIONData\DataSet\Default\Água (3) G4 (10ppm) t=7 diluido 1000x.1112 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 8.4428
63 | Água (4) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 15:37:55 |  | C:\NexIONData\DataSet\Default\Água (4) G4 (10ppm) t=7 diluido 1000x.1113 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 8.3449
64 | Água (4) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 15:40:24 |  | C:\NexIONData\DataSet\Default\Água (4) G4 (10ppm) t=7 diluido 1000x.1114 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 8.5143
65 | HNO3 1% |  | 25/01/2023 15:43:01 |  | C:\NexIONData\DataSet\Default\HNO3 1%.1115 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | -0.019408
66 | HNO3 1% |  | 25/01/2023 15:45:04 |  | C:\NexIONData\DataSet\Default\HNO3 1%.1116 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | -0.023171

## Concentrations RSDs
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 | Bkgd 220 | Ce 140 (IS) | Ce++ 70 | CeO 156 | In 115 | Mg 24 | U 238
1 | Daily Performance Check |  | 25/01/2023 11:12:09 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.1051 | C:\NexIONData\Method\Daily Performance.mth
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75
2 | Blank |  | 25/01/2023 11:16:07 |  | C:\NexIONData\DataSet\Default\Blank.1052 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth
3 | Standard 1 |  | 25/01/2023 11:16:59 |  | C:\NexIONData\DataSet\Default\Standard 1.1053 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.794%
4 | Standard 2 |  | 25/01/2023 11:18:58 |  | C:\NexIONData\DataSet\Default\Standard 2.1054 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.154%
5 | Standard 3 |  | 25/01/2023 11:20:20 |  | C:\NexIONData\DataSet\Default\Standard 3.1055 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.5352%
6 | Standard 4 |  | 25/01/2023 11:21:54 |  | C:\NexIONData\DataSet\Default\Standard 4.1056 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 2.446%
7 | Standard 5 |  | 25/01/2023 11:23:31 |  | C:\NexIONData\DataSet\Default\Standard 5.1057 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.208%
8 | Standard 6 |  | 25/01/2023 11:25:31 |  | C:\NexIONData\DataSet\Default\Standard 6.1058 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.8861%
9 | Standard 7 |  | 25/01/2023 11:27:24 |  | C:\NexIONData\DataSet\Default\Standard 7.1059 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.052%
10 | Standard 8 |  | 25/01/2023 11:28:46 |  | C:\NexIONData\DataSet\Default\Standard 8.1060 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.5556%
11 | HNO3 1% |  | 25/01/2023 11:30:25 |  | C:\NexIONData\DataSet\Default\HNO3 1%.1061 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 11.03%
12 | Pool controle As(III) t=0 |  | 25/01/2023 11:31:35 |  | C:\NexIONData\DataSet\Default\Pool controle As(III) t=0.1062 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 38.36%
13 | Pool G1 (5ppm) As(III) t=0 diluido 1000x |  | 25/01/2023 11:33:20 |  | C:\NexIONData\DataSet\Default\Pool G1 (5ppm) As(III) t=0 diluido 1000x.1063 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.026%
14 | Pool G2 (10ppm) As(III) t=0 diluido 1000x |  | 25/01/2023 11:35:06 |  | C:\NexIONData\DataSet\Default\Pool G2 (10ppm) As(III) t=0 diluido 1000x.1064 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.234%
15 | Pool G3 (5ppm) As(III) t=0 diluido 1000x |  | 25/01/2023 11:36:34 |  | C:\NexIONData\DataSet\Default\Pool G3 (5ppm) As(III) t=0 diluido 1000x.1065 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.1611%
16 | Pool G4 (10ppm) As(III) t=0 diluido 1000x |  | 25/01/2023 11:38:51 |  | C:\NexIONData\DataSet\Default\Pool G4 (10ppm) As(III) t=0 diluido 1000x.1066 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.739%
17 | Água (1) G1 (5ppm) t=1 diluido 1000x |  | 25/01/2023 11:41:05 |  | C:\NexIONData\DataSet\Default\Água (1) G1 (5ppm) t=1 diluido 1000x.1067 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.8143%
18 | Água (2) G1 (5ppm) t=1 diluido 1000x |  | 25/01/2023 11:42:37 |  | C:\NexIONData\DataSet\Default\Água (2) G1 (5ppm) t=1 diluido 1000x.1068 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.065%
19 | Água (3) G1 (5ppm) t=1 diluido 1000x |  | 25/01/2023 11:44:24 |  | C:\NexIONData\DataSet\Default\Água (3) G1 (5ppm) t=1 diluido 1000x.1069 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.598%
20 | Água (4) G1 (5ppm) t=1 diluido 1000x |  | 25/01/2023 11:46:35 |  | C:\NexIONData\DataSet\Default\Água (4) G1 (5ppm) t=1 diluido 1000x.1070 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 2.819%
21 | Água (5) G1 (5ppm) t=1 diluido 1000x |  | 25/01/2023 11:49:43 |  | C:\NexIONData\DataSet\Default\Água (5) G1 (5ppm) t=1 diluido 1000x.1071 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.7147%
22 | Água (1) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 11:51:45 |  | C:\NexIONData\DataSet\Default\Água (1) G2 (10ppm) t=1 diluido 1000x.1072 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.045%
23 | Água (2) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 11:53:48 |  | C:\NexIONData\DataSet\Default\Água (2) G2 (10ppm) t=1 diluido 1000x.1073 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 66.53%
24 | Água (2) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 11:55:15 |  | C:\NexIONData\DataSet\Default\Água (2) G2 (10ppm) t=1 diluido 1000x.1074 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 50%
25 | Água (3) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 11:57:11 |  | C:\NexIONData\DataSet\Default\Água (3) G2 (10ppm) t=1 diluido 1000x.1075 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.9274%
26 | Água (4) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 11:59:22 |  | C:\NexIONData\DataSet\Default\Água (4) G2 (10ppm) t=1 diluido 1000x.1076 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.8495%
27 | Água (5) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 12:01:12 |  | C:\NexIONData\DataSet\Default\Água (5) G2 (10ppm) t=1 diluido 1000x.1077 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.8527%
28 | Água (1) G3 (15ppm) t=7 diluido 1000x |  | 25/01/2023 12:04:42 |  | C:\NexIONData\DataSet\Default\Água (1) G3 (15ppm) t=7 diluido 1000x.1078 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.6124%
29 | Água (2) G3 (5ppm) t=7 diluido 1000x |  | 25/01/2023 12:09:17 |  | C:\NexIONData\DataSet\Default\Água (2) G3 (5ppm) t=7 diluido 1000x.1079 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.3322%
30 | Água (3) G3 (5ppm) t=7 diluido 1000x |  | 25/01/2023 12:12:17 |  | C:\NexIONData\DataSet\Default\Água (3) G3 (5ppm) t=7 diluido 1000x.1080 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.4211%
31 | Água (4) G3 (5ppm) t=7 diluido 1000x |  | 25/01/2023 12:15:12 |  | C:\NexIONData\DataSet\Default\Água (4) G3 (5ppm) t=7 diluido 1000x.1081 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.9977%
32 | Água (5) G3 (5ppm) t=7 diluido 1000x |  | 25/01/2023 12:16:57 |  | C:\NexIONData\DataSet\Default\Água (5) G3 (5ppm) t=7 diluido 1000x.1082 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.378%
33 | Água (1) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 12:19:33 |  | C:\NexIONData\DataSet\Default\Água (1) G4 (10ppm) t=7 diluido 1000x.1083 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.7937%
34 | Água (2) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 12:22:34 |  | C:\NexIONData\DataSet\Default\Água (2) G4 (10ppm) t=7 diluido 1000x.1084 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.5228%
35 | Água (3) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 12:25:55 |  | C:\NexIONData\DataSet\Default\Água (3) G4 (10ppm) t=7 diluido 1000x.1085 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.585%
36 | Água (5) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 12:31:11 |  | C:\NexIONData\DataSet\Default\Água (5) G4 (10ppm) t=7 diluido 1000x.1086 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.354%
37 | Água (4) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 12:33:36 |  | C:\NexIONData\DataSet\Default\Água (4) G4 (10ppm) t=7 diluido 1000x.1087 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.08%
38 | Água (5) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 12:35:23 |  | C:\NexIONData\DataSet\Default\Água (5) G4 (10ppm) t=7 diluido 1000x.1088 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.208%
39 | HNO3 1% |  | 25/01/2023 12:36:28 |  | C:\NexIONData\DataSet\Default\HNO3 1%.1089 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 12.81%
40 | Pool controle As(V) t=0 |  | 25/01/2023 14:47:14 |  | C:\NexIONData\DataSet\Default\Pool controle As(V) t=0.1090 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 137%
41 | Pool G1(5ppm) As(V) t=0 |  | 25/01/2023 14:48:55 |  | C:\NexIONData\DataSet\Default\Pool G1(5ppm) As(V) t=0.1091 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.2177%
42 | Pool G2(10ppm) As(V) t=0 |  | 25/01/2023 14:51:07 |  | C:\NexIONData\DataSet\Default\Pool G2(10ppm) As(V) t=0.1092 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.6291%
43 | Pool G3 (5ppm) As(V) t=0 |  | 25/01/2023 14:52:51 |  | C:\NexIONData\DataSet\Default\Pool G3 (5ppm) As(V) t=0.1093 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.7177%
44 | Pool G4 (10ppm) As(V) t=0 |  | 25/01/2023 14:54:54 |  | C:\NexIONData\DataSet\Default\Pool G4 (10ppm) As(V) t=0.1094 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.2037%
45 | Água (1) G1(5ppm) t=1 diluido 1000x |  | 25/01/2023 14:57:23 |  | C:\NexIONData\DataSet\Default\Água (1) G1(5ppm) t=1 diluido 1000x.1095 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.6115%
46 | Água (2) G1(5ppm) t=1 diluido 1000x |  | 25/01/2023 14:59:06 |  | C:\NexIONData\DataSet\Default\Água (2) G1(5ppm) t=1 diluido 1000x.1096 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.7888%
47 | Água (2) G1(5ppm) t=1 diluido 1000x |  | 25/01/2023 15:01:14 |  | C:\NexIONData\DataSet\Default\Água (2) G1(5ppm) t=1 diluido 1000x.1097 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.5778%
48 | Água (4) G1(5ppm) t=1 diluido 1000x |  | 25/01/2023 15:03:17 |  | C:\NexIONData\DataSet\Default\Água (4) G1(5ppm) t=1 diluido 1000x.1098 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.314%
49 | Água (5) G1(5ppm) t=1 diluido 1000x |  | 25/01/2023 15:05:11 |  | C:\NexIONData\DataSet\Default\Água (5) G1(5ppm) t=1 diluido 1000x.1099 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.201%
50 | Água (1) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 15:06:58 |  | C:\NexIONData\DataSet\Default\Água (1) G2 (10ppm) t=1 diluido 1000x.1100 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.073%
51 | Água (2) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 15:08:52 |  | C:\NexIONData\DataSet\Default\Água (2) G2 (10ppm) t=1 diluido 1000x.1101 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.5419%
52 | Água (3) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 15:11:29 |  | C:\NexIONData\DataSet\Default\Água (3) G2 (10ppm) t=1 diluido 1000x.1102 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.4565%
53 | Água (4) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 15:13:24 |  | C:\NexIONData\DataSet\Default\Água (4) G2 (10ppm) t=1 diluido 1000x.1103 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.359%
54 | Água (5) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 15:17:53 |  | C:\NexIONData\DataSet\Default\Água (5) G2 (10ppm) t=1 diluido 1000x.1104 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.6593%
55 | Água (1) G3 (5ppm) t=1 diluido 1000x |  | 25/01/2023 15:19:56 |  | C:\NexIONData\DataSet\Default\Água (1) G3 (5ppm) t=1 diluido 1000x.1105 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.397%
56 | Água (2) G3 (5ppm) t=1 diluido 1000x |  | 25/01/2023 15:21:43 |  | C:\NexIONData\DataSet\Default\Água (2) G3 (5ppm) t=1 diluido 1000x.1106 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.6484%
57 | Água (3) G3 (5ppm) t=1 diluido 1000x |  | 25/01/2023 15:23:37 |  | C:\NexIONData\DataSet\Default\Água (3) G3 (5ppm) t=1 diluido 1000x.1107 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.4837%
58 | Água (4) G3 (5ppm) t=1 diluido 1000x |  | 25/01/2023 15:25:46 |  | C:\NexIONData\DataSet\Default\Água (4) G3 (5ppm) t=1 diluido 1000x.1108 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.1233%
59 | Água (5) G3 (5ppm) t=1 diluido 1000x |  | 25/01/2023 15:28:13 |  | C:\NexIONData\DataSet\Default\Água (5) G3 (5ppm) t=1 diluido 1000x.1109 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.8524%
60 | Água (1) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 15:31:43 |  | C:\NexIONData\DataSet\Default\Água (1) G4 (10ppm) t=7 diluido 1000x.1110 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.9453%
61 | Água (1) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 15:33:18 |  | C:\NexIONData\DataSet\Default\Água (1) G4 (10ppm) t=7 diluido 1000x.1111 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.9368%
62 | Água (3) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 15:35:04 |  | C:\NexIONData\DataSet\Default\Água (3) G4 (10ppm) t=7 diluido 1000x.1112 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 2.558%
63 | Água (4) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 15:37:55 |  | C:\NexIONData\DataSet\Default\Água (4) G4 (10ppm) t=7 diluido 1000x.1113 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.105%
64 | Água (4) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 15:40:24 |  | C:\NexIONData\DataSet\Default\Água (4) G4 (10ppm) t=7 diluido 1000x.1114 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.4042%
65 | HNO3 1% |  | 25/01/2023 15:43:01 |  | C:\NexIONData\DataSet\Default\HNO3 1%.1115 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.626%
66 | HNO3 1% |  | 25/01/2023 15:45:04 |  | C:\NexIONData\DataSet\Default\HNO3 1%.1116 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 5.306%

## Unfactored Concentrations
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 (ug/L) | Bkgd 220 (mg/L) | Ce 140 (IS) | Ce++ 70 (mg/L) | CeO 156 (mg/L) | In 115 (mg/L) | Mg 24 (ug/L) | U 238 (mg/L)
1 | Daily Performance Check |  | 25/01/2023 11:12:09 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.1051 | C:\NexIONData\Method\Daily Performance.mth
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 (ug/L)
2 | Blank |  | 25/01/2023 11:16:07 |  | C:\NexIONData\DataSet\Default\Blank.1052 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth
3 | Standard 1 |  | 25/01/2023 11:16:59 |  | C:\NexIONData\DataSet\Default\Standard 1.1053 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.5
4 | Standard 2 |  | 25/01/2023 11:18:58 |  | C:\NexIONData\DataSet\Default\Standard 2.1054 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.9664
5 | Standard 3 |  | 25/01/2023 11:20:20 |  | C:\NexIONData\DataSet\Default\Standard 3.1055 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 1.995
6 | Standard 4 |  | 25/01/2023 11:21:54 |  | C:\NexIONData\DataSet\Default\Standard 4.1056 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 4.9175
7 | Standard 5 |  | 25/01/2023 11:23:31 |  | C:\NexIONData\DataSet\Default\Standard 5.1057 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 9.9311
8 | Standard 6 |  | 25/01/2023 11:25:31 |  | C:\NexIONData\DataSet\Default\Standard 6.1058 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 14.5871
9 | Standard 7 |  | 25/01/2023 11:27:24 |  | C:\NexIONData\DataSet\Default\Standard 7.1059 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 29.8453
10 | Standard 8 |  | 25/01/2023 11:28:46 |  | C:\NexIONData\DataSet\Default\Standard 8.1060 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 49.8809
11 | HNO3 1% |  | 25/01/2023 11:30:25 |  | C:\NexIONData\DataSet\Default\HNO3 1%.1061 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.020802
12 | Pool controle As(III) t=0 |  | 25/01/2023 11:31:35 |  | C:\NexIONData\DataSet\Default\Pool controle As(III) t=0.1062 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.0048328
13 | Pool G1 (5ppm) As(III) t=0 diluido 1000x |  | 25/01/2023 11:33:20 |  | C:\NexIONData\DataSet\Default\Pool G1 (5ppm) As(III) t=0 diluido 1000x.1063 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 5.4731
14 | Pool G2 (10ppm) As(III) t=0 diluido 1000x |  | 25/01/2023 11:35:06 |  | C:\NexIONData\DataSet\Default\Pool G2 (10ppm) As(III) t=0 diluido 1000x.1064 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 9.3903
15 | Pool G3 (5ppm) As(III) t=0 diluido 1000x |  | 25/01/2023 11:36:34 |  | C:\NexIONData\DataSet\Default\Pool G3 (5ppm) As(III) t=0 diluido 1000x.1065 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 7.1378
16 | Pool G4 (10ppm) As(III) t=0 diluido 1000x |  | 25/01/2023 11:38:51 |  | C:\NexIONData\DataSet\Default\Pool G4 (10ppm) As(III) t=0 diluido 1000x.1066 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 9.9362
17 | Água (1) G1 (5ppm) t=1 diluido 1000x |  | 25/01/2023 11:41:05 |  | C:\NexIONData\DataSet\Default\Água (1) G1 (5ppm) t=1 diluido 1000x.1067 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 5.2413
18 | Água (2) G1 (5ppm) t=1 diluido 1000x |  | 25/01/2023 11:42:37 |  | C:\NexIONData\DataSet\Default\Água (2) G1 (5ppm) t=1 diluido 1000x.1068 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 5.1606
19 | Água (3) G1 (5ppm) t=1 diluido 1000x |  | 25/01/2023 11:44:24 |  | C:\NexIONData\DataSet\Default\Água (3) G1 (5ppm) t=1 diluido 1000x.1069 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 5.5904
20 | Água (4) G1 (5ppm) t=1 diluido 1000x |  | 25/01/2023 11:46:35 |  | C:\NexIONData\DataSet\Default\Água (4) G1 (5ppm) t=1 diluido 1000x.1070 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 6.0243
21 | Água (5) G1 (5ppm) t=1 diluido 1000x |  | 25/01/2023 11:49:43 |  | C:\NexIONData\DataSet\Default\Água (5) G1 (5ppm) t=1 diluido 1000x.1071 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 5.8141
22 | Água (1) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 11:51:45 |  | C:\NexIONData\DataSet\Default\Água (1) G2 (10ppm) t=1 diluido 1000x.1072 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 5.5608
23 | Água (2) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 11:53:48 |  | C:\NexIONData\DataSet\Default\Água (2) G2 (10ppm) t=1 diluido 1000x.1073 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | -0.003744
24 | Água (2) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 11:55:15 |  | C:\NexIONData\DataSet\Default\Água (2) G2 (10ppm) t=1 diluido 1000x.1074 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | -0.0042024
25 | Água (3) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 11:57:11 |  | C:\NexIONData\DataSet\Default\Água (3) G2 (10ppm) t=1 diluido 1000x.1075 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 11.4861
26 | Água (4) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 11:59:22 |  | C:\NexIONData\DataSet\Default\Água (4) G2 (10ppm) t=1 diluido 1000x.1076 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 10.2508
27 | Água (5) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 12:01:12 |  | C:\NexIONData\DataSet\Default\Água (5) G2 (10ppm) t=1 diluido 1000x.1077 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 17.3279
28 | Água (1) G3 (15ppm) t=7 diluido 1000x |  | 25/01/2023 12:04:42 |  | C:\NexIONData\DataSet\Default\Água (1) G3 (15ppm) t=7 diluido 1000x.1078 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 20.0324
29 | Água (2) G3 (5ppm) t=7 diluido 1000x |  | 25/01/2023 12:09:17 |  | C:\NexIONData\DataSet\Default\Água (2) G3 (5ppm) t=7 diluido 1000x.1079 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 6.3086
30 | Água (3) G3 (5ppm) t=7 diluido 1000x |  | 25/01/2023 12:12:17 |  | C:\NexIONData\DataSet\Default\Água (3) G3 (5ppm) t=7 diluido 1000x.1080 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 7.2817
31 | Água (4) G3 (5ppm) t=7 diluido 1000x |  | 25/01/2023 12:15:12 |  | C:\NexIONData\DataSet\Default\Água (4) G3 (5ppm) t=7 diluido 1000x.1081 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 5.4349
32 | Água (5) G3 (5ppm) t=7 diluido 1000x |  | 25/01/2023 12:16:57 |  | C:\NexIONData\DataSet\Default\Água (5) G3 (5ppm) t=7 diluido 1000x.1082 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 6.063
33 | Água (1) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 12:19:33 |  | C:\NexIONData\DataSet\Default\Água (1) G4 (10ppm) t=7 diluido 1000x.1083 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 9.7973
34 | Água (2) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 12:22:34 |  | C:\NexIONData\DataSet\Default\Água (2) G4 (10ppm) t=7 diluido 1000x.1084 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 10.9327
35 | Água (3) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 12:25:55 |  | C:\NexIONData\DataSet\Default\Água (3) G4 (10ppm) t=7 diluido 1000x.1085 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 10.9015
36 | Água (5) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 12:31:11 |  | C:\NexIONData\DataSet\Default\Água (5) G4 (10ppm) t=7 diluido 1000x.1086 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 16.5471
37 | Água (4) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 12:33:36 |  | C:\NexIONData\DataSet\Default\Água (4) G4 (10ppm) t=7 diluido 1000x.1087 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 10.2168
38 | Água (5) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 12:35:23 |  | C:\NexIONData\DataSet\Default\Água (5) G4 (10ppm) t=7 diluido 1000x.1088 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 17.1475
39 | HNO3 1% |  | 25/01/2023 12:36:28 |  | C:\NexIONData\DataSet\Default\HNO3 1%.1089 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 0.0087105
40 | Pool controle As(V) t=0 |  | 25/01/2023 14:47:14 |  | C:\NexIONData\DataSet\Default\Pool controle As(V) t=0.1090 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | -0.00043935
41 | Pool G1(5ppm) As(V) t=0 |  | 25/01/2023 14:48:55 |  | C:\NexIONData\DataSet\Default\Pool G1(5ppm) As(V) t=0.1091 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 4.2097
42 | Pool G2(10ppm) As(V) t=0 |  | 25/01/2023 14:51:07 |  | C:\NexIONData\DataSet\Default\Pool G2(10ppm) As(V) t=0.1092 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 11.6561
43 | Pool G3 (5ppm) As(V) t=0 |  | 25/01/2023 14:52:51 |  | C:\NexIONData\DataSet\Default\Pool G3 (5ppm) As(V) t=0.1093 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 8.9217
44 | Pool G4 (10ppm) As(V) t=0 |  | 25/01/2023 14:54:54 |  | C:\NexIONData\DataSet\Default\Pool G4 (10ppm) As(V) t=0.1094 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 8.9643
45 | Água (1) G1(5ppm) t=1 diluido 1000x |  | 25/01/2023 14:57:23 |  | C:\NexIONData\DataSet\Default\Água (1) G1(5ppm) t=1 diluido 1000x.1095 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 4.2581
46 | Água (2) G1(5ppm) t=1 diluido 1000x |  | 25/01/2023 14:59:06 |  | C:\NexIONData\DataSet\Default\Água (2) G1(5ppm) t=1 diluido 1000x.1096 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 4.3608
47 | Água (2) G1(5ppm) t=1 diluido 1000x |  | 25/01/2023 15:01:14 |  | C:\NexIONData\DataSet\Default\Água (2) G1(5ppm) t=1 diluido 1000x.1097 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 4.3813
48 | Água (4) G1(5ppm) t=1 diluido 1000x |  | 25/01/2023 15:03:17 |  | C:\NexIONData\DataSet\Default\Água (4) G1(5ppm) t=1 diluido 1000x.1098 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 5.807
49 | Água (5) G1(5ppm) t=1 diluido 1000x |  | 25/01/2023 15:05:11 |  | C:\NexIONData\DataSet\Default\Água (5) G1(5ppm) t=1 diluido 1000x.1099 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 4.3234
50 | Água (1) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 15:06:58 |  | C:\NexIONData\DataSet\Default\Água (1) G2 (10ppm) t=1 diluido 1000x.1100 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 8.454
51 | Água (2) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 15:08:52 |  | C:\NexIONData\DataSet\Default\Água (2) G2 (10ppm) t=1 diluido 1000x.1101 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 13.85
52 | Água (3) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 15:11:29 |  | C:\NexIONData\DataSet\Default\Água (3) G2 (10ppm) t=1 diluido 1000x.1102 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 7.9984
53 | Água (4) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 15:13:24 |  | C:\NexIONData\DataSet\Default\Água (4) G2 (10ppm) t=1 diluido 1000x.1103 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 8.6337
54 | Água (5) G2 (10ppm) t=1 diluido 1000x |  | 25/01/2023 15:17:53 |  | C:\NexIONData\DataSet\Default\Água (5) G2 (10ppm) t=1 diluido 1000x.1104 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 8.7337
55 | Água (1) G3 (5ppm) t=1 diluido 1000x |  | 25/01/2023 15:19:56 |  | C:\NexIONData\DataSet\Default\Água (1) G3 (5ppm) t=1 diluido 1000x.1105 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 4.1513
56 | Água (2) G3 (5ppm) t=1 diluido 1000x |  | 25/01/2023 15:21:43 |  | C:\NexIONData\DataSet\Default\Água (2) G3 (5ppm) t=1 diluido 1000x.1106 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 4.234
57 | Água (3) G3 (5ppm) t=1 diluido 1000x |  | 25/01/2023 15:23:37 |  | C:\NexIONData\DataSet\Default\Água (3) G3 (5ppm) t=1 diluido 1000x.1107 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 5.7536
58 | Água (4) G3 (5ppm) t=1 diluido 1000x |  | 25/01/2023 15:25:46 |  | C:\NexIONData\DataSet\Default\Água (4) G3 (5ppm) t=1 diluido 1000x.1108 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 4.4268
59 | Água (5) G3 (5ppm) t=1 diluido 1000x |  | 25/01/2023 15:28:13 |  | C:\NexIONData\DataSet\Default\Água (5) G3 (5ppm) t=1 diluido 1000x.1109 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 3.9983
60 | Água (1) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 15:31:43 |  | C:\NexIONData\DataSet\Default\Água (1) G4 (10ppm) t=7 diluido 1000x.1110 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 8.6094
61 | Água (1) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 15:33:18 |  | C:\NexIONData\DataSet\Default\Água (1) G4 (10ppm) t=7 diluido 1000x.1111 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 8.7575
62 | Água (3) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 15:35:04 |  | C:\NexIONData\DataSet\Default\Água (3) G4 (10ppm) t=7 diluido 1000x.1112 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 8.4428
63 | Água (4) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 15:37:55 |  | C:\NexIONData\DataSet\Default\Água (4) G4 (10ppm) t=7 diluido 1000x.1113 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 8.3449
64 | Água (4) G4 (10ppm) t=7 diluido 1000x |  | 25/01/2023 15:40:24 |  | C:\NexIONData\DataSet\Default\Água (4) G4 (10ppm) t=7 diluido 1000x.1114 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | 8.5143
65 | HNO3 1% |  | 25/01/2023 15:43:01 |  | C:\NexIONData\DataSet\Default\HNO3 1%.1115 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | -0.019408
66 | HNO3 1% |  | 25/01/2023 15:45:04 |  | C:\NexIONData\DataSet\Default\HNO3 1%.1116 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Método As 10-01-23.mth | -0.023171

## Internal Standards
Row Index Number
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66