## Intensities
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 (cps) | Bkgd 220 (cps) | Ce 140 (IS) (cps) | Ce++ 70 (cps) | CeO 156 (cps) | In 115 (cps) | Mg 24 (cps) | U 238 (cps)
1 | Daily Performance Check |  | 17/04/2023 10:43:03 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.1381 | C:\NexIONData\Method\Daily Performance.mth | 7785.4549 | 0.56667 | 88659.6072 | 1568.4194 | 2237.5753 | 96239.6127 | 121760.5009 | 68232.2786
2 | Daily Performance Check |  | 17/04/2023 10:55:18 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.1385 | C:\NexIONData\Method\Daily Performance.mth | 7307.8691 | 0.4 | 100738.9643 | 1558.1516 | 2243.3761 | 105221.7596 | 98586.7648 | 73020.2829
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 (cps) | As-1 75 (cps) | Se 78 (cps) | Se 82 (cps) | Se-1 78 (cps) | Se-1 82 (cps) | Se-10 78 (cps) | Se-11 78 (cps) | Se-2 78 (cps) | Se-2 82 (cps) | Se-3 78 (cps) | Se-3 82 (cps) | Se-4 78 (cps) | Se-4 82 (cps) | Se-5 78 (cps) | Se-5 82 (cps) | Se-6 78 (cps) | Se-6 82 (cps) | Se-7 78 (cps) | Se-8 78 (cps) | Se-9 78 (cps)
3 | Blank |  | 17/04/2023 12:29:22 |  | C:\NexIONData\DataSet\Default\Blank.1389 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 2080.4181 | 222.4017 | 22966.3307 | 72.8406 | 6847.8978 | 36.3973 | 1176.7109 | 924.5076 | 5811.3948 | 24.5879 | 4902.2097 | 13.6774 | 4121.068 | 30.857 | 3495.6021 | 33.3343 | 2817.4435 | 9.8654 | 2276.7561 | 1896.289 | 1481.0046
4 | Standard 1 |  | 17/04/2023 12:37:32 |  | C:\NexIONData\DataSet\Default\Standard 1.1390 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 4539.2547 | 65.0668 | 24074.5479 | 537.0226 | 7338.5965 | 301.1148 | 1432.1164 | 918.816 | 6288.8169 | 280.0308 | 5430.3528 | 254.7707 | 4566.262 | 241.3922 | 3864.1 | 225.7044 | 3249.8955 | 213.0926 | 2692.2775 | 2180.1794 | 1763.0685
5 | Standard 2 |  | 17/04/2023 12:46:23 |  | C:\NexIONData\DataSet\Default\Standard 2.1391 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 6727.5838 | 1346.9968 | 31217.0524 | 3514.4147 | 11065.1565 | 1888.2621 | 3253.7251 | 2731.8552 | 9740.1442 | 1782.7368 | 8633.0212 | 1665.4529 | 7620.6807 | 1579.7688 | 6718.0955 | 1485.0257 | 5869.8821 | 1379.8233 | 4995.5658 | 4254.4987 | 3664.0201
6 | Standard 3 |  | 17/04/2023 12:56:33 |  | C:\NexIONData\DataSet\Default\Standard 3.1392 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 10422.7343 | 2196.5689 | 25717.2489 | 1304.752 | 8077.2276 | 671.2593 | 1871.2136 | 1544.7637 | 7072.3765 | 636.5124 | 6043.2555 | 590.8837 | 5258.1084 | 563.673 | 4456.9558 | 514.2518 | 3808.783 | 485.1909 | 3192.43 | 2720.5969 | 2217.3593
7 | Standard 4 |  | 17/04/2023 13:07:07 |  | C:\NexIONData\DataSet\Default\Standard 4.1393 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 19004.8999 | 4239.0288 | 28751.2373 | 2579.8029 | 9935.5222 | 1398.5001 | 2711.207 | 2287.7359 | 8617.7472 | 1318.1968 | 7641.4675 | 1227.0581 | 6615.9181 | 1146.9587 | 5754.7225 | 1081.9826 | 4978.9204 | 996.9318 | 4296.4442 | 3652.4814 | 3135.4793
8 | Standard 5 |  | 17/04/2023 13:17:21 |  | C:\NexIONData\DataSet\Default\Standard 5.1394 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 48240.5166 | 10923.2413 | 38285.0718 | 6400.9857 | 14832.8899 | 3530.3714 | 4928.523 | 4339.1378 | 13394.3271 | 3333.3363 | 11921.9933 | 3100.8909 | 10696.0301 | 2925.2042 | 9515.5368 | 2696.7431 | 8353.1449 | 2534.5625 | 7349.8753 | 6480.2319 | 5717.2732
9 | Standard 6 |  | 17/04/2023 13:27:04 |  | C:\NexIONData\DataSet\Default\Standard 6.1395 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 82516.303 | 18809.3079 | 49530.9 | 10969.8837 | 20901.931 | 6022.5285 | 7808.6807 | 6843.75 | 18930.4773 | 5687.4089 | 17399.1052 | 5484.6381 | 15639.6969 | 5097.8445 | 14017.7149 | 4760.2504 | 12606.1687 | 4388.5023 | 11319.0177 | 9854.7389 | 8956.7576
10 | Standard 7 |  | 17/04/2023 13:37:01 |  | C:\NexIONData\DataSet\Default\Standard 7.1396 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 127028.1575 | 29201.1485 | 64252.6644 | 16768.6959 | 28330.0005 | 9172.6573 | 11254.5662 | 10119.6828 | 25587.7734 | 8474.5194 | 23789.6767 | 8280.9175 | 21598.3792 | 7695.2616 | 19475.01 | 7106.9346 | 17972.1226 | 6749.5939 | 15886.1135 | 14331.6146 | 12609.3974
11 | Standard 8 |  | 17/04/2023 13:47:22 |  | C:\NexIONData\DataSet\Default\Standard 8.1397 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 252052.4573 | 58344.776 | 104471.3658 | 33175.3185 | 49545.6295 | 18200.4748 | 21819.3481 | 19020.2218 | 46029.3931 | 17315.4302 | 42480.6991 | 16269.0222 | 38624.6908 | 15147.465 | 36057.5698 | 14467.0462 | 32787.8641 | 13345.3136 | 29245.1403 | 26869.2605 | 24334.1768
12 | Standard 9 |  | 17/04/2023 13:57:47 |  | C:\NexIONData\DataSet\Default\Standard 9.1398 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 419883.4616 | 98751.2147 | 159542.2553 | 55225.2135 | 80032.2422 | 31246.0927 | 35102.3 | 31476.8854 | 73316.4803 | 29210.0674 | 68827.9763 | 27584.4242 | 62075.4459 | 25301.0415 | 58199.6683 | 24180.6308 | 52417.3455 | 22284.5241 | 47606.8601 | 43352.2516 | 39079.3588
13 | NIST 1640a diluido 10x |  | 17/04/2023 14:07:28 |  | C:\NexIONData\DataSet\Default\NIST 1640a diluido 10x.1399 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 10325.597 | 2394.4674 | 28482.3865 | 2848.0471 | 10267.543 | 1616.8055 | 2886.5476 | 2442.7273 | 9079.6043 | 1516.4439 | 8037.1263 | 1442.1066 | 7115.7969 | 1358.754 | 6149.57 | 1263.3363 | 5357.8542 | 1170.1794 | 4591.9439 | 3872.2964 | 3408.0866
14 | DOLT-5 (1) |  | 17/04/2023 14:53:10 |  | C:\NexIONData\DataSet\Default\DOLT-5 (1).1400 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 1318229.9238 | 320726.4708 | 122317.2949 | 31023.9519 | 50376.391 | 18441.9532 | 20145.2266 | 17740.085 | 46796.2356 | 17373.2122 | 43186.7192 | 16398.314 | 39470.3026 | 15418.9363 | 35390.9923 | 14195.6429 | 32143.001 | 13297.7764 | 28619.6538 | 25384.0968 | 22790.5375
15 | DOLT-5 (2) |  | 17/04/2023 15:03:24 |  | C:\NexIONData\DataSet\Default\DOLT-5 (2).1401 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 1282994.4887 | 309381.3739 | 125749.1025 | 30215.3359 | 48391.9066 | 17243.2384 | 19410.8091 | 17020.8598 | 44966.8508 | 16133.2359 | 41610.8491 | 15347.4549 | 37514.7995 | 14210.5294 | 33714.1623 | 13248.8889 | 30314.3519 | 12341.3695 | 27625.3078 | 24592.8146 | 21838.6942
16 | DOLT-5 (3) |  | 17/04/2023 15:12:51 |  | C:\NexIONData\DataSet\Default\DOLT-5 (3).1402 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 1292621.4844 | 303392.4987 | 127154.883 | 30879.6331 | 47112.0779 | 16567.0566 | 19295.5544 | 16827.1929 | 44701.5378 | 15818.859 | 42142.2277 | 15399.1902 | 38517.5867 | 14679.839 | 34877.6187 | 13827.7413 | 31740.2254 | 12871.6637 | 28019.276 | 24504.3843 | 21940.7395
17 | Peixe IPEN (1) |  | 17/04/2023 15:23:13 |  | C:\NexIONData\DataSet\Default\Peixe IPEN (1).1403 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 247494.6196 | 58657.392 | 72804.8014 | 12988.0568 | 28293.4529 | 7153.6494 | 9265.7137 | 8107.0261 | 25215.5104 | 6831.2353 | 22552.734 | 6386.1717 | 19929.3049 | 5869.1925 | 17645.8792 | 5511.4693 | 15504.6065 | 5121.1536 | 13684.2462 | 12065.0012 | 10520.589
18 | Peixe IPEN (2) |  | 17/04/2023 15:34:46 |  | C:\NexIONData\DataSet\Default\Peixe IPEN (2).1404 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 249662.1639 | 60212.9032 | 71629.7249 | 12748.4393 | 26094.6387 | 6916.9023 | 9355.4166 | 8242.9732 | 23866.0557 | 6500.9581 | 21348.9209 | 6172.3178 | 19461.4057 | 5834.1952 | 17564.8503 | 5515.9046 | 15677.2135 | 5101.2187 | 13837.4971 | 12326.1317 | 10901.0512
19 | Peixe IPEN (3) |  | 17/04/2023 15:44:06 |  | C:\NexIONData\DataSet\Default\Peixe IPEN (3).1405 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 242897.3519 | 59159.0418 | 71356.6472 | 12336.7694 | 24621.7231 | 6412.4162 | 9327.4865 | 8130.3874 | 23154.8382 | 6223.1178 | 21369.2189 | 5990.8366 | 19277.7251 | 5643.3931 | 17124.3521 | 5309.4329 | 15484.296 | 4966.8255 | 13732.0898 | 11878.2689 | 10651.441
20 | Peixe EMBRAPA (1) |  | 17/04/2023 15:53:15 |  | C:\NexIONData\DataSet\Default\Peixe EMBRAPA (1).1406 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 4185.9467 | 820.4236 | 44641.4489 | 2386.3903 | 13796.573 | 1363.8511 | 3376.505 | 2789.2396 | 12312.2054 | 1256.4527 | 10688.8013 | 1182.2581 | 9355.6243 | 1099.6242 | 8057.2203 | 1054.2209 | 6818.8224 | 963.1758 | 5720.1715 | 4792.11 | 3985.8323
21 | Peixe EMBRAPA (2) |  | 17/04/2023 16:02:19 |  | C:\NexIONData\DataSet\Default\Peixe EMBRAPA (2).1407 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 4044.9727 | 800.4224 | 43157.1038 | 2211.1439 | 13310.5843 | 1220.6206 | 3262.2876 | 2688.5211 | 12082.9745 | 1165.5207 | 10545.2436 | 1096.6202 | 9228.1235 | 1026.6969 | 7917.9848 | 945.6868 | 6599.2201 | 905.8298 | 5631.9862 | 4711.7157 | 3953.5363
22 | Peixe EMBRAPA (3) |  | 17/04/2023 16:12:03 |  | C:\NexIONData\DataSet\Default\Peixe EMBRAPA (3).1408 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 3995.4922 | 801.0891 | 42877.1138 | 2239.0946 | 13178.7733 | 1196.8281 | 3272.3825 | 2753.2374 | 11953.1354 | 1178.4562 | 10474.5581 | 1109.5971 | 9055.7064 | 1015.2531 | 7780.3746 | 974.0065 | 6622.7626 | 921.4476 | 5573.0115 | 4726.7116 | 3933.6405
23 | Branco (1) |  | 17/04/2023 16:20:38 |  | C:\NexIONData\DataSet\Default\Branco (1).1409 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 1669.2975 | 338.2707 | 34715.6785 | 416.053 | 11548.3741 | 264.2573 | 2137.9576 | 1712.5649 | 9931.2528 | 231.0157 | 8458.9597 | 196.0783 | 7187.1825 | 174.6112 | 5959.5324 | 154.0421 | 4918.6128 | 154.2808 | 4025.6148 | 3300.7634 | 2618.0695
24 | Branco (2) |  | 17/04/2023 16:30:28 |  | C:\NexIONData\DataSet\Default\Branco (2).1410 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 1453.8073 | 302.9366 | 33978.9889 | 384.9918 | 10844.1972 | 215.6819 | 2133.7851 | 1732.0143 | 9488.0955 | 185.1676 | 8136.4912 | 173.1101 | 6903.379 | 162.2631 | 5824.6822 | 161.3121 | 4810.4175 | 129.4396 | 4036.4895 | 3261.0033 | 2640.1582
25 | Branco (3) |  | 17/04/2023 16:41:02 |  | C:\NexIONData\DataSet\Default\Branco (3).1411 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 1256.0552 | 274.4026 | 33404.8995 | 296.9387 | 10175.2583 | 144.5707 | 2121.6656 | 1686.3235 | 8869.093 | 144.4167 | 7807.0952 | 133.1061 | 6720.063 | 125.5883 | 5664.2223 | 112.1467 | 4710.8946 | 96.835 | 3870.7273 | 3249.1353 | 2611.6927
26 | Mussel tissue (1) 16-01-23 |  | 17/04/2023 16:50:39 |  | C:\NexIONData\DataSet\Default\Mussel tissue (1) 16-01-23.1412 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 435714.8853 | 113157.7405 | 75936.3972 | 6733.0881 | 17229.8594 | 3907.1822 | 6485.1558 | 5494.3982 | 17493.9054 | 3892.4434 | 16651.3915 | 3666.5355 | 15261.6748 | 3481.6445 | 13594.2769 | 3287.2328 | 12049.5392 | 3059.4407 | 10422.836 | 8948.4701 | 7588.5822
27 | Mussel tissue (2) 16-01-23 |  | 17/04/2023 16:59:44 |  | C:\NexIONData\DataSet\Default\Mussel tissue (2) 16-01-23.1413 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 465402.2312 | 115546.5243 | 74806.4059 | 6964.4801 | 23752.1456 | 4095.2114 | 6568.5069 | 5563.7253 | 21412.1626 | 3931.1226 | 19090.8818 | 3718.4612 | 16601.1187 | 3446.2568 | 14425.7442 | 3286.1624 | 12298.6349 | 2996.9472 | 10581.9867 | 9061.5468 | 7696.13
28 | Branco |  | 17/04/2023 17:11:32 |  | C:\NexIONData\DataSet\Default\Branco.1414 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 2221.3728 | 496.4086 | 36342.0816 | 738.8964 | 13474.4227 | 585.12 | 2406.6324 | 1998.0795 | 11374.5806 | 505.6516 | 9568.8448 | 423.1113 | 8053.4799 | 383.6387 | 6698.9 | 326.1698 | 5526.6267 | 302.9627 | 4469.9149 | 3727.6306 | 2990.3464
29 | Branco |  | 17/04/2023 17:21:47 |  | C:\NexIONData\DataSet\Default\Branco.1415 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 1629.6931 | 370.5381 | 32786.9496 | 319.8325 | 11029.0419 | 207.9233 | 2153.2493 | 1753.7164 | 9363.4913 | 159.6915 | 8205.4547 | 173.1725 | 6995.6799 | 149.323 | 5797.6771 | 114.7167 | 4815.4243 | 114.0482 | 3907.6594 | 3220.1653 | 2665.5686

## Intensities RSDs
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 | Bkgd 220 | Ce 140 (IS) | Ce++ 70 | CeO 156 | In 115 | Mg 24 | U 238
1 | Daily Performance Check |  | 17/04/2023 10:43:03 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.1381 | C:\NexIONData\Method\Daily Performance.mth | 1.977% | 44.61% | 1.832% | 1.284% | 1.677% | 2.239% | 7.557% | 2.016%
2 | Daily Performance Check |  | 17/04/2023 10:55:18 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.1385 | C:\NexIONData\Method\Daily Performance.mth | 1.722% | 69.72% | 0.8524% | 1.238% | 0.8167% | 0.5151% | 0.9439% | 0.669%
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 | As-1 75 | Se 78 | Se 82 | Se-1 78 | Se-1 82 | Se-10 78 | Se-11 78 | Se-2 78 | Se-2 82 | Se-3 78 | Se-3 82 | Se-4 78 | Se-4 82 | Se-5 78 | Se-5 82 | Se-6 78 | Se-6 82 | Se-7 78 | Se-8 78 | Se-9 78
3 | Blank |  | 17/04/2023 12:29:22 |  | C:\NexIONData\DataSet\Default\Blank.1389 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.6729% | 1.945% | 0.7174% | 10.85% | 1.104% | 38.04% | 1.428% | 2.231% | 0.463% | 45.98% | 0.6822% | 96.71% | 0.8537% | 41.13% | 4.047% | 62.03% | 1.128% | 14.79% | 1.809% | 1.894% | 0.8883%
4 | Standard 1 |  | 17/04/2023 12:37:32 |  | C:\NexIONData\DataSet\Default\Standard 1.1390 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 2.567% | 4.093% | 0.4254% | 4.247% | 1.169% | 5.935% | 3.133% | 2.18% | 1.111% | 0.5195% | 1.194% | 4.644% | 0.7945% | 2.18% | 1.169% | 7.791% | 1.196% | 7.107% | 0.9189% | 3.081% | 1.666%
5 | Standard 2 |  | 17/04/2023 12:46:23 |  | C:\NexIONData\DataSet\Default\Standard 2.1391 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.8888% | 1.881% | 0.3927% | 1.473% | 1.718% | 2.003% | 1.975% | 0.4183% | 0.9393% | 2.221% | 0.6631% | 2.282% | 0.6493% | 2.311% | 0.2712% | 0.8943% | 0.9927% | 1.801% | 1.483% | 2.07% | 1.088%
6 | Standard 3 |  | 17/04/2023 12:56:33 |  | C:\NexIONData\DataSet\Default\Standard 3.1392 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.765% | 1.242% | 0.3291% | 1.086% | 0.6573% | 1.228% | 1.066% | 2.322% | 0.2355% | 2.563% | 1.242% | 2.452% | 1.941% | 2.356% | 1.402% | 4.202% | 1.615% | 0.7325% | 0.6649% | 0.8449% | 2.752%
7 | Standard 4 |  | 17/04/2023 13:07:07 |  | C:\NexIONData\DataSet\Default\Standard 4.1393 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.3858% | 0.3197% | 0.423% | 0.8641% | 0.993% | 1.327% | 1.636% | 2.007% | 1.017% | 1.504% | 0.7116% | 0.8835% | 1.318% | 1.422% | 0.3274% | 0.1699% | 1.458% | 1.541% | 1.314% | 0.7732% | 1.473%
8 | Standard 5 |  | 17/04/2023 13:17:21 |  | C:\NexIONData\DataSet\Default\Standard 5.1394 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.8342% | 0.7268% | 0.7691% | 1.107% | 0.4726% | 1.088% | 0.6122% | 1.34% | 0.203% | 1.494% | 1.294% | 1.795% | 0.1624% | 2.202% | 0.8164% | 1.271% | 0.6976% | 1.132% | 0.8473% | 1.09% | 1.123%
9 | Standard 6 |  | 17/04/2023 13:27:04 |  | C:\NexIONData\DataSet\Default\Standard 6.1395 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.7856% | 0.2667% | 0.4582% | 0.8509% | 1.358% | 1.064% | 0.2631% | 0.4406% | 0.2903% | 0.6347% | 0.7321% | 0.288% | 1.04% | 1.258% | 1.042% | 1.293% | 2.039% | 2.971% | 1.274% | 0.5842% | 0.3134%
10 | Standard 7 |  | 17/04/2023 13:37:01 |  | C:\NexIONData\DataSet\Default\Standard 7.1396 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.8256% | 0.6596% | 1.116% | 1.439% | 0.728% | 0.05746% | 1.042% | 1.39% | 0.5747% | 0.8714% | 0.1227% | 1.79% | 1.385% | 0.8342% | 0.2875% | 1.186% | 1.407% | 1.479% | 1.137% | 1.572% | 0.5517%
11 | Standard 8 |  | 17/04/2023 13:47:22 |  | C:\NexIONData\DataSet\Default\Standard 8.1397 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.6943% | 1.019% | 0.1848% | 0.592% | 0.6639% | 1.421% | 0.6856% | 0.6762% | 1.317% | 1.605% | 0.2465% | 0.3706% | 1.997% | 2.598% | 0.8731% | 1.755% | 1.245% | 0.8034% | 0.9312% | 0.8485% | 0.3254%
12 | Standard 9 |  | 17/04/2023 13:57:47 |  | C:\NexIONData\DataSet\Default\Standard 9.1398 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.9947% | 0.6865% | 0.7024% | 1.254% | 1.633% | 1.502% | 0.7178% | 0.956% | 0.9082% | 1.379% | 0.9376% | 0.8807% | 0.4019% | 0.4788% | 0.703% | 0.5385% | 0.8017% | 1.09% | 1.581% | 1.372% | 1.749%
13 | NIST 1640a diluido 10x |  | 17/04/2023 14:07:28 |  | C:\NexIONData\DataSet\Default\NIST 1640a diluido 10x.1399 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.4909% | 2.362% | 0.9951% | 0.9291% | 0.7464% | 0.8315% | 1.16% | 0.3276% | 1.193% | 1.957% | 0.775% | 0.8927% | 0.4036% | 4.306% | 0.8788% | 1.343% | 1.433% | 2.398% | 0.641% | 0.2915% | 1.119%
14 | DOLT-5 (1) |  | 17/04/2023 14:53:10 |  | C:\NexIONData\DataSet\Default\DOLT-5 (1).1400 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.3434% | 0.2299% | 1.069% | 0.5673% | 0.551% | 0.9398% | 0.6173% | 0.5367% | 0.4592% | 0.3432% | 0.08641% | 0.2904% | 0.5741% | 0.7542% | 0.6066% | 1.211% | 0.678% | 0.3109% | 0.5622% | 0.4422% | 0.5004%
15 | DOLT-5 (2) |  | 17/04/2023 15:03:24 |  | C:\NexIONData\DataSet\Default\DOLT-5 (2).1401 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 1.922% | 2.192% | 0.9929% | 2.13% | 0.1747% | 1.575% | 0.7767% | 2.68% | 0.276% | 1.797% | 0.4608% | 0.9294% | 1.482% | 1.366% | 1.159% | 2.157% | 0.7958% | 1.514% | 0.8765% | 0.3721% | 1.264%
16 | DOLT-5 (3) |  | 17/04/2023 15:12:51 |  | C:\NexIONData\DataSet\Default\DOLT-5 (3).1402 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 1.152% | 0.4221% | 1.237% | 1.731% | 1.297% | 0.7069% | 1.05% | 0.7618% | 0.8252% | 1.161% | 0.6913% | 0.3873% | 0.5473% | 0.5173% | 0.3448% | 0.6599% | 0.8261% | 1.049% | 1.256% | 0.19% | 1.474%
17 | Peixe IPEN (1) |  | 17/04/2023 15:23:13 |  | C:\NexIONData\DataSet\Default\Peixe IPEN (1).1403 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 2.114% | 1.354% | 0.9038% | 1.152% | 0.7687% | 1.978% | 2.149% | 1.381% | 0.2876% | 0.5745% | 1.01% | 1.702% | 0.07449% | 0.3983% | 1.198% | 2.612% | 1.666% | 2.409% | 0.9178% | 2.08% | 1.269%
18 | Peixe IPEN (2) |  | 17/04/2023 15:34:46 |  | C:\NexIONData\DataSet\Default\Peixe IPEN (2).1404 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 1.38% | 0.9503% | 0.8109% | 1.262% | 0.9215% | 0.5659% | 0.6342% | 0.9784% | 0.4741% | 1.23% | 0.3997% | 0.8101% | 0.9011% | 0.8216% | 0.924% | 1.443% | 1.379% | 1.868% | 1.098% | 0.3764% | 0.344%
19 | Peixe IPEN (3) |  | 17/04/2023 15:44:06 |  | C:\NexIONData\DataSet\Default\Peixe IPEN (3).1405 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.648% | 0.5142% | 0.6481% | 1.595% | 1.735% | 2.941% | 0.8887% | 0.5727% | 0.5228% | 0.3214% | 0.4437% | 0.8315% | 0.4252% | 0.826% | 0.7768% | 0.6449% | 0.1755% | 0.5958% | 1.028% | 0.4744% | 0.8116%
20 | Peixe EMBRAPA (1) |  | 17/04/2023 15:53:15 |  | C:\NexIONData\DataSet\Default\Peixe EMBRAPA (1).1406 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 1.974% | 4.233% | 0.488% | 2.258% | 0.9945% | 3.054% | 2.199% | 1.439% | 0.3381% | 0.9493% | 0.5754% | 0.9375% | 0.6089% | 1.474% | 0.2591% | 2.098% | 0.8312% | 4.029% | 0.2014% | 0.3319% | 0.8627%
21 | Peixe EMBRAPA (2) |  | 17/04/2023 16:02:19 |  | C:\NexIONData\DataSet\Default\Peixe EMBRAPA (2).1407 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 1.865% | 2.627% | 0.4561% | 3.168% | 0.8317% | 4.009% | 1.964% | 0.9363% | 1.456% | 2.784% | 0.353% | 1.906% | 1.001% | 1.763% | 1.139% | 1.83% | 0.371% | 2.224% | 0.4596% | 0.7515% | 0.8664%
22 | Peixe EMBRAPA (3) |  | 17/04/2023 16:12:03 |  | C:\NexIONData\DataSet\Default\Peixe EMBRAPA (3).1408 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 2.364% | 2.821% | 0.2603% | 0.7452% | 1.77% | 1.222% | 1.229% | 2.117% | 0.7273% | 2.145% | 0.6805% | 1.51% | 0.4122% | 1.568% | 0.7972% | 3.324% | 0.5156% | 3.517% | 1.559% | 1.336% | 1.279%
23 | Branco (1) |  | 17/04/2023 16:20:38 |  | C:\NexIONData\DataSet\Default\Branco (1).1409 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.8425% | 1.886% | 0.9432% | 8.524% | 0.6074% | 5.694% | 0.9641% | 2.172% | 0.2715% | 7.678% | 0.9849% | 9.38% | 0.3702% | 15.31% | 0.6114% | 17.02% | 1.846% | 15.54% | 1.579% | 0.908% | 1.032%
24 | Branco (2) |  | 17/04/2023 16:30:28 |  | C:\NexIONData\DataSet\Default\Branco (2).1410 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 1.168% | 7.25% | 0.6397% | 2.341% | 0.5777% | 5.289% | 1.105% | 2.07% | 0.839% | 5.833% | 0.6891% | 6.442% | 1.163% | 3.765% | 1.235% | 7.657% | 1.366% | 23.77% | 0.3513% | 1.239% | 1.962%
25 | Branco (3) |  | 17/04/2023 16:41:02 |  | C:\NexIONData\DataSet\Default\Branco (3).1411 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 1.585% | 4.302% | 0.9174% | 8.448% | 0.7764% | 4.171% | 1.729% | 2.568% | 1.756% | 7.862% | 0.6408% | 3.751% | 0.7428% | 7.019% | 1.255% | 13.81% | 1.496% | 10.57% | 1.737% | 1.38% | 0.8722%
26 | Mussel tissue (1) 16-01-23 |  | 17/04/2023 16:50:39 |  | C:\NexIONData\DataSet\Default\Mussel tissue (1) 16-01-23.1412 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 9.408% | 0.6257% | 2.489% | 8.264% | 3.616% | 0.4994% | 1.164% | 0.1109% | 2.345% | 0.4595% | 1.243% | 0.9413% | 0.5549% | 1.396% | 0.6922% | 1.356% | 0.6646% | 1.887% | 0.5912% | 0.632% | 1.195%
27 | Mussel tissue (2) 16-01-23 |  | 17/04/2023 16:59:44 |  | C:\NexIONData\DataSet\Default\Mussel tissue (2) 16-01-23.1413 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.4536% | 1.335% | 0.7238% | 0.56% | 1.342% | 0.2119% | 1.307% | 1.258% | 1.066% | 1.257% | 0.1812% | 1.221% | 0.7263% | 1.049% | 0.3225% | 1.315% | 0.3437% | 1.485% | 0.6981% | 1.228% | 0.2939%
28 | Branco |  | 17/04/2023 17:11:32 |  | C:\NexIONData\DataSet\Default\Branco.1414 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 2.798% | 5.144% | 0.3854% | 2.07% | 0.9813% | 4.149% | 6.129% | 2.551% | 0.2378% | 3.505% | 0.6595% | 2.405% | 0.4074% | 4.302% | 1.174% | 6.066% | 0.7662% | 3.853% | 1.317% | 0.9163% | 1.163%
29 | Branco |  | 17/04/2023 17:21:47 |  | C:\NexIONData\DataSet\Default\Branco.1415 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 5.039% | 5.49% | 2.054% | 4.837% | 1.476% | 5.613% | 1.366% | 1.099% | 3.57% | 13.03% | 0.6423% | 5.573% | 1.142% | 9.13% | 2.449% | 33.48% | 4.965% | 25.6% | 6.343% | 3.645% | 0.8014%

## Concentrations
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 (ug/L) | Bkgd 220 (mg/L) | Ce 140 (IS) | Ce++ 70 (mg/L) | CeO 156 (mg/L) | In 115 (mg/L) | Mg 24 (ug/L) | U 238 (mg/L)
1 | Daily Performance Check |  | 17/04/2023 10:43:03 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.1381 | C:\NexIONData\Method\Daily Performance.mth
2 | Daily Performance Check |  | 17/04/2023 10:55:18 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.1385 | C:\NexIONData\Method\Daily Performance.mth
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 (ug/L) | As-1 75 (ug/L) | Se 78 (ug/L) | Se 82 (ug/L) | Se-1 78 (ug/L) | Se-1 82 (ug/L) | Se-10 78 (ug/L) | Se-11 78 (ug/L) | Se-2 78 (ug/L) | Se-2 82 (ug/L) | Se-3 78 (ug/L) | Se-3 82 (ug/L) | Se-4 78 (ug/L) | Se-4 82 (ug/L) | Se-5 78 (ug/L) | Se-5 82 (ug/L) | Se-6 78 (ug/L) | Se-6 82 (ug/L) | Se-7 78 (ug/L) | Se-8 78 (ug/L) | Se-9 78 (ug/L)
3 | Blank |  | 17/04/2023 12:29:22 |  | C:\NexIONData\DataSet\Default\Blank.1389 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth
4 | Standard 1 |  | 17/04/2023 12:37:32 |  | C:\NexIONData\DataSet\Default\Standard 1.1390 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
5 | Standard 2 |  | 17/04/2023 12:46:23 |  | C:\NexIONData\DataSet\Default\Standard 2.1391 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.47024 | 0.53497 | 0.5064 | 0.50634 | 0.50817 | 0.50555 | 0.50752 | 0.52033 | 0.50766 | 0.50532 | 0.50568 | 0.50525 | 0.5071 | 0.50624 | 0.50837 | 0.50657 | 0.50567 | 0.50502 | 0.50458 | 0.50777 | 0.5069
6 | Standard 3 |  | 17/04/2023 12:56:33 |  | C:\NexIONData\DataSet\Default\Standard 3.1392 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.9633 | 0.9868 | 0.49608 | 0.51756 | 0.45732 | 0.50396 | 0.49761 | 0.51303 | 0.48542 | 0.50841 | 0.46996 | 0.50958 | 0.48874 | 0.50541 | 0.4642 | 0.49425 | 0.48777 | 0.50728 | 0.49803 | 0.51119 | 0.49988
7 | Standard 4 |  | 17/04/2023 13:07:07 |  | C:\NexIONData\DataSet\Default\Standard 4.1393 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 1.9889 | 2.0018 | 2.0083 | 1.9961 | 2.0754 | 2.0157 | 2.029 | 2.0411 | 2.0313 | 1.6581 | 2.0568 | 2.0076 | 2.0254 | 2.007 | 2.0517 | 2.0226 | 2.0213 | 2.0023 | 2.0251 | 2.0157 | 2.0348
8 | Standard 5 |  | 17/04/2023 13:17:21 |  | C:\NexIONData\DataSet\Default\Standard 5.1394 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 5.0689 | 5.0549 | 5.0504 | 5.0064 | 5.0578 | 5.0277 | 4.9934 | 5.0184 | 5.0755 | 4.8491 | 5.0433 | 5.0177 | 5.0534 | 5.033 | 5.0724 | 5.0224 | 5.0286 | 5.0199 | 5.0143 | 5.0418 | 5.0339
9 | Standard 6 |  | 17/04/2023 13:27:04 |  | C:\NexIONData\DataSet\Default\Standard 6.1395 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 9.7022 | 9.6873 | 9.683 | 9.6439 | 9.7232 | 9.6418 | 9.7023 | 9.6664 | 9.6895 | 9.5455 | 9.744 | 9.7204 | 9.7096 | 9.6979 | 9.7132 | 9.7264 | 9.7204 | 9.6683 | 9.7329 | 9.6817 | 9.718
10 | Standard 7 |  | 17/04/2023 13:37:01 |  | C:\NexIONData\DataSet\Default\Standard 7.1396 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 15.026 | 15.0378 | 15.018 | 14.9171 | 14.9492 | 14.8946 | 14.905 | 15.0059 | 14.8534 | 14.7135 | 14.8988 | 14.8845 | 14.9009 | 14.8772 | 14.9078 | 14.8339 | 15.0179 | 14.9565 | 14.8694 | 15.0466 | 14.8
11 | Standard 8 |  | 17/04/2023 13:47:22 |  | C:\NexIONData\DataSet\Default\Standard 8.1397 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 30.0173 | 30.0454 | 29.8995 | 29.8788 | 29.9183 | 29.8894 | 30.1481 | 29.8658 | 30.0581 | 30.0304 | 29.898 | 29.7888 | 29.8328 | 29.811 | 30.1061 | 30.0755 | 29.9145 | 29.8838 | 29.8468 | 30.0611 | 30.1102
12 | Standard 9 |  | 17/04/2023 13:57:47 |  | C:\NexIONData\DataSet\Default\Standard 9.1398 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 50.057 | 50.308 | 50.034 | 49.9267 | 50.4207 | 50.4452 | 49.8479 | 50.1412 | 50.1502 | 50.2282 | 50.2843 | 50.1742 | 50.0364 | 49.9446 | 50.1918 | 50.1051 | 49.8343 | 49.9719 | 50.0561 | 49.9673 | 49.8445
13 | NIST 1640a diluido 10x |  | 17/04/2023 14:07:28 |  | C:\NexIONData\DataSet\Default\NIST 1640a diluido 10x.1399 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.98786 | 1.109 | 2.0208 | 2.5123 | 2.356 | 2.5545 | 2.5123 | 2.4916 | 2.428 | 2.5675 | 2.4659 | 2.5995 | 2.5856 | 2.6245 | 2.4351 | 2.5522 | 2.5524 | 2.6031 | 2.5566 | 2.3817 | 2.5548
14 | DOLT-5 (1) |  | 17/04/2023 14:53:10 |  | C:\NexIONData\DataSet\Default\DOLT-5 (1).1400 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 157.6879 | 163.6468 | 36.3968 | 28.0185 | 29.9892 | 29.7495 | 27.871 | 27.597 | 30.448 | 29.857 | 30.1148 | 29.8173 | 30.5197 | 30.4134 | 29.2645 | 29.3865 | 29.4641 | 29.8107 | 29.0894 | 28.3101 | 28.2503
15 | DOLT-5 (2) |  | 17/04/2023 15:03:24 |  | C:\NexIONData\DataSet\Default\DOLT-5 (2).1401 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 153.4664 | 157.854 | 37.654 | 27.2865 | 28.6219 | 27.812 | 26.7919 | 26.4166 | 29.0889 | 27.723 | 28.8752 | 27.9049 | 28.8313 | 28.025 | 27.726 | 27.422 | 27.6268 | 27.665 | 27.9913 | 27.3564 | 26.9884
16 | DOLT-5 (3) |  | 17/04/2023 15:12:51 |  | C:\NexIONData\DataSet\Default\DOLT-5 (3).1402 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 154.6198 | 154.7962 | 38.169 | 27.8879 | 27.7402 | 26.719 | 26.6226 | 26.0988 | 28.8918 | 27.1819 | 29.2932 | 27.9991 | 29.6971 | 28.9526 | 28.7934 | 28.6231 | 29.0594 | 28.8547 | 28.4264 | 27.2498 | 27.1237
17 | Peixe IPEN (1) |  | 17/04/2023 15:23:13 |  | C:\NexIONData\DataSet\Default\Peixe IPEN (1).1403 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 29.4031 | 29.8364 | 18.2581 | 11.6915 | 14.775 | 11.5038 | 11.8854 | 11.7876 | 14.4155 | 11.7142 | 13.884 | 11.5969 | 13.6484 | 11.539 | 12.9831 | 11.367 | 12.7471 | 11.4669 | 12.5968 | 12.2565 | 11.9839
18 | Peixe IPEN (2) |  | 17/04/2023 15:34:46 |  | C:\NexIONData\DataSet\Default\Peixe IPEN (2).1404 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 29.6628 | 30.6307 | 17.8276 | 11.4746 | 13.2601 | 11.1212 | 12.0172 | 12.0107 | 13.413 | 11.1458 | 12.9371 | 11.2077 | 13.2445 | 11.4699 | 12.9087 | 11.3762 | 12.9205 | 11.4222 | 12.766 | 12.5712 | 12.4883
19 | Peixe IPEN (3) |  | 17/04/2023 15:44:06 |  | C:\NexIONData\DataSet\Default\Peixe IPEN (3).1405 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 28.8523 | 30.0926 | 17.7276 | 11.1019 | 12.2454 | 10.3058 | 11.9762 | 11.826 | 12.8846 | 10.6677 | 12.953 | 10.8774 | 13.0859 | 11.0927 | 12.5046 | 10.9478 | 12.7267 | 11.1207 | 12.6496 | 12.0314 | 12.1573
20 | Peixe EMBRAPA (1) |  | 17/04/2023 15:53:15 |  | C:\NexIONData\DataSet\Default\Peixe EMBRAPA (1).1406 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.25226 | 0.30535 | 7.9406 | 2.0943 | 4.7873 | 2.1456 | 3.2322 | 3.0603 | 4.8295 | 2.12 | 4.5518 | 2.1266 | 4.5194 | 2.1123 | 4.1853 | 2.1183 | 4.0203 | 2.1387 | 3.8024 | 3.4904 | 3.3207
21 | Peixe EMBRAPA (2) |  | 17/04/2023 16:02:19 |  | C:\NexIONData\DataSet\Default\Peixe EMBRAPA (2).1407 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.23537 | 0.29513 | 7.3968 | 1.9357 | 4.4525 | 1.9141 | 3.0644 | 2.895 | 4.6592 | 1.9635 | 4.4388 | 1.9708 | 4.4093 | 1.9682 | 4.0576 | 1.8931 | 3.7996 | 2.01 | 3.705 | 3.3935 | 3.2779
22 | Peixe EMBRAPA (3) |  | 17/04/2023 16:12:03 |  | C:\NexIONData\DataSet\Default\Peixe EMBRAPA (3).1408 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.22945 | 0.29547 | 7.2942 | 1.961 | 4.3617 | 1.8756 | 3.0792 | 3.0012 | 4.5628 | 1.9858 | 4.3832 | 1.9944 | 4.2604 | 1.9456 | 3.9313 | 1.9519 | 3.8233 | 2.0451 | 3.6399 | 3.4115 | 3.2515
23 | Branco (1) |  | 17/04/2023 16:20:38 |  | C:\NexIONData\DataSet\Default\Branco (1).1409 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | -0.049256 | 0.059162 | 4.3043 | 0.31069 | 3.2384 | 0.3683 | 1.4124 | 1.2933 | 3.0607 | 0.35526 | 2.7978 | 0.33194 | 2.6472 | 0.28412 | 2.2607 | 0.25047 | 2.1111 | 0.32399 | 1.9312 | 1.6928 | 1.5074
24 | Branco (2) |  | 17/04/2023 16:30:28 |  | C:\NexIONData\DataSet\Default\Branco (2).1410 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | -0.075074 | 0.04112 | 4.0344 | 0.28258 | 2.7533 | 0.28978 | 1.4063 | 1.3252 | 2.7315 | 0.27636 | 2.5441 | 0.29014 | 2.4022 | 0.25971 | 2.137 | 0.26555 | 2.0024 | 0.26826 | 1.9432 | 1.6449 | 1.5367
25 | Branco (3) |  | 17/04/2023 16:41:02 |  | C:\NexIONData\DataSet\Default\Branco (3).1411 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | -0.098767 | 0.026551 | 3.8241 | 0.20286 | 2.2924 | 0.17484 | 1.3884 | 1.2503 | 2.2716 | 0.20623 | 2.285 | 0.21734 | 2.2439 | 0.18723 | 1.9897 | 0.16353 | 1.9024 | 0.19511 | 1.7602 | 1.6306 | 1.499
26 | Mussel tissue (1) 16-01-23 |  | 17/04/2023 16:50:39 |  | C:\NexIONData\DataSet\Default\Mussel tissue (1) 16-01-23.1412 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 51.9538 | 57.6639 | 19.4053 | 6.0292 | 7.1527 | 6.2565 | 7.7999 | 7.4999 | 8.679 | 6.6566 | 9.242 | 6.6476 | 9.6185 | 6.8202 | 9.2657 | 6.7518 | 9.2757 | 6.8415 | 8.9954 | 8.5001 | 8.0969
27 | Mussel tissue (2) 16-01-23 |  | 17/04/2023 16:59:44 |  | C:\NexIONData\DataSet\Default\Mussel tissue (2) 16-01-23.1413 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 55.5106 | 58.8836 | 18.9914 | 6.2387 | 11.6463 | 6.5604 | 7.9223 | 7.6137 | 11.59 | 6.7231 | 11.1609 | 6.7421 | 10.775 | 6.7503 | 10.0286 | 6.7495 | 9.526 | 6.7013 | 9.1711 | 8.6364 | 8.2395
28 | Branco |  | 17/04/2023 17:11:32 |  | C:\NexIONData\DataSet\Default\Branco.1414 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.016888 | 0.13991 | 4.9001 | 0.60295 | 4.5654 | 0.88692 | 1.8072 | 1.7619 | 4.1329 | 0.82791 | 3.6708 | 0.7451 | 3.3951 | 0.69725 | 2.9391 | 0.60763 | 2.722 | 0.65755 | 2.4218 | 2.2073 | 2.001
29 | Branco |  | 17/04/2023 17:21:47 |  | C:\NexIONData\DataSet\Default\Branco.1415 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | -0.054001 | 0.075637 | 3.5977 | 0.22359 | 2.8806 | 0.27724 | 1.4349 | 1.3609 | 2.6389 | 0.23251 | 2.5983 | 0.29025 | 2.4819 | 0.23414 | 2.1122 | 0.16887 | 2.0074 | 0.23373 | 1.8009 | 1.5957 | 1.5704

## Concentrations RSDs
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 | Bkgd 220 | Ce 140 (IS) | Ce++ 70 | CeO 156 | In 115 | Mg 24 | U 238
1 | Daily Performance Check |  | 17/04/2023 10:43:03 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.1381 | C:\NexIONData\Method\Daily Performance.mth
2 | Daily Performance Check |  | 17/04/2023 10:55:18 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.1385 | C:\NexIONData\Method\Daily Performance.mth
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 | As-1 75 | Se 78 | Se 82 | Se-1 78 | Se-1 82 | Se-10 78 | Se-11 78 | Se-2 78 | Se-2 82 | Se-3 78 | Se-3 82 | Se-4 78 | Se-4 82 | Se-5 78 | Se-5 82 | Se-6 78 | Se-6 82 | Se-7 78 | Se-8 78 | Se-9 78
3 | Blank |  | 17/04/2023 12:29:22 |  | C:\NexIONData\DataSet\Default\Blank.1389 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth
4 | Standard 1 |  | 17/04/2023 12:37:32 |  | C:\NexIONData\DataSet\Default\Standard 1.1390 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 4.74% | 1.693% | 9.242% | 4.914% | 17.49% | 6.751% | 17.57% | 351.9% | 14.63% | 0.5695% | 12.27% | 4.907% | 8.149% | 2.5% | 12.26% | 9.14% | 8.989% | 7.452% | 5.954% | 23.66% | 10.42%
5 | Standard 2 |  | 17/04/2023 12:46:23 |  | C:\NexIONData\DataSet\Default\Standard 2.1391 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 1.287% | 2.253% | 1.486% | 1.504% | 4.507% | 2.043% | 3.093% | 0.6323% | 2.329% | 2.252% | 1.534% | 2.301% | 1.414% | 2.357% | 0.5653% | 0.9148% | 1.909% | 1.814% | 2.725% | 3.735% | 1.826%
6 | Standard 3 |  | 17/04/2023 12:56:33 |  | C:\NexIONData\DataSet\Default\Standard 3.1392 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.9558% | 1.381% | 3.077% | 1.151% | 4.319% | 1.299% | 2.872% | 5.782% | 1.321% | 2.666% | 6.576% | 2.51% | 8.976% | 2.493% | 6.499% | 4.494% | 6.205% | 0.7477% | 2.318% | 2.788% | 8.286%
7 | Standard 4 |  | 17/04/2023 13:07:07 |  | C:\NexIONData\DataSet\Default\Standard 4.1393 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.4332% | 0.3374% | 2.102% | 0.8892% | 3.195% | 1.363% | 2.891% | 3.369% | 3.123% | 1.533% | 1.985% | 0.8935% | 3.494% | 1.461% | 0.8341% | 0.1753% | 3.358% | 1.556% | 2.796% | 1.608% | 2.791%
8 | Standard 5 |  | 17/04/2023 13:17:21 |  | C:\NexIONData\DataSet\Default\Standard 5.1394 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.8718% | 0.7419% | 1.922% | 1.119% | 0.8779% | 1.1% | 0.8042% | 1.702% | 0.3586% | 1.505% | 2.198% | 1.803% | 0.2641% | 2.225% | 1.291% | 1.287% | 1.053% | 1.137% | 1.228% | 1.541% | 1.515%
9 | Standard 6 |  | 17/04/2023 13:27:04 |  | C:\NexIONData\DataSet\Default\Standard 6.1395 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.8059% | 0.2699% | 0.8543% | 0.8565% | 2.02% | 1.07% | 0.3098% | 0.5094% | 0.4189% | 0.6374% | 1.019% | 0.2887% | 1.412% | 1.265% | 1.389% | 1.302% | 2.626% | 2.978% | 1.595% | 0.7234% | 0.3754%
10 | Standard 7 |  | 17/04/2023 13:37:01 |  | C:\NexIONData\DataSet\Default\Standard 7.1396 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.8394% | 0.6647% | 1.737% | 1.445% | 0.9601% | 0.05769% | 1.163% | 1.53% | 0.7436% | 0.874% | 0.1546% | 1.793% | 1.711% | 0.8376% | 0.3504% | 1.192% | 1.669% | 1.481% | 1.327% | 1.812% | 0.6252%
11 | Standard 8 |  | 17/04/2023 13:47:22 |  | C:\NexIONData\DataSet\Default\Standard 8.1397 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.7001% | 1.023% | 0.2369% | 0.5933% | 0.7704% | 1.424% | 0.7247% | 0.7107% | 1.507% | 1.607% | 0.2787% | 0.3709% | 2.235% | 2.603% | 0.9668% | 1.759% | 1.362% | 0.804% | 1.01% | 0.9129% | 0.3465%
12 | Standard 9 |  | 17/04/2023 13:57:47 |  | C:\NexIONData\DataSet\Default\Standard 9.1398 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.9997% | 0.688% | 0.8205% | 1.256% | 1.786% | 1.504% | 0.7426% | 0.985% | 0.9864% | 1.38% | 1.01% | 0.8811% | 0.4304% | 0.4793% | 0.7479% | 0.5392% | 0.8473% | 1.091% | 1.66% | 1.434% | 1.818%
13 | NIST 1640a diluido 10x |  | 17/04/2023 14:07:28 |  | C:\NexIONData\DataSet\Default\NIST 1640a diluido 10x.1399 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.6148% | 2.604% | 5.138% | 0.9535% | 2.241% | 0.8506% | 1.958% | 0.527% | 3.316% | 1.989% | 1.987% | 0.9012% | 0.9591% | 4.406% | 2.036% | 1.38% | 3.022% | 2.418% | 1.271% | 0.5712% | 1.979%
14 | DOLT-5 (1) |  | 17/04/2023 14:53:10 |  | C:\NexIONData\DataSet\Default\DOLT-5 (1).1400 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.3439% | 0.23% | 1.316% | 0.5686% | 0.6377% | 0.9417% | 0.6556% | 0.5662% | 0.5243% | 0.3437% | 0.09748% | 0.2906% | 0.6411% | 0.7557% | 0.6731% | 1.213% | 0.7431% | 0.3112% | 0.6107% | 0.4779% | 0.5352%
15 | DOLT-5 (2) |  | 17/04/2023 15:03:24 |  | C:\NexIONData\DataSet\Default\DOLT-5 (2).1401 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 1.925% | 2.193% | 1.215% | 2.135% | 0.2034% | 1.578% | 0.8268% | 2.834% | 0.317% | 1.8% | 0.5224% | 0.9303% | 1.664% | 1.369% | 1.293% | 2.162% | 0.8774% | 1.516% | 0.9552% | 0.4032% | 1.356%
16 | DOLT-5 (3) |  | 17/04/2023 15:12:51 |  | C:\NexIONData\DataSet\Default\DOLT-5 (3).1402 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 1.154% | 0.4224% | 1.51% | 1.735% | 1.517% | 0.7085% | 1.119% | 0.8061% | 0.9485% | 1.163% | 0.7823% | 0.3876% | 0.6129% | 0.5184% | 0.3832% | 0.6615% | 0.9066% | 1.049% | 1.367% | 0.2059% | 1.581%
17 | Peixe IPEN (1) |  | 17/04/2023 15:23:13 |  | C:\NexIONData\DataSet\Default\Peixe IPEN (1).1403 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 2.132% | 1.359% | 1.32% | 1.158% | 1.014% | 1.989% | 2.462% | 1.559% | 0.3737% | 0.5765% | 1.291% | 1.705% | 0.09391% | 0.4004% | 1.494% | 2.628% | 2.036% | 2.413% | 1.101% | 2.468% | 1.477%
18 | Peixe IPEN (2) |  | 17/04/2023 15:34:46 |  | C:\NexIONData\DataSet\Default\Peixe IPEN (2).1404 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 1.392% | 0.9538% | 1.194% | 1.27% | 1.249% | 0.5689% | 0.7255% | 1.102% | 0.6267% | 1.235% | 0.5189% | 0.8119% | 1.143% | 0.8259% | 1.154% | 1.452% | 1.682% | 1.872% | 1.314% | 0.4449% | 0.3981%
19 | Peixe IPEN (3) |  | 17/04/2023 15:44:06 |  | C:\NexIONData\DataSet\Default\Peixe IPEN (3).1405 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.6536% | 0.5161% | 0.9556% | 1.604% | 2.404% | 2.958% | 1.017% | 0.6462% | 0.698% | 0.3226% | 0.5757% | 0.8334% | 0.5409% | 0.8305% | 0.9761% | 0.649% | 0.2146% | 0.597% | 1.232% | 0.5645% | 0.9427%
20 | Peixe EMBRAPA (1) |  | 17/04/2023 15:53:15 |  | C:\NexIONData\DataSet\Default\Peixe EMBRAPA (1).1406 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 3.924% | 5.807% | 1.005% | 2.329% | 1.975% | 3.138% | 3.376% | 2.152% | 0.6403% | 0.9683% | 1.063% | 0.9484% | 1.088% | 1.516% | 0.4577% | 2.166% | 1.416% | 4.071% | 0.3346% | 0.5492% | 1.373%
21 | Peixe EMBRAPA (2) |  | 17/04/2023 16:02:19 |  | C:\NexIONData\DataSet\Default\Peixe EMBRAPA (2).1407 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 3.839% | 3.638% | 0.9749% | 3.276% | 1.713% | 4.132% | 3.073% | 1.427% | 2.806% | 2.844% | 0.6596% | 1.93% | 1.809% | 1.817% | 2.04% | 1.896% | 0.6474% | 2.248% | 0.7714% | 1.258% | 1.385%
22 | Peixe EMBRAPA (3) |  | 17/04/2023 16:12:03 |  | C:\NexIONData\DataSet\Default\Peixe EMBRAPA (3).1408 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 4.933% | 3.906% | 0.5606% | 0.7703% | 3.685% | 1.261% | 1.919% | 3.187% | 1.415% | 2.191% | 1.279% | 1.529% | 0.7564% | 1.617% | 1.448% | 3.441% | 0.8973% | 3.555% | 2.635% | 2.231% | 2.051%
23 | Branco (1) |  | 17/04/2023 16:20:38 |  | C:\NexIONData\DataSet\Default\Branco (1).1409 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 3.421% | 5.506% | 2.787% | 10.33% | 1.492% | 6.603% | 2.144% | 4.721% | 0.6545% | 8.593% | 2.342% | 10.08% | 0.8677% | 18.59% | 1.479% | 21.73% | 4.322% | 16.6% | 3.635% | 2.134% | 2.376%
24 | Branco (2) |  | 17/04/2023 16:30:28 |  | C:\NexIONData\DataSet\Default\Branco (2).1410 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 2.71% | 27.27% | 1.974% | 2.887% | 1.568% | 6.363% | 2.463% | 4.44% | 2.165% | 6.727% | 1.734% | 6.995% | 2.885% | 4.649% | 3.089% | 9.652% | 3.297% | 25.73% | 0.8059% | 2.959% | 4.47%
25 | Branco (3) |  | 17/04/2023 16:41:02 |  | C:\NexIONData\DataSet\Default\Branco (3).1411 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 2.415% | 22.7% | 2.936% | 11.19% | 2.374% | 5.574% | 3.881% | 5.684% | 5.092% | 9.475% | 1.722% | 4.181% | 1.921% | 9.305% | 3.278% | 19.66% | 3.723% | 11.77% | 4.218% | 3.314% | 2.015%
26 | Mussel tissue (1) 16-01-23 |  | 17/04/2023 16:50:39 |  | C:\NexIONData\DataSet\Default\Mussel tissue (1) 16-01-23.1412 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 9.453% | 0.6269% | 3.569% | 8.354% | 6.002% | 0.5041% | 1.422% | 0.1333% | 3.512% | 0.4624% | 1.761% | 0.9448% | 0.7601% | 1.408% | 0.9318% | 1.37% | 0.8674% | 1.893% | 0.7564% | 0.8019% | 1.484%
27 | Mussel tissue (2) 16-01-23 |  | 17/04/2023 16:59:44 |  | C:\NexIONData\DataSet\Default\Mussel tissue (2) 16-01-23.1413 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.4556% | 1.338% | 1.045% | 0.5659% | 1.886% | 0.2138% | 1.592% | 1.509% | 1.463% | 1.265% | 0.2438% | 1.226% | 0.9662% | 1.058% | 0.4256% | 1.328% | 0.4459% | 1.49% | 0.8895% | 1.553% | 0.3639%
28 | Branco |  | 17/04/2023 17:11:32 |  | C:\NexIONData\DataSet\Default\Branco.1414 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 44.1% | 9.319% | 1.047% | 2.296% | 1.995% | 4.424% | 11.99% | 4.748% | 0.4862% | 3.684% | 1.352% | 2.485% | 0.8343% | 4.679% | 2.455% | 6.757% | 1.563% | 3.983% | 2.683% | 1.865% | 2.305%
29 | Branco |  | 17/04/2023 17:21:47 |  | C:\NexIONData\DataSet\Default\Branco.1415 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 18.22% | 13.73% | 6.857% | 6.264% | 3.895% | 6.804% | 3.013% | 2.323% | 9.412% | 15.4% | 1.596% | 6.051% | 2.778% | 11.51% | 6.168% | 47.2% | 11.97% | 28.02% | 15.2% | 8.867% | 1.803%

## Unfactored Concentrations
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 (ug/L) | Bkgd 220 (mg/L) | Ce 140 (IS) | Ce++ 70 (mg/L) | CeO 156 (mg/L) | In 115 (mg/L) | Mg 24 (ug/L) | U 238 (mg/L)
1 | Daily Performance Check |  | 17/04/2023 10:43:03 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.1381 | C:\NexIONData\Method\Daily Performance.mth
2 | Daily Performance Check |  | 17/04/2023 10:55:18 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.1385 | C:\NexIONData\Method\Daily Performance.mth
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 (ug/L) | As-1 75 (ug/L) | Se 78 (ug/L) | Se 82 (ug/L) | Se-1 78 (ug/L) | Se-1 82 (ug/L) | Se-10 78 (ug/L) | Se-11 78 (ug/L) | Se-2 78 (ug/L) | Se-2 82 (ug/L) | Se-3 78 (ug/L) | Se-3 82 (ug/L) | Se-4 78 (ug/L) | Se-4 82 (ug/L) | Se-5 78 (ug/L) | Se-5 82 (ug/L) | Se-6 78 (ug/L) | Se-6 82 (ug/L) | Se-7 78 (ug/L) | Se-8 78 (ug/L) | Se-9 78 (ug/L)
3 | Blank |  | 17/04/2023 12:29:22 |  | C:\NexIONData\DataSet\Default\Blank.1389 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth
4 | Standard 1 |  | 17/04/2023 12:37:32 |  | C:\NexIONData\DataSet\Default\Standard 1.1390 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
5 | Standard 2 |  | 17/04/2023 12:46:23 |  | C:\NexIONData\DataSet\Default\Standard 2.1391 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.47024 | 0.53497 | 0.5064 | 0.50634 | 0.50817 | 0.50555 | 0.50752 | 0.52033 | 0.50766 | 0.50532 | 0.50568 | 0.50525 | 0.5071 | 0.50624 | 0.50837 | 0.50657 | 0.50567 | 0.50502 | 0.50458 | 0.50777 | 0.5069
6 | Standard 3 |  | 17/04/2023 12:56:33 |  | C:\NexIONData\DataSet\Default\Standard 3.1392 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.9633 | 0.9868 | 0.49608 | 0.51756 | 0.45732 | 0.50396 | 0.49761 | 0.51303 | 0.48542 | 0.50841 | 0.46996 | 0.50958 | 0.48874 | 0.50541 | 0.4642 | 0.49425 | 0.48777 | 0.50728 | 0.49803 | 0.51119 | 0.49988
7 | Standard 4 |  | 17/04/2023 13:07:07 |  | C:\NexIONData\DataSet\Default\Standard 4.1393 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 1.9889 | 2.0018 | 2.0083 | 1.9961 | 2.0754 | 2.0157 | 2.029 | 2.0411 | 2.0313 | 1.6581 | 2.0568 | 2.0076 | 2.0254 | 2.007 | 2.0517 | 2.0226 | 2.0213 | 2.0023 | 2.0251 | 2.0157 | 2.0348
8 | Standard 5 |  | 17/04/2023 13:17:21 |  | C:\NexIONData\DataSet\Default\Standard 5.1394 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 5.0689 | 5.0549 | 5.0504 | 5.0064 | 5.0578 | 5.0277 | 4.9934 | 5.0184 | 5.0755 | 4.8491 | 5.0433 | 5.0177 | 5.0534 | 5.033 | 5.0724 | 5.0224 | 5.0286 | 5.0199 | 5.0143 | 5.0418 | 5.0339
9 | Standard 6 |  | 17/04/2023 13:27:04 |  | C:\NexIONData\DataSet\Default\Standard 6.1395 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 9.7022 | 9.6873 | 9.683 | 9.6439 | 9.7232 | 9.6418 | 9.7023 | 9.6664 | 9.6895 | 9.5455 | 9.744 | 9.7204 | 9.7096 | 9.6979 | 9.7132 | 9.7264 | 9.7204 | 9.6683 | 9.7329 | 9.6817 | 9.718
10 | Standard 7 |  | 17/04/2023 13:37:01 |  | C:\NexIONData\DataSet\Default\Standard 7.1396 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 15.026 | 15.0378 | 15.018 | 14.9171 | 14.9492 | 14.8946 | 14.905 | 15.0059 | 14.8534 | 14.7135 | 14.8988 | 14.8845 | 14.9009 | 14.8772 | 14.9078 | 14.8339 | 15.0179 | 14.9565 | 14.8694 | 15.0466 | 14.8
11 | Standard 8 |  | 17/04/2023 13:47:22 |  | C:\NexIONData\DataSet\Default\Standard 8.1397 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 30.0173 | 30.0454 | 29.8995 | 29.8788 | 29.9183 | 29.8894 | 30.1481 | 29.8658 | 30.0581 | 30.0304 | 29.898 | 29.7888 | 29.8328 | 29.811 | 30.1061 | 30.0755 | 29.9145 | 29.8838 | 29.8468 | 30.0611 | 30.1102
12 | Standard 9 |  | 17/04/2023 13:57:47 |  | C:\NexIONData\DataSet\Default\Standard 9.1398 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 50.057 | 50.308 | 50.034 | 49.9267 | 50.4207 | 50.4452 | 49.8479 | 50.1412 | 50.1502 | 50.2282 | 50.2843 | 50.1742 | 50.0364 | 49.9446 | 50.1918 | 50.1051 | 49.8343 | 49.9719 | 50.0561 | 49.9673 | 49.8445
13 | NIST 1640a diluido 10x |  | 17/04/2023 14:07:28 |  | C:\NexIONData\DataSet\Default\NIST 1640a diluido 10x.1399 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.98786 | 1.109 | 2.0208 | 2.5123 | 2.356 | 2.5545 | 2.5123 | 2.4916 | 2.428 | 2.5675 | 2.4659 | 2.5995 | 2.5856 | 2.6245 | 2.4351 | 2.5522 | 2.5524 | 2.6031 | 2.5566 | 2.3817 | 2.5548
14 | DOLT-5 (1) |  | 17/04/2023 14:53:10 |  | C:\NexIONData\DataSet\Default\DOLT-5 (1).1400 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 157.6879 | 163.6468 | 36.3968 | 28.0185 | 29.9892 | 29.7495 | 27.871 | 27.597 | 30.448 | 29.857 | 30.1148 | 29.8173 | 30.5197 | 30.4134 | 29.2645 | 29.3865 | 29.4641 | 29.8107 | 29.0894 | 28.3101 | 28.2503
15 | DOLT-5 (2) |  | 17/04/2023 15:03:24 |  | C:\NexIONData\DataSet\Default\DOLT-5 (2).1401 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 153.4664 | 157.854 | 37.654 | 27.2865 | 28.6219 | 27.812 | 26.7919 | 26.4166 | 29.0889 | 27.723 | 28.8752 | 27.9049 | 28.8313 | 28.025 | 27.726 | 27.422 | 27.6268 | 27.665 | 27.9913 | 27.3564 | 26.9884
16 | DOLT-5 (3) |  | 17/04/2023 15:12:51 |  | C:\NexIONData\DataSet\Default\DOLT-5 (3).1402 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 154.6198 | 154.7962 | 38.169 | 27.8879 | 27.7402 | 26.719 | 26.6226 | 26.0988 | 28.8918 | 27.1819 | 29.2932 | 27.9991 | 29.6971 | 28.9526 | 28.7934 | 28.6231 | 29.0594 | 28.8547 | 28.4264 | 27.2498 | 27.1237
17 | Peixe IPEN (1) |  | 17/04/2023 15:23:13 |  | C:\NexIONData\DataSet\Default\Peixe IPEN (1).1403 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 29.4031 | 29.8364 | 18.2581 | 11.6915 | 14.775 | 11.5038 | 11.8854 | 11.7876 | 14.4155 | 11.7142 | 13.884 | 11.5969 | 13.6484 | 11.539 | 12.9831 | 11.367 | 12.7471 | 11.4669 | 12.5968 | 12.2565 | 11.9839
18 | Peixe IPEN (2) |  | 17/04/2023 15:34:46 |  | C:\NexIONData\DataSet\Default\Peixe IPEN (2).1404 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 29.6628 | 30.6307 | 17.8276 | 11.4746 | 13.2601 | 11.1212 | 12.0172 | 12.0107 | 13.413 | 11.1458 | 12.9371 | 11.2077 | 13.2445 | 11.4699 | 12.9087 | 11.3762 | 12.9205 | 11.4222 | 12.766 | 12.5712 | 12.4883
19 | Peixe IPEN (3) |  | 17/04/2023 15:44:06 |  | C:\NexIONData\DataSet\Default\Peixe IPEN (3).1405 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 28.8523 | 30.0926 | 17.7276 | 11.1019 | 12.2454 | 10.3058 | 11.9762 | 11.826 | 12.8846 | 10.6677 | 12.953 | 10.8774 | 13.0859 | 11.0927 | 12.5046 | 10.9478 | 12.7267 | 11.1207 | 12.6496 | 12.0314 | 12.1573
20 | Peixe EMBRAPA (1) |  | 17/04/2023 15:53:15 |  | C:\NexIONData\DataSet\Default\Peixe EMBRAPA (1).1406 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.25226 | 0.30535 | 7.9406 | 2.0943 | 4.7873 | 2.1456 | 3.2322 | 3.0603 | 4.8295 | 2.12 | 4.5518 | 2.1266 | 4.5194 | 2.1123 | 4.1853 | 2.1183 | 4.0203 | 2.1387 | 3.8024 | 3.4904 | 3.3207
21 | Peixe EMBRAPA (2) |  | 17/04/2023 16:02:19 |  | C:\NexIONData\DataSet\Default\Peixe EMBRAPA (2).1407 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.23537 | 0.29513 | 7.3968 | 1.9357 | 4.4525 | 1.9141 | 3.0644 | 2.895 | 4.6592 | 1.9635 | 4.4388 | 1.9708 | 4.4093 | 1.9682 | 4.0576 | 1.8931 | 3.7996 | 2.01 | 3.705 | 3.3935 | 3.2779
22 | Peixe EMBRAPA (3) |  | 17/04/2023 16:12:03 |  | C:\NexIONData\DataSet\Default\Peixe EMBRAPA (3).1408 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.22945 | 0.29547 | 7.2942 | 1.961 | 4.3617 | 1.8756 | 3.0792 | 3.0012 | 4.5628 | 1.9858 | 4.3832 | 1.9944 | 4.2604 | 1.9456 | 3.9313 | 1.9519 | 3.8233 | 2.0451 | 3.6399 | 3.4115 | 3.2515
23 | Branco (1) |  | 17/04/2023 16:20:38 |  | C:\NexIONData\DataSet\Default\Branco (1).1409 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | -0.049256 | 0.059162 | 4.3043 | 0.31069 | 3.2384 | 0.3683 | 1.4124 | 1.2933 | 3.0607 | 0.35526 | 2.7978 | 0.33194 | 2.6472 | 0.28412 | 2.2607 | 0.25047 | 2.1111 | 0.32399 | 1.9312 | 1.6928 | 1.5074
24 | Branco (2) |  | 17/04/2023 16:30:28 |  | C:\NexIONData\DataSet\Default\Branco (2).1410 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | -0.075074 | 0.04112 | 4.0344 | 0.28258 | 2.7533 | 0.28978 | 1.4063 | 1.3252 | 2.7315 | 0.27636 | 2.5441 | 0.29014 | 2.4022 | 0.25971 | 2.137 | 0.26555 | 2.0024 | 0.26826 | 1.9432 | 1.6449 | 1.5367
25 | Branco (3) |  | 17/04/2023 16:41:02 |  | C:\NexIONData\DataSet\Default\Branco (3).1411 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | -0.098767 | 0.026551 | 3.8241 | 0.20286 | 2.2924 | 0.17484 | 1.3884 | 1.2503 | 2.2716 | 0.20623 | 2.285 | 0.21734 | 2.2439 | 0.18723 | 1.9897 | 0.16353 | 1.9024 | 0.19511 | 1.7602 | 1.6306 | 1.499
26 | Mussel tissue (1) 16-01-23 |  | 17/04/2023 16:50:39 |  | C:\NexIONData\DataSet\Default\Mussel tissue (1) 16-01-23.1412 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 51.9538 | 57.6639 | 19.4053 | 6.0292 | 7.1527 | 6.2565 | 7.7999 | 7.4999 | 8.679 | 6.6566 | 9.242 | 6.6476 | 9.6185 | 6.8202 | 9.2657 | 6.7518 | 9.2757 | 6.8415 | 8.9954 | 8.5001 | 8.0969
27 | Mussel tissue (2) 16-01-23 |  | 17/04/2023 16:59:44 |  | C:\NexIONData\DataSet\Default\Mussel tissue (2) 16-01-23.1413 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 55.5106 | 58.8836 | 18.9914 | 6.2387 | 11.6463 | 6.5604 | 7.9223 | 7.6137 | 11.59 | 6.7231 | 11.1609 | 6.7421 | 10.775 | 6.7503 | 10.0286 | 6.7495 | 9.526 | 6.7013 | 9.1711 | 8.6364 | 8.2395
28 | Branco |  | 17/04/2023 17:11:32 |  | C:\NexIONData\DataSet\Default\Branco.1414 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.016888 | 0.13991 | 4.9001 | 0.60295 | 4.5654 | 0.88692 | 1.8072 | 1.7619 | 4.1329 | 0.82791 | 3.6708 | 0.7451 | 3.3951 | 0.69725 | 2.9391 | 0.60763 | 2.722 | 0.65755 | 2.4218 | 2.2073 | 2.001
29 | Branco |  | 17/04/2023 17:21:47 |  | C:\NexIONData\DataSet\Default\Branco.1415 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | -0.054001 | 0.075637 | 3.5977 | 0.22359 | 2.8806 | 0.27724 | 1.4349 | 1.3609 | 2.6389 | 0.23251 | 2.5983 | 0.29025 | 2.4819 | 0.23414 | 2.1122 | 0.16887 | 2.0074 | 0.23373 | 1.8009 | 1.5957 | 1.5704

## Internal Standards
Row Index Number
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29