## Intensities
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 (cps) | Bkgd 220 (cps) | Ce 140 (IS) (cps) | Ce++ 70 (cps) | CeO 156 (cps) | In 115 (cps) | Mg 24 (cps) | U 238 (cps)
1 | Daily Performance Check |  | 29/03/2023 10:36:42 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.1301 | C:\NexIONData\Method\Daily Performance.mth | 3882.861 | 0.26667 | 55864.0866 | 744.7528 | 1151.9798 | 57459.8598 | 49797.6458 | 39602.7573
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 (cps) | As-1 75 (cps) | Se 78 (cps) | Se 82 (cps) | Se-1 78 (cps) | Se-1 82 (cps) | Se-10 78 (cps) | Se-11 78 (cps) | Se-2 78 (cps) | Se-2 82 (cps) | Se-3 78 (cps) | Se-3 82 (cps) | Se-4 78 (cps) | Se-4 82 (cps) | Se-5 78 (cps) | Se-5 82 (cps) | Se-6 78 (cps) | Se-6 82 (cps) | Se-7 78 (cps) | Se-8 78 (cps) | Se-9 78 (cps)
2 | Branco |  | 29/03/2023 12:02:18 |  | C:\NexIONData\DataSet\Default\Branco.1305 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 797.8892 | 31.3334 | 19189.052 | -38.7172 | 3720.0271 | 23.2005 | 557.7536 | 463.6476 | 3134.137 | 9.5962 | 2644.4196 | 21.9611 | 2180.1799 | 9.9882 | 1770.4061 | 6.1257 | 1431.185 | 4.1643 | 1153.1239 | 913.6291 | 713.994
3 | 0.1 |  | 29/03/2023 12:10:07 |  | C:\NexIONData\DataSet\Default\0.1.1306 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 1557.685 | 192.5346 | 17007.7127 | 133.7934 | 3827.7848 | 63.7332 | 615.3478 | 485.2501 | 3252.738 | 59.7749 | 2728.3575 | 56.5738 | 2253.8144 | 44.0591 | 1856.918 | 44.2509 | 1518.5152 | 39.8948 | 1227.9139 | 973.3989 | 775.8362
4 | 0.5 |  | 29/03/2023 12:19:31 |  | C:\NexIONData\DataSet\Default\0.5.1307 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 3266.388 | 852.2921 | 18543.302 | 386.0222 | 4581.5168 | 330.8812 | 893.4153 | 729.3938 | 3816.1824 | 317.6391 | 3317.0108 | 303.6096 | 2760.1226 | 259.0522 | 2329.9857 | 250.9374 | 1900.238 | 225.9171 | 1606.7347 | 1318.6672 | 1074.4809
5 | 1.0 |  | 29/03/2023 13:26:08 |  | C:\NexIONData\DataSet\Default\1.0.1308 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 9160.803 | 1651.2955 | 21714.168 | 779.7036 | 5801.7266 | 410.6871 | 1097.6543 | 891.5966 | 4901.7512 | 401.3471 | 4186.7493 | 371.9543 | 3536.6459 | 321.2705 | 2949.2359 | 283.8174 | 2470.9577 | 273.4067 | 2032.2474 | 1676.1849 | 1349.1574
6 | 2.0 |  | 29/03/2023 13:35:28 |  | C:\NexIONData\DataSet\Default\2.0.1309 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 11026.654 | 2024.5439 | 21625.589 | 1263.9015 | 6030.4654 | 630.6602 | 1278.0253 | 1035.699 | 5163.1047 | 582.2045 | 4443.0968 | 556.5949 | 3769.9305 | 498.6506 | 3193.3392 | 472.0723 | 2681.7354 | 445.164 | 2222.0294 | 1818.09 | 1544.5552
7 | 5.0 |  | 29/03/2023 13:44:26 |  | C:\NexIONData\DataSet\Default\5.0.1310 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 25360.2237 | 4283.8422 | 25459.7859 | 2956.3811 | 7595.3184 | 1448.6533 | 1917.9772 | 1660.2034 | 6585.5645 | 1357.4643 | 5741.016 | 1244.6088 | 4974.0429 | 1173.332 | 4221.5135 | 1050.5167 | 3614.3783 | 957.7687 | 3066.6671 | 2647.0088 | 2270.6461
8 | 10.0 |  | 29/03/2023 13:53:33 |  | C:\NexIONData\DataSet\Default\10.0.1311 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 47164.3971 | 8306.2808 | 31424.4483 | 5675.7061 | 10105.3858 | 2591.6177 | 3289.1233 | 2866.7134 | 8988.7209 | 2465.3482 | 8036.4389 | 2327.8633 | 7114.9764 | 2158.2255 | 6307.7098 | 1990.4125 | 5507.4839 | 1830.7832 | 4904.6838 | 4316.5632 | 3742.3211
9 | 15.0 |  | 29/03/2023 14:02:29 |  | C:\NexIONData\DataSet\Default\15.0.1312 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 68120.7014 | 12401.3806 | 37381.012 | 8108.405 | 13126.8202 | 3864.3251 | 4560.7654 | 4002.328 | 11878.7186 | 3709.7972 | 10736.9103 | 3430.3994 | 9547.6647 | 3165.2695 | 8551.7247 | 2956.9632 | 7656.7134 | 2727.5241 | 6703.8588 | 5944.5504 | 5164.2997
10 | 30.0 |  | 29/03/2023 14:13:22 |  | C:\NexIONData\DataSet\Default\30.0.1313 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 131267.6928 | 23741.1789 | 56877.4561 | 15872.459 | 21709.4626 | 7598.1274 | 8419.945 | 7292.9865 | 19830.2896 | 7200.7728 | 18043.8507 | 6642.7803 | 16451.7537 | 6194.7966 | 14778.4112 | 5735.9568 | 13315.9761 | 5358.2252 | 11927.1069 | 10731.0366 | 9383.3806
11 | Standard 9 |  | 29/03/2023 14:25:07 |  | C:\NexIONData\DataSet\Default\Standard 9.1314 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 233239.1479 | 41813.504 | 85994.3933 | 27629.6763 | 35269.4666 | 13195.4508 | 14043.0874 | 12434.03 | 32343.0455 | 12471.084 | 29576.7569 | 11589.0255 | 26841.6879 | 10843.013 | 30125.2909 | 11555.8776 | 22284.8869 | 9150.4371 | 20046.4016 | 17714.9701 | 15922.9419
12 | Peixe IPEN 1 |  | 29/03/2023 14:35:29 |  | C:\NexIONData\DataSet\Default\Peixe IPEN 1.1315 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 95313.1759 | 17573.3357 | 32937.0943 | 4487.6488 | 9566.3719 | 2046.2639 | 2939.7449 | 2447.822 | 8514.4375 | 1975.4698 | 7528.3641 | 1795.6981 | 6662.1347 | 1714.6397 | 5991.2265 | 1618.1744 | 5156.7206 | 1482.515 | 4477.4709 | 3836.5099 | 3383.9841
13 | Peixe IPEN 2 |  | 29/03/2023 14:45:08 |  | C:\NexIONData\DataSet\Default\Peixe IPEN 2.1316 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 95204.3151 | 17769.9786 | 33406.9447 | 4433.7874 | 9947.2887 | 2145.9429 | 2945.7664 | 2524.1177 | 8836.7583 | 1968.2667 | 7940.4104 | 1897.5018 | 6855.1905 | 1770.4539 | 6088.5785 | 1615.7364 | 5252.5288 | 1505.2938 | 4692.1055 | 3913.6213 | 3462.0183
14 | Peixe IPEN 3 |  | 29/03/2023 14:56:29 |  | C:\NexIONData\DataSet\Default\Peixe IPEN 3.1317 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 93310.0159 | 17662.6465 | 33131.3386 | 4325.5109 | 9869.8989 | 2082.1329 | 2911.3425 | 2520.198 | 8799.5881 | 1979.3483 | 7887.2657 | 1867.4853 | 6935.7275 | 1727.0402 | 6016.3902 | 1582.6597 | 5218.9666 | 1503.374 | 4654.3032 | 3989.9252 | 3439.007
15 | Mussel tissue 1 |  | 29/03/2023 15:07:00 |  | C:\NexIONData\DataSet\Default\Mussel tissue 1.1319 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 213831.2725 | 40290.6091 | 34694.2288 | 3055.8247 | 8809.02 | 1599.2481 | 2270.7876 | 1917.0606 | 7740.1123 | 1494.9655 | 6702.4466 | 1390.5371 | 5969.969 | 1300.3241 | 5078.0754 | 1190.9957 | 4361.2882 | 1056.4125 | 3713.9315 | 3153.3817 | 2756.6508
16 | Mussel tissue 2 |  | 29/03/2023 15:16:26 |  | C:\NexIONData\DataSet\Default\Mussel tissue 2.1320 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 215454.0776 | 41052.1021 | 35844.618 | 3002.0341 | 8724.9238 | 1502.2578 | 2309.0009 | 1941.9005 | 7882.1488 | 1444.7821 | 6882.09 | 1352.9881 | 6053.2354 | 1273.4615 | 5192.1712 | 1155.3047 | 4482.9509 | 1060.9866 | 3729.3859 | 3213.7181 | 2776.1014
17 | Mussel tissue 3 |  | 29/03/2023 15:27:00 |  | C:\NexIONData\DataSet\Default\Mussel tissue 3.1321 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 212117.9933 | 41290.1216 | 36820.904 | 3155.922 | 9531.576 | 1649.2102 | 2353.9686 | 1997.079 | 8335.6102 | 1544.528 | 7141.3482 | 1456.4484 | 6167.4181 | 1339.5022 | 5393.2005 | 1257.62 | 4615.0654 | 1162.1797 | 3872.1474 | 3249.6226 | 2768.7903
18 | DOLT-5 1 |  | 29/03/2023 15:38:20 |  | C:\NexIONData\DataSet\Default\DOLT-5 1.1322 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 531170.371 | 105663.2012 | 65551.0251 | 11521.8996 | 18939.9867 | 5437.3488 | 6910.559 | 6048.2179 | 17681.0169 | 5214.1561 | 15971.7858 | 5003.0729 | 14302.7055 | 4680.4326 | 12841.3395 | 4356.2985 | 11592.1076 | 4117.0842 | 10161.8484 | 8948.7023 | 7881.3758
19 | DOLT-5 2 |  | 29/03/2023 15:48:33 |  | C:\NexIONData\DataSet\Default\DOLT-5 2.1323 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 523997.5052 | 104250.0797 | 67177.7256 | 11270.9498 | 21180.4938 | 5559.3066 | 6926.2959 | 6078.9654 | 18858.6145 | 5278.9705 | 16847.5262 | 5005.1911 | 15140.7299 | 4686.6572 | 13224.7199 | 4294.4368 | 11597.4331 | 3989.2106 | 10187.8393 | 9002.6361 | 8092.2053
20 | DOLT-5 3 |  | 29/03/2023 15:57:29 |  | C:\NexIONData\DataSet\Default\DOLT-5 3.1324 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 528956.5211 | 105616.5845 | 67305.6894 | 11024.9557 | 21130.1894 | 5380.7449 | 6970.4108 | 6109.4712 | 18744.3639 | 5116.1507 | 16945.4776 | 4906.0138 | 15156.5764 | 4570.8764 | 13364.5392 | 4250.679 | 11789.7882 | 3900.7685 | 10294.5901 | 9051.8861 | 7907.3096
21 | Branco |  | 29/03/2023 16:09:24 |  | C:\NexIONData\DataSet\Default\Branco.1325 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 1009.9024 | 162.4009 | 23226.0182 | 278.0452 | 6535.6406 | 155.9477 | 1065.1469 | 866.2441 | 5443.9267 | 127.3004 | 4525.4624 | 130.3339 | 3762.8133 | 110.7607 | 3128.1113 | 104.6576 | 2543.637 | 88.6034 | 2086.327 | 1672.2609 | 1336.2749
22 | Branco |  | 29/03/2023 16:32:21 |  | C:\NexIONData\DataSet\Default\Branco.1326 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 1051.2387 | 195.7347 | 26662.0181 | 145.1472 | 7809.9839 | 90.7504 | 1232.2459 | 990.1959 | 6377.0395 | 95.6355 | 5303.8762 | 88.8586 | 4482.2822 | 81.1648 | 3654.6574 | 59.3521 | 2963.0954 | 47.2353 | 2413.5962 | 1953.5441 | 1537.772
23 | Branco |  | 29/03/2023 16:41:45 |  | C:\NexIONData\DataSet\Default\Branco.1327 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 773.8876 | 145.3341 | 25017.3031 | 106.2827 | 7235.9633 | 49.3274 | 1181.5878 | 928.9877 | 5824.3599 | 42.7588 | 4904.501 | 46.183 | 4122.9009 | 42.8788 | 3392.3104 | 36.4488 | 2797.4436 | 33.7333 | 2278.7497 | 1808.5869 | 1474.2797

## Intensities RSDs
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 | Bkgd 220 | Ce 140 (IS) | Ce++ 70 | CeO 156 | In 115 | Mg 24 | U 238
1 | Daily Performance Check |  | 29/03/2023 10:36:42 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.1301 | C:\NexIONData\Method\Daily Performance.mth | 0.8391% | 94.79% | 0.7786% | 2.054% | 2.335% | 0.3572% | 0.7285% | 1.242%
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 | As-1 75 | Se 78 | Se 82 | Se-1 78 | Se-1 82 | Se-10 78 | Se-11 78 | Se-2 78 | Se-2 82 | Se-3 78 | Se-3 82 | Se-4 78 | Se-4 82 | Se-5 78 | Se-5 82 | Se-6 78 | Se-6 82 | Se-7 78 | Se-8 78 | Se-9 78
2 | Branco |  | 29/03/2023 12:02:18 |  | C:\NexIONData\DataSet\Default\Branco.1305 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 12.28% | 4.833% | 1.253% | 73.98% | 0.9798% | 40.81% | 3.868% | 1.373% | 2.054% | 77.43% | 2.796% | 53.7% | 0.3852% | 82.08% | 2.274% | 150.4% | 0.9902% | 204.2% | 2.578% | 0.8715% | 1.826%
3 | 0.1 |  | 29/03/2023 12:10:07 |  | C:\NexIONData\DataSet\Default\0.1.1306 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 3.031% | 1.885% | 0.7172% | 7.264% | 0.3887% | 10.45% | 3.64% | 1.767% | 1.428% | 16.11% | 2.396% | 9.327% | 1.287% | 9.721% | 1.7% | 15.69% | 1.709% | 11.73% | 0.6442% | 1.11% | 3.338%
4 | 0.5 |  | 29/03/2023 12:19:31 |  | C:\NexIONData\DataSet\Default\0.5.1307 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 77.09% | 3.022% | 0.566% | 103.8% | 0.903% | 4.673% | 0.5241% | 2.324% | 0.573% | 4.436% | 1.982% | 3.136% | 1.64% | 3.87% | 2.848% | 0.653% | 0.7628% | 5.53% | 2.069% | 1.028% | 1.908%
5 | 1.0 |  | 29/03/2023 13:26:08 |  | C:\NexIONData\DataSet\Default\1.0.1308 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.4013% | 2.316% | 0.739% | 2.439% | 1.635% | 7.236% | 0.9414% | 0.6187% | 1.319% | 9.015% | 1.745% | 3.721% | 1.701% | 9.013% | 1.254% | 4.187% | 2.773% | 0.8767% | 0.7215% | 1.394% | 1.531%
6 | 2.0 |  | 29/03/2023 13:35:28 |  | C:\NexIONData\DataSet\Default\2.0.1309 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.4895% | 6.828% | 0.1011% | 0.7615% | 0.9095% | 2.674% | 1.563% | 1.196% | 0.2834% | 5.283% | 0.7486% | 1.892% | 0.237% | 5.39% | 1.788% | 1.247% | 1.911% | 2.757% | 0.8421% | 2.722% | 2.271%
7 | 5.0 |  | 29/03/2023 13:44:26 |  | C:\NexIONData\DataSet\Default\5.0.1310 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.5312% | 0.2423% | 0.5796% | 2.382% | 2.057% | 0.2819% | 2.944% | 1.124% | 0.2463% | 1.899% | 1.187% | 1.28% | 2.176% | 0.513% | 2.187% | 2.554% | 1.277% | 1.223% | 1.835% | 0.9706% | 1.241%
8 | 10.0 |  | 29/03/2023 13:53:33 |  | C:\NexIONData\DataSet\Default\10.0.1311 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.6067% | 0.2493% | 0.9206% | 0.5566% | 0.5519% | 0.3835% | 1.113% | 1.263% | 0.7806% | 0.5308% | 0.5155% | 2.192% | 0.7723% | 1.162% | 1.232% | 0.6433% | 2.068% | 2.169% | 0.3505% | 2.356% | 0.6703%
9 | 15.0 |  | 29/03/2023 14:02:29 |  | C:\NexIONData\DataSet\Default\15.0.1312 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.7475% | 0.5945% | 0.7715% | 0.4926% | 1.189% | 0.8099% | 0.5872% | 1.103% | 0.2849% | 0.601% | 0.7442% | 1.307% | 1.155% | 2.206% | 0.7388% | 0.9636% | 0.6796% | 0.9131% | 0.2822% | 1.951% | 1.846%
10 | 30.0 |  | 29/03/2023 14:13:22 |  | C:\NexIONData\DataSet\Default\30.0.1313 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.7997% | 0.9185% | 1.103% | 1.355% | 0.5027% | 0.4796% | 1.565% | 0.7321% | 0.653% | 1.263% | 0.404% | 0.2266% | 0.598% | 0.6381% | 0.7036% | 0.784% | 0.4038% | 1.251% | 0.8664% | 1.862% | 0.3121%
11 | Standard 9 |  | 29/03/2023 14:25:07 |  | C:\NexIONData\DataSet\Default\Standard 9.1314 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.3408% | 0.3662% | 0.462% | 1.085% | 0.9094% | 0.2144% | 1.088% | 0.9477% | 0.8077% | 0.6525% | 0.8644% | 1.299% | 1.091% | 0.9414% | 31.22% | 21.9% | 1.683% | 0.8149% | 1.346% | 0.3065% | 2.225%
12 | Peixe IPEN 1 |  | 29/03/2023 14:35:29 |  | C:\NexIONData\DataSet\Default\Peixe IPEN 1.1315 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.5069% | 0.6168% | 0.4604% | 1.729% | 1.831% | 1.592% | 1.99% | 1.408% | 1.253% | 1.804% | 0.344% | 3.086% | 0.3815% | 1.247% | 1.027% | 3.799% | 0.718% | 1.039% | 1.207% | 0.4182% | 1.783%
13 | Peixe IPEN 2 |  | 29/03/2023 14:45:08 |  | C:\NexIONData\DataSet\Default\Peixe IPEN 2.1316 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.103% | 0.3471% | 0.8014% | 0.5138% | 0.4682% | 0.2776% | 1.538% | 4.407% | 0.8326% | 1.554% | 0.009482% | 1.044% | 0.3333% | 1.505% | 1.086% | 1.525% | 0.6514% | 0.4145% | 0.6976% | 1.238% | 0.7162%
14 | Peixe IPEN 3 |  | 29/03/2023 14:56:29 |  | C:\NexIONData\DataSet\Default\Peixe IPEN 3.1317 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.4807% | 1.179% | 0.8432% | 0.8175% | 0.7318% | 1.737% | 2.023% | 0.3018% | 0.8383% | 3.027% | 0.8115% | 0.575% | 0.2998% | 0.947% | 0.8783% | 1.233% | 0.814% | 1.754% | 2.054% | 0.6003% | 0.6756%
15 | Mussel tissue 1 |  | 29/03/2023 15:07:00 |  | C:\NexIONData\DataSet\Default\Mussel tissue 1.1319 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.5102% | 1.237% | 0.8086% | 0.8736% | 0.4505% | 2.52% | 0.6998% | 1.446% | 0.4468% | 2.623% | 1.562% | 1.974% | 0.09192% | 2.152% | 1.065% | 1.689% | 1.359% | 2.593% | 1.276% | 0.7543% | 3.878%
16 | Mussel tissue 2 |  | 29/03/2023 15:16:26 |  | C:\NexIONData\DataSet\Default\Mussel tissue 2.1320 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.7205% | 0.7405% | 0.3097% | 0.8018% | 1.996% | 1.971% | 0.9393% | 2.182% | 0.7704% | 1.609% | 0.8656% | 3.654% | 1.396% | 1.632% | 0.6257% | 3.77% | 0.8086% | 2.931% | 0.6186% | 1.644% | 1.682%
17 | Mussel tissue 3 |  | 29/03/2023 15:27:00 |  | C:\NexIONData\DataSet\Default\Mussel tissue 3.1321 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.2623% | 0.9721% | 0.7073% | 1.796% | 0.2016% | 2.492% | 0.4344% | 1.962% | 0.3998% | 0.574% | 0.4143% | 2.201% | 0.4385% | 2.351% | 2.744% | 1.986% | 0.7992% | 4.462% | 0.51% | 0.9514% | 0.6222%
18 | DOLT-5 1 |  | 29/03/2023 15:38:20 |  | C:\NexIONData\DataSet\Default\DOLT-5 1.1322 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.2428% | 0.6046% | 0.6084% | 1.396% | 1.213% | 0.2319% | 0.5171% | 0.4128% | 0.03836% | 0.612% | 0.3093% | 0.4131% | 0.813% | 0.4497% | 0.4911% | 0.2137% | 1.415% | 1.246% | 1.411% | 0.7942% | 0.7979%
19 | DOLT-5 2 |  | 29/03/2023 15:48:33 |  | C:\NexIONData\DataSet\Default\DOLT-5 2.1323 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.6338% | 0.7238% | 0.2808% | 0.5397% | 0.74% | 0.2791% | 0.3607% | 0.4926% | 0.1928% | 0.5735% | 0.2312% | 0.9184% | 0.9789% | 1.614% | 0.5893% | 1.121% | 0.6929% | 0.6569% | 0.5174% | 1.143% | 1.686%
20 | DOLT-5 3 |  | 29/03/2023 15:57:29 |  | C:\NexIONData\DataSet\Default\DOLT-5 3.1324 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.402% | 0.2918% | 0.4969% | 0.7562% | 0.5468% | 0.7785% | 0.9551% | 0.7301% | 0.1753% | 0.6897% | 0.7635% | 1.274% | 0.3469% | 0.6199% | 1.305% | 0.5816% | 0.5116% | 0.8877% | 0.8493% | 0.7872% | 0.9842%
21 | Branco |  | 29/03/2023 16:09:24 |  | C:\NexIONData\DataSet\Default\Branco.1325 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 2.667% | 5.213% | 0.6818% | 3.346% | 0.7978% | 14.35% | 1.017% | 3.234% | 1.778% | 2.363% | 0.2969% | 4.782% | 0.3878% | 7.032% | 1.953% | 9.915% | 1.318% | 9.047% | 0.6331% | 1.025% | 1.608%
22 | Branco |  | 29/03/2023 16:32:21 |  | C:\NexIONData\DataSet\Default\Branco.1326 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.5606% | 3.77% | 0.5347% | 9.838% | 2.093% | 21.77% | 0.9639% | 1.916% | 1.019% | 11.2% | 0.9132% | 30.14% | 0.6189% | 11.68% | 0.8956% | 17.86% | 1.89% | 15.52% | 0.4832% | 0.9528% | 2.427%
23 | Branco |  | 29/03/2023 16:41:45 |  | C:\NexIONData\DataSet\Default\Branco.1327 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 1.349% | 4.267% | 0.4318% | 19.91% | 7.08% | 14.83% | 0.3941% | 1.185% | 0.5125% | 26.43% | 1.796% | 48.26% | 2.144% | 16.51% | 0.2304% | 39.84% | 1.319% | 24.33% | 1.279% | 2.24% | 1.229%

## Concentrations
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 (ug/L) | Bkgd 220 (mg/L) | Ce 140 (IS) | Ce++ 70 (mg/L) | CeO 156 (mg/L) | In 115 (mg/L) | Mg 24 (ug/L) | U 238 (mg/L)
1 | Daily Performance Check |  | 29/03/2023 10:36:42 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.1301 | C:\NexIONData\Method\Daily Performance.mth
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 (ug/L) | As-1 75 (ug/L) | Se 78 (ug/L) | Se 82 (ug/L) | Se-1 78 (ug/L) | Se-1 82 (ug/L) | Se-10 78 (ug/L) | Se-11 78 (ug/L) | Se-2 78 (ug/L) | Se-2 82 (ug/L) | Se-3 78 (ug/L) | Se-3 82 (ug/L) | Se-4 78 (ug/L) | Se-4 82 (ug/L) | Se-5 78 (ug/L) | Se-5 82 (ug/L) | Se-6 78 (ug/L) | Se-6 82 (ug/L) | Se-7 78 (ug/L) | Se-8 78 (ug/L) | Se-9 78 (ug/L)
2 | Branco |  | 29/03/2023 12:02:18 |  | C:\NexIONData\DataSet\Default\Branco.1305 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth
3 | 0.1 |  | 29/03/2023 12:10:07 |  | C:\NexIONData\DataSet\Default\0.1.1306 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
4 | 0.5 |  | 29/03/2023 12:19:31 |  | C:\NexIONData\DataSet\Default\0.5.1307 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.48985 | 0.50035 | 0.31034 | 0.48093 | 0.50731 | 0.50665 | 0.50275 | 0.51168 | 0.50252 | 0.50359 | 0.50734 | 0.50753 | 0.50712 | 0.50615 | 0.5044 | 0.50429 | 0.50133 | 0.50377 | 0.5034 | 0.50509 | 0.50275
5 | 1.0 |  | 29/03/2023 13:26:08 |  | C:\NexIONData\DataSet\Default\1.0.1308 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 1.0893 | 0.99736 | 1.6036 | 0.98394 | 1.0395 | 0.89522 | 0.95345 | 0.95778 | 1.0503 | 0.89618 | 1.0298 | 0.89219 | 1.0335 | 0.89298 | 1.0123 | 0.86626 | 1.0211 | 0.88416 | 0.99487 | 0.98946 | 0.97409
6 | 2.0 |  | 29/03/2023 13:35:28 |  | C:\NexIONData\DataSet\Default\2.0.1309 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 1.7857 | 1.7378 | 1.869 | 1.8755 | 1.7011 | 1.8152 | 1.7589 | 1.7626 | 1.7274 | 1.7759 | 1.7251 | 1.7986 | 1.7301 | 1.8145 | 1.7353 | 1.8348 | 1.7383 | 1.8327 | 1.7293 | 1.7113 | 1.7597
7 | 5.0 |  | 29/03/2023 13:44:26 |  | C:\NexIONData\DataSet\Default\5.0.1310 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 4.8597 | 4.7144 | 4.9659 | 4.8651 | 4.4217 | 4.8533 | 4.5963 | 4.7085 | 4.4565 | 4.8352 | 4.469 | 4.8194 | 4.4963 | 4.8668 | 4.4766 | 4.8192 | 4.4941 | 4.7825 | 4.5171 | 4.5822 | 4.5884
8 | 10.0 |  | 29/03/2023 13:53:33 |  | C:\NexIONData\DataSet\Default\10.0.1311 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 9.7951 | 9.795 | 9.9261 | 9.8236 | 9.2035 | 9.6773 | 9.8097 | 9.8682 | 9.3023 | 9.6956 | 9.3789 | 9.7725 | 9.4322 | 9.7448 | 9.5417 | 9.7904 | 9.5736 | 9.7916 | 9.7086 | 9.7472 | 9.7282
9 | 15.0 |  | 29/03/2023 14:02:29 |  | C:\NexIONData\DataSet\Default\15.0.1312 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 14.7051 | 14.8669 | 14.9105 | 14.6194 | 14.4372 | 14.8022 | 14.7653 | 14.8248 | 14.5747 | 14.8542 | 14.6475 | 14.7917 | 14.6498 | 14.7406 | 14.7202 | 14.8354 | 14.8589 | 14.8503 | 14.7606 | 14.7783 | 14.734
10 | 30.0 |  | 29/03/2023 14:13:22 |  | C:\NexIONData\DataSet\Default\30.0.1313 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 29.5591 | 29.5583 | 30.2467 | 29.5753 | 29.2824 | 29.7665 | 29.7101 | 29.5932 | 29.3515 | 29.6708 | 29.3658 | 29.6301 | 29.5225 | 29.6784 | 29.4789 | 29.6524 | 29.5188 | 29.7678 | 29.6053 | 29.6619 | 29.621
11 | Standard 9 |  | 29/03/2023 14:25:07 |  | C:\NexIONData\DataSet\Default\Standard 9.1314 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 50.8593 | 50.6792 | 51.1527 | 50.4689 | 50.4449 | 50.5754 | 50.3166 | 50.6101 | 50.4429 | 50.4646 | 50.446 | 50.5767 | 50.3349 | 50.6459 | 54.0056 | 52.8901 | 50.5861 | 50.2816 | 50.6245 | 50.2524 | 50.6401
12 | Peixe IPEN 1 |  | 29/03/2023 14:35:29 |  | C:\NexIONData\DataSet\Default\Peixe IPEN 1.1315 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 20.6804 | 21.2774 | 10.5268 | 8.2564 | 9.3478 | 7.7676 | 8.8877 | 8.389 | 9.2916 | 7.9611 | 9.1479 | 7.7556 | 9.1478 | 7.9695 | 8.0391 | 7.3821 | 9.0373 | 8.1272 | 8.9076 | 8.7423 | 8.8901
13 | Peixe IPEN 2 |  | 29/03/2023 14:45:08 |  | C:\NexIONData\DataSet\Default\Peixe IPEN 2.1316 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 20.6566 | 21.5159 | 10.8866 | 8.1581 | 9.9569 | 8.1504 | 8.9102 | 8.7116 | 9.8483 | 7.9319 | 9.9197 | 8.2008 | 9.5418 | 8.2304 | 8.2245 | 7.3709 | 9.2697 | 8.2525 | 9.4827 | 8.9729 | 9.1499
14 | Peixe IPEN 3 |  | 29/03/2023 14:56:29 |  | C:\NexIONData\DataSet\Default\Peixe IPEN 3.1317 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 20.2421 | 21.3857 | 10.6756 | 7.9606 | 9.8331 | 7.9054 | 8.7817 | 8.695 | 9.7841 | 7.9768 | 9.8202 | 8.0695 | 9.7062 | 8.0275 | 8.087 | 7.2195 | 9.1883 | 8.2419 | 9.3814 | 9.2011 | 9.0733
15 | Mussel tissue 1 |  | 29/03/2023 15:07:00 |  | C:\NexIONData\DataSet\Default\Mussel tissue 1.1319 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 46.6127 | 48.8321 | 11.8723 | 5.6446 | 8.1369 | 6.0513 | 6.3917 | 6.1449 | 7.9544 | 6.0152 | 7.6009 | 5.9841 | 7.7351 | 6.0325 | 6.2999 | 5.4259 | 7.1077 | 5.7847 | 6.8617 | 6.699 | 6.8013
16 | Mussel tissue 2 |  | 29/03/2023 15:16:26 |  | C:\NexIONData\DataSet\Default\Mussel tissue 2.1320 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 46.9678 | 49.7557 | 12.7531 | 5.5465 | 8.0024 | 5.6789 | 6.5343 | 6.25 | 8.1997 | 5.812 | 7.9374 | 5.8199 | 7.905 | 5.9069 | 6.5172 | 5.2625 | 7.4029 | 5.8099 | 6.9031 | 6.8795 | 6.866
17 | Mussel tissue 3 |  | 29/03/2023 15:27:00 |  | C:\NexIONData\DataSet\Default\Mussel tissue 3.1321 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 46.2378 | 50.0444 | 13.5007 | 5.8272 | 9.2922 | 6.2431 | 6.702 | 6.4833 | 8.9828 | 6.2159 | 8.423 | 6.2723 | 8.1381 | 6.2157 | 6.9001 | 5.731 | 7.7233 | 6.3662 | 7.2856 | 6.9869 | 6.8417
18 | DOLT-5 1 |  | 29/03/2023 15:38:20 |  | C:\NexIONData\DataSet\Default\DOLT-5 1.1322 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 116.048 | 128.1251 | 35.4993 | 21.0873 | 24.3354 | 20.7879 | 23.7036 | 23.6113 | 25.122 | 21.0766 | 24.963 | 21.7798 | 24.7424 | 21.835 | 21.0861 | 19.9209 | 24.648 | 22.6108 | 24.1389 | 24.0327 | 23.8647
19 | DOLT-5 2 |  | 29/03/2023 15:48:33 |  | C:\NexIONData\DataSet\Default\DOLT-5 2.1323 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 114.4786 | 126.411 | 36.7448 | 20.6295 | 27.9178 | 21.2561 | 23.7623 | 23.7412 | 27.1557 | 21.3391 | 26.6033 | 21.7891 | 26.4529 | 21.8641 | 21.8163 | 19.6376 | 24.6609 | 21.9078 | 24.2085 | 24.194 | 24.5667
20 | DOLT-5 3 |  | 29/03/2023 15:57:29 |  | C:\NexIONData\DataSet\Default\DOLT-5 3.1324 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 115.5636 | 128.0685 | 36.8428 | 20.1808 | 27.8374 | 20.5705 | 23.927 | 23.8702 | 26.9584 | 20.6797 | 26.7868 | 21.3554 | 26.4852 | 21.3228 | 22.0826 | 19.4372 | 25.1275 | 21.4216 | 24.4945 | 24.3413 | 23.951
21 | Branco |  | 29/03/2023 16:09:24 |  | C:\NexIONData\DataSet\Default\Branco.1325 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.046389 | 0.15898 | 3.0911 | 0.57779 | 4.5019 | 0.50969 | 1.8932 | 1.7022 | 3.9889 | 0.47666 | 3.5233 | 0.47386 | 3.2302 | 0.47113 | 2.5859 | 0.45121 | 2.6985 | 0.4642 | 2.5005 | 2.2691 | 2.072
22 | Branco |  | 29/03/2023 16:32:21 |  | C:\NexIONData\DataSet\Default\Branco.1326 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.055434 | 0.19941 | 5.722 | 0.33538 | 6.5395 | 0.25936 | 2.5167 | 2.2262 | 5.6004 | 0.34843 | 4.9813 | 0.29251 | 4.6987 | 0.33276 | 3.5888 | 0.24374 | 3.716 | 0.23678 | 3.3774 | 3.1104 | 2.7429
23 | Branco |  | 29/03/2023 16:41:45 |  | C:\NexIONData\DataSet\Default\Branco.1327 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | -0.0052517 | 0.13828 | 4.4627 | 0.26449 | 5.6217 | 0.10032 | 2.3277 | 1.9674 | 4.6459 | 0.1343 | 4.2333 | 0.10591 | 3.9652 | 0.15377 | 3.0891 | 0.13886 | 3.3142 | 0.16256 | 3.0161 | 2.6768 | 2.5315

## Concentrations RSDs
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 | Bkgd 220 | Ce 140 (IS) | Ce++ 70 | CeO 156 | In 115 | Mg 24 | U 238
1 | Daily Performance Check |  | 29/03/2023 10:36:42 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.1301 | C:\NexIONData\Method\Daily Performance.mth
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 | As-1 75 | Se 78 | Se 82 | Se-1 78 | Se-1 82 | Se-10 78 | Se-11 78 | Se-2 78 | Se-2 82 | Se-3 78 | Se-3 82 | Se-4 78 | Se-4 82 | Se-5 78 | Se-5 82 | Se-6 78 | Se-6 82 | Se-7 78 | Se-8 78 | Se-9 78
2 | Branco |  | 29/03/2023 12:02:18 |  | C:\NexIONData\DataSet\Default\Branco.1305 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth
3 | 0.1 |  | 29/03/2023 12:10:07 |  | C:\NexIONData\DataSet\Default\0.1.1306 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 6.215% | 2.252% | 5.592% | 5.634% | 13.81% | 16.43% | 38.89% | 39.69% | 39.16% | 19.19% | 77.89% | 15.25% | 39.4% | 12.57% | 36.5% | 18.21% | 29.72% | 13.09% | 10.58% | 18.08% | 41.88%
4 | 0.5 |  | 29/03/2023 12:19:31 |  | C:\NexIONData\DataSet\Default\0.5.1307 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 102% | 3.138% | 16.25% | 94.35% | 4.802% | 5.025% | 1.395% | 6.379% | 3.206% | 4.574% | 9.774% | 3.381% | 7.803% | 4.026% | 11.86% | 0.6693% | 3.09% | 5.634% | 7.328% | 3.347% | 5.687%
5 | 1.0 |  | 29/03/2023 13:26:08 |  | C:\NexIONData\DataSet\Default\1.0.1308 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.4395% | 2.36% | 6.355% | 2.324% | 4.556% | 7.669% | 1.914% | 1.289% | 3.657% | 9.236% | 4.736% | 3.954% | 4.436% | 9.302% | 3.138% | 4.279% | 6.589% | 0.8903% | 1.668% | 3.064% | 3.251%
6 | 2.0 |  | 29/03/2023 13:35:28 |  | C:\NexIONData\DataSet\Default\2.0.1309 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.5277% | 6.936% | 0.8972% | 0.7388% | 2.374% | 2.777% | 2.773% | 2.165% | 0.7212% | 5.371% | 1.849% | 1.97% | 0.5621% | 5.5% | 4.013% | 1.263% | 4.098% | 2.783% | 1.751% | 5.472% | 4.224%
7 | 5.0 |  | 29/03/2023 13:44:26 |  | C:\NexIONData\DataSet\Default\5.0.1310 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.5485% | 0.2441% | 2.353% | 2.351% | 4.032% | 0.2865% | 4.151% | 1.559% | 0.4699% | 1.913% | 2.2% | 1.303% | 3.875% | 0.5174% | 3.767% | 2.569% | 2.114% | 1.229% | 2.941% | 1.482% | 1.811%
8 | 10.0 |  | 29/03/2023 13:53:33 |  | C:\NexIONData\DataSet\Default\10.0.1311 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.6171% | 0.2502% | 2.365% | 0.5528% | 0.8734% | 0.387% | 1.34% | 1.506% | 1.199% | 0.5329% | 0.7683% | 2.213% | 1.113% | 1.167% | 1.713% | 0.6453% | 2.794% | 2.174% | 0.4582% | 2.988% | 0.8283%
9 | 15.0 |  | 29/03/2023 14:02:29 |  | C:\NexIONData\DataSet\Default\15.0.1312 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.7563% | 0.596% | 1.585% | 0.4903% | 1.66% | 0.8148% | 0.669% | 1.247% | 0.387% | 0.6026% | 0.9873% | 1.315% | 1.497% | 2.213% | 0.9317% | 0.9656% | 0.8359% | 0.9145% | 0.3409% | 2.305% | 2.142%
10 | 30.0 |  | 29/03/2023 14:13:22 |  | C:\NexIONData\DataSet\Default\30.0.1313 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.8046% | 0.9197% | 1.664% | 1.352% | 0.6067% | 0.4811% | 1.676% | 0.7818% | 0.7755% | 1.265% | 0.4733% | 0.2274% | 0.6894% | 0.6391% | 0.7994% | 0.7848% | 0.4524% | 1.252% | 0.9591% | 2.035% | 0.3378%
11 | Standard 9 |  | 29/03/2023 14:25:07 |  | C:\NexIONData\DataSet\Default\Standard 9.1314 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.342% | 0.3665% | 0.5948% | 1.083% | 1.017% | 0.2148% | 1.133% | 0.9844% | 0.8943% | 0.653% | 0.9493% | 1.302% | 1.187% | 0.9422% | 33.17% | 21.91% | 1.799% | 0.8152% | 1.428% | 0.3232% | 2.33%
12 | Peixe IPEN 1 |  | 29/03/2023 14:35:29 |  | C:\NexIONData\DataSet\Default\Peixe IPEN 1.1315 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.5111% | 0.6179% | 1.103% | 1.714% | 2.996% | 1.61% | 2.455% | 1.737% | 1.983% | 1.812% | 0.5302% | 3.124% | 0.5671% | 1.254% | 1.458% | 3.813% | 0.9938% | 1.042% | 1.626% | 0.549% | 2.26%
13 | Peixe IPEN 2 |  | 29/03/2023 14:45:08 |  | C:\NexIONData\DataSet\Default\Peixe IPEN 2.1316 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.1038% | 0.3477% | 1.883% | 0.5093% | 0.7479% | 0.2806% | 1.897% | 5.399% | 1.29% | 1.562% | 0.01422% | 1.056% | 0.4887% | 1.514% | 1.532% | 1.531% | 0.8953% | 0.4157% | 0.9249% | 1.614% | 0.9023%
14 | Peixe IPEN 3 |  | 29/03/2023 14:56:29 |  | C:\NexIONData\DataSet\Default\Peixe IPEN 3.1317 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.4849% | 1.181% | 2.004% | 0.8102% | 1.174% | 1.756% | 2.502% | 0.3699% | 1.302% | 3.041% | 1.221% | 0.5818% | 0.4372% | 0.9525% | 1.244% | 1.238% | 1.122% | 1.759% | 2.731% | 0.7785% | 0.8526%
15 | Mussel tissue 1 |  | 29/03/2023 15:07:00 |  | C:\NexIONData\DataSet\Default\Mussel tissue 1.1319 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.5121% | 1.238% | 1.809% | 0.8626% | 0.7797% | 2.558% | 0.9276% | 1.908% | 0.7509% | 2.639% | 2.58% | 2.005% | 0.1448% | 2.169% | 1.635% | 1.698% | 2.023% | 2.604% | 1.85% | 1.062% | 5.233%
16 | Mussel tissue 2 |  | 29/03/2023 15:16:26 |  | C:\NexIONData\DataSet\Default\Mussel tissue 2.1320 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.7232% | 0.7411% | 0.6666% | 0.7916% | 3.479% | 2.002% | 1.238% | 2.866% | 1.279% | 1.62% | 1.406% | 3.714% | 2.182% | 1.645% | 0.9494% | 3.79% | 1.188% | 2.942% | 0.8955% | 2.297% | 2.264%
17 | Mussel tissue 3 |  | 29/03/2023 15:27:00 |  | C:\NexIONData\DataSet\Default\Mussel tissue 3.1321 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.2633% | 0.9728% | 1.477% | 1.774% | 0.3306% | 2.528% | 0.5693% | 2.555% | 0.6407% | 0.5776% | 0.6579% | 2.234% | 0.6783% | 2.369% | 4.084% | 1.996% | 1.158% | 4.478% | 0.7263% | 1.324% | 0.8384%
18 | DOLT-5 1 |  | 29/03/2023 15:38:20 |  | C:\NexIONData\DataSet\Default\DOLT-5 1.1322 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.2432% | 0.6048% | 0.8603% | 1.391% | 1.51% | 0.2329% | 0.5625% | 0.447% | 0.04663% | 0.6132% | 0.3707% | 0.4149% | 0.9593% | 0.4506% | 0.5697% | 0.214% | 1.614% | 1.247% | 1.592% | 0.8845% | 0.8774%
19 | DOLT-5 2 |  | 29/03/2023 15:48:33 |  | C:\NexIONData\DataSet\Default\DOLT-5 2.1323 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.6347% | 0.724% | 0.393% | 0.5379% | 0.8977% | 0.2803% | 0.3923% | 0.5332% | 0.2312% | 0.5746% | 0.2743% | 0.9225% | 1.144% | 1.618% | 0.6803% | 1.123% | 0.7905% | 0.6576% | 0.5834% | 1.273% | 1.85%
20 | DOLT-5 3 |  | 29/03/2023 15:57:29 |  | C:\NexIONData\DataSet\Default\DOLT-5 3.1324 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.4026% | 0.2919% | 0.6951% | 0.7536% | 0.6636% | 0.7819% | 1.038% | 0.79% | 0.2105% | 0.691% | 0.9047% | 1.28% | 0.4052% | 0.6212% | 1.504% | 0.5825% | 0.5823% | 0.8886% | 0.9564% | 0.8756% | 1.082%
21 | Branco |  | 29/03/2023 16:09:24 |  | C:\NexIONData\DataSet\Default\Branco.1325 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 12.7% | 6.46% | 3.923% | 2.937% | 1.852% | 16.86% | 2.136% | 6.958% | 4.19% | 2.556% | 0.7142% | 5.751% | 0.922% | 7.729% | 4.501% | 10.53% | 3.015% | 9.493% | 1.415% | 2.26% | 3.453%
22 | Branco |  | 29/03/2023 16:32:21 |  | C:\NexIONData\DataSet\Default\Branco.1326 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 2.326% | 4.489% | 1.908% | 7.766% | 3.996% | 29.25% | 1.761% | 3.603% | 2.004% | 12.45% | 1.821% | 40.03% | 1.205% | 13.32% | 1.737% | 19.91% | 3.656% | 17.02% | 0.9252% | 1.79% | 4.53%
23 | Branco |  | 29/03/2023 16:41:45 |  | C:\NexIONData\DataSet\Default\Branco.1327 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 43.5% | 5.44% | 1.853% | 14.59% | 14.57% | 27.99% | 0.7464% | 2.365% | 1.109% | 34.08% | 3.898% | 92.02% | 4.549% | 21.53% | 0.482% | 47.88% | 2.701% | 27.76% | 2.59% | 4.526% | 2.383%

## Unfactored Concentrations
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 (ug/L) | Bkgd 220 (mg/L) | Ce 140 (IS) | Ce++ 70 (mg/L) | CeO 156 (mg/L) | In 115 (mg/L) | Mg 24 (ug/L) | U 238 (mg/L)
1 | Daily Performance Check |  | 29/03/2023 10:36:42 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.1301 | C:\NexIONData\Method\Daily Performance.mth
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 (ug/L) | As-1 75 (ug/L) | Se 78 (ug/L) | Se 82 (ug/L) | Se-1 78 (ug/L) | Se-1 82 (ug/L) | Se-10 78 (ug/L) | Se-11 78 (ug/L) | Se-2 78 (ug/L) | Se-2 82 (ug/L) | Se-3 78 (ug/L) | Se-3 82 (ug/L) | Se-4 78 (ug/L) | Se-4 82 (ug/L) | Se-5 78 (ug/L) | Se-5 82 (ug/L) | Se-6 78 (ug/L) | Se-6 82 (ug/L) | Se-7 78 (ug/L) | Se-8 78 (ug/L) | Se-9 78 (ug/L)
2 | Branco |  | 29/03/2023 12:02:18 |  | C:\NexIONData\DataSet\Default\Branco.1305 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth
3 | 0.1 |  | 29/03/2023 12:10:07 |  | C:\NexIONData\DataSet\Default\0.1.1306 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
4 | 0.5 |  | 29/03/2023 12:19:31 |  | C:\NexIONData\DataSet\Default\0.5.1307 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.48985 | 0.50035 | 0.31034 | 0.48093 | 0.50731 | 0.50665 | 0.50275 | 0.51168 | 0.50252 | 0.50359 | 0.50734 | 0.50753 | 0.50712 | 0.50615 | 0.5044 | 0.50429 | 0.50133 | 0.50377 | 0.5034 | 0.50509 | 0.50275
5 | 1.0 |  | 29/03/2023 13:26:08 |  | C:\NexIONData\DataSet\Default\1.0.1308 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 1.0893 | 0.99736 | 1.6036 | 0.98394 | 1.0395 | 0.89522 | 0.95345 | 0.95778 | 1.0503 | 0.89618 | 1.0298 | 0.89219 | 1.0335 | 0.89298 | 1.0123 | 0.86626 | 1.0211 | 0.88416 | 0.99487 | 0.98946 | 0.97409
6 | 2.0 |  | 29/03/2023 13:35:28 |  | C:\NexIONData\DataSet\Default\2.0.1309 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 1.7857 | 1.7378 | 1.869 | 1.8755 | 1.7011 | 1.8152 | 1.7589 | 1.7626 | 1.7274 | 1.7759 | 1.7251 | 1.7986 | 1.7301 | 1.8145 | 1.7353 | 1.8348 | 1.7383 | 1.8327 | 1.7293 | 1.7113 | 1.7597
7 | 5.0 |  | 29/03/2023 13:44:26 |  | C:\NexIONData\DataSet\Default\5.0.1310 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 4.8597 | 4.7144 | 4.9659 | 4.8651 | 4.4217 | 4.8533 | 4.5963 | 4.7085 | 4.4565 | 4.8352 | 4.469 | 4.8194 | 4.4963 | 4.8668 | 4.4766 | 4.8192 | 4.4941 | 4.7825 | 4.5171 | 4.5822 | 4.5884
8 | 10.0 |  | 29/03/2023 13:53:33 |  | C:\NexIONData\DataSet\Default\10.0.1311 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 9.7951 | 9.795 | 9.9261 | 9.8236 | 9.2035 | 9.6773 | 9.8097 | 9.8682 | 9.3023 | 9.6956 | 9.3789 | 9.7725 | 9.4322 | 9.7448 | 9.5417 | 9.7904 | 9.5736 | 9.7916 | 9.7086 | 9.7472 | 9.7282
9 | 15.0 |  | 29/03/2023 14:02:29 |  | C:\NexIONData\DataSet\Default\15.0.1312 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 14.7051 | 14.8669 | 14.9105 | 14.6194 | 14.4372 | 14.8022 | 14.7653 | 14.8248 | 14.5747 | 14.8542 | 14.6475 | 14.7917 | 14.6498 | 14.7406 | 14.7202 | 14.8354 | 14.8589 | 14.8503 | 14.7606 | 14.7783 | 14.734
10 | 30.0 |  | 29/03/2023 14:13:22 |  | C:\NexIONData\DataSet\Default\30.0.1313 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 29.5591 | 29.5583 | 30.2467 | 29.5753 | 29.2824 | 29.7665 | 29.7101 | 29.5932 | 29.3515 | 29.6708 | 29.3658 | 29.6301 | 29.5225 | 29.6784 | 29.4789 | 29.6524 | 29.5188 | 29.7678 | 29.6053 | 29.6619 | 29.621
11 | Standard 9 |  | 29/03/2023 14:25:07 |  | C:\NexIONData\DataSet\Default\Standard 9.1314 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 50.8593 | 50.6792 | 51.1527 | 50.4689 | 50.4449 | 50.5754 | 50.3166 | 50.6101 | 50.4429 | 50.4646 | 50.446 | 50.5767 | 50.3349 | 50.6459 | 54.0056 | 52.8901 | 50.5861 | 50.2816 | 50.6245 | 50.2524 | 50.6401
12 | Peixe IPEN 1 |  | 29/03/2023 14:35:29 |  | C:\NexIONData\DataSet\Default\Peixe IPEN 1.1315 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 20.6804 | 21.2774 | 10.5268 | 8.2564 | 9.3478 | 7.7676 | 8.8877 | 8.389 | 9.2916 | 7.9611 | 9.1479 | 7.7556 | 9.1478 | 7.9695 | 8.0391 | 7.3821 | 9.0373 | 8.1272 | 8.9076 | 8.7423 | 8.8901
13 | Peixe IPEN 2 |  | 29/03/2023 14:45:08 |  | C:\NexIONData\DataSet\Default\Peixe IPEN 2.1316 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 20.6566 | 21.5159 | 10.8866 | 8.1581 | 9.9569 | 8.1504 | 8.9102 | 8.7116 | 9.8483 | 7.9319 | 9.9197 | 8.2008 | 9.5418 | 8.2304 | 8.2245 | 7.3709 | 9.2697 | 8.2525 | 9.4827 | 8.9729 | 9.1499
14 | Peixe IPEN 3 |  | 29/03/2023 14:56:29 |  | C:\NexIONData\DataSet\Default\Peixe IPEN 3.1317 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 20.2421 | 21.3857 | 10.6756 | 7.9606 | 9.8331 | 7.9054 | 8.7817 | 8.695 | 9.7841 | 7.9768 | 9.8202 | 8.0695 | 9.7062 | 8.0275 | 8.087 | 7.2195 | 9.1883 | 8.2419 | 9.3814 | 9.2011 | 9.0733
15 | Mussel tissue 1 |  | 29/03/2023 15:07:00 |  | C:\NexIONData\DataSet\Default\Mussel tissue 1.1319 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 46.6127 | 48.8321 | 11.8723 | 5.6446 | 8.1369 | 6.0513 | 6.3917 | 6.1449 | 7.9544 | 6.0152 | 7.6009 | 5.9841 | 7.7351 | 6.0325 | 6.2999 | 5.4259 | 7.1077 | 5.7847 | 6.8617 | 6.699 | 6.8013
16 | Mussel tissue 2 |  | 29/03/2023 15:16:26 |  | C:\NexIONData\DataSet\Default\Mussel tissue 2.1320 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 46.9678 | 49.7557 | 12.7531 | 5.5465 | 8.0024 | 5.6789 | 6.5343 | 6.25 | 8.1997 | 5.812 | 7.9374 | 5.8199 | 7.905 | 5.9069 | 6.5172 | 5.2625 | 7.4029 | 5.8099 | 6.9031 | 6.8795 | 6.866
17 | Mussel tissue 3 |  | 29/03/2023 15:27:00 |  | C:\NexIONData\DataSet\Default\Mussel tissue 3.1321 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 46.2378 | 50.0444 | 13.5007 | 5.8272 | 9.2922 | 6.2431 | 6.702 | 6.4833 | 8.9828 | 6.2159 | 8.423 | 6.2723 | 8.1381 | 6.2157 | 6.9001 | 5.731 | 7.7233 | 6.3662 | 7.2856 | 6.9869 | 6.8417
18 | DOLT-5 1 |  | 29/03/2023 15:38:20 |  | C:\NexIONData\DataSet\Default\DOLT-5 1.1322 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 116.048 | 128.1251 | 35.4993 | 21.0873 | 24.3354 | 20.7879 | 23.7036 | 23.6113 | 25.122 | 21.0766 | 24.963 | 21.7798 | 24.7424 | 21.835 | 21.0861 | 19.9209 | 24.648 | 22.6108 | 24.1389 | 24.0327 | 23.8647
19 | DOLT-5 2 |  | 29/03/2023 15:48:33 |  | C:\NexIONData\DataSet\Default\DOLT-5 2.1323 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 114.4786 | 126.411 | 36.7448 | 20.6295 | 27.9178 | 21.2561 | 23.7623 | 23.7412 | 27.1557 | 21.3391 | 26.6033 | 21.7891 | 26.4529 | 21.8641 | 21.8163 | 19.6376 | 24.6609 | 21.9078 | 24.2085 | 24.194 | 24.5667
20 | DOLT-5 3 |  | 29/03/2023 15:57:29 |  | C:\NexIONData\DataSet\Default\DOLT-5 3.1324 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 115.5636 | 128.0685 | 36.8428 | 20.1808 | 27.8374 | 20.5705 | 23.927 | 23.8702 | 26.9584 | 20.6797 | 26.7868 | 21.3554 | 26.4852 | 21.3228 | 22.0826 | 19.4372 | 25.1275 | 21.4216 | 24.4945 | 24.3413 | 23.951
21 | Branco |  | 29/03/2023 16:09:24 |  | C:\NexIONData\DataSet\Default\Branco.1325 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.046389 | 0.15898 | 3.0911 | 0.57779 | 4.5019 | 0.50969 | 1.8932 | 1.7022 | 3.9889 | 0.47666 | 3.5233 | 0.47386 | 3.2302 | 0.47113 | 2.5859 | 0.45121 | 2.6985 | 0.4642 | 2.5005 | 2.2691 | 2.072
22 | Branco |  | 29/03/2023 16:32:21 |  | C:\NexIONData\DataSet\Default\Branco.1326 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | 0.055434 | 0.19941 | 5.722 | 0.33538 | 6.5395 | 0.25936 | 2.5167 | 2.2262 | 5.6004 | 0.34843 | 4.9813 | 0.29251 | 4.6987 | 0.33276 | 3.5888 | 0.24374 | 3.716 | 0.23678 | 3.3774 | 3.1104 | 2.7429
23 | Branco |  | 29/03/2023 16:41:45 |  | C:\NexIONData\DataSet\Default\Branco.1327 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Otimização Se KED 29-03-23.mth | -0.0052517 | 0.13828 | 4.4627 | 0.26449 | 5.6217 | 0.10032 | 2.3277 | 1.9674 | 4.6459 | 0.1343 | 4.2333 | 0.10591 | 3.9652 | 0.15377 | 3.0891 | 0.13886 | 3.3142 | 0.16256 | 3.0161 | 2.6768 | 2.5315

## Internal Standards
Row Index Number
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23