## Intensities
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 (cps) | Bkgd 220 (cps) | Ce 140 (IS) (cps) | Ce++ 70 (cps) | CeO 156 (cps) | In 115 (cps) | Mg 24 (cps) | U 238 (cps)
1 | Daily Performance Check |  | 04/07/2022 13:13:33 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.271 | C:\NexIONData\Method\Daily Performance.mth | 917.6962 | 0.6 | 11555.6738 | 175.7344 | 208.6682 | 11455.5277 | 5723.6027 | 8738.474
2 | Daily Performance Check |  | 04/07/2022 13:28:58 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.275 | C:\NexIONData\Method\Daily Performance.mth | 6958.6946 | 0.2 | 68146.8221 | 2299.0517 | 1602.1565 | 77526.5299 | 36292.6441 | 51232.3708
3 | Daily Performance Check |  | 04/07/2022 13:32:02 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.276 | C:\NexIONData\Method\Daily Performance.mth | 3206.2932 | 0.7 | 45747.8018 | 716.1513 | 640.5477 | 45168.4293 | 16790.462 | 31465.2818
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 (cps) | As-1 75 (cps)
4 | Branco |  | 04/07/2022 14:54:12 |  | C:\NexIONData\DataSet\Default\Branco.279 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1269.9231 | 21.4667
5 | 0.5 |  | 04/07/2022 14:57:05 |  | C:\NexIONData\DataSet\Default\0.5.280 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 5109.9804 | 194.1347
6 | 1 |  | 04/07/2022 15:02:11 |  | C:\NexIONData\DataSet\Default\1.281 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 4957.9269 | 203.7348
7 | Branco |  | 04/07/2022 15:05:47 |  | C:\NexIONData\DataSet\Default\Branco.282 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 807.3562 | 16.2667
8 | 0.5 |  | 04/07/2022 15:08:10 |  | C:\NexIONData\DataSet\Default\0.5.283 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 4906.7092 | 210.4015
9 | 1 |  | 04/07/2022 15:11:49 |  | C:\NexIONData\DataSet\Default\1.284 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 10773.795 | 469.4744
10 | 2 |  | 04/07/2022 15:15:59 |  | C:\NexIONData\DataSet\Default\2.285 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 18606.2424 | 829.2241
11 | 5 |  | 04/07/2022 15:19:29 |  | C:\NexIONData\DataSet\Default\5.286 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 42000.0501 | 1911.0612
12 | 10 |  | 04/07/2022 15:22:53 |  | C:\NexIONData\DataSet\Default\10.287 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 75134.1332 | 3482.9579
13 | 15 |  | 04/07/2022 15:25:59 |  | C:\NexIONData\DataSet\Default\15.288 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 117196.3675 | 5395.6855
14 | 30 |  | 04/07/2022 15:29:59 |  | C:\NexIONData\DataSet\Default\30.289 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 220270.1388 | 10257.4148
15 | 50 |  | 04/07/2022 15:34:05 |  | C:\NexIONData\DataSet\Default\50.290 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 347617.7252 | 16332.9322
16 | Amostra 1 |  | 04/07/2022 15:37:02 |  | C:\NexIONData\DataSet\Default\Amostra 1.291 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 5622.1728 | 307.7366
17 | Amostra 2 |  | 04/07/2022 15:43:45 |  | C:\NexIONData\DataSet\Default\Amostra 2.292 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 5964.5783 | 320.1369
18 | Amostra 3 |  | 04/07/2022 15:47:15 |  | C:\NexIONData\DataSet\Default\Amostra 3.293 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 2730.1275 | 79.4669
19 | Branco |  | 04/07/2022 15:50:20 |  | C:\NexIONData\DataSet\Default\Branco.294 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1528.2151 | 41.3334
20 | Ácido Limpeza |  | 04/07/2022 15:52:52 |  | C:\NexIONData\DataSet\Default\Ácido Limpeza.295 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1851.1866 | 85.6003
21 | Amostra 5 |  | 04/07/2022 15:55:15 |  | C:\NexIONData\DataSet\Default\Amostra 5.296 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 9108.503 | 352.1377
22 | Amostra 6 |  | 04/07/2022 15:58:08 |  | C:\NexIONData\DataSet\Default\Amostra 6.297 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 8957.2072 | 343.7375
23 | Amostra 7 |  | 04/07/2022 16:01:21 |  | C:\NexIONData\DataSet\Default\Amostra 7.298 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 6465.7297 | 301.3365
24 | Amostra 8 |  | 04/07/2022 16:04:25 |  | C:\NexIONData\DataSet\Default\Amostra 8.299 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 7427.9312 | 331.0705
25 | Amostra 9 |  | 04/07/2022 16:07:09 |  | C:\NexIONData\DataSet\Default\Amostra 9.300 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 103380.8524 | 6131.3155
26 | Amostra 10 |  | 04/07/2022 16:10:34 |  | C:\NexIONData\DataSet\Default\Amostra 10.301 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 94279.0129 | 5613.3694
27 | Amostra 11 |  | 04/07/2022 16:13:55 |  | C:\NexIONData\DataSet\Default\Amostra 11.302 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 10862.6622 | 604.5461
28 | Branco |  | 04/07/2022 16:17:23 |  | C:\NexIONData\DataSet\Default\Branco.303 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 964.5659 | 40.5334
29 | Branco |  | 04/07/2022 16:18:01 |  | C:\NexIONData\DataSet\Default\Branco.304 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1007.6356 | 40.8001
30 | Branco |  | 04/07/2022 16:18:39 |  | C:\NexIONData\DataSet\Default\Branco.305 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1072.5736 | 44.0001
31 | Amostra 13 |  | 04/07/2022 16:21:40 |  | C:\NexIONData\DataSet\Default\Amostra 13.306 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 23241.8246 | 1360.5981
32 | Amostra 14 |  | 04/07/2022 16:24:44 |  | C:\NexIONData\DataSet\Default\Amostra 14.307 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 22405.8237 | 1254.9885
33 | Amostra 15 |  | 04/07/2022 16:27:21 |  | C:\NexIONData\DataSet\Default\Amostra 15.308 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 22175.065 | 1337.796
34 | Amostra 16 |  | 04/07/2022 16:30:37 |  | C:\NexIONData\DataSet\Default\Amostra 16.309 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 22759.7166 | 1392.4679
35 | Amostra 17 |  | 04/07/2022 16:33:32 |  | C:\NexIONData\DataSet\Default\Amostra 17.310 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 544130.8918 | 34036.098
36 | Branco |  | 04/07/2022 16:37:34 |  | C:\NexIONData\DataSet\Default\Branco.311 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 905.8954 | 44.2667
37 | Branco |  | 04/07/2022 16:38:01 |  | C:\NexIONData\DataSet\Default\Branco.312 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 887.4942 | 41.6001
38 | Branco |  | 04/07/2022 16:38:58 |  | C:\NexIONData\DataSet\Default\Branco.313 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 873.7601 | 43.8667
39 | Ponto 15 ppb |  | 04/07/2022 16:42:00 |  | C:\NexIONData\DataSet\Default\Ponto 15 ppb.314 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 124467.6118 | 7704.2102
40 | Amostra 19 |  | 04/07/2022 16:45:21 |  | C:\NexIONData\DataSet\Default\Amostra 19.315 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 32800.1451 | 2060.8153
41 | Branco |  | 04/07/2022 16:47:50 |  | C:\NexIONData\DataSet\Default\Branco.316 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 846.2917 | 41.2001
42 | Branco |  | 04/07/2022 16:48:28 |  | C:\NexIONData\DataSet\Default\Branco.317 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 779.4879 | 40.8001
43 | Branco |  | 04/07/2022 16:49:31 |  | C:\NexIONData\DataSet\Default\Branco.318 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 786.0216 | 37.2
44 | Amostra 21 |  | 04/07/2022 16:53:49 |  | C:\NexIONData\DataSet\Default\Amostra 21.319 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 112151.9919 | 7155.525
45 | Branco |  | 04/07/2022 16:56:12 |  | C:\NexIONData\DataSet\Default\Branco.320 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 782.5548 | 42.0001
46 | Branco |  | 04/07/2022 16:56:49 |  | C:\NexIONData\DataSet\Default\Branco.321 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 767.0873 | 43.4667
47 | Branco |  | 04/07/2022 16:57:22 |  | C:\NexIONData\DataSet\Default\Branco.322 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 766.6872 | 39.7334
48 | Amostra 23 |  | 04/07/2022 17:00:13 |  | C:\NexIONData\DataSet\Default\Amostra 23.323 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 87027.7524 | 5600.1642
49 | Amostra 24 |  | 04/07/2022 17:03:29 |  | C:\NexIONData\DataSet\Default\Amostra 24.324 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 87075.1 | 5810.2482
50 | Amostra 25 |  | 04/07/2022 17:06:17 |  | C:\NexIONData\DataSet\Default\Amostra 25.325 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 146287.348 | 9704.6285
51 | Branco |  | 04/07/2022 17:10:26 |  | C:\NexIONData\DataSet\Default\Branco.326 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 832.4243 | 43.6001
52 | Branco |  | 04/07/2022 17:11:23 |  | C:\NexIONData\DataSet\Default\Branco.327 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 843.8916 | 47.2001
53 | Branco |  | 04/07/2022 17:11:57 |  | C:\NexIONData\DataSet\Default\Branco.328 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 831.3575 | 52.2668
54 | Amostra 27 |  | 04/07/2022 17:14:44 |  | C:\NexIONData\DataSet\Default\Amostra 27.329 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 143247.4406 | 9592.0193
55 | Branco |  | 04/07/2022 17:18:46 |  | C:\NexIONData\DataSet\Default\Branco.330 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 676.416 | 36.6667
56 | Branco |  | 04/07/2022 17:20:00 |  | C:\NexIONData\DataSet\Default\Branco.331 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 612.9465 | 35.2
57 | Branco |  | 04/07/2022 17:20:26 |  | C:\NexIONData\DataSet\Default\Branco.332 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 629.0805 | 32.1334
58 | Amostra 29 |  | 04/07/2022 17:22:58 |  | C:\NexIONData\DataSet\Default\Amostra 29.333 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 95223.1063 | 6700.371
59 | Amostra 30 |  | 04/07/2022 17:25:44 |  | C:\NexIONData\DataSet\Default\Amostra 30.334 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 96533.3327 | 6825.3636
60 | Amostra 31 |  | 04/07/2022 17:28:38 |  | C:\NexIONData\DataSet\Default\Amostra 31.335 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 79971.4994 | 5485.1863
61 | Amostra 32 |  | 04/07/2022 17:31:21 |  | C:\NexIONData\DataSet\Default\Amostra 32.336 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 78951.0344 | 5549.8779
62 | Ponto 5 ppb |  | 04/07/2022 17:35:00 |  | C:\NexIONData\DataSet\Default\Ponto 5 ppb.337 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 45946.7034 | 3100.0697
63 | Amostra 33 |  | 04/07/2022 17:37:39 |  | C:\NexIONData\DataSet\Default\Amostra 33 .338 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 586645.8662 | 40771.031
64 | Branco |  | 04/07/2022 17:40:00 |  | C:\NexIONData\DataSet\Default\Branco.339 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 626.6804 | 42.0001
65 | Branco |  | 04/07/2022 17:40:26 |  | C:\NexIONData\DataSet\Default\Branco.340 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 564.8112 | 41.7334
66 | Branco |  | 04/07/2022 17:40:55 |  | C:\NexIONData\DataSet\Default\Branco.341 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 546.1438 | 38.0001
67 | Amostra 35 |  | 04/07/2022 17:43:04 |  | C:\NexIONData\DataSet\Default\Amostra 35.342 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 271857.8738 | 19132.4034
68 | Branco |  | 04/07/2022 17:45:48 |  | C:\NexIONData\DataSet\Default\Branco.343 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 582.8119 | 42.1334
69 | Branco |  | 04/07/2022 17:46:14 |  | C:\NexIONData\DataSet\Default\Branco.344 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 540.8102 | 37.0667
70 | Branco |  | 04/07/2022 17:46:40 |  | C:\NexIONData\DataSet\Default\Branco.345 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 530.5432 | 37.7334
71 | Amostra 37 |  | 04/07/2022 17:48:54 |  | C:\NexIONData\DataSet\Default\Amostra 37.346 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 182780.5417 | 13389.3383
72 | Amostra 38 |  | 04/07/2022 17:51:27 |  | C:\NexIONData\DataSet\Default\Amostra 38.347 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 172688.679 | 12934.1192
73 | Amostra 39 |  | 04/07/2022 17:53:46 |  | C:\NexIONData\DataSet\Default\Amostra 39.348 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 121115.2899 | 8439.292
74 | Amostra 40 |  | 04/07/2022 17:58:37 |  | C:\NexIONData\DataSet\Default\Amostra 40.349 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 118545.9635 | 8692.2437
75 | Amostra 41 |  | 04/07/2022 18:02:31 |  | C:\NexIONData\DataSet\Default\Amostra 41.350 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 4131.1307 | 349.3376
76 | Amostra 42 |  | 04/07/2022 18:06:34 |  | C:\NexIONData\DataSet\Default\Amostra 42.351 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 4969.7978 | 385.3385
77 | Amostra 43 |  | 04/07/2022 18:09:12 |  | C:\NexIONData\DataSet\Default\Amostra 43.352 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 4783.334 | 235.2019
78 | Amostra 44 |  | 04/07/2022 18:12:44 |  | C:\NexIONData\DataSet\Default\Amostra 44.353 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 2832.6808 | 143.8674
79 | Amostra 45 |  | 04/07/2022 18:16:08 |  | C:\NexIONData\DataSet\Default\Amostra 45.354 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 5211.0837 | 307.87
80 | Amostra 46 |  | 04/07/2022 18:21:13 |  | C:\NexIONData\DataSet\Default\Amostra 46.355 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 5062.0968 | 279.8694
81 | Amostra 47 |  | 04/07/2022 18:24:58 |  | C:\NexIONData\DataSet\Default\Amostra 47.356 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 8881.9605 | 622.6802

## Intensities RSDs
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 | Bkgd 220 | Ce 140 (IS) | Ce++ 70 | CeO 156 | In 115 | Mg 24 | U 238
1 | Daily Performance Check |  | 04/07/2022 13:13:33 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.271 | C:\NexIONData\Method\Daily Performance.mth | 3.13% | 75.05% | 2.339% | 13.64% | 5.86% | 2.962% | 36.63% | 3.187%
2 | Daily Performance Check |  | 04/07/2022 13:28:58 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.275 | C:\NexIONData\Method\Daily Performance.mth | 1.049% | 69.72% | 0.442% | 1.388% | 0.895% | 0.4341% | 0.7549% | 0.5436%
3 | Daily Performance Check |  | 04/07/2022 13:32:02 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.276 | C:\NexIONData\Method\Daily Performance.mth | 2.174% | 31.04% | 0.5944% | 2.442% | 0.8307% | 0.6117% | 0.8567% | 0.6028%
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 | As-1 75
4 | Branco |  | 04/07/2022 14:54:12 |  | C:\NexIONData\DataSet\Default\Branco.279 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.5549% | 10.6%
5 | 0.5 |  | 04/07/2022 14:57:05 |  | C:\NexIONData\DataSet\Default\0.5.280 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.7043% | 3.618%
6 | 1 |  | 04/07/2022 15:02:11 |  | C:\NexIONData\DataSet\Default\1.281 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.075% | 4.991%
7 | Branco |  | 04/07/2022 15:05:47 |  | C:\NexIONData\DataSet\Default\Branco.282 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 2.116% | 12.38%
8 | 0.5 |  | 04/07/2022 15:08:10 |  | C:\NexIONData\DataSet\Default\0.5.283 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.639% | 2.313%
9 | 1 |  | 04/07/2022 15:11:49 |  | C:\NexIONData\DataSet\Default\1.284 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.502% | 3.866%
10 | 2 |  | 04/07/2022 15:15:59 |  | C:\NexIONData\DataSet\Default\2.285 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.5572% | 0.5082%
11 | 5 |  | 04/07/2022 15:19:29 |  | C:\NexIONData\DataSet\Default\5.286 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.3774% | 2.465%
12 | 10 |  | 04/07/2022 15:22:53 |  | C:\NexIONData\DataSet\Default\10.287 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.616% | 1.046%
13 | 15 |  | 04/07/2022 15:25:59 |  | C:\NexIONData\DataSet\Default\15.288 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.4593% | 0.5678%
14 | 30 |  | 04/07/2022 15:29:59 |  | C:\NexIONData\DataSet\Default\30.289 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.5584% | 1.108%
15 | 50 |  | 04/07/2022 15:34:05 |  | C:\NexIONData\DataSet\Default\50.290 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.7761% | 1.094%
16 | Amostra 1 |  | 04/07/2022 15:37:02 |  | C:\NexIONData\DataSet\Default\Amostra 1.291 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.7338% | 0.7391%
17 | Amostra 2 |  | 04/07/2022 15:43:45 |  | C:\NexIONData\DataSet\Default\Amostra 2.292 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.6713% | 0.8505%
18 | Amostra 3 |  | 04/07/2022 15:47:15 |  | C:\NexIONData\DataSet\Default\Amostra 3.293 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.9563% | 3.535%
19 | Branco |  | 04/07/2022 15:50:20 |  | C:\NexIONData\DataSet\Default\Branco.294 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 3.251% | 3.111%
20 | Ácido Limpeza |  | 04/07/2022 15:52:52 |  | C:\NexIONData\DataSet\Default\Ácido Limpeza.295 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.661% | 5.307%
21 | Amostra 5 |  | 04/07/2022 15:55:15 |  | C:\NexIONData\DataSet\Default\Amostra 5.296 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.7868% | 0.9661%
22 | Amostra 6 |  | 04/07/2022 15:58:08 |  | C:\NexIONData\DataSet\Default\Amostra 6.297 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.3096% | 3.259%
23 | Amostra 7 |  | 04/07/2022 16:01:21 |  | C:\NexIONData\DataSet\Default\Amostra 7.298 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.148% | 7.582%
24 | Amostra 8 |  | 04/07/2022 16:04:25 |  | C:\NexIONData\DataSet\Default\Amostra 8.299 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 2.205% | 8.997%
25 | Amostra 9 |  | 04/07/2022 16:07:09 |  | C:\NexIONData\DataSet\Default\Amostra 9.300 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.2604% | 0.8528%
26 | Amostra 10 |  | 04/07/2022 16:10:34 |  | C:\NexIONData\DataSet\Default\Amostra 10.301 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.4481% | 1.034%
27 | Amostra 11 |  | 04/07/2022 16:13:55 |  | C:\NexIONData\DataSet\Default\Amostra 11.302 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.316% | 1.853%
28 | Branco |  | 04/07/2022 16:17:23 |  | C:\NexIONData\DataSet\Default\Branco.303 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.349% | 1.507%
29 | Branco |  | 04/07/2022 16:18:01 |  | C:\NexIONData\DataSet\Default\Branco.304 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 2.89% | 8.985%
30 | Branco |  | 04/07/2022 16:18:39 |  | C:\NexIONData\DataSet\Default\Branco.305 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.323% | 16.36%
31 | Amostra 13 |  | 04/07/2022 16:21:40 |  | C:\NexIONData\DataSet\Default\Amostra 13.306 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.4384% | 1.434%
32 | Amostra 14 |  | 04/07/2022 16:24:44 |  | C:\NexIONData\DataSet\Default\Amostra 14.307 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.2238% | 0.6457%
33 | Amostra 15 |  | 04/07/2022 16:27:21 |  | C:\NexIONData\DataSet\Default\Amostra 15.308 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.9158% | 1.93%
34 | Amostra 16 |  | 04/07/2022 16:30:37 |  | C:\NexIONData\DataSet\Default\Amostra 16.309 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.8558% | 2.163%
35 | Amostra 17 |  | 04/07/2022 16:33:32 |  | C:\NexIONData\DataSet\Default\Amostra 17.310 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.3486% | 0.2992%
36 | Branco |  | 04/07/2022 16:37:34 |  | C:\NexIONData\DataSet\Default\Branco.311 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 4.81% | 9.912%
37 | Branco |  | 04/07/2022 16:38:01 |  | C:\NexIONData\DataSet\Default\Branco.312 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.8627% | 11.82%
38 | Branco |  | 04/07/2022 16:38:58 |  | C:\NexIONData\DataSet\Default\Branco.313 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.986% | 6.071%
39 | Ponto 15 ppb |  | 04/07/2022 16:42:00 |  | C:\NexIONData\DataSet\Default\Ponto 15 ppb.314 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.3265% | 0.1899%
40 | Amostra 19 |  | 04/07/2022 16:45:21 |  | C:\NexIONData\DataSet\Default\Amostra 19.315 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.3007% | 0.6069%
41 | Branco |  | 04/07/2022 16:47:50 |  | C:\NexIONData\DataSet\Default\Branco.316 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.8578% | 11.03%
42 | Branco |  | 04/07/2022 16:48:28 |  | C:\NexIONData\DataSet\Default\Branco.317 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.669% | 6.429%
43 | Branco |  | 04/07/2022 16:49:31 |  | C:\NexIONData\DataSet\Default\Branco.318 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 2.394% | 13.04%
44 | Amostra 21 |  | 04/07/2022 16:53:49 |  | C:\NexIONData\DataSet\Default\Amostra 21.319 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.6962% | 0.6638%
45 | Branco |  | 04/07/2022 16:56:12 |  | C:\NexIONData\DataSet\Default\Branco.320 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.588% | 8.303%
46 | Branco |  | 04/07/2022 16:56:49 |  | C:\NexIONData\DataSet\Default\Branco.321 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 2.112% | 4.539%
47 | Branco |  | 04/07/2022 16:57:22 |  | C:\NexIONData\DataSet\Default\Branco.322 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.014% | 9.3%
48 | Amostra 23 |  | 04/07/2022 17:00:13 |  | C:\NexIONData\DataSet\Default\Amostra 23.323 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.6188% | 1.247%
49 | Amostra 24 |  | 04/07/2022 17:03:29 |  | C:\NexIONData\DataSet\Default\Amostra 24.324 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.1482% | 1.435%
50 | Amostra 25 |  | 04/07/2022 17:06:17 |  | C:\NexIONData\DataSet\Default\Amostra 25.325 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.7875% | 0.122%
51 | Branco |  | 04/07/2022 17:10:26 |  | C:\NexIONData\DataSet\Default\Branco.326 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.9599% | 18.62%
52 | Branco |  | 04/07/2022 17:11:23 |  | C:\NexIONData\DataSet\Default\Branco.327 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.8484% | 5.292%
53 | Branco |  | 04/07/2022 17:11:57 |  | C:\NexIONData\DataSet\Default\Branco.328 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.523% | 9.63%
54 | Amostra 27 |  | 04/07/2022 17:14:44 |  | C:\NexIONData\DataSet\Default\Amostra 27.329 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.7889% | 0.6851%
55 | Branco |  | 04/07/2022 17:18:46 |  | C:\NexIONData\DataSet\Default\Branco.330 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.822% | 5.491%
56 | Branco |  | 04/07/2022 17:20:00 |  | C:\NexIONData\DataSet\Default\Branco.331 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.266% | 5.207%
57 | Branco |  | 04/07/2022 17:20:26 |  | C:\NexIONData\DataSet\Default\Branco.332 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 3.183% | 9.176%
58 | Amostra 29 |  | 04/07/2022 17:22:58 |  | C:\NexIONData\DataSet\Default\Amostra 29.333 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.05265% | 0.5509%
59 | Amostra 30 |  | 04/07/2022 17:25:44 |  | C:\NexIONData\DataSet\Default\Amostra 30.334 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.6942% | 1.2%
60 | Amostra 31 |  | 04/07/2022 17:28:38 |  | C:\NexIONData\DataSet\Default\Amostra 31.335 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.074% | 1.097%
61 | Amostra 32 |  | 04/07/2022 17:31:21 |  | C:\NexIONData\DataSet\Default\Amostra 32.336 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.5689% | 0.9925%
62 | Ponto 5 ppb |  | 04/07/2022 17:35:00 |  | C:\NexIONData\DataSet\Default\Ponto 5 ppb.337 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.23% | 1.199%
63 | Amostra 33 |  | 04/07/2022 17:37:39 |  | C:\NexIONData\DataSet\Default\Amostra 33 .338 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.8748% | 0.4642%
64 | Branco |  | 04/07/2022 17:40:00 |  | C:\NexIONData\DataSet\Default\Branco.339 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 2.486% | 12.6%
65 | Branco |  | 04/07/2022 17:40:26 |  | C:\NexIONData\DataSet\Default\Branco.340 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.029% | 9.837%
66 | Branco |  | 04/07/2022 17:40:55 |  | C:\NexIONData\DataSet\Default\Branco.341 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 3.277% | 11.14%
67 | Amostra 35 |  | 04/07/2022 17:43:04 |  | C:\NexIONData\DataSet\Default\Amostra 35.342 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.5641% | 0.5604%
68 | Branco |  | 04/07/2022 17:45:48 |  | C:\NexIONData\DataSet\Default\Branco.343 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 2.337% | 6.668%
69 | Branco |  | 04/07/2022 17:46:14 |  | C:\NexIONData\DataSet\Default\Branco.344 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.5178% | 16.38%
70 | Branco |  | 04/07/2022 17:46:40 |  | C:\NexIONData\DataSet\Default\Branco.345 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.5759% | 21.32%
71 | Amostra 37 |  | 04/07/2022 17:48:54 |  | C:\NexIONData\DataSet\Default\Amostra 37.346 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.1788% | 0.2058%
72 | Amostra 38 |  | 04/07/2022 17:51:27 |  | C:\NexIONData\DataSet\Default\Amostra 38.347 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.1397% | 0.1487%
73 | Amostra 39 |  | 04/07/2022 17:53:46 |  | C:\NexIONData\DataSet\Default\Amostra 39.348 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.155% | 0.4127%
74 | Amostra 40 |  | 04/07/2022 17:58:37 |  | C:\NexIONData\DataSet\Default\Amostra 40.349 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.2724% | 0.483%
75 | Amostra 41 |  | 04/07/2022 18:02:31 |  | C:\NexIONData\DataSet\Default\Amostra 41.350 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.535% | 2.77%
76 | Amostra 42 |  | 04/07/2022 18:06:34 |  | C:\NexIONData\DataSet\Default\Amostra 42.351 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.592% | 2.008%
77 | Amostra 43 |  | 04/07/2022 18:09:12 |  | C:\NexIONData\DataSet\Default\Amostra 43.352 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.2925% | 7.604%
78 | Amostra 44 |  | 04/07/2022 18:12:44 |  | C:\NexIONData\DataSet\Default\Amostra 44.353 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.211% | 1.851%
79 | Amostra 45 |  | 04/07/2022 18:16:08 |  | C:\NexIONData\DataSet\Default\Amostra 45.354 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.33% | 3.49%
80 | Amostra 46 |  | 04/07/2022 18:21:13 |  | C:\NexIONData\DataSet\Default\Amostra 46.355 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.355% | 2.092%
81 | Amostra 47 |  | 04/07/2022 18:24:58 |  | C:\NexIONData\DataSet\Default\Amostra 47.356 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.072% | 2.866%

## Concentrations
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 (ug/L) | Bkgd 220 (mg/L) | Ce 140 (IS) | Ce++ 70 (mg/L) | CeO 156 (mg/L) | In 115 (mg/L) | Mg 24 (ug/L) | U 238 (mg/L)
1 | Daily Performance Check |  | 04/07/2022 13:13:33 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.271 | C:\NexIONData\Method\Daily Performance.mth
2 | Daily Performance Check |  | 04/07/2022 13:28:58 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.275 | C:\NexIONData\Method\Daily Performance.mth
3 | Daily Performance Check |  | 04/07/2022 13:32:02 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.276 | C:\NexIONData\Method\Daily Performance.mth
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 (ug/L) | As-1 75 (ug/L)
4 | Branco |  | 04/07/2022 14:54:12 |  | C:\NexIONData\DataSet\Default\Branco.279 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth
5 | 0.5 |  | 04/07/2022 14:57:05 |  | C:\NexIONData\DataSet\Default\0.5.280 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.5 | 0.5
6 | 1 |  | 04/07/2022 15:02:11 |  | C:\NexIONData\DataSet\Default\1.281 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.82204 | 0.84823
7 | Branco |  | 04/07/2022 15:05:47 |  | C:\NexIONData\DataSet\Default\Branco.282 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth
8 | 0.5 |  | 04/07/2022 15:08:10 |  | C:\NexIONData\DataSet\Default\0.5.283 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.5 | 0.5
9 | 1 |  | 04/07/2022 15:11:49 |  | C:\NexIONData\DataSet\Default\1.284 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.0368 | 1.0295
10 | 2 |  | 04/07/2022 15:15:59 |  | C:\NexIONData\DataSet\Default\2.285 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.9625 | 1.9612
11 | 5 |  | 04/07/2022 15:19:29 |  | C:\NexIONData\DataSet\Default\5.286 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 4.914 | 4.9199
12 | 10 |  | 04/07/2022 15:22:53 |  | C:\NexIONData\DataSet\Default\10.287 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 9.7117 | 9.7488
13 | 15 |  | 04/07/2022 15:25:59 |  | C:\NexIONData\DataSet\Default\15.288 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 15.0755 | 15.0466
14 | 30 |  | 04/07/2022 15:29:59 |  | C:\NexIONData\DataSet\Default\30.289 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 29.5372 | 29.6037
15 | 50 |  | 04/07/2022 15:34:05 |  | C:\NexIONData\DataSet\Default\50.290 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 48.8377 | 49.0155
16 | Amostra 1 |  | 04/07/2022 15:37:02 |  | C:\NexIONData\DataSet\Default\Amostra 1.291 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.67802 | 0.87558
17 | Amostra 2 |  | 04/07/2022 15:43:45 |  | C:\NexIONData\DataSet\Default\Amostra 2.292 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.72624 | 0.91283
18 | Amostra 3 |  | 04/07/2022 15:47:15 |  | C:\NexIONData\DataSet\Default\Amostra 3.293 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.27076 | 0.18985
19 | Branco |  | 04/07/2022 15:50:20 |  | C:\NexIONData\DataSet\Default\Branco.294 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.10151 | 0.075301
20 | Ácido Limpeza |  | 04/07/2022 15:52:52 |  | C:\NexIONData\DataSet\Default\Ácido Limpeza.295 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.14699 | 0.20828
21 | Amostra 5 |  | 04/07/2022 15:55:15 |  | C:\NexIONData\DataSet\Default\Amostra 5.296 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.169 | 1.009
22 | Amostra 6 |  | 04/07/2022 15:58:08 |  | C:\NexIONData\DataSet\Default\Amostra 6.297 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.1477 | 0.98373
23 | Amostra 7 |  | 04/07/2022 16:01:21 |  | C:\NexIONData\DataSet\Default\Amostra 7.298 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.79681 | 0.85635
24 | Amostra 8 |  | 04/07/2022 16:04:25 |  | C:\NexIONData\DataSet\Default\Amostra 8.299 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.93231 | 0.94568
25 | Amostra 9 |  | 04/07/2022 16:07:09 |  | C:\NexIONData\DataSet\Default\Amostra 9.300 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 14.4444 | 18.3697
26 | Amostra 10 |  | 04/07/2022 16:10:34 |  | C:\NexIONData\DataSet\Default\Amostra 10.301 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 13.1626 | 16.8138
27 | Amostra 11 |  | 04/07/2022 16:13:55 |  | C:\NexIONData\DataSet\Default\Amostra 11.302 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.416 | 1.7672
28 | Branco |  | 04/07/2022 16:17:23 |  | C:\NexIONData\DataSet\Default\Branco.303 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.022138 | 0.072898
29 | Branco |  | 04/07/2022 16:18:01 |  | C:\NexIONData\DataSet\Default\Branco.304 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.028203 | 0.073699
30 | Branco |  | 04/07/2022 16:18:39 |  | C:\NexIONData\DataSet\Default\Branco.305 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.037348 | 0.083312
31 | Amostra 13 |  | 04/07/2022 16:21:40 |  | C:\NexIONData\DataSet\Default\Amostra 13.306 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 3.1592 | 4.0384
32 | Amostra 14 |  | 04/07/2022 16:24:44 |  | C:\NexIONData\DataSet\Default\Amostra 14.307 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 3.0415 | 3.7211
33 | Amostra 15 |  | 04/07/2022 16:27:21 |  | C:\NexIONData\DataSet\Default\Amostra 15.308 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 3.009 | 3.9699
34 | Amostra 16 |  | 04/07/2022 16:30:37 |  | C:\NexIONData\DataSet\Default\Amostra 16.309 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 3.0913 | 4.1341
35 | Amostra 17 |  | 04/07/2022 16:33:32 |  | C:\NexIONData\DataSet\Default\Amostra 17.310 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 76.5106 | 102.1962
36 | Branco |  | 04/07/2022 16:37:34 |  | C:\NexIONData\DataSet\Default\Branco.311 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.013876 | 0.084113
37 | Branco |  | 04/07/2022 16:38:01 |  | C:\NexIONData\DataSet\Default\Branco.312 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.011285 | 0.076102
38 | Branco |  | 04/07/2022 16:38:58 |  | C:\NexIONData\DataSet\Default\Branco.313 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.009351 | 0.082911
39 | Ponto 15 ppb |  | 04/07/2022 16:42:00 |  | C:\NexIONData\DataSet\Default\Ponto 15 ppb.314 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 17.4138 | 23.0947
40 | Amostra 19 |  | 04/07/2022 16:45:21 |  | C:\NexIONData\DataSet\Default\Amostra 19.315 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 4.5052 | 6.1419
41 | Branco |  | 04/07/2022 16:47:50 |  | C:\NexIONData\DataSet\Default\Branco.316 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.0054829 | 0.0749
42 | Branco |  | 04/07/2022 16:48:28 |  | C:\NexIONData\DataSet\Default\Branco.317 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | -0.0039244 | 0.073699
43 | Branco |  | 04/07/2022 16:49:31 |  | C:\NexIONData\DataSet\Default\Branco.318 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | -0.0030043 | 0.062884
44 | Amostra 21 |  | 04/07/2022 16:53:49 |  | C:\NexIONData\DataSet\Default\Amostra 21.319 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 15.6795 | 21.4465
45 | Branco |  | 04/07/2022 16:56:12 |  | C:\NexIONData\DataSet\Default\Branco.320 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | -0.0034925 | 0.077304
46 | Branco |  | 04/07/2022 16:56:49 |  | C:\NexIONData\DataSet\Default\Branco.321 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | -0.0056707 | 0.081709
47 | Branco |  | 04/07/2022 16:57:22 |  | C:\NexIONData\DataSet\Default\Branco.322 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | -0.005727 | 0.070494
48 | Amostra 23 |  | 04/07/2022 17:00:13 |  | C:\NexIONData\DataSet\Default\Amostra 23.323 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 12.1415 | 16.7741
49 | Amostra 24 |  | 04/07/2022 17:03:29 |  | C:\NexIONData\DataSet\Default\Amostra 24.324 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 12.1482 | 17.4052
50 | Amostra 25 |  | 04/07/2022 17:06:17 |  | C:\NexIONData\DataSet\Default\Amostra 25.325 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 20.4864 | 29.104
51 | Branco |  | 04/07/2022 17:10:26 |  | C:\NexIONData\DataSet\Default\Branco.326 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.0035301 | 0.08211
52 | Branco |  | 04/07/2022 17:11:23 |  | C:\NexIONData\DataSet\Default\Branco.327 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.0051449 | 0.092924
53 | Branco |  | 04/07/2022 17:11:57 |  | C:\NexIONData\DataSet\Default\Branco.328 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.0033799 | 0.10814
54 | Amostra 27 |  | 04/07/2022 17:14:44 |  | C:\NexIONData\DataSet\Default\Amostra 27.329 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 20.0584 | 28.7657
55 | Branco |  | 04/07/2022 17:18:46 |  | C:\NexIONData\DataSet\Default\Branco.330 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | -0.018439 | 0.061282
56 | Branco |  | 04/07/2022 17:20:00 |  | C:\NexIONData\DataSet\Default\Branco.331 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | -0.027377 | 0.056876
57 | Branco |  | 04/07/2022 17:20:26 |  | C:\NexIONData\DataSet\Default\Branco.332 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | -0.025105 | 0.047664
58 | Amostra 29 |  | 04/07/2022 17:22:58 |  | C:\NexIONData\DataSet\Default\Amostra 29.333 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 13.2956 | 20.0792
59 | Amostra 30 |  | 04/07/2022 17:25:44 |  | C:\NexIONData\DataSet\Default\Amostra 30.334 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 13.4801 | 20.4546
60 | Amostra 31 |  | 04/07/2022 17:28:38 |  | C:\NexIONData\DataSet\Default\Amostra 31.335 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 11.1479 | 16.4287
61 | Amostra 32 |  | 04/07/2022 17:31:21 |  | C:\NexIONData\DataSet\Default\Amostra 32.336 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 11.0042 | 16.6231
62 | Ponto 5 ppb |  | 04/07/2022 17:35:00 |  | C:\NexIONData\DataSet\Default\Ponto 5 ppb.337 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 6.3565 | 9.2638
63 | Amostra 33 |  | 04/07/2022 17:37:39 |  | C:\NexIONData\DataSet\Default\Amostra 33 .338 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 82.4976 | 122.428
64 | Branco |  | 04/07/2022 17:40:00 |  | C:\NexIONData\DataSet\Default\Branco.339 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | -0.025443 | 0.077304
65 | Branco |  | 04/07/2022 17:40:26 |  | C:\NexIONData\DataSet\Default\Branco.340 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | -0.034155 | 0.076502
66 | Branco |  | 04/07/2022 17:40:55 |  | C:\NexIONData\DataSet\Default\Branco.341 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | -0.036784 | 0.065287
67 | Amostra 35 |  | 04/07/2022 17:43:04 |  | C:\NexIONData\DataSet\Default\Amostra 35.342 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 38.1692 | 57.4252
68 | Branco |  | 04/07/2022 17:45:48 |  | C:\NexIONData\DataSet\Default\Branco.343 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | -0.03162 | 0.077704
69 | Branco |  | 04/07/2022 17:46:14 |  | C:\NexIONData\DataSet\Default\Branco.344 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | -0.037535 | 0.062484
70 | Branco |  | 04/07/2022 17:46:40 |  | C:\NexIONData\DataSet\Default\Branco.345 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | -0.038981 | 0.064486
71 | Amostra 37 |  | 04/07/2022 17:48:54 |  | C:\NexIONData\DataSet\Default\Amostra 37.346 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 25.6254 | 40.1729
72 | Amostra 38 |  | 04/07/2022 17:51:27 |  | C:\NexIONData\DataSet\Default\Amostra 38.347 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 24.2043 | 38.8055
73 | Amostra 39 |  | 04/07/2022 17:53:46 |  | C:\NexIONData\DataSet\Default\Amostra 39.348 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 16.9417 | 25.3029
74 | Amostra 40 |  | 04/07/2022 17:58:37 |  | C:\NexIONData\DataSet\Default\Amostra 40.349 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 16.5799 | 26.0628
75 | Amostra 41 |  | 04/07/2022 18:02:31 |  | C:\NexIONData\DataSet\Default\Amostra 41.350 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.46805 | 1.0006
76 | Amostra 42 |  | 04/07/2022 18:06:34 |  | C:\NexIONData\DataSet\Default\Amostra 42.351 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.58615 | 1.1087
77 | Amostra 43 |  | 04/07/2022 18:09:12 |  | C:\NexIONData\DataSet\Default\Amostra 43.352 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.5599 | 0.65769
78 | Amostra 44 |  | 04/07/2022 18:12:44 |  | C:\NexIONData\DataSet\Default\Amostra 44.353 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.28521 | 0.38331
79 | Amostra 45 |  | 04/07/2022 18:16:08 |  | C:\NexIONData\DataSet\Default\Amostra 45.354 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.62013 | 0.87598
80 | Amostra 46 |  | 04/07/2022 18:21:13 |  | C:\NexIONData\DataSet\Default\Amostra 46.355 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.59915 | 0.79187
81 | Amostra 47 |  | 04/07/2022 18:24:58 |  | C:\NexIONData\DataSet\Default\Amostra 47.356 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.1371 | 1.8217

## Concentrations RSDs
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 | Bkgd 220 | Ce 140 (IS) | Ce++ 70 | CeO 156 | In 115 | Mg 24 | U 238
1 | Daily Performance Check |  | 04/07/2022 13:13:33 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.271 | C:\NexIONData\Method\Daily Performance.mth
2 | Daily Performance Check |  | 04/07/2022 13:28:58 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.275 | C:\NexIONData\Method\Daily Performance.mth
3 | Daily Performance Check |  | 04/07/2022 13:32:02 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.276 | C:\NexIONData\Method\Daily Performance.mth
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 | As-1 75
4 | Branco |  | 04/07/2022 14:54:12 |  | C:\NexIONData\DataSet\Default\Branco.279 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth
5 | 0.5 |  | 04/07/2022 14:57:05 |  | C:\NexIONData\DataSet\Default\0.5.280 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.9372% | 4.068%
6 | 1 |  | 04/07/2022 15:02:11 |  | C:\NexIONData\DataSet\Default\1.281 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.445% | 5.579%
7 | Branco |  | 04/07/2022 15:05:47 |  | C:\NexIONData\DataSet\Default\Branco.282 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth
8 | 0.5 |  | 04/07/2022 15:08:10 |  | C:\NexIONData\DataSet\Default\0.5.283 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.7649% | 2.507%
9 | 1 |  | 04/07/2022 15:11:49 |  | C:\NexIONData\DataSet\Default\1.284 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.624% | 4.004%
10 | 2 |  | 04/07/2022 15:15:59 |  | C:\NexIONData\DataSet\Default\2.285 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.5825% | 0.5184%
11 | 5 |  | 04/07/2022 15:19:29 |  | C:\NexIONData\DataSet\Default\5.286 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.3848% | 2.486%
12 | 10 |  | 04/07/2022 15:22:53 |  | C:\NexIONData\DataSet\Default\10.287 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.6227% | 1.051%
13 | 15 |  | 04/07/2022 15:25:59 |  | C:\NexIONData\DataSet\Default\15.288 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.4625% | 0.5695%
14 | 30 |  | 04/07/2022 15:29:59 |  | C:\NexIONData\DataSet\Default\30.289 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.5604% | 1.11%
15 | 50 |  | 04/07/2022 15:34:05 |  | C:\NexIONData\DataSet\Default\50.290 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.7779% | 1.095%
16 | Amostra 1 |  | 04/07/2022 15:37:02 |  | C:\NexIONData\DataSet\Default\Amostra 1.291 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.8568% | 0.7804%
17 | Amostra 2 |  | 04/07/2022 15:43:45 |  | C:\NexIONData\DataSet\Default\Amostra 2.292 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.7764% | 0.896%
18 | Amostra 3 |  | 04/07/2022 15:47:15 |  | C:\NexIONData\DataSet\Default\Amostra 3.293 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.358% | 4.445%
19 | Branco |  | 04/07/2022 15:50:20 |  | C:\NexIONData\DataSet\Default\Branco.294 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 6.892% | 5.13%
20 | Ácido Limpeza |  | 04/07/2022 15:52:52 |  | C:\NexIONData\DataSet\Default\Ácido Limpeza.295 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 2.945% | 6.553%
21 | Amostra 5 |  | 04/07/2022 15:55:15 |  | C:\NexIONData\DataSet\Default\Amostra 5.296 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.8634% | 1.013%
22 | Amostra 6 |  | 04/07/2022 15:58:08 |  | C:\NexIONData\DataSet\Default\Amostra 6.297 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.3403% | 3.421%
23 | Amostra 7 |  | 04/07/2022 16:01:21 |  | C:\NexIONData\DataSet\Default\Amostra 7.298 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.311% | 8.015%
24 | Amostra 8 |  | 04/07/2022 16:04:25 |  | C:\NexIONData\DataSet\Default\Amostra 8.299 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 2.474% | 9.461%
25 | Amostra 9 |  | 04/07/2022 16:07:09 |  | C:\NexIONData\DataSet\Default\Amostra 9.300 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.2625% | 0.855%
26 | Amostra 10 |  | 04/07/2022 16:10:34 |  | C:\NexIONData\DataSet\Default\Amostra 10.301 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.452% | 1.037%
27 | Amostra 11 |  | 04/07/2022 16:13:55 |  | C:\NexIONData\DataSet\Default\Amostra 11.302 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.422% | 1.904%
28 | Branco |  | 04/07/2022 16:17:23 |  | C:\NexIONData\DataSet\Default\Branco.303 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 8.278% | 2.518%
29 | Branco |  | 04/07/2022 16:18:01 |  | C:\NexIONData\DataSet\Default\Branco.304 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 14.54% | 14.94%
30 | Branco |  | 04/07/2022 16:18:39 |  | C:\NexIONData\DataSet\Default\Branco.305 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 5.35% | 25.96%
31 | Amostra 13 |  | 04/07/2022 16:21:40 |  | C:\NexIONData\DataSet\Default\Amostra 13.306 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.4541% | 1.451%
32 | Amostra 14 |  | 04/07/2022 16:24:44 |  | C:\NexIONData\DataSet\Default\Amostra 14.307 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.2322% | 0.6542%
33 | Amostra 15 |  | 04/07/2022 16:27:21 |  | C:\NexIONData\DataSet\Default\Amostra 15.308 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.9504% | 1.953%
34 | Amostra 16 |  | 04/07/2022 16:30:37 |  | C:\NexIONData\DataSet\Default\Amostra 16.309 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.8873% | 2.188%
35 | Amostra 17 |  | 04/07/2022 16:33:32 |  | C:\NexIONData\DataSet\Default\Amostra 17.310 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.3491% | 0.2993%
36 | Branco |  | 04/07/2022 16:37:34 |  | C:\NexIONData\DataSet\Default\Branco.311 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 44.22% | 15.67%
37 | Branco |  | 04/07/2022 16:38:01 |  | C:\NexIONData\DataSet\Default\Branco.312 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 9.554% | 19.4%
38 | Branco |  | 04/07/2022 16:38:58 |  | C:\NexIONData\DataSet\Default\Branco.313 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 26.14% | 9.65%
39 | Ponto 15 ppb |  | 04/07/2022 16:42:00 |  | C:\NexIONData\DataSet\Default\Ponto 15 ppb.314 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.3287% | 0.1903%
40 | Amostra 19 |  | 04/07/2022 16:45:21 |  | C:\NexIONData\DataSet\Default\Amostra 19.315 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.3083% | 0.6117%
41 | Branco |  | 04/07/2022 16:47:50 |  | C:\NexIONData\DataSet\Default\Branco.316 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 18.64% | 18.22%
42 | Branco |  | 04/07/2022 16:48:28 |  | C:\NexIONData\DataSet\Default\Branco.317 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 46.67% | 10.69%
43 | Branco |  | 04/07/2022 16:49:31 |  | C:\NexIONData\DataSet\Default\Branco.318 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 88.18% | 23.17%
44 | Amostra 21 |  | 04/07/2022 16:53:49 |  | C:\NexIONData\DataSet\Default\Amostra 21.319 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.7013% | 0.6653%
45 | Branco |  | 04/07/2022 16:56:12 |  | C:\NexIONData\DataSet\Default\Branco.320 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 50.11% | 13.55%
46 | Branco |  | 04/07/2022 16:56:49 |  | C:\NexIONData\DataSet\Default\Branco.321 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 40.23% | 7.254%
47 | Branco |  | 04/07/2022 16:57:22 |  | C:\NexIONData\DataSet\Default\Branco.322 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 19.11% | 15.75%
48 | Amostra 23 |  | 04/07/2022 17:00:13 |  | C:\NexIONData\DataSet\Default\Amostra 23.323 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.6246% | 1.251%
49 | Amostra 24 |  | 04/07/2022 17:03:29 |  | C:\NexIONData\DataSet\Default\Amostra 24.324 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.1495% | 1.439%
50 | Amostra 25 |  | 04/07/2022 17:06:17 |  | C:\NexIONData\DataSet\Default\Amostra 25.325 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.7918% | 0.1222%
51 | Branco |  | 04/07/2022 17:10:26 |  | C:\NexIONData\DataSet\Default\Branco.326 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 31.88% | 29.7%
52 | Branco |  | 04/07/2022 17:11:23 |  | C:\NexIONData\DataSet\Default\Branco.327 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 19.6% | 8.075%
53 | Branco |  | 04/07/2022 17:11:57 |  | C:\NexIONData\DataSet\Default\Branco.328 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 52.77% | 13.98%
54 | Amostra 27 |  | 04/07/2022 17:14:44 |  | C:\NexIONData\DataSet\Default\Amostra 27.329 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.7934% | 0.6863%
55 | Branco |  | 04/07/2022 17:18:46 |  | C:\NexIONData\DataSet\Default\Branco.330 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 9.411% | 9.869%
56 | Branco |  | 04/07/2022 17:20:00 |  | C:\NexIONData\DataSet\Default\Branco.331 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 3.992% | 9.682%
57 | Branco |  | 04/07/2022 17:20:26 |  | C:\NexIONData\DataSet\Default\Branco.332 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 11.23% | 18.58%
58 | Amostra 29 |  | 04/07/2022 17:22:58 |  | C:\NexIONData\DataSet\Default\Amostra 29.333 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.0531% | 0.5523%
59 | Amostra 30 |  | 04/07/2022 17:25:44 |  | C:\NexIONData\DataSet\Default\Amostra 30.334 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.7001% | 1.203%
60 | Amostra 31 |  | 04/07/2022 17:28:38 |  | C:\NexIONData\DataSet\Default\Amostra 31.335 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.085% | 1.1%
61 | Amostra 32 |  | 04/07/2022 17:31:21 |  | C:\NexIONData\DataSet\Default\Amostra 32.336 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.5747% | 0.9954%
62 | Ponto 5 ppb |  | 04/07/2022 17:35:00 |  | C:\NexIONData\DataSet\Default\Ponto 5 ppb.337 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.2341% | 1.205%
63 | Amostra 33 |  | 04/07/2022 17:37:39 |  | C:\NexIONData\DataSet\Default\Amostra 33 .338 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.876% | 0.4644%
64 | Branco |  | 04/07/2022 17:40:00 |  | C:\NexIONData\DataSet\Default\Branco.339 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 8.621% | 20.56%
65 | Branco |  | 04/07/2022 17:40:26 |  | C:\NexIONData\DataSet\Default\Branco.340 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 2.396% | 16.12%
66 | Branco |  | 04/07/2022 17:40:55 |  | C:\NexIONData\DataSet\Default\Branco.341 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 6.851% | 19.48%
67 | Amostra 35 |  | 04/07/2022 17:43:04 |  | C:\NexIONData\DataSet\Default\Amostra 35.342 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.5658% | 0.5609%
68 | Branco |  | 04/07/2022 17:45:48 |  | C:\NexIONData\DataSet\Default\Branco.343 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 6.065% | 10.86%
69 | Branco |  | 04/07/2022 17:46:14 |  | C:\NexIONData\DataSet\Default\Branco.344 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.051% | 29.19%
70 | Branco |  | 04/07/2022 17:46:40 |  | C:\NexIONData\DataSet\Default\Branco.345 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.104% | 37.47%
71 | Amostra 37 |  | 04/07/2022 17:48:54 |  | C:\NexIONData\DataSet\Default\Amostra 37.346 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.1796% | 0.206%
72 | Amostra 38 |  | 04/07/2022 17:51:27 |  | C:\NexIONData\DataSet\Default\Amostra 38.347 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.1403% | 0.1489%
73 | Amostra 39 |  | 04/07/2022 17:53:46 |  | C:\NexIONData\DataSet\Default\Amostra 39.348 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.163% | 0.4135%
74 | Amostra 40 |  | 04/07/2022 17:58:37 |  | C:\NexIONData\DataSet\Default\Amostra 40.349 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.2742% | 0.4839%
75 | Amostra 41 |  | 04/07/2022 18:02:31 |  | C:\NexIONData\DataSet\Default\Amostra 41.350 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.908% | 2.906%
76 | Amostra 42 |  | 04/07/2022 18:06:34 |  | C:\NexIONData\DataSet\Default\Amostra 42.351 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.901% | 2.097%
77 | Amostra 43 |  | 04/07/2022 18:09:12 |  | C:\NexIONData\DataSet\Default\Amostra 43.352 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.3518% | 8.169%
78 | Amostra 44 |  | 04/07/2022 18:12:44 |  | C:\NexIONData\DataSet\Default\Amostra 44.353 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.694% | 2.087%
79 | Amostra 45 |  | 04/07/2022 18:16:08 |  | C:\NexIONData\DataSet\Default\Amostra 45.354 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.574% | 3.684%
80 | Amostra 46 |  | 04/07/2022 18:21:13 |  | C:\NexIONData\DataSet\Default\Amostra 46.355 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.612% | 2.222%
81 | Amostra 47 |  | 04/07/2022 18:24:58 |  | C:\NexIONData\DataSet\Default\Amostra 47.356 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.179% | 2.943%

## Unfactored Concentrations
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 (ug/L) | Bkgd 220 (mg/L) | Ce 140 (IS) | Ce++ 70 (mg/L) | CeO 156 (mg/L) | In 115 (mg/L) | Mg 24 (ug/L) | U 238 (mg/L)
1 | Daily Performance Check |  | 04/07/2022 13:13:33 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.271 | C:\NexIONData\Method\Daily Performance.mth
2 | Daily Performance Check |  | 04/07/2022 13:28:58 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.275 | C:\NexIONData\Method\Daily Performance.mth
3 | Daily Performance Check |  | 04/07/2022 13:32:02 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.276 | C:\NexIONData\Method\Daily Performance.mth
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | As 75 (ug/L) | As-1 75 (ug/L)
4 | Branco |  | 04/07/2022 14:54:12 |  | C:\NexIONData\DataSet\Default\Branco.279 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth
5 | 0.5 |  | 04/07/2022 14:57:05 |  | C:\NexIONData\DataSet\Default\0.5.280 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.5 | 0.5
6 | 1 |  | 04/07/2022 15:02:11 |  | C:\NexIONData\DataSet\Default\1.281 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.82204 | 0.84823
7 | Branco |  | 04/07/2022 15:05:47 |  | C:\NexIONData\DataSet\Default\Branco.282 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth
8 | 0.5 |  | 04/07/2022 15:08:10 |  | C:\NexIONData\DataSet\Default\0.5.283 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.5 | 0.5
9 | 1 |  | 04/07/2022 15:11:49 |  | C:\NexIONData\DataSet\Default\1.284 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.0368 | 1.0295
10 | 2 |  | 04/07/2022 15:15:59 |  | C:\NexIONData\DataSet\Default\2.285 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.9625 | 1.9612
11 | 5 |  | 04/07/2022 15:19:29 |  | C:\NexIONData\DataSet\Default\5.286 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 4.914 | 4.9199
12 | 10 |  | 04/07/2022 15:22:53 |  | C:\NexIONData\DataSet\Default\10.287 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 9.7117 | 9.7488
13 | 15 |  | 04/07/2022 15:25:59 |  | C:\NexIONData\DataSet\Default\15.288 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 15.0755 | 15.0466
14 | 30 |  | 04/07/2022 15:29:59 |  | C:\NexIONData\DataSet\Default\30.289 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 29.5372 | 29.6037
15 | 50 |  | 04/07/2022 15:34:05 |  | C:\NexIONData\DataSet\Default\50.290 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 48.8377 | 49.0155
16 | Amostra 1 |  | 04/07/2022 15:37:02 |  | C:\NexIONData\DataSet\Default\Amostra 1.291 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.67802 | 0.87558
17 | Amostra 2 |  | 04/07/2022 15:43:45 |  | C:\NexIONData\DataSet\Default\Amostra 2.292 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.72624 | 0.91283
18 | Amostra 3 |  | 04/07/2022 15:47:15 |  | C:\NexIONData\DataSet\Default\Amostra 3.293 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.27076 | 0.18985
19 | Branco |  | 04/07/2022 15:50:20 |  | C:\NexIONData\DataSet\Default\Branco.294 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.10151 | 0.075301
20 | Ácido Limpeza |  | 04/07/2022 15:52:52 |  | C:\NexIONData\DataSet\Default\Ácido Limpeza.295 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.14699 | 0.20828
21 | Amostra 5 |  | 04/07/2022 15:55:15 |  | C:\NexIONData\DataSet\Default\Amostra 5.296 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.169 | 1.009
22 | Amostra 6 |  | 04/07/2022 15:58:08 |  | C:\NexIONData\DataSet\Default\Amostra 6.297 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.1477 | 0.98373
23 | Amostra 7 |  | 04/07/2022 16:01:21 |  | C:\NexIONData\DataSet\Default\Amostra 7.298 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.79681 | 0.85635
24 | Amostra 8 |  | 04/07/2022 16:04:25 |  | C:\NexIONData\DataSet\Default\Amostra 8.299 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.93231 | 0.94568
25 | Amostra 9 |  | 04/07/2022 16:07:09 |  | C:\NexIONData\DataSet\Default\Amostra 9.300 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 14.4444 | 18.3697
26 | Amostra 10 |  | 04/07/2022 16:10:34 |  | C:\NexIONData\DataSet\Default\Amostra 10.301 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 13.1626 | 16.8138
27 | Amostra 11 |  | 04/07/2022 16:13:55 |  | C:\NexIONData\DataSet\Default\Amostra 11.302 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.416 | 1.7672
28 | Branco |  | 04/07/2022 16:17:23 |  | C:\NexIONData\DataSet\Default\Branco.303 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.022138 | 0.072898
29 | Branco |  | 04/07/2022 16:18:01 |  | C:\NexIONData\DataSet\Default\Branco.304 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.028203 | 0.073699
30 | Branco |  | 04/07/2022 16:18:39 |  | C:\NexIONData\DataSet\Default\Branco.305 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.037348 | 0.083312
31 | Amostra 13 |  | 04/07/2022 16:21:40 |  | C:\NexIONData\DataSet\Default\Amostra 13.306 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 3.1592 | 4.0384
32 | Amostra 14 |  | 04/07/2022 16:24:44 |  | C:\NexIONData\DataSet\Default\Amostra 14.307 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 3.0415 | 3.7211
33 | Amostra 15 |  | 04/07/2022 16:27:21 |  | C:\NexIONData\DataSet\Default\Amostra 15.308 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 3.009 | 3.9699
34 | Amostra 16 |  | 04/07/2022 16:30:37 |  | C:\NexIONData\DataSet\Default\Amostra 16.309 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 3.0913 | 4.1341
35 | Amostra 17 |  | 04/07/2022 16:33:32 |  | C:\NexIONData\DataSet\Default\Amostra 17.310 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 76.5106 | 102.1962
36 | Branco |  | 04/07/2022 16:37:34 |  | C:\NexIONData\DataSet\Default\Branco.311 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.013876 | 0.084113
37 | Branco |  | 04/07/2022 16:38:01 |  | C:\NexIONData\DataSet\Default\Branco.312 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.011285 | 0.076102
38 | Branco |  | 04/07/2022 16:38:58 |  | C:\NexIONData\DataSet\Default\Branco.313 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.009351 | 0.082911
39 | Ponto 15 ppb |  | 04/07/2022 16:42:00 |  | C:\NexIONData\DataSet\Default\Ponto 15 ppb.314 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 17.4138 | 23.0947
40 | Amostra 19 |  | 04/07/2022 16:45:21 |  | C:\NexIONData\DataSet\Default\Amostra 19.315 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 4.5052 | 6.1419
41 | Branco |  | 04/07/2022 16:47:50 |  | C:\NexIONData\DataSet\Default\Branco.316 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.0054829 | 0.0749
42 | Branco |  | 04/07/2022 16:48:28 |  | C:\NexIONData\DataSet\Default\Branco.317 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | -0.0039244 | 0.073699
43 | Branco |  | 04/07/2022 16:49:31 |  | C:\NexIONData\DataSet\Default\Branco.318 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | -0.0030043 | 0.062884
44 | Amostra 21 |  | 04/07/2022 16:53:49 |  | C:\NexIONData\DataSet\Default\Amostra 21.319 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 15.6795 | 21.4465
45 | Branco |  | 04/07/2022 16:56:12 |  | C:\NexIONData\DataSet\Default\Branco.320 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | -0.0034925 | 0.077304
46 | Branco |  | 04/07/2022 16:56:49 |  | C:\NexIONData\DataSet\Default\Branco.321 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | -0.0056707 | 0.081709
47 | Branco |  | 04/07/2022 16:57:22 |  | C:\NexIONData\DataSet\Default\Branco.322 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | -0.005727 | 0.070494
48 | Amostra 23 |  | 04/07/2022 17:00:13 |  | C:\NexIONData\DataSet\Default\Amostra 23.323 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 12.1415 | 16.7741
49 | Amostra 24 |  | 04/07/2022 17:03:29 |  | C:\NexIONData\DataSet\Default\Amostra 24.324 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 12.1482 | 17.4052
50 | Amostra 25 |  | 04/07/2022 17:06:17 |  | C:\NexIONData\DataSet\Default\Amostra 25.325 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 20.4864 | 29.104
51 | Branco |  | 04/07/2022 17:10:26 |  | C:\NexIONData\DataSet\Default\Branco.326 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.0035301 | 0.08211
52 | Branco |  | 04/07/2022 17:11:23 |  | C:\NexIONData\DataSet\Default\Branco.327 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.0051449 | 0.092924
53 | Branco |  | 04/07/2022 17:11:57 |  | C:\NexIONData\DataSet\Default\Branco.328 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.0033799 | 0.10814
54 | Amostra 27 |  | 04/07/2022 17:14:44 |  | C:\NexIONData\DataSet\Default\Amostra 27.329 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 20.0584 | 28.7657
55 | Branco |  | 04/07/2022 17:18:46 |  | C:\NexIONData\DataSet\Default\Branco.330 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | -0.018439 | 0.061282
56 | Branco |  | 04/07/2022 17:20:00 |  | C:\NexIONData\DataSet\Default\Branco.331 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | -0.027377 | 0.056876
57 | Branco |  | 04/07/2022 17:20:26 |  | C:\NexIONData\DataSet\Default\Branco.332 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | -0.025105 | 0.047664
58 | Amostra 29 |  | 04/07/2022 17:22:58 |  | C:\NexIONData\DataSet\Default\Amostra 29.333 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 13.2956 | 20.0792
59 | Amostra 30 |  | 04/07/2022 17:25:44 |  | C:\NexIONData\DataSet\Default\Amostra 30.334 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 13.4801 | 20.4546
60 | Amostra 31 |  | 04/07/2022 17:28:38 |  | C:\NexIONData\DataSet\Default\Amostra 31.335 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 11.1479 | 16.4287
61 | Amostra 32 |  | 04/07/2022 17:31:21 |  | C:\NexIONData\DataSet\Default\Amostra 32.336 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 11.0042 | 16.6231
62 | Ponto 5 ppb |  | 04/07/2022 17:35:00 |  | C:\NexIONData\DataSet\Default\Ponto 5 ppb.337 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 6.3565 | 9.2638
63 | Amostra 33 |  | 04/07/2022 17:37:39 |  | C:\NexIONData\DataSet\Default\Amostra 33 .338 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 82.4976 | 122.428
64 | Branco |  | 04/07/2022 17:40:00 |  | C:\NexIONData\DataSet\Default\Branco.339 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | -0.025443 | 0.077304
65 | Branco |  | 04/07/2022 17:40:26 |  | C:\NexIONData\DataSet\Default\Branco.340 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | -0.034155 | 0.076502
66 | Branco |  | 04/07/2022 17:40:55 |  | C:\NexIONData\DataSet\Default\Branco.341 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | -0.036784 | 0.065287
67 | Amostra 35 |  | 04/07/2022 17:43:04 |  | C:\NexIONData\DataSet\Default\Amostra 35.342 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 38.1692 | 57.4252
68 | Branco |  | 04/07/2022 17:45:48 |  | C:\NexIONData\DataSet\Default\Branco.343 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | -0.03162 | 0.077704
69 | Branco |  | 04/07/2022 17:46:14 |  | C:\NexIONData\DataSet\Default\Branco.344 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | -0.037535 | 0.062484
70 | Branco |  | 04/07/2022 17:46:40 |  | C:\NexIONData\DataSet\Default\Branco.345 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | -0.038981 | 0.064486
71 | Amostra 37 |  | 04/07/2022 17:48:54 |  | C:\NexIONData\DataSet\Default\Amostra 37.346 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 25.6254 | 40.1729
72 | Amostra 38 |  | 04/07/2022 17:51:27 |  | C:\NexIONData\DataSet\Default\Amostra 38.347 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 24.2043 | 38.8055
73 | Amostra 39 |  | 04/07/2022 17:53:46 |  | C:\NexIONData\DataSet\Default\Amostra 39.348 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 16.9417 | 25.3029
74 | Amostra 40 |  | 04/07/2022 17:58:37 |  | C:\NexIONData\DataSet\Default\Amostra 40.349 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 16.5799 | 26.0628
75 | Amostra 41 |  | 04/07/2022 18:02:31 |  | C:\NexIONData\DataSet\Default\Amostra 41.350 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.46805 | 1.0006
76 | Amostra 42 |  | 04/07/2022 18:06:34 |  | C:\NexIONData\DataSet\Default\Amostra 42.351 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.58615 | 1.1087
77 | Amostra 43 |  | 04/07/2022 18:09:12 |  | C:\NexIONData\DataSet\Default\Amostra 43.352 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.5599 | 0.65769
78 | Amostra 44 |  | 04/07/2022 18:12:44 |  | C:\NexIONData\DataSet\Default\Amostra 44.353 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.28521 | 0.38331
79 | Amostra 45 |  | 04/07/2022 18:16:08 |  | C:\NexIONData\DataSet\Default\Amostra 45.354 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.62013 | 0.87598
80 | Amostra 46 |  | 04/07/2022 18:21:13 |  | C:\NexIONData\DataSet\Default\Amostra 46.355 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 0.59915 | 0.79187
81 | Amostra 47 |  | 04/07/2022 18:24:58 |  | C:\NexIONData\DataSet\Default\Amostra 47.356 | C:\Users\User\Desktop\Usuários- Análises\Nathalia\Método As 04-07-22.mth | 1.1371 | 1.8217

## Internal Standards
Row Index Number
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81