## Intensities
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 (cps) | Mg 24 (cps) | In 115 (cps) | U 238 (cps) | CeO 156 (cps) | Ce 140 (IS) (cps) | Ce++ 70 (cps) | Bkgd 220 (cps)
1 | Daily Performance Check |  | 11/11/2021 13:02:13 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.1441 | C:\NexIONData\Method\Daily Performance.mth | 2750.7378 | 43762.5926 | 49005.5622 | 42014.4459 | 701.4843 | 51800.0193 | 899.4951 | 0.46667
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Se 78 (cps) | Se-1 78 (cps) | Se-2 78 (cps) | Se-3 78 (cps) | Se-4 78 (cps) | Se-5 78 (cps) | Se-6 78 (cps) | Se-7 78 (cps) | Se-8 78 (cps) | Se-9 78 (cps) | Se-10 78 (cps) | Se-11 78 (cps) | Se-12 78 (cps) | Se-13 78 (cps) | Se-14 78 (cps) | Se-15 78 (cps) | Se 82 (cps) | Se-1 82 (cps) | Se-2 82 (cps) | Se-3 82 (cps) | Se-4 82 (cps) | Se-5 82 (cps) | Se-6 82 (cps) | Se-7 82 (cps) | Se-8 82 (cps) | Se-9 82 (cps) | Se-10 82 (cps)
2 | Branco |  | 11/11/2021 14:11:30 |  | C:\NexIONData\DataSet\Default\Branco.1444 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 18987.2424 | 2176.4921 | 1695.6822 | 1298.9691 | 982.6616 | 755.889 | 556.3171 | 395.4014 | 305.6991 | 234.6284 | 168.5409 | 131.1483 | 90.9267 | 69.6961 | 51.6203 | 36.1949 | 94.9377 | 83.369 | 69.2533 | 59.5566 | 66.5927 | 31.7037 | 37.1533 | 34.8963 | 29.2058 | 17.1402 | 19.6551
3 | 0.5 |  | 11/11/2021 14:24:47 |  | C:\NexIONData\DataSet\Default\0.5.1445 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 16846.8367 | 2644.9985 | 2007.5827 | 1543.6616 | 1174.1265 | 902.5027 | 678.5052 | 524.8121 | 384.0144 | 288.1665 | 220.7975 | 171.9413 | 133.6032 | 100.1092 | 69.948 | 59.0193 | 267.5861 | 215.7109 | 188.2561 | 173.0945 | 128.0562 | 127.594 | 112.1346 | 69.8488 | 58.9209 | 50.0271 | 39.321
4 | 1 |  | 11/11/2021 14:38:27 |  | C:\NexIONData\DataSet\Default\1.1446 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 13836.117 | 2133.779 | 1701.2301 | 1301.4222 | 986.5029 | 749.5166 | 573.5592 | 427.9642 | 327.3531 | 244.2165 | 195.7325 | 164.2587 | 119.5435 | 86.7636 | 75.6698 | 56.1835 | 266.2351 | 177.2727 | 141.3856 | 133.3159 | 105.4626 | 85.1552 | 75.4043 | 59.2429 | 49.8596 | 40.5429 | 39.9577
5 | 5 |  | 11/11/2021 14:52:50 |  | C:\NexIONData\DataSet\Default\5.1447 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 12240.9315 | 2689.9351 | 2273.1231 | 1789.555 | 1484.4107 | 1193.9855 | 954.337 | 783.7215 | 628.681 | 513.0487 | 416.3924 | 345.0985 | 277.2385 | 231.8488 | 181.4488 | 148.3987 | 836.0573 | 527.8687 | 479.5535 | 424.5479 | 375.8378 | 308.8722 | 286.1664 | 239.9487 | 193.0916 | 175.6518 | 137.9899
6 | 10 |  | 11/11/2021 15:07:15 |  | C:\NexIONData\DataSet\Default\10.1448 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 14653.1338 | 3428.5783 | 2848.274 | 2397.9861 | 2037.0197 | 1683.2869 | 1376.8886 | 1253.9087 | 1035.678 | 854.4106 | 696.5773 | 555.2378 | 470.0435 | 399.1168 | 324.2953 | 272.3396 | 1696.6347 | 851.5804 | 754.9645 | 652.4751 | 592.7476 | 542.0596 | 454.7007 | 421.4255 | 372.5385 | 313.1243 | 270.1358
7 | 15 |  | 11/11/2021 15:21:25 |  | C:\NexIONData\DataSet\Default\15.1449 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 31474.3987 | 5978.367 | 5367.7437 | 4716.3001 | 4037.092 | 3624.9753 | 3488.0804 | 3266.0088 | 2878.9948 | 2471.1945 | 2084.7829 | 1882.8158 | 1568.5159 | 1340.1102 | 1076.4568 | 878.9326 | 5933.9674 | 1775.6741 | 1643.8307 | 1565.8196 | 1393.2522 | 1293.3422 | 1289.8597 | 1251.119 | 1132.4448 | 1001.9715 | 884.5433
8 | 30 |  | 11/11/2021 15:36:35 |  | C:\NexIONData\DataSet\Default\30.1450 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 48701.7477 | 16013.0107 | 14204.4776 | 12957.6557 | 11493.8927 | 10235.2417 | 8888.6241 | 7779.9514 | 6790.006 | 5803.544 | 4845.1082 | 3981.6271 | 3332.3624 | 2767.4715 | 2387.5573 | 2015.1208 | 12870.3978 | 5863.5159 | 5314.4369 | 4917.4111 | 4460.8599 | 4072.7822 | 3622.828 | 3217.888 | 2906.2258 | 2506.7415 | 2109.0567
9 | 50 |  | 11/11/2021 15:52:54 |  | C:\NexIONData\DataSet\Default\50.1451 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 67528.8169 | 27360.3662 | 24580.5852 | 21991.0287 | 19527.1307 | 17177.4903 | 14767.4248 | 12609.4896 | 10867.4622 | 9445.5682 | 7691.8077 | 6573.9582 | 5555.0735 | 4598.3388 | 3838.2606 | 3241.6694 | 20354.4529 | 10587.7374 | 9644.3351 | 8832.2225 | 7921.9582 | 7125.8033 | 6221.594 | 5430.462 | 4685.7433 | 4095.3701 | 3395.7057
10 | NIST 1640a 10x dil - 1 |  | 11/11/2021 16:07:57 |  | C:\NexIONData\DataSet\Default\NIST 1640a 10x dil - 1.1452 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 18354.5117 | 4012.5612 | 3415.3502 | 2839.1177 | 2341.3865 | 1927.0274 | 1543.0491 | 1228.075 | 987.8648 | 797.3257 | 629.4546 | 499.4834 | 405.0019 | 328.6812 | 269.5578 | 225.5536 | 897.3054 | 633.7099 | 601.1156 | 544.7227 | 497.0482 | 432.3401 | 364.926 | 307.1576 | 262.2116 | 222.8483 | 192.5821
11 | NIST 1640a 10x dil - 2 |  | 11/11/2021 16:22:27 |  | C:\NexIONData\DataSet\Default\NIST 1640a 10x dil - 2.1453 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 14592.6229 | 3008.7525 | 2440.2146 | 2044.1828 | 1654.7448 | 1354.7856 | 1062.8705 | 862.3737 | 697.962 | 562.1923 | 444.4074 | 371.2385 | 287.0275 | 221.6409 | 191.476 | 157.282 | 582.8706 | 361.7815 | 334.6106 | 293.253 | 279.9089 | 261.8314 | 207.725 | 181.1391 | 159.4732 | 128.7677 | 116.6905
12 | TORT-2 - 1 |  | 11/11/2021 16:36:31 |  | C:\NexIONData\DataSet\Default\TORT-2 - 1.1454 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 14523.2276 | 7626.6062 | 6507.4648 | 5709.6054 | 5042.3981 | 4554.4689 | 3918.087 | 3317.9978 | 2466.92 | 1350.9126 | 934.9659 | 673.3193 | 553.4164 | 465.2034 | 397.8126 | 311.0673 | 2038.4102 | 2828.9175 | 2542.8136 | 2274.9522 | 2088.8184 | 1912.6841 | 1705.7107 | 1446.0641 | 1094.3404 | 612.283 | 424.0994
13 | TORT-2 - 2 |  | 11/11/2021 16:51:26 |  | C:\NexIONData\DataSet\Default\TORT-2 - 2.1455 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 3104.4834 | 2497.1559 | 1583.276 | 998.6634 | 4245.9783 | 4293.9351 | 3030.1331 | 1610.7719 | 213.1776 | 125.8996 | 126.8255 | 143.7387 | 93.8317 | 107.4034 | 65.1331 | 42.7337 | 144.9033 | 480.0888 | 314.9849 | 194.4113 | 2945.6891 | 3486.3577 | 2029.0564 | 770.1804 | 52.5882 | 36.6027 | 41.9684
14 | TORT-2 - 3 |  | 11/11/2021 17:10:09 |  | C:\NexIONData\DataSet\Default\TORT-2 - 3.1456 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 1806.4201 | 4797.4621 | 7244.9152 | 4864.6692 | 3929.667 | 2039.8322 | 494.5216 | 423.106 | 300.2399 | 144.021 | 105.8473 | 68.3527 | 49.9777 | 27.8003 | 20.1238 | 13.6108 | 34.3188 | 1122.9205 | 2531.989 | 1625.3058 | 1397.7025 | 554.2528 | 135.3178 | 109.6321 | 83.7185 | 39.1329 | 27.4236
15 | DOLT-5 - 1 |  | 11/11/2021 17:22:47 |  | C:\NexIONData\DataSet\Default\DOLT-5 - 1.1457 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 44770.6145 | 292.0895 | 226.8281 | 214.0935 | 148.4731 | 118.619 | 89.8073 | 74.0739 | 57.5973 | 38.5956 | 37.4484 | 25.2507 | 299.9836 | 1126.5483 | 1484.3438 | 1571.2424 | 19135.3767 | 23.0128 | 13.5649 | 21.4827 | 10.8453 | 15.4162 | 12.1142 | 5.0475 | 3.8621 | 6.0122 | 4.6924
16 | DOLT-5 - 2 |  | 11/11/2021 17:34:55 |  | C:\NexIONData\DataSet\Default\DOLT-5 - 2.1458 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 4963.5154 | 8218.5333 | 7450.8468 | 7798.0419 | 6768.2605 | 4655.0027 | 4282.3545 | 1758.4984 | 783.6275 | 364.6973 | 232.4126 | 222.0829 | 153.0836 | 78.9511 | 57.7679 | 45.2264 | 223.4327 | 2975.0864 | 3433.5854 | 5312.1169 | 4849.4512 | 2878.9185 | 2997.5776 | 831.1768 | 217.6232 | 92.0643 | 65.3288

## Intensities RSDs
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 | Mg 24 | In 115 | U 238 | CeO 156 | Ce 140 (IS) | Ce++ 70 | Bkgd 220
1 | Daily Performance Check |  | 11/11/2021 13:02:13 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.1441 | C:\NexIONData\Method\Daily Performance.mth | 17.28% | 89.48% | 16.93% | 16.59% | 17.6% | 15.84% | 6.436% | 116.8%
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Se 78 | Se-1 78 | Se-2 78 | Se-3 78 | Se-4 78 | Se-5 78 | Se-6 78 | Se-7 78 | Se-8 78 | Se-9 78 | Se-10 78 | Se-11 78 | Se-12 78 | Se-13 78 | Se-14 78 | Se-15 78 | Se 82 | Se-1 82 | Se-2 82 | Se-3 82 | Se-4 82 | Se-5 82 | Se-6 82 | Se-7 82 | Se-8 82 | Se-9 82 | Se-10 82
2 | Branco |  | 11/11/2021 14:11:30 |  | C:\NexIONData\DataSet\Default\Branco.1444 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 0.439% | 0.8912% | 0.4266% | 3.027% | 2.129% | 1.719% | 1.982% | 3.593% | 6.044% | 2.759% | 3.08% | 10.14% | 5.604% | 1.577% | 9.277% | 15.35% | 11.9% | 28.48% | 16.3% | 7.349% | 11.75% | 39.84% | 43.36% | 19.05% | 24.62% | 37% | 37.84%
3 | 0.5 |  | 11/11/2021 14:24:47 |  | C:\NexIONData\DataSet\Default\0.5.1445 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 0.7778% | 1.541% | 1.938% | 2.569% | 1.511% | 3.718% | 2.829% | 3.088% | 2.276% | 3.459% | 3.377% | 1.363% | 5.182% | 14.59% | 5.083% | 5.598% | 9.168% | 6.208% | 14.63% | 11.14% | 1.655% | 5.108% | 26.02% | 13.16% | 8.073% | 25.63% | 7.148%
4 | 1 |  | 11/11/2021 14:38:27 |  | C:\NexIONData\DataSet\Default\1.1446 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 1.308% | 1.198% | 1.788% | 1.628% | 2.401% | 2.831% | 1.72% | 0.8651% | 3.744% | 6.992% | 5.469% | 3.953% | 10.1% | 9.977% | 0.7505% | 11.07% | 3.627% | 7.067% | 8.829% | 13.75% | 10.9% | 21.44% | 11.49% | 19.68% | 21.6% | 4.151% | 13.24%
5 | 5 |  | 11/11/2021 14:52:50 |  | C:\NexIONData\DataSet\Default\5.1447 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 1.497% | 5.026% | 2.634% | 1.36% | 0.7126% | 1.94% | 1.257% | 1.998% | 3.316% | 1.376% | 0.9489% | 7.653% | 4.397% | 3.736% | 4.208% | 7.636% | 2.831% | 13.76% | 1.992% | 2.936% | 4.012% | 2.767% | 3.66% | 6.297% | 0.4809% | 6.447% | 4.696%
6 | 10 |  | 11/11/2021 15:07:15 |  | C:\NexIONData\DataSet\Default\10.1448 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 0.4722% | 0.5606% | 1.384% | 0.592% | 0.3172% | 1.315% | 1.101% | 0.351% | 0.6033% | 3.406% | 2.547% | 2.092% | 1.769% | 4.691% | 3.652% | 8.734% | 2.397% | 1.698% | 3.245% | 1.853% | 0.8965% | 2.207% | 3.883% | 4.439% | 4.757% | 3.987% | 5.537%
7 | 15 |  | 11/11/2021 15:21:25 |  | C:\NexIONData\DataSet\Default\15.1449 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 0.7617% | 1.595% | 1.498% | 2.036% | 0.3678% | 1.809% | 2.516% | 1.467% | 0.6219% | 1.125% | 7.877% | 1.981% | 0.7253% | 0.6127% | 3.93% | 0.387% | 0.989% | 3.182% | 2.117% | 1.641% | 2.202% | 3.141% | 3.954% | 1.614% | 2.342% | 1.531% | 6.671%
8 | 30 |  | 11/11/2021 15:36:35 |  | C:\NexIONData\DataSet\Default\30.1450 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 0.589% | 0.6978% | 0.1883% | 0.6182% | 0.9672% | 0.7595% | 1.194% | 2.389% | 0.2335% | 0.422% | 0.9866% | 0.2693% | 0.9968% | 0.3698% | 2.606% | 1.636% | 0.682% | 0.6625% | 0.3291% | 2.798% | 1.29% | 2.758% | 2.465% | 3.287% | 1.542% | 0.5644% | 1.287%
9 | 50 |  | 11/11/2021 15:52:54 |  | C:\NexIONData\DataSet\Default\50.1451 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 0.6164% | 0.07413% | 0.8353% | 0.5409% | 0.7539% | 0.7038% | 0.4444% | 0.2724% | 0.2279% | 0.6598% | 0.873% | 1.064% | 0.9682% | 0.6692% | 1.052% | 1.473% | 1.46% | 1.479% | 1.809% | 1.028% | 0.7304% | 1.506% | 0.3565% | 0.4598% | 1.608% | 0.4188% | 2.308%
10 | NIST 1640a 10x dil - 1 |  | 11/11/2021 16:07:57 |  | C:\NexIONData\DataSet\Default\NIST 1640a 10x dil - 1.1452 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 0.7453% | 5.05% | 0.3138% | 2.084% | 0.2477% | 0.6502% | 1.16% | 3.755% | 4.158% | 5.334% | 0.204% | 2.376% | 2.549% | 4.723% | 5.949% | 1.568% | 7.295% | 10.8% | 2.216% | 2.308% | 4.53% | 2.258% | 3.16% | 7.103% | 6.446% | 5.855% | 5.398%
11 | NIST 1640a 10x dil - 2 |  | 11/11/2021 16:22:27 |  | C:\NexIONData\DataSet\Default\NIST 1640a 10x dil - 2.1453 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 0.8597% | 2.336% | 0.1517% | 0.6157% | 1.017% | 0.8283% | 2.487% | 1.22% | 0.7354% | 1.596% | 5.191% | 4.224% | 9.774% | 16.62% | 7.355% | 3.257% | 2.189% | 7.721% | 3.015% | 1.696% | 9.242% | 6.077% | 3.208% | 6.903% | 10.28% | 2.173% | 4.916%
12 | TORT-2 - 1 |  | 11/11/2021 16:36:31 |  | C:\NexIONData\DataSet\Default\TORT-2 - 1.1454 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 7.294% | 1.248% | 0.5477% | 1.459% | 1.12% | 0.2263% | 0.9258% | 1.057% | 5.112% | 3.093% | 4.222% | 2.629% | 0.8773% | 2.87% | 4.746% | 6.685% | 10.91% | 4.307% | 0.9595% | 0.6728% | 0.9656% | 0.7467% | 2.091% | 3.541% | 5.289% | 5.536% | 9.025%
13 | TORT-2 - 2 |  | 11/11/2021 16:51:26 |  | C:\NexIONData\DataSet\Default\TORT-2 - 2.1455 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 13.76% | 7.519% | 9.105% | 15.22% | 14.07% | 5.409% | 14.29% | 5.983% | 66.92% | 24.02% | 20.51% | 9.795% | 4.774% | 21.42% | 17.62% | 13.84% | 30.93% | 15.46% | 13.84% | 23.48% | 28.85% | 9.048% | 17.15% | 7.861% | 73.79% | 24.69% | 16.19%
14 | TORT-2 - 3 |  | 11/11/2021 17:10:09 |  | C:\NexIONData\DataSet\Default\TORT-2 - 3.1456 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 2.06% | 7.926% | 10.87% | 16.38% | 3.938% | 7.627% | 18.76% | 8.115% | 5.198% | 21.38% | 16.15% | 19.16% | 10.94% | 3.58% | 10.45% | 16.51% | 27.68% | 6.194% | 20.09% | 26.45% | 3.988% | 11.44% | 26.47% | 10.22% | 11.02% | 38.3% | 20%
15 | DOLT-5 - 1 |  | 11/11/2021 17:22:47 |  | C:\NexIONData\DataSet\Default\DOLT-5 - 1.1457 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 0.4954% | 1.036% | 2.034% | 7.94% | 8.466% | 3.001% | 5.593% | 4.621% | 6.89% | 14.78% | 18.57% | 1.705% | 28.76% | 61.4% | 3.45% | 2.203% | 1.198% | 40.75% | 44.58% | 55.38% | 43.14% | 33.96% | 26.93% | 67.85% | 45.57% | 98% | 89.46%
16 | DOLT-5 - 2 |  | 11/11/2021 17:34:55 |  | C:\NexIONData\DataSet\Default\DOLT-5 - 2.1458 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 12.07% | 3.515% | 4.934% | 6.074% | 2.561% | 13.19% | 8.574% | 24.83% | 7.362% | 36.33% | 8.065% | 7.962% | 12.79% | 4.566% | 13.25% | 15.48% | 23.67% | 13.58% | 18.7% | 14.23% | 5.885% | 15.38% | 12.88% | 51.09% | 15.23% | 32.07% | 9.838%

## Concentrations
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 (ug/L) | Mg 24 (ug/L) | In 115 (mg/L) | U 238 (mg/L) | CeO 156 (mg/L) | Ce 140 (IS) | Ce++ 70 (mg/L) | Bkgd 220 (mg/L)
1 | Daily Performance Check |  | 11/11/2021 13:02:13 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.1441 | C:\NexIONData\Method\Daily Performance.mth
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Se 78 (ug/L) | Se-1 78 (ug/L) | Se-2 78 (ug/L) | Se-3 78 (ug/L) | Se-4 78 (ug/L) | Se-5 78 (ug/L) | Se-6 78 (ug/L) | Se-7 78 (ug/L) | Se-8 78 (ug/L) | Se-9 78 (ug/L) | Se-10 78 (ug/L) | Se-11 78 (ug/L) | Se-12 78 (ug/L) | Se-13 78 (ug/L) | Se-14 78 (ug/L) | Se-15 78 (ug/L) | Se 82 (ug/L) | Se-1 82 (ug/L) | Se-2 82 (ug/L) | Se-3 82 (ug/L) | Se-4 82 (ug/L) | Se-5 82 (ug/L) | Se-6 82 (ug/L) | Se-7 82 (ug/L) | Se-8 82 (ug/L) | Se-9 82 (ug/L) | Se-10 82 (ug/L)
2 | Branco |  | 11/11/2021 14:11:30 |  | C:\NexIONData\DataSet\Default\Branco.1444 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth
3 | 0.5 |  | 11/11/2021 14:24:47 |  | C:\NexIONData\DataSet\Default\0.5.1445 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
4 | 1 |  | 11/11/2021 14:38:27 |  | C:\NexIONData\DataSet\Default\1.1446 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 1.035 | -0.27875 | 0.042941 | 0.02457 | 0.048222 | -0.11901 | 0.27513 | 0.41847 | 0.4451 | 0.32965 | 0.63746 | 0.77351 | 0.71606 | 0.66104 | 0.90512 | 0.7957 | 0.83115 | 0.73328 | 0.68497 | 0.70635 | 0.69808 | 0.65894 | 0.63127 | 0.72767 | 0.72701 | 0.73416 | 0.84214
5 | 5 |  | 11/11/2021 14:52:50 |  | C:\NexIONData\DataSet\Default\5.1447 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 4.4325 | 4.8855 | 4.9719 | 4.9958 | 5.0496 | 5.0943 | 5.0512 | 4.9995 | 5.0595 | 5.1164 | 5.0334 | 4.9999 | 4.9828 | 5.049 | 4.9945 | 4.9717 | 4.9087 | 4.8973 | 4.9334 | 4.8996 | 5.0239 | 4.8921 | 4.9489 | 5.0442 | 5.0319 | 4.9987 | 4.9956
6 | 10 |  | 11/11/2021 15:07:15 |  | C:\NexIONData\DataSet\Default\10.1448 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 6.5693 | 10.3455 | 9.9841 | 10.2264 | 10.1212 | 10.1535 | 10.0833 | 10.2021 | 10.2679 | 10.2602 | 10.1423 | 9.9813 | 10.0286 | 10.0524 | 10.098 | 10.093 | 10.1207 | 9.6363 | 9.5762 | 9.4939 | 9.6588 | 9.7761 | 9.5911 | 9.8937 | 10.108 | 9.8538 | 10.1142
7 | 15 |  | 11/11/2021 15:21:25 |  | C:\NexIONData\DataSet\Default\15.1449 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 42.1687 | 18.4684 | 18.517 | 18.5158 | 18.194 | 18.4682 | 18.9819 | 18.7825 | 18.9989 | 19.0795 | 19.0585 | 19.4466 | 19.2676 | 19.2396 | 19.1662 | 18.9813 | 19.067 | 16.7683 | 16.9347 | 17.3589 | 17.4024 | 17.368 | 18.1173 | 18.433 | 18.5975 | 18.6333 | 18.8691
8 | 30 |  | 11/11/2021 15:36:35 |  | C:\NexIONData\DataSet\Default\30.1450 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 37.3503 | 35.5208 | 35.1786 | 35.1865 | 35.1376 | 34.9937 | 34.2706 | 33.5729 | 33.5124 | 33.4615 | 33.3206 | 32.7407 | 32.6611 | 32.4181 | 32.8927 | 33.0315 | 32.5679 | 34.6291 | 34.5397 | 34.4943 | 34.6667 | 34.4564 | 34.026 | 33.5626 | 33.5974 | 33.4051 | 33.1848
9 | 50 |  | 11/11/2021 15:52:54 |  | C:\NexIONData\DataSet\Default\50.1451 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 53.2038 | 54.0886 | 54.0202 | 53.5617 | 53.4486 | 53.1035 | 52.5332 | 51.7179 | 51.4415 | 51.6643 | 51.1469 | 51.4999 | 51.5804 | 51.392 | 51.0606 | 51.1168 | 50.5375 | 53.6793 | 53.7085 | 53.523 | 53.4437 | 53.0693 | 52.5969 | 52.1057 | 51.3799 | 51.4815 | 51.1519
10 | NIST 1640a 10x dil - 1 |  | 11/11/2021 16:07:57 |  | C:\NexIONData\DataSet\Default\NIST 1640a 10x dil - 1.1452 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | -0.6935 | 3.9434 | 4.0593 | 3.9867 | 3.9161 | 3.7872 | 3.6476 | 3.5258 | 3.3225 | 3.1562 | 3.1335 | 2.9442 | 2.9648 | 2.939 | 2.9388 | 3.0197 | 2.0015 | 2.8123 | 2.9833 | 2.96 | 2.9286 | 2.9971 | 2.7876 | 2.6293 | 2.571 | 2.5968 | 2.6201
11 | NIST 1640a 10x dil - 2 |  | 11/11/2021 16:22:27 |  | C:\NexIONData\DataSet\Default\NIST 1640a 10x dil - 2.1453 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | -4.8167 | 1.7875 | 1.7575 | 1.929 | 1.9371 | 1.9367 | 1.8725 | 1.9773 | 1.9105 | 1.8373 | 1.8755 | 1.9191 | 1.8512 | 1.7243 | 1.8859 | 1.9309 | 1.2172 | 1.4227 | 1.4884 | 1.4258 | 1.4513 | 1.7215 | 1.4507 | 1.4123 | 1.4374 | 1.4091 | 1.4702
12 | TORT-2 - 1 |  | 11/11/2021 16:36:31 |  | C:\NexIONData\DataSet\Default\TORT-2 - 1.1454 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | -4.8928 | 11.7055 | 11.3583 | 11.417 | 11.7009 | 12.2837 | 12.4272 | 12.3751 | 10.5263 | 6.2613 | 5.2105 | 4.3338 | 4.3658 | 4.4883 | 4.6682 | 4.3833 | 4.848 | 14.0303 | 13.8747 | 13.5164 | 13.7581 | 14.0712 | 14.1906 | 13.6278 | 11.7526 | 7.5128 | 6.1279
13 | TORT-2 - 2 |  | 11/11/2021 16:51:26 |  | C:\NexIONData\DataSet\Default\TORT-2 - 2.1455 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | -17.4082 | 0.68871 | -0.26534 | -0.77735 | 9.4055 | 11.4412 | 9.1448 | 5.1462 | -0.45063 | -0.60986 | -0.2836 | 0.10064 | 0.027423 | 0.42791 | 0.18221 | 0.10427 | 0.12464 | 2.0273 | 1.3784 | 0.82276 | 19.5878 | 25.8435 | 16.9406 | 7.1007 | 0.258 | 0.24568 | 0.33808
14 | TORT-2 - 3 |  | 11/11/2021 17:10:09 |  | C:\NexIONData\DataSet\Default\TORT-2 - 3.1456 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | -18.831 | 5.6292 | 13.0991 | 9.2299 | 8.4938 | 4.152 | -0.22844 | 0.11731 | -0.026589 | -0.50822 | -0.42622 | -0.50195 | -0.38655 | -0.47544 | -0.42471 | -0.36014 | -0.15121 | 5.3123 | 13.814 | 9.5528 | 9.0562 | 3.9091 | 0.83486 | 0.72173 | 0.60149 | 0.27762 | 0.1177
15 | DOLT-5 - 1 |  | 11/11/2021 17:22:47 |  | C:\NexIONData\DataSet\Default\DOLT-5 - 1.1457 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 28.2598 | -4.0472 | -3.4673 | -2.8082 | -2.4043 | -2.0608 | -1.7245 | -1.3606 | -1.2084 | -1.0996 | -0.89123 | -0.84648 | 1.9735 | 11.9934 | 19.3194 | 24.479 | 47.4965 | -0.30843 | -0.31237 | -0.23229 | -0.37928 | -0.12184 | -0.21295 | -0.28825 | -0.27964 | -0.14047 | -0.22671
16 | DOLT-5 - 2 |  | 11/11/2021 17:34:55 |  | C:\NexIONData\DataSet\Default\DOLT-5 - 2.1458 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | -15.3707 | 12.9768 | 13.5852 | 16.8229 | 16.6752 | 12.6088 | 13.7738 | 5.7717 | 2.3278 | 0.72956 | 0.43423 | 0.72688 | 0.58675 | 0.10503 | 0.082897 | 0.14402 | 0.32053 | 14.7772 | 18.8712 | 32.0464 | 32.54 | 21.2993 | 25.1775 | 7.6898 | 2.079 | 0.9458 | 0.69202

## Concentrations RSDs
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 | Mg 24 | In 115 | U 238 | CeO 156 | Ce 140 (IS) | Ce++ 70 | Bkgd 220
1 | Daily Performance Check |  | 11/11/2021 13:02:13 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.1441 | C:\NexIONData\Method\Daily Performance.mth
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Se 78 | Se-1 78 | Se-2 78 | Se-3 78 | Se-4 78 | Se-5 78 | Se-6 78 | Se-7 78 | Se-8 78 | Se-9 78 | Se-10 78 | Se-11 78 | Se-12 78 | Se-13 78 | Se-14 78 | Se-15 78 | Se 82 | Se-1 82 | Se-2 82 | Se-3 82 | Se-4 82 | Se-5 82 | Se-6 82 | Se-7 82 | Se-8 82 | Se-9 82 | Se-10 82
2 | Branco |  | 11/11/2021 14:11:30 |  | C:\NexIONData\DataSet\Default\Branco.1444 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth
3 | 0.5 |  | 11/11/2021 14:24:47 |  | C:\NexIONData\DataSet\Default\0.5.1445 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 6.122% | 8.7% | 12.48% | 16.21% | 9.267% | 22.88% | 15.71% | 12.52% | 11.16% | 18.62% | 14.27% | 5.744% | 16.22% | 48.03% | 19.4% | 14.48% | 14.21% | 10.12% | 23.15% | 16.99% | 3.448% | 6.796% | 38.92% | 26.3% | 16.01% | 38.99% | 14.29%
4 | 1 |  | 11/11/2021 14:38:27 |  | C:\NexIONData\DataSet\Default\1.1446 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 3.514% | 59.82% | 548.2% | 863.5% | 616.6% | 333% | 57.23% | 11.37% | 56.6% | 178.1% | 39.37% | 19.61% | 42.21% | 50.72% | 2.361% | 31.12% | 5.637% | 13.34% | 17.31% | 24.85% | 29.58% | 34.15% | 22.66% | 47.88% | 52.14% | 7.192% | 26.06%
5 | 5 |  | 11/11/2021 14:52:50 |  | C:\NexIONData\DataSet\Default\5.1447 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 2.715% | 26.33% | 10.37% | 4.962% | 2.108% | 5.287% | 3.014% | 4.032% | 6.455% | 2.536% | 1.594% | 12.34% | 6.543% | 5.342% | 5.882% | 10.1% | 3.193% | 16.34% | 2.329% | 3.415% | 4.876% | 3.083% | 4.206% | 7.369% | 0.5667% | 7.144% | 5.476%
6 | 10 |  | 11/11/2021 15:07:15 |  | C:\NexIONData\DataSet\Default\10.1448 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 1.596% | 1.535% | 3.421% | 1.292% | 0.6128% | 2.387% | 1.847% | 0.5127% | 0.8559% | 4.695% | 3.36% | 2.739% | 2.193% | 5.683% | 4.344% | 10.07% | 2.539% | 1.882% | 3.573% | 2.039% | 1.01% | 2.344% | 4.228% | 4.84% | 5.162% | 4.218% | 5.971%
7 | 15 |  | 11/11/2021 15:21:25 |  | C:\NexIONData\DataSet\Default\15.1449 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 1.92% | 2.509% | 2.19% | 2.81% | 0.4861% | 2.286% | 2.994% | 1.669% | 0.6958% | 1.244% | 8.57% | 2.13% | 0.7699% | 0.6463% | 4.128% | 0.4037% | 1.005% | 3.339% | 2.21% | 1.706% | 2.312% | 3.22% | 4.071% | 1.661% | 2.404% | 1.558% | 6.823%
8 | 30 |  | 11/11/2021 15:36:35 |  | C:\NexIONData\DataSet\Default\30.1450 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 0.9653% | 0.8075% | 0.2138% | 0.6871% | 1.058% | 0.82% | 1.273% | 2.517% | 0.2445% | 0.4398% | 1.022% | 0.2785% | 1.025% | 0.3794% | 2.664% | 1.666% | 0.687% | 0.6721% | 0.3334% | 2.832% | 1.309% | 2.78% | 2.49% | 3.323% | 1.558% | 0.5683% | 1.3%
9 | 50 |  | 11/11/2021 15:52:54 |  | C:\NexIONData\DataSet\Default\50.1451 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 0.8575% | 0.08054% | 0.8972% | 0.5748% | 0.7939% | 0.7362% | 0.4618% | 0.2813% | 0.2345% | 0.6766% | 0.8925% | 1.085% | 0.9844% | 0.6795% | 1.066% | 1.49% | 1.467% | 1.491% | 1.822% | 1.035% | 0.7366% | 1.513% | 0.3586% | 0.4628% | 1.618% | 0.4206% | 2.322%
10 | NIST 1640a 10x dil - 1 |  | 11/11/2021 16:07:57 |  | C:\NexIONData\DataSet\Default\NIST 1640a 10x dil - 1.1452 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 21.62% | 11.04% | 0.6232% | 3.841% | 0.4268% | 1.07% | 1.814% | 5.538% | 6.021% | 7.559% | 0.2786% | 3.222% | 3.287% | 5.994% | 7.358% | 1.867% | 8.158% | 12.43% | 2.504% | 2.591% | 5.231% | 2.436% | 3.518% | 8.014% | 7.254% | 6.343% | 6.012%
11 | NIST 1640a 10x dil - 2 |  | 11/11/2021 16:22:27 |  | C:\NexIONData\DataSet\Default\NIST 1640a 10x dil - 2.1453 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 2.855% | 8.444% | 0.4971% | 1.689% | 2.505% | 1.874% | 5.219% | 2.252% | 1.308% | 2.739% | 8.362% | 6.531% | 14.31% | 24.24% | 10.07% | 4.23% | 2.615% | 10.03% | 3.802% | 2.128% | 12.13% | 6.914% | 3.906% | 8.55% | 12.59% | 2.507% | 5.911%
12 | TORT-2 - 1 |  | 11/11/2021 16:36:31 |  | C:\NexIONData\DataSet\Default\TORT-2 - 1.1454 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 23.73% | 1.746% | 0.7407% | 1.888% | 1.391% | 0.2713% | 1.079% | 1.2% | 5.835% | 3.743% | 5.151% | 3.265% | 1.05% | 3.376% | 5.454% | 7.565% | 11.44% | 4.438% | 0.9864% | 0.6909% | 0.9974% | 0.7593% | 2.137% | 3.629% | 5.434% | 5.696% | 9.463%
13 | TORT-2 - 2 |  | 11/11/2021 16:51:26 |  | C:\NexIONData\DataSet\Default\TORT-2 - 2.1455 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 2.689% | 58.56% | 128.2% | 50.63% | 18.3% | 6.565% | 17.5% | 7.929% | 154.2% | 27.81% | 62.35% | 111.8% | 154.2% | 61.01% | 84.95% | 90.43% | 89.71% | 18.71% | 17.73% | 33.85% | 29.52% | 9.131% | 17.47% | 8.234% | 166% | 46.44% | 30.45%
14 | TORT-2 - 3 |  | 11/11/2021 17:10:09 |  | C:\NexIONData\DataSet\Default\TORT-2 - 3.1456 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 0.2166% | 14.51% | 14.2% | 22.34% | 5.251% | 12.12% | 150.1% | 123.9% | 285.9% | 33.98% | 27.27% | 20.86% | 13.35% | 2.376% | 6.677% | 9.951% | 15.67% | 6.69% | 20.66% | 27.45% | 4.187% | 12.13% | 36.49% | 14.99% | 16.92% | 68.14% | 70.61%
15 | DOLT-5 - 1 |  | 11/11/2021 17:22:47 |  | C:\NexIONData\DataSet\Default\DOLT-5 - 1.1457 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 0.8602% | 0.1606% | 0.3141% | 1.567% | 1.507% | 0.5586% | 1.077% | 1.065% | 1.6% | 2.911% | 5.304% | 0.4065% | 41.27% | 65.45% | 3.574% | 2.255% | 1.204% | 15.54% | 10.86% | 31.25% | 8.393% | 32.15% | 13.03% | 11.47% | 6.945% | 52.95% | 28.06%
16 | DOLT-5 - 2 |  | 11/11/2021 17:34:55 |  | C:\NexIONData\DataSet\Default\DOLT-5 - 2.1458 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 4.271% | 4.781% | 6.388% | 7.288% | 2.996% | 15.75% | 9.854% | 32.04% | 12.07% | 101.9% | 29.35% | 19.44% | 31.51% | 38.95% | 124.5% | 77.51% | 41.15% | 13.97% | 19.08% | 14.39% | 5.967% | 15.55% | 13.04% | 53.33% | 17.59% | 39.4% | 14.07%

## Unfactored Concentrations
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 (ug/L) | Mg 24 (ug/L) | In 115 (mg/L) | U 238 (mg/L) | CeO 156 (mg/L) | Ce 140 (IS) | Ce++ 70 (mg/L) | Bkgd 220 (mg/L)
1 | Daily Performance Check |  | 11/11/2021 13:02:13 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.1441 | C:\NexIONData\Method\Daily Performance.mth
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Se 78 (ug/L) | Se-1 78 (ug/L) | Se-2 78 (ug/L) | Se-3 78 (ug/L) | Se-4 78 (ug/L) | Se-5 78 (ug/L) | Se-6 78 (ug/L) | Se-7 78 (ug/L) | Se-8 78 (ug/L) | Se-9 78 (ug/L) | Se-10 78 (ug/L) | Se-11 78 (ug/L) | Se-12 78 (ug/L) | Se-13 78 (ug/L) | Se-14 78 (ug/L) | Se-15 78 (ug/L) | Se 82 (ug/L) | Se-1 82 (ug/L) | Se-2 82 (ug/L) | Se-3 82 (ug/L) | Se-4 82 (ug/L) | Se-5 82 (ug/L) | Se-6 82 (ug/L) | Se-7 82 (ug/L) | Se-8 82 (ug/L) | Se-9 82 (ug/L) | Se-10 82 (ug/L)
2 | Branco |  | 11/11/2021 14:11:30 |  | C:\NexIONData\DataSet\Default\Branco.1444 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth
3 | 0.5 |  | 11/11/2021 14:24:47 |  | C:\NexIONData\DataSet\Default\0.5.1445 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
4 | 1 |  | 11/11/2021 14:38:27 |  | C:\NexIONData\DataSet\Default\1.1446 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 1.035 | -0.27875 | 0.042941 | 0.02457 | 0.048222 | -0.11901 | 0.27513 | 0.41847 | 0.4451 | 0.32965 | 0.63746 | 0.77351 | 0.71606 | 0.66104 | 0.90512 | 0.7957 | 0.83115 | 0.73328 | 0.68497 | 0.70635 | 0.69808 | 0.65894 | 0.63127 | 0.72767 | 0.72701 | 0.73416 | 0.84214
5 | 5 |  | 11/11/2021 14:52:50 |  | C:\NexIONData\DataSet\Default\5.1447 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 4.4325 | 4.8855 | 4.9719 | 4.9958 | 5.0496 | 5.0943 | 5.0512 | 4.9995 | 5.0595 | 5.1164 | 5.0334 | 4.9999 | 4.9828 | 5.049 | 4.9945 | 4.9717 | 4.9087 | 4.8973 | 4.9334 | 4.8996 | 5.0239 | 4.8921 | 4.9489 | 5.0442 | 5.0319 | 4.9987 | 4.9956
6 | 10 |  | 11/11/2021 15:07:15 |  | C:\NexIONData\DataSet\Default\10.1448 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 6.5693 | 10.3455 | 9.9841 | 10.2264 | 10.1212 | 10.1535 | 10.0833 | 10.2021 | 10.2679 | 10.2602 | 10.1423 | 9.9813 | 10.0286 | 10.0524 | 10.098 | 10.093 | 10.1207 | 9.6363 | 9.5762 | 9.4939 | 9.6588 | 9.7761 | 9.5911 | 9.8937 | 10.108 | 9.8538 | 10.1142
7 | 15 |  | 11/11/2021 15:21:25 |  | C:\NexIONData\DataSet\Default\15.1449 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 42.1687 | 18.4684 | 18.517 | 18.5158 | 18.194 | 18.4682 | 18.9819 | 18.7825 | 18.9989 | 19.0795 | 19.0585 | 19.4466 | 19.2676 | 19.2396 | 19.1662 | 18.9813 | 19.067 | 16.7683 | 16.9347 | 17.3589 | 17.4024 | 17.368 | 18.1173 | 18.433 | 18.5975 | 18.6333 | 18.8691
8 | 30 |  | 11/11/2021 15:36:35 |  | C:\NexIONData\DataSet\Default\30.1450 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 37.3503 | 35.5208 | 35.1786 | 35.1865 | 35.1376 | 34.9937 | 34.2706 | 33.5729 | 33.5124 | 33.4615 | 33.3206 | 32.7407 | 32.6611 | 32.4181 | 32.8927 | 33.0315 | 32.5679 | 34.6291 | 34.5397 | 34.4943 | 34.6667 | 34.4564 | 34.026 | 33.5626 | 33.5974 | 33.4051 | 33.1848
9 | 50 |  | 11/11/2021 15:52:54 |  | C:\NexIONData\DataSet\Default\50.1451 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 53.2038 | 54.0886 | 54.0202 | 53.5617 | 53.4486 | 53.1035 | 52.5332 | 51.7179 | 51.4415 | 51.6643 | 51.1469 | 51.4999 | 51.5804 | 51.392 | 51.0606 | 51.1168 | 50.5375 | 53.6793 | 53.7085 | 53.523 | 53.4437 | 53.0693 | 52.5969 | 52.1057 | 51.3799 | 51.4815 | 51.1519
10 | NIST 1640a 10x dil - 1 |  | 11/11/2021 16:07:57 |  | C:\NexIONData\DataSet\Default\NIST 1640a 10x dil - 1.1452 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | -0.6935 | 3.9434 | 4.0593 | 3.9867 | 3.9161 | 3.7872 | 3.6476 | 3.5258 | 3.3225 | 3.1562 | 3.1335 | 2.9442 | 2.9648 | 2.939 | 2.9388 | 3.0197 | 2.0015 | 2.8123 | 2.9833 | 2.96 | 2.9286 | 2.9971 | 2.7876 | 2.6293 | 2.571 | 2.5968 | 2.6201
11 | NIST 1640a 10x dil - 2 |  | 11/11/2021 16:22:27 |  | C:\NexIONData\DataSet\Default\NIST 1640a 10x dil - 2.1453 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | -4.8167 | 1.7875 | 1.7575 | 1.929 | 1.9371 | 1.9367 | 1.8725 | 1.9773 | 1.9105 | 1.8373 | 1.8755 | 1.9191 | 1.8512 | 1.7243 | 1.8859 | 1.9309 | 1.2172 | 1.4227 | 1.4884 | 1.4258 | 1.4513 | 1.7215 | 1.4507 | 1.4123 | 1.4374 | 1.4091 | 1.4702
12 | TORT-2 - 1 |  | 11/11/2021 16:36:31 |  | C:\NexIONData\DataSet\Default\TORT-2 - 1.1454 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | -4.8928 | 11.7055 | 11.3583 | 11.417 | 11.7009 | 12.2837 | 12.4272 | 12.3751 | 10.5263 | 6.2613 | 5.2105 | 4.3338 | 4.3658 | 4.4883 | 4.6682 | 4.3833 | 4.848 | 14.0303 | 13.8747 | 13.5164 | 13.7581 | 14.0712 | 14.1906 | 13.6278 | 11.7526 | 7.5128 | 6.1279
13 | TORT-2 - 2 |  | 11/11/2021 16:51:26 |  | C:\NexIONData\DataSet\Default\TORT-2 - 2.1455 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | -17.4082 | 0.68871 | -0.26534 | -0.77735 | 9.4055 | 11.4412 | 9.1448 | 5.1462 | -0.45063 | -0.60986 | -0.2836 | 0.10064 | 0.027423 | 0.42791 | 0.18221 | 0.10427 | 0.12464 | 2.0273 | 1.3784 | 0.82276 | 19.5878 | 25.8435 | 16.9406 | 7.1007 | 0.258 | 0.24568 | 0.33808
14 | TORT-2 - 3 |  | 11/11/2021 17:10:09 |  | C:\NexIONData\DataSet\Default\TORT-2 - 3.1456 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | -18.831 | 5.6292 | 13.0991 | 9.2299 | 8.4938 | 4.152 | -0.22844 | 0.11731 | -0.026589 | -0.50822 | -0.42622 | -0.50195 | -0.38655 | -0.47544 | -0.42471 | -0.36014 | -0.15121 | 5.3123 | 13.814 | 9.5528 | 9.0562 | 3.9091 | 0.83486 | 0.72173 | 0.60149 | 0.27762 | 0.1177
15 | DOLT-5 - 1 |  | 11/11/2021 17:22:47 |  | C:\NexIONData\DataSet\Default\DOLT-5 - 1.1457 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | 28.2598 | -4.0472 | -3.4673 | -2.8082 | -2.4043 | -2.0608 | -1.7245 | -1.3606 | -1.2084 | -1.0996 | -0.89123 | -0.84648 | 1.9735 | 11.9934 | 19.3194 | 24.479 | 47.4965 | -0.30843 | -0.31237 | -0.23229 | -0.37928 | -0.12184 | -0.21295 | -0.28825 | -0.27964 | -0.14047 | -0.22671
16 | DOLT-5 - 2 |  | 11/11/2021 17:34:55 |  | C:\NexIONData\DataSet\Default\DOLT-5 - 2.1458 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82 11-11-21.mth | -15.3707 | 12.9768 | 13.5852 | 16.8229 | 16.6752 | 12.6088 | 13.7738 | 5.7717 | 2.3278 | 0.72956 | 0.43423 | 0.72688 | 0.58675 | 0.10503 | 0.082897 | 0.14402 | 0.32053 | 14.7772 | 18.8712 | 32.0464 | 32.54 | 21.2993 | 25.1775 | 7.6898 | 2.079 | 0.9458 | 0.69202

## Internal Standards
Row Index Number
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16