## Intensities
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 (cps) | Mg 24 (cps) | In 115 (cps) | U 238 (cps) | CeO 156 (cps) | Ce 140 (IS) (cps) | Ce++ 70 (cps) | Bkgd 220 (cps)
1 | Daily Performance Check |  | 21/10/2021 10:20:27 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.1412 | C:\NexIONData\Method\Daily Performance.mth | 2365.0787 | 35121.3729 | 45153.2108 | 35985.1252 | 851.8938 | 47293.9065 | 778.4883 | 0.63333
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Se 78 (cps) | Se-1 78 (cps) | Se-2 78 (cps) | Se-3 78 (cps) | Se-4 78 (cps) | Se-5 78 (cps) | Se-6 78 (cps) | Se-7 78 (cps) | Se-8 78 (cps) | Se-9 78 (cps) | Se 82 (cps) | Se-1 82 (cps) | Se-2 82 (cps) | Se-3 82 (cps) | Se-4 82 (cps) | Se-5 82 (cps) | Se-6 82 (cps) | Se-7 82 (cps) | Se-8 82 (cps) | Se-9 82 (cps)
2 | Branco |  | 21/10/2021 13:09:24 |  | C:\NexIONData\DataSet\Default\Branco.1416 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 12549.1902 | 1301.4432 | 970.2933 | 741.6623 | 558.8817 | 408.348 | 307.1645 | 226.8449 | 166.7331 | 126.196 | 33.0511 | 37.5485 | 32.4062 | 18.0531 | 13.8316 | 2.267 | 9.3424 | 8.3311 | 5.373 | 5.4065
3 | 0.5 |  | 21/10/2021 13:17:46 |  | C:\NexIONData\DataSet\Default\0.5.1417 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 13416.6258 | 1417.8502 | 1152.5722 | 906.5578 | 678.1505 | 503.6208 | 391.2356 | 293.3916 | 206.4182 | 154.467 | 143.2179 | 26.4807 | 80.6046 | 84.6435 | 56.7131 | 50.8529 | 46.8271 | 36.2011 | 32.0273 | 20.7409
4 | 1 |  | 21/10/2021 13:26:39 |  | C:\NexIONData\DataSet\Default\1.1418 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 14854.3927 | 1593.925 | 1216.9938 | 1026.1253 | 803.9547 | 614.4699 | 471.4885 | 343.1626 | 254.6133 | 206.8074 | 272.8708 | 66.0614 | 56.0751 | 108.6334 | 83.629 | 78.8647 | 71.0898 | 50.8772 | 48.1764 | 45.0265
5 | 5 |  | 21/10/2021 13:36:06 |  | C:\NexIONData\DataSet\Default\5.1419 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 17801.9204 | 1600.7055 | 1821.3285 | 1666.4349 | 1389.103 | 1127.576 | 898.6921 | 706.1256 | 576.2186 | 464.8413 | 1250.4634 | 34.4557 | 298.5804 | 372.0336 | 338.8439 | 295.2708 | 258.5209 | 210.4835 | 184.3102 | 158.0671
6 | 10 |  | 21/10/2021 13:45:59 |  | C:\NexIONData\DataSet\Default\10.1420 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 20853.1628 | 1701.6783 | 1709.7099 | 2436.7172 | 2142.8579 | 1755.295 | 1504.8115 | 1216.0307 | 952.3308 | 842.8349 | 2348.8184 | 71.4958 | 222.8124 | 683.9923 | 671.5745 | 558.8261 | 507.9789 | 437.2906 | 347.2023 | 328.7653
7 | 15 |  | 21/10/2021 13:55:50 |  | C:\NexIONData\DataSet\Default\15.1421 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 24537.3093 | 1742.0635 | 2380.357 | 2973.423 | 2625.325 | 2372.4949 | 1905.7699 | 1682.7522 | 1381.4359 | 1121.0388 | 3534.01 | 66.0583 | 503.893 | 898.3219 | 858.1809 | 812.8169 | 687.2496 | 615.2657 | 527.7086 | 441.3803
8 | 30 |  | 21/10/2021 14:05:33 |  | C:\NexIONData\DataSet\Default\30.1422 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 33634.5966 | 1969.0244 | 4457.6146 | 6113.7884 | 5287.3774 | 4409.1038 | 3918.361 | 3174.5377 | 2835.0367 | 2280.9706 | 7005.1715 | 111.0224 | 1339.0722 | 2208.0834 | 1988.3641 | 1691.564 | 1567.6675 | 1299.9978 | 1140.1602 | 955.2551
9 | 50 |  | 21/10/2021 14:14:44 |  | C:\NexIONData\DataSet\Default\50.1423 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 43572.1267 | 3255.8537 | 3376.0678 | 9529.8689 | 8576.3814 | 7636.8404 | 6278.1851 | 5273.559 | 4386.4721 | 3395.8434 | 11036.6609 | 594.022 | 856.7132 | 3640.7744 | 3419.1965 | 3102.87 | 2580.3315 | 2225.1825 | 1850.7984 | 1495.0664
10 | NIST 1640a diluído 10x (1) |  | 21/10/2021 14:24:19 |  | C:\NexIONData\DataSet\Default\NIST 1640a diluído 10x (1).1424 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 19979.4784 | 2120.7274 | 2075.1722 | 1692.6139 | 1251.7577 | 1037.4913 | 820.5973 | 641.6163 | 505.9438 | 411.6389 | 771.6103 | 101.4431 | 282.5308 | 258.7385 | 202.5361 | 221.7482 | 162.8617 | 154.821 | 131.3062 | 116.1655
11 | NIST 1640a diluído 10x (1) |  | 21/10/2021 14:33:35 |  | C:\NexIONData\DataSet\Default\NIST 1640a diluído 10x (1).1425 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 30655.5045 | 2212.0698 | 1797.1204 | 5448.4342 | 4572.545 | 3817.9901 | 3137.1074 | 2626.9949 | 2197.849 | 1823.847 | 5523.7084 | 58.0735 | 71.0521 | 1897.2636 | 1672.6727 | 1428.8962 | 1204.4635 | 1056.1843 | 898.6391 | 748.4783
12 | HNO3 1% |  | 21/10/2021 14:43:32 |  | C:\NexIONData\DataSet\Default\HNO3 1%.1426 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 16867.0645 | 1962.4393 | 1473.3719 | 1121.7189 | 830.405 | 642.4575 | 467.2724 | 358.2012 | 234.6075 | 193.6993 | 18.37 | 59.7779 | 20.661 | 24.027 | 16.9742 | 14.2587 | 14.3329 | 15.1364 | 6.7729 | 0.58137
13 | Branco 1 |  | 21/10/2021 15:13:45 |  | C:\NexIONData\DataSet\Default\Branco 1.1428 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 20548.5517 | 4062.1371 | 197.7414 | 243.3068 | 306.3903 | 444.5109 | 831.84 | 285.3814 | 125.4942 | 409.2456 | -21.3782 | 45.0489 | 9.9941 | 0.64787 | 0.084244 | -1.0211 | 0.53925 | -4.3656 | -3.734 | 2.7645
14 | Branco 1 |  | 21/10/2021 15:22:57 |  | C:\NexIONData\DataSet\Default\Branco 1.1429 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 41297.7586 | 4828.5191 | 2772.0204 | 1630.8539 | 965.8643 | 443.9046 | 311.652 | 176.3705 | 198.5774 | 402.1922 | 187.685 | 33.1083 | 13.5723 | 1.6355 | -4.6267 | -4.4721 | -1.599 | -0.31645 | 3.969 | 8.3642
15 | Branco 1 |  | 21/10/2021 15:36:13 |  | C:\NexIONData\DataSet\Default\Branco 1.1430 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 2735.1684 | 230.0755 | 158.9815 | 137.5755 | 155.9256 | 140.5156 | 154.8426 | 111.9272 | 57.7056 | 23.6744 | -6.5063 | -3.0249 | 1.7379 | -1.4465 | -4.4613 | 3.82 | -0.86545 | 3.1088 | -1.2453 | -4.518
16 | DORM-4 1 |  | 21/10/2021 15:47:11 |  | C:\NexIONData\DataSet\Default\DORM-4 1.1431 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 2501.3246 | 942.9298 | 1696.2932 | 993.7082 | 1247.8155 | 477.1679 | 812.5589 | 1197.1128 | 782.3241 | 29.7678 | 15.7774 | 52.8061 | 226.3649 | 167.4379 | 229.5937 | 86.0131 | 168.0247 | 303.291 | 243.5316 | 6.8393
17 | DORM-4 2 |  | 21/10/2021 15:57:03 |  | C:\NexIONData\DataSet\Default\DORM-4 2.1432 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 1937.6117 | 200.0487 | 144.6097 | 116.667 | 85.8188 | 84.5578 | 67.5405 | 56.5225 | 42.2964 | 30.8663 | 11.8434 | 1.0712 | 0.14517 | 3.2609 | 0.34952 | 1.8005 | 5.8475 | 6.7934 | 6.1372 | 3.7466
18 | DORM-4 3 |  | 21/10/2021 16:09:39 |  | C:\NexIONData\DataSet\Default\DORM-4 3.1433 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 12298.8508 | 454.6284 | 323.1886 | 287.661 | 301.1557 | 288.2133 | 348.2884 | 364.7181 | 306.0587 | 309.4489 | 361.4269 | 48.8762 | 36.9868 | 37.5389 | 45.2451 | 47.3419 | 67.9287 | 77.1705 | 65.8736 | 76.0216
19 | Ponto 30 ppb |  | 21/10/2021 16:21:48 |  | C:\NexIONData\DataSet\Default\Ponto 30 ppb.1434 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 2232.4662 | 361.2281 | 245.0977 | 151.6474 | 126.2021 | 91.8066 | 75.835 | 50.4738 | 49.1858 | 31.8524 | 20.3455 | -0.17303 | 1.097 | -2.5633 | 10.0442 | 9.2797 | 4.2204 | 4.1142 | 8.0268 | 0.96014
20 | DOLT-5 |  | 21/10/2021 16:34:46 |  | C:\NexIONData\DataSet\Default\DOLT-5.1435 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 23160.7534 | 253.0011 | 293.6685 | 295.9115 | 347.3185 | 470.7515 | 516.24 | 574.0041 | 1030.5558 | 494.9479 | 1702.4942 | 1.5064 | 34.0398 | 50.0681 | 79.9194 | 107.7425 | 132.948 | 156.0223 | 332.2906 | 162.4943
21 | DOLT-5 |  | 21/10/2021 16:48:00 |  | C:\NexIONData\DataSet\Default\DOLT-5.1436 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 17968.3348 | 7106.1735 | 7019.1462 | 6431.4594 | 4204.1231 | 1990.5521 | 1177.2621 | 705.3571 | 715.7654 | 574.1767 | 932.5618 | 1615.7099 | 1927.6058 | 2160.6567 | 1399.9326 | 515.5657 | 307.5619 | 199.1616 | 231.1299 | 208.2692
22 | DOLT-5 |  | 21/10/2021 17:01:07 |  | C:\NexIONData\DataSet\Default\DOLT-5.1437 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 3165.7375 | 483.3739 | 370.1109 | 583.025 | 406.7298 | 273.8116 | 200.8372 | 162.3237 | 142.603 | 107.1644 | 162.4431 | 137.7314 | 102.5842 | 181.2757 | 108.4384 | 74.8122 | 57.3694 | 48.0413 | 48.2122 | 35.1528
23 | TORT-2 |  | 21/10/2021 17:12:25 |  | C:\NexIONData\DataSet\Default\TORT-2.1438 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 3158.2121 | 345.9018 | 368.1907 | 285.0626 | 228.3232 | 181.2572 | 131.8908 | 107.0311 | 99.54 | 74.991 | 72.0265 | -3.2721 | 50.8024 | 47.1222 | 42.1057 | 43.5079 | 26.6995 | 23.5527 | 20.4798 | 16.7767
24 | TORT-2 |  | 21/10/2021 17:24:47 |  | C:\NexIONData\DataSet\Default\TORT-2.1439 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 3710.7805 | 403.2617 | 352.3676 | 273.4624 | 245.7461 | 173.9272 | 134.4966 | 99.9563 | 89.2049 | 78.6512 | 114.6346 | 27.7021 | 27.5792 | 36.8555 | 39.3286 | 29.6078 | 16.4171 | 17.5506 | 21.4298 | 17.6912
25 | TORT-2 |  | 21/10/2021 17:35:42 |  | C:\NexIONData\DataSet\Default\TORT-2.1440 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 6159.3313 | 707.1496 | 525.3503 | 452.233 | 405.7958 | 317.5161 | 212.9497 | 201.6771 | 173.0954 | 138.494 | 207.4113 | 86.6346 | 76.7566 | 69.4452 | 65.6035 | 67.2693 | 47.463 | 46.812 | 35.6339 | 37.9517

## Intensities RSDs
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 | Mg 24 | In 115 | U 238 | CeO 156 | Ce 140 (IS) | Ce++ 70 | Bkgd 220
1 | Daily Performance Check |  | 21/10/2021 10:20:27 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.1412 | C:\NexIONData\Method\Daily Performance.mth | 32.27% | 65.73% | 31.47% | 30.94% | 29.49% | 29.84% | 14.89% | 60.01%
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Se 78 | Se-1 78 | Se-2 78 | Se-3 78 | Se-4 78 | Se-5 78 | Se-6 78 | Se-7 78 | Se-8 78 | Se-9 78 | Se 82 | Se-1 82 | Se-2 82 | Se-3 82 | Se-4 82 | Se-5 82 | Se-6 82 | Se-7 82 | Se-8 82 | Se-9 82
2 | Branco |  | 21/10/2021 13:09:24 |  | C:\NexIONData\DataSet\Default\Branco.1416 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 0.5966% | 0.31% | 0.7084% | 0.9201% | 2.049% | 1.04% | 3.387% | 10.26% | 1.756% | 4.536% | 21.92% | 26.39% | 21.66% | 54.59% | 21.68% | 303.5% | 165.6% | 71.79% | 103.9% | 37.58%
3 | 0.5 |  | 21/10/2021 13:17:46 |  | C:\NexIONData\DataSet\Default\0.5.1417 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 0.6422% | 1.486% | 2.122% | 2.464% | 2.364% | 0.923% | 3.064% | 2.726% | 0.815% | 7.351% | 18.77% | 14.01% | 22.9% | 2.646% | 21.97% | 18.72% | 6.996% | 17.32% | 12.93% | 21.33%
4 | 1 |  | 21/10/2021 13:26:39 |  | C:\NexIONData\DataSet\Default\1.1418 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 0.5004% | 1.278% | 4.105% | 2.458% | 3.661% | 2.767% | 5.505% | 6.193% | 6.817% | 4.458% | 8.348% | 33.66% | 23.21% | 4.28% | 14.97% | 22.6% | 9.82% | 9.303% | 29.58% | 19.26%
5 | 5 |  | 21/10/2021 13:36:06 |  | C:\NexIONData\DataSet\Default\5.1419 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 0.8573% | 3.349% | 6.007% | 2.105% | 2.452% | 3.362% | 0.9849% | 5.761% | 1.665% | 2.345% | 3.781% | 18.25% | 22.1% | 3.229% | 5.159% | 1.742% | 7.748% | 11.03% | 8.789% | 4.19%
6 | 10 |  | 21/10/2021 13:45:59 |  | C:\NexIONData\DataSet\Default\10.1420 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 0.3237% | 2.271% | 28.87% | 4.997% | 1.299% | 3.003% | 0.9778% | 0.8655% | 2.647% | 1.446% | 0.6253% | 19.41% | 80.47% | 4.988% | 2.285% | 3.84% | 4.25% | 1.942% | 1.718% | 0.4162%
7 | 15 |  | 21/10/2021 13:55:50 |  | C:\NexIONData\DataSet\Default\15.1421 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 0.3942% | 2.384% | 23.05% | 0.9045% | 1.475% | 1.688% | 4.429% | 1.474% | 1.86% | 1.916% | 1.08% | 48.89% | 41.5% | 6.185% | 4.706% | 2.391% | 5.835% | 2.8% | 1.24% | 8.579%
8 | 30 |  | 21/10/2021 14:05:33 |  | C:\NexIONData\DataSet\Default\30.1422 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 1.749% | 3.515% | 35.26% | 1.624% | 2.725% | 0.9008% | 0.8739% | 1.5% | 0.8142% | 1.475% | 1.64% | 12.82% | 49.22% | 5.634% | 3.556% | 2.109% | 1.091% | 0.9777% | 1.163% | 4.193%
9 | 50 |  | 21/10/2021 14:14:44 |  | C:\NexIONData\DataSet\Default\50.1423 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 0.2786% | 16.68% | 72.12% | 1.437% | 1.734% | 0.3976% | 2.233% | 3.056% | 2.247% | 1.752% | 1.291% | 36.23% | 125.7% | 4.005% | 2.512% | 1.203% | 1.738% | 2.278% | 1.474% | 1.126%
10 | NIST 1640a diluído 10x (1) |  | 21/10/2021 14:24:19 |  | C:\NexIONData\DataSet\Default\NIST 1640a diluído 10x (1).1424 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 1.004% | 3.465% | 3.325% | 2.021% | 7.33% | 1.954% | 1.707% | 1.79% | 2.454% | 2.338% | 0.9856% | 30% | 4.561% | 3.425% | 27.87% | 3.929% | 9.886% | 9.439% | 6.241% | 5.236%
11 | NIST 1640a diluído 10x (1) |  | 21/10/2021 14:33:35 |  | C:\NexIONData\DataSet\Default\NIST 1640a diluído 10x (1).1425 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 0.3584% | 1.476% | 11.68% | 1.925% | 2.083% | 1.267% | 1.349% | 1.467% | 0.9196% | 1.033% | 1.574% | 28.17% | 100.5% | 0.9775% | 0.5154% | 0.4108% | 2.248% | 1.655% | 0.5642% | 3.424%
12 | HNO3 1% |  | 21/10/2021 14:43:32 |  | C:\NexIONData\DataSet\Default\HNO3 1%.1426 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 0.3249% | 1.181% | 1.935% | 0.9619% | 2.581% | 2.323% | 1.933% | 3.982% | 1.007% | 8.942% | 104% | 18.79% | 39.49% | 34.26% | 53.85% | 46.95% | 58.97% | 16.11% | 102.8% | 537.2%
13 | Branco 1 |  | 21/10/2021 15:13:45 |  | C:\NexIONData\DataSet\Default\Branco 1.1428 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 10.08% | 2.008% | 28.83% | 9.659% | 21.09% | 37.91% | 6.442% | 16.82% | 9.662% | 7.078% | 122% | 48.92% | 46.8% | 1308% | 3513% | 1120% | 1474% | 199.7% | 189.3% | 185.2%
14 | Branco 1 |  | 21/10/2021 15:22:57 |  | C:\NexIONData\DataSet\Default\Branco 1.1429 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 1.067% | 2.294% | 19.84% | 3.991% | 28.24% | 15.05% | 18.87% | 8.433% | 44.71% | 2.749% | 23.28% | 23.91% | 153.8% | 454.1% | 167.5% | 53.79% | 569.4% | 883.9% | 171% | 79.61%
15 | Branco 1 |  | 21/10/2021 15:36:13 |  | C:\NexIONData\DataSet\Default\Branco 1.1430 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 2.199% | 12.23% | 8.176% | 15.94% | 13.42% | 6.236% | 11.81% | 19.74% | 10.11% | 15.17% | 210.6% | 111.8% | 411.4% | 175.8% | 72.27% | 154% | 572.4% | 134.6% | 98.8% | 40.78%
16 | DORM-4 1 |  | 21/10/2021 15:47:11 |  | C:\NexIONData\DataSet\Default\DORM-4 1.1431 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 7.886% | 36.23% | 6.903% | 5.188% | 40.97% | 5.797% | 35.15% | 15.78% | 79.82% | 14.78% | 32.04% | 120.9% | 1.945% | 5.207% | 60.16% | 7.814% | 39.53% | 31.86% | 95.42% | 38.07%
17 | DORM-4 2 |  | 21/10/2021 15:57:03 |  | C:\NexIONData\DataSet\Default\DORM-4 2.1432 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 4.423% | 4.373% | 5.602% | 9.404% | 6.477% | 1.974% | 3.294% | 4.804% | 8.93% | 19.57% | 152.2% | 414.7% | 7776% | 336.6% | 1832% | 155.2% | 60.88% | 92.79% | 29.99% | 115.2%
18 | DORM-4 3 |  | 21/10/2021 16:09:39 |  | C:\NexIONData\DataSet\Default\DORM-4 3.1433 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 9.879% | 4.162% | 4.55% | 5.994% | 9.142% | 18.95% | 9.924% | 28.59% | 7.691% | 6.086% | 10.01% | 10.56% | 21.84% | 13.32% | 32.68% | 34.34% | 8.646% | 28.71% | 11.48% | 16.34%
19 | Ponto 30 ppb |  | 21/10/2021 16:21:48 |  | C:\NexIONData\DataSet\Default\Ponto 30 ppb.1434 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 0.8835% | 4.238% | 5.043% | 8.327% | 3.883% | 9.978% | 7.991% | 2.673% | 2.166% | 13.53% | 55.18% | 4439% | 531.6% | 371.6% | 74.94% | 9.024% | 25.27% | 59.04% | 23.62% | 364.8%
20 | DOLT-5 |  | 21/10/2021 16:34:46 |  | C:\NexIONData\DataSet\Default\DOLT-5.1435 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 9.978% | 4.111% | 5.073% | 2.257% | 6.827% | 10.17% | 1.849% | 12.64% | 19.19% | 1.134% | 8.42% | 390.4% | 19.5% | 17.37% | 13.56% | 10.05% | 9.653% | 7.409% | 23.99% | 0.6397%
21 | DOLT-5 |  | 21/10/2021 16:48:00 |  | C:\NexIONData\DataSet\Default\DOLT-5.1436 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 11.96% | 0.8798% | 4.172% | 2.314% | 10.97% | 8.049% | 25.76% | 16.66% | 23.65% | 32.44% | 16.04% | 1.175% | 7.9% | 5.982% | 18.7% | 4.269% | 26.41% | 10.43% | 27.59% | 34.15%
22 | DOLT-5 |  | 21/10/2021 17:01:07 |  | C:\NexIONData\DataSet\Default\DOLT-5.1437 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 3.246% | 6.267% | 5.477% | 11.94% | 5.269% | 1.575% | 0.2815% | 3.938% | 3.689% | 2.886% | 12.42% | 10.79% | 3.53% | 5.388% | 15.61% | 19.28% | 18.36% | 23.06% | 16.26% | 31.15%
23 | TORT-2 |  | 21/10/2021 17:12:25 |  | C:\NexIONData\DataSet\Default\TORT-2.1438 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 0.3672% | 2.36% | 2.472% | 0.312% | 4.568% | 3.413% | 4.534% | 5.938% | 6.555% | 18.24% | 34% | 52.17% | 5.147% | 18.71% | 25.3% | 2.117% | 9.76% | 38.62% | 39.42% | 44%
24 | TORT-2 |  | 21/10/2021 17:24:47 |  | C:\NexIONData\DataSet\Default\TORT-2.1439 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 1.805% | 4.887% | 0.8968% | 1.003% | 0.187% | 8.099% | 5.404% | 4.369% | 11.25% | 7.458% | 14.26% | 53.11% | 15.18% | 36.21% | 26.04% | 13.85% | 62.76% | 40.88% | 22.02% | 18.19%
25 | TORT-2 |  | 21/10/2021 17:35:42 |  | C:\NexIONData\DataSet\Default\TORT-2.1440 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 0.3421% | 2.625% | 1.424% | 2.262% | 12.49% | 7.03% | 1.386% | 7.739% | 0.1747% | 1.302% | 11.77% | 11.32% | 6.371% | 6.335% | 36.44% | 2.118% | 8.607% | 10.69% | 30.73% | 5.81%

## Concentrations
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 (ug/L) | Mg 24 (ug/L) | In 115 (mg/L) | U 238 (mg/L) | CeO 156 (mg/L) | Ce 140 (IS) | Ce++ 70 (mg/L) | Bkgd 220 (mg/L)
1 | Daily Performance Check |  | 21/10/2021 10:20:27 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.1412 | C:\NexIONData\Method\Daily Performance.mth
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Se 78 (ug/L) | Se-1 78 (ug/L) | Se-2 78 (ug/L) | Se-3 78 (ug/L) | Se-4 78 (ug/L) | Se-5 78 (ug/L) | Se-6 78 (ug/L) | Se-7 78 (ug/L) | Se-8 78 (ug/L) | Se-9 78 (ug/L) | Se 82 (ug/L) | Se-1 82 (ug/L) | Se-2 82 (ug/L) | Se-3 82 (ug/L) | Se-4 82 (ug/L) | Se-5 82 (ug/L) | Se-6 82 (ug/L) | Se-7 82 (ug/L) | Se-8 82 (ug/L) | Se-9 82 (ug/L)
2 | Branco |  | 21/10/2021 13:09:24 |  | C:\NexIONData\DataSet\Default\Branco.1416 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth
3 | 0.5 |  | 21/10/2021 13:17:46 |  | C:\NexIONData\DataSet\Default\0.5.1417 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
4 | 1 |  | 21/10/2021 13:26:39 |  | C:\NexIONData\DataSet\Default\1.1418 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 1.0521 | 1.0425 | 0.91279 | 0.96912 | 1.0054 | 1.0153 | 0.99537 | 0.97196 | 1.0197 | 1.0635 | 1.0165 | 1.551 | 0.61937 | 0.91403 | 0.95625 | 0.94902 | 0.95893 | 0.9416 | 0.95321 | 1.0473
5 | 5 |  | 21/10/2021 13:36:06 |  | C:\NexIONData\DataSet\Default\5.1419 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 4.7542 | 4.2532 | 4.8638 | 4.864 | 4.891 | 4.904 | 4.9076 | 4.9415 | 4.9876 | 4.9718 | 5.0074 | -10.8033 | 5.0681 | 4.9066 | 4.9709 | 4.9117 | 4.9314 | 4.9722 | 4.9401 | 4.9437
6 | 10 |  | 21/10/2021 13:45:59 |  | C:\NexIONData\DataSet\Default\10.1420 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 9.357 | 8.6385 | 7.7876 | 9.7533 | 9.8532 | 9.8186 | 9.9867 | 10.0407 | 9.9071 | 10.1041 | 9.8974 | 12.3516 | 7.3229 | 9.8297 | 10.0124 | 9.8528 | 9.9723 | 10.1097 | 9.8775 | 10.0945
7 | 15 |  | 21/10/2021 13:55:50 |  | C:\NexIONData\DataSet\Default\15.1421 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 14.4274 | 12.4225 | 14.9461 | 14.1454 | 14.151 | 14.7474 | 14.3537 | 14.9195 | 15.113 | 14.6349 | 14.9866 | 12.9275 | 15.9932 | 14.2111 | 14.1504 | 14.7594 | 14.4475 | 14.7423 | 15.0334 | 14.4689
8 | 30 |  | 21/10/2021 14:05:33 |  | C:\NexIONData\DataSet\Default\30.1422 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 28.54 | 25.7129 | 31.6752 | 31.0362 | 30.6323 | 30.0109 | 30.6432 | 30.0577 | 30.8339 | 30.4581 | 29.9565 | 30.8623 | 32.993 | 31.3324 | 30.8079 | 30.2097 | 30.8369 | 30.3735 | 30.7021 | 30.4125
9 | 50 |  | 21/10/2021 14:14:44 |  | C:\NexIONData\DataSet\Default\50.1423 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 47.0092 | 56.3065 | 34.973 | 50.2548 | 50.6305 | 51.3336 | 50.2208 | 50.4782 | 49.58 | 48.6712 | 49.058 | 67.7695 | 34.066 | 50.5958 | 51.003 | 51.6942 | 50.2888 | 50.6906 | 49.9762 | 49.2073
10 | NIST 1640a diluído 10x (1) |  | 21/10/2021 14:24:19 |  | C:\NexIONData\DataSet\Default\NIST 1640a diluído 10x (1).1424 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 11.2592 | 23.6036 | 16.0617 | 5.438 | 4.3755 | 4.4679 | 4.3184 | 4.1486 | 3.9856 | 4.249 | 3.2928 | 7.7813 | 10.3369 | 3.3615 | 2.8263 | 3.6593 | 3.0029 | 3.3496 | 3.4104 | 3.6587
11 | NIST 1640a diluído 10x (1) |  | 21/10/2021 14:33:35 |  | C:\NexIONData\DataSet\Default\NIST 1640a diluído 10x (1).1425 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 27.4366 | 26.2351 | 12.0197 | 26.9154 | 25.3463 | 24.2138 | 23.8019 | 24.0068 | 23.8647 | 25.2708 | 24.4793 | 2.4996 | 1.5971 | 26.2455 | 24.8449 | 23.7852 | 23.3767 | 23.9602 | 24.1906 | 24.5456
12 | HNO3 1% |  | 21/10/2021 14:43:32 |  | C:\NexIONData\DataSet\Default\HNO3 1%.1426 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 6.5429 | 19.0433 | 7.3133 | 2.1733 | 1.7147 | 1.6625 | 1.3466 | 1.3139 | 0.79749 | 1.0048 | -0.065453 | 2.7072 | -0.48539 | 0.083434 | 0.047067 | 0.19993 | 0.097614 | 0.15561 | 0.037909 | -0.15938
13 | Branco 1 |  | 21/10/2021 15:13:45 |  | C:\NexIONData\DataSet\Default\Branco 1.1428 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 12.1215 | 79.5355 | -11.2307 | -2.8498 | -1.5945 | 0.25681 | 4.4129 | 0.58549 | -0.48454 | 4.2134 | -0.24266 | 0.91342 | -0.92622 | -0.24309 | -0.2059 | -0.05482 | -0.17219 | -0.29032 | -0.24663 | -0.087271
14 | Branco 1 |  | 21/10/2021 15:22:57 |  | C:\NexIONData\DataSet\Default\Branco 1.1429 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 43.5629 | 101.615 | 26.1919 | 5.0848 | 2.5701 | 0.25251 | 0.037744 | -0.50485 | 0.37416 | 4.1084 | 0.68941 | -0.54075 | -0.77835 | -0.22929 | -0.27645 | -0.11236 | -0.21401 | -0.19774 | -0.038022 | 0.097701
15 | Branco 1 |  | 21/10/2021 15:36:13 |  | C:\NexIONData\DataSet\Default\Branco 1.1430 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | -14.8712 | -30.8661 | -11.7941 | -3.4544 | -2.5447 | -1.902 | -1.2811 | -1.1494 | -1.281 | -1.5261 | -0.17636 | -4.9412 | -1.2674 | -0.27234 | -0.27398 | 0.025892 | -0.19967 | -0.11941 | -0.17923 | -0.32783
16 | DORM-4 1 |  | 21/10/2021 15:47:11 |  | C:\NexIONData\DataSet\Default\DORM-4 1.1431 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | -15.2256 | -10.3288 | 10.5539 | 1.4413 | 4.3506 | 0.48873 | 4.2507 | 9.7048 | 7.2329 | -1.4354 | -0.077012 | 1.8581 | 8.0157 | 2.0863 | 3.2315 | 1.3962 | 3.1038 | 6.7446 | 6.4496 | 0.047332
17 | DORM-4 2 |  | 21/10/2021 15:57:03 |  | C:\NexIONData\DataSet\Default\DORM-4 2.1432 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | -16.0798 | -31.7312 | -12.0031 | -3.574 | -2.9874 | -2.2994 | -2.0154 | -1.7036 | -1.4621 | -1.4191 | -0.094551 | -4.4424 | -1.3332 | -0.20659 | -0.20192 | -0.0077776 | -0.068361 | -0.035161 | 0.020694 | -0.05483
18 | DORM-4 3 |  | 21/10/2021 16:09:39 |  | C:\NexIONData\DataSet\Default\DORM-4 3.1433 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | -0.37934 | -24.3967 | -9.407 | -2.5962 | -1.6275 | -0.85314 | 0.34588 | 1.379 | 1.637 | 2.7279 | 1.464 | 1.3795 | 0.1893 | 0.27214 | 0.47049 | 0.7515 | 1.146 | 1.5741 | 1.6384 | 2.3326
19 | Ponto 30 ppb |  | 21/10/2021 16:21:48 |  | C:\NexIONData\DataSet\Default\Ponto 30 ppb.1434 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | -15.633 | -27.0876 | -10.5422 | -3.374 | -2.7324 | -2.2479 | -1.9457 | -1.7641 | -1.3811 | -1.4044 | -0.056646 | -4.5939 | -1.2939 | -0.28793 | -0.056724 | 0.11692 | -0.10019 | -0.096424 | 0.071867 | -0.14687
20 | DOLT-5 |  | 21/10/2021 16:34:46 |  | C:\NexIONData\DataSet\Default\DOLT-5.1435 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 16.0798 | -30.2056 | -9.8362 | -2.549 | -1.336 | 0.44316 | 1.7585 | 3.4724 | 10.1495 | 5.4892 | 7.443 | -4.3894 | 0.067512 | 0.44713 | 0.98981 | 1.7585 | 2.4177 | 3.3771 | 8.8533 | 5.189
21 | DOLT-5 |  | 21/10/2021 16:48:00 |  | C:\NexIONData\DataSet\Default\DOLT-5.1436 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 8.2117 | 167.2342 | 87.9328 | 32.5368 | 23.0197 | 11.2361 | 7.3182 | 4.7862 | 6.4509 | 6.6685 | 4.0103 | 192.1946 | 78.3226 | 29.9241 | 20.76 | 8.5579 | 5.8332 | 4.3635 | 6.1137 | 6.7011
22 | DOLT-5 |  | 21/10/2021 17:01:07 |  | C:\NexIONData\DataSet\Default\DOLT-5.1437 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | -14.2188 | -23.5686 | -8.7249 | -0.90716 | -0.96084 | -0.95542 | -0.89429 | -0.64535 | -0.28352 | -0.2833 | 0.57688 | 12.2007 | 2.9002 | 2.2796 | 1.4169 | 1.2095 | 0.93941 | 0.90801 | 1.1601 | 0.9826
23 | TORT-2 |  | 21/10/2021 17:12:25 |  | C:\NexIONData\DataSet\Default\TORT-2.1438 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | -14.2302 | -27.5291 | -8.7528 | -2.611 | -2.0875 | -1.6127 | -1.4742 | -1.1984 | -0.78949 | -0.76223 | 0.17377 | -4.9713 | 0.76025 | 0.40599 | 0.42347 | 0.68758 | 0.33951 | 0.34806 | 0.40911 | 0.37559
24 | TORT-2 |  | 21/10/2021 17:24:47 |  | C:\NexIONData\DataSet\Default\TORT-2.1439 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | -13.3929 | -25.8766 | -8.9829 | -2.6774 | -1.9775 | -1.6648 | -1.4523 | -1.2692 | -0.91092 | -0.70774 | 0.36373 | -1.1991 | -0.19948 | 0.2626 | 0.38188 | 0.45583 | 0.13838 | 0.21081 | 0.43484 | 0.4058
25 | TORT-2 |  | 21/10/2021 17:35:42 |  | C:\NexIONData\DataSet\Default\TORT-2.1440 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | -9.6826 | -17.1216 | -6.4682 | -1.6551 | -0.96674 | -0.64505 | -0.79242 | -0.25173 | 0.074753 | 0.18306 | 0.77736 | 5.9779 | 1.8329 | 0.71775 | 0.7754 | 1.0837 | 0.74564 | 0.87991 | 0.8195 | 1.0751

## Concentrations RSDs
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 | Mg 24 | In 115 | U 238 | CeO 156 | Ce 140 (IS) | Ce++ 70 | Bkgd 220
1 | Daily Performance Check |  | 21/10/2021 10:20:27 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.1412 | C:\NexIONData\Method\Daily Performance.mth
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Se 78 | Se-1 78 | Se-2 78 | Se-3 78 | Se-4 78 | Se-5 78 | Se-6 78 | Se-7 78 | Se-8 78 | Se-9 78 | Se 82 | Se-1 82 | Se-2 82 | Se-3 82 | Se-4 82 | Se-5 82 | Se-6 82 | Se-7 82 | Se-8 82 | Se-9 82
2 | Branco |  | 21/10/2021 13:09:24 |  | C:\NexIONData\DataSet\Default\Branco.1416 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth
3 | 0.5 |  | 21/10/2021 13:17:46 |  | C:\NexIONData\DataSet\Default\0.5.1417 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 9.933% | 18.1% | 13.42% | 13.54% | 13.44% | 4.879% | 14.26% | 12.02% | 4.239% | 40.17% | 24.4% | 33.52% | 38.3% | 3.363% | 29.06% | 19.6% | 8.74% | 22.49% | 15.54% | 28.86%
4 | 1 |  | 21/10/2021 13:26:39 |  | C:\NexIONData\DataSet\Default\1.1418 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 3.225% | 6.962% | 20.25% | 8.868% | 12.01% | 8.249% | 15.79% | 18.27% | 19.75% | 11.44% | 9.498% | 77.98% | 54.99% | 5.133% | 17.93% | 23.26% | 11.31% | 11.12% | 33.29% | 21.89%
5 | 5 |  | 21/10/2021 13:36:06 |  | C:\NexIONData\DataSet\Default\5.1419 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 2.906% | 17.91% | 12.86% | 3.794% | 4.102% | 5.27% | 1.496% | 8.487% | 2.343% | 3.219% | 3.883% | 203.3% | 24.79% | 3.393% | 5.378% | 1.756% | 8.038% | 11.49% | 9.053% | 4.339%
6 | 10 |  | 21/10/2021 13:45:59 |  | C:\NexIONData\DataSet\Default\10.1420 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 0.8129% | 9.653% | 66.75% | 7.183% | 1.757% | 3.914% | 1.229% | 1.064% | 3.208% | 1.701% | 0.6342% | 40.88% | 94.16% | 5.123% | 2.333% | 3.855% | 4.33% | 1.98% | 1.745% | 0.4232%
7 | 15 |  | 21/10/2021 13:55:50 |  | C:\NexIONData\DataSet\Default\15.1421 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 0.8069% | 9.425% | 38.92% | 1.205% | 1.874% | 2.039% | 5.28% | 1.704% | 2.115% | 2.159% | 1.09% | 113.3% | 44.35% | 6.312% | 4.783% | 2.397% | 5.915% | 2.838% | 1.252% | 8.685%
8 | 30 |  | 21/10/2021 14:05:33 |  | C:\NexIONData\DataSet\Default\30.1422 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 2.79% | 10.37% | 45.07% | 1.848% | 3.047% | 0.9928% | 0.9482% | 1.615% | 0.865% | 1.561% | 1.647% | 19.37% | 50.44% | 5.68% | 3.58% | 2.111% | 1.097% | 0.9841% | 1.168% | 4.217%
9 | 50 |  | 21/10/2021 14:14:44 |  | C:\NexIONData\DataSet\Default\50.1423 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 0.3913% | 27.78% | 101.2% | 1.558% | 1.855% | 0.4201% | 2.348% | 3.193% | 2.336% | 1.82% | 1.294% | 38.67% | 130.7% | 4.025% | 2.522% | 1.204% | 1.745% | 2.286% | 1.478% | 1.13%
10 | NIST 1640a diluído 10x (1) |  | 21/10/2021 14:24:19 |  | C:\NexIONData\DataSet\Default\NIST 1640a diluído 10x (1).1424 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 2.699% | 8.97% | 6.244% | 3.598% | 13.24% | 3.222% | 2.728% | 2.769% | 3.66% | 3.371% | 1.03% | 47.64% | 5.152% | 3.682% | 29.91% | 3.969% | 10.49% | 9.976% | 6.508% | 5.491%
11 | NIST 1640a diluído 10x (1) |  | 21/10/2021 14:33:35 |  | C:\NexIONData\DataSet\Default\NIST 1640a diluído 10x (1).1425 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 0.6069% | 3.586% | 25.39% | 2.228% | 2.374% | 1.419% | 1.495% | 1.606% | 0.995% | 1.11% | 1.583% | 79.71% | 184.7% | 0.9869% | 0.5197% | 0.4115% | 2.265% | 1.668% | 0.5676% | 3.449%
12 | HNO3 1% |  | 21/10/2021 14:43:32 |  | C:\NexIONData\DataSet\Default\HNO3 1%.1426 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 1.269% | 3.507% | 5.666% | 2.839% | 7.892% | 6.375% | 5.64% | 10.86% | 3.479% | 25.66% | 130.1% | 50.52% | 69.46% | 137.8% | 290.8% | 55.82% | 169.4% | 35.83% | 497.5% | 64.73%
13 | Branco 1 |  | 21/10/2021 15:13:45 |  | C:\NexIONData\DataSet\Default\Branco 1.1428 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 25.9% | 2.955% | 7.38% | 4.716% | 25.59% | 465.9% | 10.21% | 81.99% | 29.4% | 10.23% | 47.91% | 293.9% | 20.87% | 48.68% | 21.53% | 347.8% | 90.32% | 68.65% | 77.62% | 193.8%
14 | Branco 1 |  | 21/10/2021 15:22:57 |  | C:\NexIONData\DataSet\Default\Branco 1.1429 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 1.532% | 3.14% | 30.52% | 7.32% | 67.01% | 187.9% | 1311% | 29.47% | 278.8% | 4.006% | 28.26% | 178.3% | 110.9% | 45.24% | 41.99% | 35.69% | 83.21% | 32.34% | 483.4% | 225.1%
15 | Branco 1 |  | 21/10/2021 15:36:13 |  | C:\NexIONData\DataSet\Default\Branco 1.1430 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 0.6129% | 2.626% | 1.602% | 3.631% | 5.192% | 3.272% | 12% | 19.22% | 5.352% | 3.504% | 34.63% | 8.336% | 23.31% | 13.04% | 17.63% | 378.8% | 48.53% | 80.13% | 18.59% | 18.57%
16 | DORM-4 1 |  | 21/10/2021 15:47:11 |  | C:\NexIONData\DataSet\Default\DORM-4 1.1431 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 1.963% | 95.29% | 16.13% | 20.46% | 74.21% | 40.19% | 56.51% | 19.46% | 101.4% | 4.564% | 29.26% | 418.5% | 2.27% | 5.836% | 64.02% | 8.025% | 41.86% | 32.76% | 97.57% | 181.7%
17 | DORM-4 2 |  | 21/10/2021 15:57:03 |  | C:\NexIONData\DataSet\Default\DORM-4 2.1432 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 0.8075% | 0.7943% | 0.9811% | 1.755% | 1.175% | 0.5155% | 0.9286% | 1.594% | 3.035% | 6.335% | 85% | 12.18% | 34.99% | 74.21% | 47.5% | 599.1% | 101.9% | 409.9% | 240.9% | 260.1%
18 | DORM-4 3 |  | 21/10/2021 16:09:39 |  | C:\NexIONData\DataSet\Default\DORM-4 3.1433 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 485.4% | 2.235% | 2.273% | 3.798% | 10.68% | 45.46% | 84.05% | 75.64% | 16.9% | 10.28% | 11.01% | 45.55% | 176.4% | 25.66% | 47.07% | 36.07% | 10.02% | 32.19% | 12.5% | 17.59%
19 | Ponto 30 ppb |  | 21/10/2021 16:21:48 |  | C:\NexIONData\DataSet\Default\Ponto 30 ppb.1434 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 0.1912% | 1.628% | 1.704% | 2.14% | 1.133% | 2.894% | 2.62% | 0.765% | 0.9064% | 4.567% | 88.35% | 20.36% | 18.63% | 46.2% | 198.8% | 11.94% | 20.82% | 57.6% | 71.43% | 78.76%
20 | DOLT-5 |  | 21/10/2021 16:34:46 |  | C:\NexIONData\DataSet\Default\DOLT-5.1435 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 21.78% | 0.992% | 2.202% | 1.498% | 11.21% | 76.74% | 4.565% | 20.91% | 22.9% | 1.522% | 8.587% | 16.32% | 406.4% | 27.16% | 16.4% | 10.27% | 10.38% | 7.827% | 24.39% | 0.6617%
21 | DOLT-5 |  | 21/10/2021 16:48:00 |  | C:\NexIONData\DataSet\Default\DOLT-5.1436 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 39.65% | 1.077% | 4.841% | 2.616% | 12.65% | 10.13% | 34.86% | 24.55% | 30.84% | 41.58% | 16.63% | 1.203% | 8.035% | 6.033% | 18.89% | 4.288% | 27.24% | 10.89% | 28.24% | 35.06%
22 | DOLT-5 |  | 21/10/2021 17:01:07 |  | C:\NexIONData\DataSet\Default\DOLT-5.1437 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 1.095% | 3.703% | 3.378% | 43.86% | 14.09% | 3.205% | 0.5316% | 9.906% | 21.8% | 16.25% | 15.6% | 14.83% | 5.161% | 5.984% | 17.89% | 19.89% | 21.93% | 27.89% | 18.3% | 36.82%
23 | TORT-2 |  | 21/10/2021 17:12:25 |  | C:\NexIONData\DataSet\Default\TORT-2.1438 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 0.1235% | 0.8543% | 1.512% | 0.1948% | 3.155% | 2.724% | 3.412% | 5.304% | 9.71% | 26.71% | 62.83% | 4.182% | 14.21% | 30.32% | 37.68% | 2.233% | 15.01% | 59.75% | 53.45% | 64.93%
24 | TORT-2 |  | 21/10/2021 17:24:47 |  | C:\NexIONData\DataSet\Default\TORT-2.1439 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 0.7579% | 2.194% | 0.5114% | 0.586% | 0.1467% | 6.009% | 4.209% | 3.441% | 12.95% | 12.34% | 20.04% | 149.4% | 86.71% | 70.98% | 40.17% | 15% | 145.6% | 77.82% | 29.39% | 26.2%
25 | TORT-2 |  | 21/10/2021 17:35:42 |  | C:\NexIONData\DataSet\Default\TORT-2.1440 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 0.3297% | 3.124% | 1.682% | 3.535% | 33.11% | 24.58% | 3.133% | 62.01% | 4.753% | 14.66% | 14% | 19.99% | 11.03% | 8.561% | 46.18% | 2.191% | 10.72% | 13% | 36.19% | 6.775%

## Unfactored Concentrations
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Be 9 (ug/L) | Mg 24 (ug/L) | In 115 (mg/L) | U 238 (mg/L) | CeO 156 (mg/L) | Ce 140 (IS) | Ce++ 70 (mg/L) | Bkgd 220 (mg/L)
1 | Daily Performance Check |  | 21/10/2021 10:20:27 |  | C:\NexIONData\DataSet\Default\Daily Performance Check.1412 | C:\NexIONData\Method\Daily Performance.mth
| Sample Id | R | Acquisition Time | QC Status | Dataset File | Method File | Se 78 (ug/L) | Se-1 78 (ug/L) | Se-2 78 (ug/L) | Se-3 78 (ug/L) | Se-4 78 (ug/L) | Se-5 78 (ug/L) | Se-6 78 (ug/L) | Se-7 78 (ug/L) | Se-8 78 (ug/L) | Se-9 78 (ug/L) | Se 82 (ug/L) | Se-1 82 (ug/L) | Se-2 82 (ug/L) | Se-3 82 (ug/L) | Se-4 82 (ug/L) | Se-5 82 (ug/L) | Se-6 82 (ug/L) | Se-7 82 (ug/L) | Se-8 82 (ug/L) | Se-9 82 (ug/L)
2 | Branco |  | 21/10/2021 13:09:24 |  | C:\NexIONData\DataSet\Default\Branco.1416 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth
3 | 0.5 |  | 21/10/2021 13:17:46 |  | C:\NexIONData\DataSet\Default\0.5.1417 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
4 | 1 |  | 21/10/2021 13:26:39 |  | C:\NexIONData\DataSet\Default\1.1418 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 1.0521 | 1.0425 | 0.91279 | 0.96912 | 1.0054 | 1.0153 | 0.99537 | 0.97196 | 1.0197 | 1.0635 | 1.0165 | 1.551 | 0.61937 | 0.91403 | 0.95625 | 0.94902 | 0.95893 | 0.9416 | 0.95321 | 1.0473
5 | 5 |  | 21/10/2021 13:36:06 |  | C:\NexIONData\DataSet\Default\5.1419 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 4.7542 | 4.2532 | 4.8638 | 4.864 | 4.891 | 4.904 | 4.9076 | 4.9415 | 4.9876 | 4.9718 | 5.0074 | -10.8033 | 5.0681 | 4.9066 | 4.9709 | 4.9117 | 4.9314 | 4.9722 | 4.9401 | 4.9437
6 | 10 |  | 21/10/2021 13:45:59 |  | C:\NexIONData\DataSet\Default\10.1420 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 9.357 | 8.6385 | 7.7876 | 9.7533 | 9.8532 | 9.8186 | 9.9867 | 10.0407 | 9.9071 | 10.1041 | 9.8974 | 12.3516 | 7.3229 | 9.8297 | 10.0124 | 9.8528 | 9.9723 | 10.1097 | 9.8775 | 10.0945
7 | 15 |  | 21/10/2021 13:55:50 |  | C:\NexIONData\DataSet\Default\15.1421 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 14.4274 | 12.4225 | 14.9461 | 14.1454 | 14.151 | 14.7474 | 14.3537 | 14.9195 | 15.113 | 14.6349 | 14.9866 | 12.9275 | 15.9932 | 14.2111 | 14.1504 | 14.7594 | 14.4475 | 14.7423 | 15.0334 | 14.4689
8 | 30 |  | 21/10/2021 14:05:33 |  | C:\NexIONData\DataSet\Default\30.1422 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 28.54 | 25.7129 | 31.6752 | 31.0362 | 30.6323 | 30.0109 | 30.6432 | 30.0577 | 30.8339 | 30.4581 | 29.9565 | 30.8623 | 32.993 | 31.3324 | 30.8079 | 30.2097 | 30.8369 | 30.3735 | 30.7021 | 30.4125
9 | 50 |  | 21/10/2021 14:14:44 |  | C:\NexIONData\DataSet\Default\50.1423 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 47.0092 | 56.3065 | 34.973 | 50.2548 | 50.6305 | 51.3336 | 50.2208 | 50.4782 | 49.58 | 48.6712 | 49.058 | 67.7695 | 34.066 | 50.5958 | 51.003 | 51.6942 | 50.2888 | 50.6906 | 49.9762 | 49.2073
10 | NIST 1640a diluído 10x (1) |  | 21/10/2021 14:24:19 |  | C:\NexIONData\DataSet\Default\NIST 1640a diluído 10x (1).1424 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 11.2592 | 23.6036 | 16.0617 | 5.438 | 4.3755 | 4.4679 | 4.3184 | 4.1486 | 3.9856 | 4.249 | 3.2928 | 7.7813 | 10.3369 | 3.3615 | 2.8263 | 3.6593 | 3.0029 | 3.3496 | 3.4104 | 3.6587
11 | NIST 1640a diluído 10x (1) |  | 21/10/2021 14:33:35 |  | C:\NexIONData\DataSet\Default\NIST 1640a diluído 10x (1).1425 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 27.4366 | 26.2351 | 12.0197 | 26.9154 | 25.3463 | 24.2138 | 23.8019 | 24.0068 | 23.8647 | 25.2708 | 24.4793 | 2.4996 | 1.5971 | 26.2455 | 24.8449 | 23.7852 | 23.3767 | 23.9602 | 24.1906 | 24.5456
12 | HNO3 1% |  | 21/10/2021 14:43:32 |  | C:\NexIONData\DataSet\Default\HNO3 1%.1426 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 6.5429 | 19.0433 | 7.3133 | 2.1733 | 1.7147 | 1.6625 | 1.3466 | 1.3139 | 0.79749 | 1.0048 | -0.065453 | 2.7072 | -0.48539 | 0.083434 | 0.047067 | 0.19993 | 0.097614 | 0.15561 | 0.037909 | -0.15938
13 | Branco 1 |  | 21/10/2021 15:13:45 |  | C:\NexIONData\DataSet\Default\Branco 1.1428 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 12.1215 | 79.5355 | -11.2307 | -2.8498 | -1.5945 | 0.25681 | 4.4129 | 0.58549 | -0.48454 | 4.2134 | -0.24266 | 0.91342 | -0.92622 | -0.24309 | -0.2059 | -0.05482 | -0.17219 | -0.29032 | -0.24663 | -0.087271
14 | Branco 1 |  | 21/10/2021 15:22:57 |  | C:\NexIONData\DataSet\Default\Branco 1.1429 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 43.5629 | 101.615 | 26.1919 | 5.0848 | 2.5701 | 0.25251 | 0.037744 | -0.50485 | 0.37416 | 4.1084 | 0.68941 | -0.54075 | -0.77835 | -0.22929 | -0.27645 | -0.11236 | -0.21401 | -0.19774 | -0.038022 | 0.097701
15 | Branco 1 |  | 21/10/2021 15:36:13 |  | C:\NexIONData\DataSet\Default\Branco 1.1430 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | -14.8712 | -30.8661 | -11.7941 | -3.4544 | -2.5447 | -1.902 | -1.2811 | -1.1494 | -1.281 | -1.5261 | -0.17636 | -4.9412 | -1.2674 | -0.27234 | -0.27398 | 0.025892 | -0.19967 | -0.11941 | -0.17923 | -0.32783
16 | DORM-4 1 |  | 21/10/2021 15:47:11 |  | C:\NexIONData\DataSet\Default\DORM-4 1.1431 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | -15.2256 | -10.3288 | 10.5539 | 1.4413 | 4.3506 | 0.48873 | 4.2507 | 9.7048 | 7.2329 | -1.4354 | -0.077012 | 1.8581 | 8.0157 | 2.0863 | 3.2315 | 1.3962 | 3.1038 | 6.7446 | 6.4496 | 0.047332
17 | DORM-4 2 |  | 21/10/2021 15:57:03 |  | C:\NexIONData\DataSet\Default\DORM-4 2.1432 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | -16.0798 | -31.7312 | -12.0031 | -3.574 | -2.9874 | -2.2994 | -2.0154 | -1.7036 | -1.4621 | -1.4191 | -0.094551 | -4.4424 | -1.3332 | -0.20659 | -0.20192 | -0.0077776 | -0.068361 | -0.035161 | 0.020694 | -0.05483
18 | DORM-4 3 |  | 21/10/2021 16:09:39 |  | C:\NexIONData\DataSet\Default\DORM-4 3.1433 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | -0.37934 | -24.3967 | -9.407 | -2.5962 | -1.6275 | -0.85314 | 0.34588 | 1.379 | 1.637 | 2.7279 | 1.464 | 1.3795 | 0.1893 | 0.27214 | 0.47049 | 0.7515 | 1.146 | 1.5741 | 1.6384 | 2.3326
19 | Ponto 30 ppb |  | 21/10/2021 16:21:48 |  | C:\NexIONData\DataSet\Default\Ponto 30 ppb.1434 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | -15.633 | -27.0876 | -10.5422 | -3.374 | -2.7324 | -2.2479 | -1.9457 | -1.7641 | -1.3811 | -1.4044 | -0.056646 | -4.5939 | -1.2939 | -0.28793 | -0.056724 | 0.11692 | -0.10019 | -0.096424 | 0.071867 | -0.14687
20 | DOLT-5 |  | 21/10/2021 16:34:46 |  | C:\NexIONData\DataSet\Default\DOLT-5.1435 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 16.0798 | -30.2056 | -9.8362 | -2.549 | -1.336 | 0.44316 | 1.7585 | 3.4724 | 10.1495 | 5.4892 | 7.443 | -4.3894 | 0.067512 | 0.44713 | 0.98981 | 1.7585 | 2.4177 | 3.3771 | 8.8533 | 5.189
21 | DOLT-5 |  | 21/10/2021 16:48:00 |  | C:\NexIONData\DataSet\Default\DOLT-5.1436 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | 8.2117 | 167.2342 | 87.9328 | 32.5368 | 23.0197 | 11.2361 | 7.3182 | 4.7862 | 6.4509 | 6.6685 | 4.0103 | 192.1946 | 78.3226 | 29.9241 | 20.76 | 8.5579 | 5.8332 | 4.3635 | 6.1137 | 6.7011
22 | DOLT-5 |  | 21/10/2021 17:01:07 |  | C:\NexIONData\DataSet\Default\DOLT-5.1437 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | -14.2188 | -23.5686 | -8.7249 | -0.90716 | -0.96084 | -0.95542 | -0.89429 | -0.64535 | -0.28352 | -0.2833 | 0.57688 | 12.2007 | 2.9002 | 2.2796 | 1.4169 | 1.2095 | 0.93941 | 0.90801 | 1.1601 | 0.9826
23 | TORT-2 |  | 21/10/2021 17:12:25 |  | C:\NexIONData\DataSet\Default\TORT-2.1438 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | -14.2302 | -27.5291 | -8.7528 | -2.611 | -2.0875 | -1.6127 | -1.4742 | -1.1984 | -0.78949 | -0.76223 | 0.17377 | -4.9713 | 0.76025 | 0.40599 | 0.42347 | 0.68758 | 0.33951 | 0.34806 | 0.40911 | 0.37559
24 | TORT-2 |  | 21/10/2021 17:24:47 |  | C:\NexIONData\DataSet\Default\TORT-2.1439 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | -13.3929 | -25.8766 | -8.9829 | -2.6774 | -1.9775 | -1.6648 | -1.4523 | -1.2692 | -0.91092 | -0.70774 | 0.36373 | -1.1991 | -0.19948 | 0.2626 | 0.38188 | 0.45583 | 0.13838 | 0.21081 | 0.43484 | 0.4058
25 | TORT-2 |  | 21/10/2021 17:35:42 |  | C:\NexIONData\DataSet\Default\TORT-2.1440 | C:\NexIONData\Method\Usuarios\Nathalia doutorado\Ajuste fino Se 78 e 82.mth | -9.6826 | -17.1216 | -6.4682 | -1.6551 | -0.96674 | -0.64505 | -0.79242 | -0.25173 | 0.074753 | 0.18306 | 0.77736 | 5.9779 | 1.8329 | 0.71775 | 0.7754 | 1.0837 | 0.74564 | 0.87991 | 0.8195 | 1.0751

## Internal Standards
Row Index Number
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25