## Sheet1
Parameter Name | Abbreviation | Unit | Method/Device
Sample ID
Latitude
Longitude
Elevation (m) |  | m
Matrix
Date of collection
Season
Hydrogen-2 (‰) | δ2H | ‰ | Isotope Ratio Mass Spectrometry (IRMS), Thermo Scientific, Delta V Advantage; coupled with Elemental Analyzer, Thermo Scientific, Flash HT
Oxygen-18 (‰) | δ18O | ‰ | Isotope Ratio Mass Spectrometry (IRMS), Thermo Scientific, Delta V Advantage; coupled with Elemental Analyzer, Thermo Scientific, Flash HT
Temperature (°C) | T | °C | Condutivity meter, Digimed, DM-30P
pH () | pH |  | pH-meter, Digimed, DM-20P
Electrical condutivity (µS/m) | EC | µS/m | Condutivity meter, Digimed, DM-30P
Calcium (mg/L) | Ca+ | mg/L | Inductively Coupled Plasma Optical Emission Spectrometry (ICP – OES), Thermo Scientific, iCap 6000 Series
Potassium (mg/L) | K+ | mg/L | Inductively Coupled Plasma Optical Emission Spectrometry (ICP – OES), Thermo Scientific, iCap 6000 Series
Magnesium (mg/L) | Mg+ | mg/L | Inductively Coupled Plasma Optical Emission Spectrometry (ICP – OES), Thermo Scientific, iCap 6000 Series
Sodium (mg/L) | Na+ | mg/L | Inductively Coupled Plasma Optical Emission Spectrometry (ICP – OES), Thermo Scientific, iCap 6000 Series
Chloride (mg/L) | Cl- | mg/L | Spectrophotometry, Hach, DR800
Nitrate (mg/L) | NO3- | mg/L | Spectrophotometry, Hach, DR800
Sulfate (mg/L) | SO42- | mg/L | Spectrophotometry, Hach, DR800
Bicarbonate (mg/L) | HCO3- | mg/L | Titration with pH-meter, Mettler Toledo, S400
Fluoride (mg/L) | F- | mg/L | Spectrophotometry, Hach, DR800
Phosphate (mg/L) | PO43- | mg/L | Spectrophotometry, Hach, DR800